Hellenic Accreditation System

Annex F1/13 to the Certificate No. 704-5 SCOPE OF ACCREDITATION of the Laboratory of Architectural Technology of the School of Architecture of the Faculty of Technology of the Aristotle University of Thessaloniki

| Materials / Products to be tested | Types of tests / Properties to be measured | Harmonized Standard / Applied Methods / Techniques to be used |
| --- | --- | --- |
| Physical and Acoustics tests |
| Light and Heavy Walls | Acoustics – Laboratory Measurement of sound insulation in buildings elements - Part 2: Measurements of airborne sound insulation. Acoustics — Rating of sound insulation in buildings and of building elements — Part 1: Airborne sound insulation | EN ISO 10140-2:2021 ISO 717-1: 2020 |
|  | Measurement of the Thermal Transmittance Coefficient U | DIN EN ISO 8990:1996 |
| Doors and Windows Doors and Gates Curtain Walls | Regulation (EU) 305/2011 ΕΝ 14351-1:2006 + A2:2016 ΕΝ 13241-1 :2003 + A2:2016 DIN EN 13830:2015 System 3 |
|  | Measurement of the Thermal Transmittance Coefficient U | DIN EN ISO 12567-1:2010 |
|  | Acoustics – Laboratory Measurement of sound insulation in buildings elements - Part 2: Measurements of airborne sound insulation. Acoustics — Rating of sound insulation in buildings and of building elements — Part 1: Airborne sound insulation | EN ISO 10140-2:2021 ISO 717-1: 2020 |
| Glass in building - Insulating glass units | Regulation (EU) 305/2011 ΕΝ 1279-5:2018 System 3 |
|  | Measurement of the Thermal Transmittance Coefficient U | DIN EN ISO 8990:1996 |
|  | Acoustics – Laboratory Measurement of sound insulation in buildings elements - Part 2: Measurements of airborne sound insulation. Acoustics — Rating of sound insulation in buildings and of building elements — Part 1: Airborne sound insulation | EN ISO 10140-2:2021 ISO 717-1: 2020 |
| Window Frames | Measurement of the Thermal Transmittance Coefficient U | DIN EN 12412-2:2003 |
| Shutter Boxes |  | DIN EN 12412-4:2003 |
| Thermal Insulating Products |  | DIN EN ISO 8990:1996 |

Site of assessment: Permanent Laboratory Premises, University Campus, GR-54124 Thessaloniki, Greece.

Approved signatories: Vassilios Vassiliadis, Constantinos Ioannidis.

This Scope of Accreditation replaces the previous one dated September 13th, 2022.

The Accreditation Certificate No. 704-5, to ELOT ΕΝ ISO/IEC 17025: 2017, is valid until 13.09.2027.

Athens, October 11th,  2022

Christos Nestoras

CEO of ESYD