Hellenic Accreditation System

| Materials/Products tested | Types of test/Properties measured | Applied methods/Techniques used |
| --- | --- | --- |
| 1. Drinking water, surface water, ground water and waste water | 1. Determination of total and hexavalent (VI) chromium | In-house method (ΜΔ-27) based on HACH, Method 8023, 8024 and LCK 313 |
|  | 2. Determination of total (TS), dissolved (TDS) and suspended (SS) solids and Volatile Suspend Solids (VSS) and Total Volatile Solids(VS) | APHA* 2540, modified method (ΜΔ-23) |
|  | 3. Determination of alkalinity | APHA* 2320 |
|  | 4. Determination of colour in Pt.Co (Hazen) | APHA* 2120, modified method (ΜΔ-22) |
|  | 5. Determination of Arsenic | In house method (ΜΔ-39) by Graphite Furnace Atomic Absorption Spectroscopy, based on ASTM** D2972-08 |
|  | 6. Determination of metals: - Aluminum (Al), - Beryllium (Be), - Cobalt (Co), - Iron (Fe), - Nickel (Ni), - Cadmium (Cd), - Copper (Co), - Selenium (Se), - Arsenic (As), - Manganese (Mn), - Tin (Sn), - Lead (Pb), - Chromium (Cr), - Vanadium (V), - Strontium (Sr) | APHA* 3113 A, B, C, (ΜΔ-40) by Electrothermal Continuous Source Atomic Absorption Spectroscopy (GF-CS-AAS) |
| 2. Drinking water, surface water, ground water and sea water | Determination of arsenic | In house method (ΜΔ-35) by Hydride Generation Atomic Absorption Spectroscopy based on ISO 11969:1996 |
| 3. Drinking water, surface water, ground water, sea water and waste water | Determination of free and total cyanide (CN-) | HACH 8027 and LCK315 (MΔ-42) |
|  | 2. Determination of Mercury (Hg) | In house method (ΜΔ-30) by Cold Vapor Atomic Fluorescence Spectroscopy based on ISO 17852:2006 |
|  | 3. Determination of Inorganics Nutrients: - Nitrates (NO3-), - Nitrites, (NO3-), - Ammonium (NH4), - Silicates (SiO2) - Total and dissolved Phosphorous (P-PO4) | Spectrophotometric methods (ΜΔ-43, ΜΔ-72): HACH LCK 339 HACH LCK 341 HACH LCK 304 HACH 8186 HACH LCK 349 |
|  | 4. Determination of chlorides and salinity | APHA* 4500-Cl B, (ΜΔ 54) |
|  | 5. Determination of silicates (SiO2) | Spectrophotometric method HACH 8185 (ΜΔ 72Β) |
| 4. Water and waste water Water and waste water (continued) | 1. BOD 5 determination (Bilogical Oxygen Demand) | Manometric method based on APHA* 5210 D, (ΜΔ 71) |
|  | 2. Determination of total organic carbon (TOC) | HACH 10129 method (ΜΔ 73) |
|  | 3. Determination of UV absorbing organic constituents | In house method based on APHA* 5910B, (ΜΔ 50) |
|  | 4. Determination of Total nitrogen (ΤΝ) Total Kjeldahl nitrogen (TKN) Total oxidisable nitrogen (ΤΟΝ) Inorganic and organic nitrogen | Spectrophotometry Methods (ΜΔ 61) HACH LCK 138 HACH LCK 339 HACH LCK 341 HACH LCK 304 |
|  | 5. Determination of Anionic and Non ionic surfactants (detergents) | Spectrophotometry Methods (ΜΔ 63, ΜΔ 64) HACH LCK 332 HACH LCK 333 |
|  | 6. Determination of oil, grease and petroleum hydrocarbons | In house method (ΜΔ-25) based on APHA* 5520 Β APHA* 5520 F EPA 1664 (2010) |
|  | 7. Determination of phenolics (phenol index) | In house method (ΜΔ-59) based on EPA 420.1 (1978) ASTM** D1783-01 (2012) APHA* 5530 HACK LCK 315 |
|  | 8. Determination of sulfites (SO3 | APHA* 4500-SO3 B |
|  | 9. Determination of sulfates | APHA* 4500-SO4 E |
|  | Measurment of dissolved oxygen | In house method (ΜΔ-76) (based on ASTM** 888-05,C) |
| 5. Water and waste water Thermal springs water | 1. Determination of sulfides and hydrogen sulfide (free) | Spectrophotometry Methods (ΜΔ 68, ΜΔ 69) HACH 8131 HACH LCK 653 |
| 6. Sludge, sediments, soil, solid waste | 1. Determination of metals: -Aluminum (Al), - Beryllium (Be), - Cobalt (Co), - Iron (Fe), - Nickel (Ni), - Cadmium (Cd), - Copper (Co), - Selenium (Se), - Arsenic (As), - Manganese (Mn), - Tin (Sn), - Lead (Pb), - Chromium (Cr), - Vanadium (V), - Strontium (Sr) | APHA* 3113 A, B, C, 22nd Ed. 2012 (ΜΔ-40) by Electrothermal Continuous Source Atomic Absorption Spectroscopy (GF-CS-AAS) After sample preparation based on the following standards ASTM** D 5198-09 ASTM** D 4698-92 EPA 3050 B |
|  | 2. Determination of Boron (B) | Spectrophotometric Azomethine-H in house method and HACH LCK 307 (ΜΔ-41) After sample treatment with warm water |
|  | 3. Determination of the heavy metals: - Cadmium (Cd), - Copper (Cu), - Lead (Pb), - Zinc (Zn), - Nickel ( Νi), - Iron (Fe), - Manganese (Mn) | APHA* 3111 B Flame atomic absosption spectrophotometry After sample preparation based on the following standards: ASTM** D 5198-09 ASTM** D 4698-92 EPA 3050 B |
|  | 4. Leaching tests | EN 12457-1 (2002) EN 12457-2 (2002) EPA 1311 (1992) EPA 1312 (1994) ASTM** D5233-92 (2007) ASTM** D6234-13 |
| 7. Surface water, ground water and waste water | 1. Determination of antimony (Sb) | APHA* 3113 A, B, C, (ΜΔ-40) by Electrothermal Continuous Source Atomic Absorption Spectroscopy (GF-CS-AAS) |
|  | Determination of Fe | ASTM** D1068 – 10 |
|  | Determination of Mn | ASTM** D858 – 07 |
|  | 4. Determination of the heavy metals: - Cadmium (Cd), - Copper (Cu), - Lead (Pb), - Zinc (Zn), - Nickel ( Νi), - Iron (Fe), - Manganese (Mn) | APHA* 3111 B Flame atomic absosption spectrophotometry |
| 8. Drinking water, surface water, ground water, sea water, waste water and Soil Extracts | 1. Determination of Boron (B) | Spectrophotometric Azomethine-H in house method and HACH LCK 307 (ΜΔ-41) |
| 9. Drinking water, Swimming pool water and sodium hypochlorite solutions | 1. Determination of Chlorates | ASTM** D4327-91, modified method IC-CD (ΜΔ-104) |
| 10. Drinking water | 1. Determination of Bromates | Ion chromatography in house method, with IC-CD and chemical suppression (ΜΔ 105) |
| 11. Drinking water, surface water, groundwater and wastewater | Determination of anions - F - Cl - NO2 - Br - NO3 - PO4 - SO4 | ASTM** D4327-91, modified method (ΜΔ-04) IC-CD |
|  | Determination of cations - Li - Na - K - Ca - Mg - NH4 | In-house method (ΜΔ-05), IC-CD method based on ISO 14911:1998 |
|  | Determination of total and free chlorine | In-house method (ΜΔ-08) using portable photometer |
|  | 4. Determination of total hardness | APHA* 2340 B |
|  | 5. Calculation of Sodium Absorption Ratio | Calculated parameter according to U.S. Salinity Lab.,1954 |
| Drinking water, groundwater, seawater and waste water | Determination of ammonia | ASTM** D 1426-93, modified colorimetric Nessler method (ΜΔ-11) |
|  | Measurement of electric conductivity | ASTM** D1125 – 95 (2009) |
|  | Measurement of pH | ASTM** D1293 – 99 (2005) |
|  | Determination of nitrite ion | APHA* 4500-ΝΟ2 B, modified colorimetric UV method (ΜΔ-13) |
|  | Determination of ortho-phosphate ion and total phosphorous | APHA* 4500-P D, modified colorimetric Stannous chloride method (ΜΔ-09) |
|  | Measurement of turbidity | ASTM** D 1889-88, modified method using portable photoelectric turbidimeter (ΜΔ-14) |
| 13. Drinking water and non-turbid water of low organic matter content | Determination of nitrates (screening method) | APHA* 4500-ΝΟ3 B, modified colorimetric UV method (ΜΔ-10) |
| 14. Surface water and waste water | 1. Determination of chemical oxygen demand (COD) | APHA*5220 D, modified closed refluxed method (ΜΔ-21). |
| 15. Surface water | 1. Trophic state Index (Carlson) | Calculated parameter based on Carlson equations (1976) |
|  | 2. Free un-ionized Ammonia | Calculated parameter (Environment Canada 1999; Jofre and Karasov 1999; EPA 1998) |
|  | 3. Water Quality Index (WQI) | Calculated parameter, In house method based upon 8 or nine water quality parameters |
| 16. Algae, surface and sea water | 1. Determination of Chlorofyll -a | In house method based on ASTM** D3731- 87 (Reapproved 2012) |
| 17. Particulate matter samples from ambient atmosphere or stack emissions | 1. Determination of Zn, Mn, Ni, Cu, Cd, Pb, Ag, As, Sb, Se, Co | In house method MΔ101 based on ELOT EN 14385:2004, ΝΙΟSH Method 7300, APHA 3111B (Direct Acetylene Air Flame AAS) και APHA 3113 (Electrothermal CS-AAS) |
| 18.Ambient air/stack emission gases | Measurement of apparent density of smoke | In house method based on Ringellmann method, ΟΕ117 |
| 19.Particulate matter (dust for workplace air, ambient air particulate matter, flying ash,stack emissions particulate matter) | Determination of particulate matter concentration, 2.5μm inhalable, 10 μm, resrpirable | In house method, based on AS/NZS3580 (Determination of light scattering), ΟΕ118 |
| 20.Water, wastes, soil and sediments | Determination of oil | In house method based on manufacturer’s method- ΝDIR Horiba – OCMA500 – IR),ΟΕ119 |
| 21. Water | Determination of Uranium isotopes U234/U236 ICP-MS | Modified method (ΙCP MS) based on EN ISO 17924-2:2016 Annex A |
| 22. Aqueous, granular and solid materials | Determination of Major and Trace elements with atomic number 13 until 92 by X-ray fluorescence analyzer XRF | In house method ΜΔ_121 (XRF) |
| 23. Solid, Liquid, Alternative and Waste Recovered Solid | Determination of Gross Calorific Value | In house method ΜΔ_120 acc. To EN15400:2011 |
| 24. Drinking water, surface water, ground water, sea water, waste water and Sludges, solid wastes, sediments, soil samples, atmospheric particulate matter | 1. Determination of metals | Electrothermal –CS- AAS (ΜΔ-40) Flame AAS (ΜΔ-26) Hydride – CS – AAS (ΜΔ-35) CV-AFS (ΜΔ-30) According to IC-CD ISO 14911:1998, ΕΣΩΤ.ΜΔ-05 ASTM D5198-09 ASTM D4698-92 EPA 3050 B (ICP-MS) (ΜΔ-31 |
| Flexibility regarding the addition of new analytes in methods/matrices already accredited (b) Flexibility regarding the addition of already accredited matrices in already accredited combinations of methods/analytes already accredited (c) Flexibility regarding the addition of new matrices (from the list of environmental samples) in already accredited combinations of methods/analytes d)flexibility regarding the modification of performance characteristics of already accredited methods (range, limit of quantification) The detailed list of accredited activities can be found at: http://www.waterlabs.gr/ |
| 1. Drinking water and groundwater | Enumeration of culturable micro-organisms at 22(2 οC and 36(2 οC | ISO 6222:1999 |
| 2. Drinking water, groundwater and sea water and treated wastewater (only for testing No1-ISO 9308-1:2014) | 1. Enumeration of Escherichia coli and coliform bacteria | ISO 9308 –1: 2014 |
|  | 2. Enumeration of intestinal enterococci | ISO 7899-2:2000 |
| 3. Drinking water | Enumeration of Pseudomonas aeruginosa | ISO 16266:2006 |
| 4. Drinking water, surface water and groundwater | 1. Enumeration of Clostridium perfringens (including spores) | Annex III of Joined Ministerial Decision No Y2/2600/2001 (National Gazette No 892/B’/11.7.2001), as amended and is in force |
|  | 2. Enumeration of Clostridium perfringens (including spores) | ISO 14189:2013 |
| 5. Surface water and waste water | Enumeration of total coliforms and fecal coliforms | APHA* 9222 B, D |
|  | Enumeration fecal coliforms (7 hours procedure) | APHA* 9211 B |
| 6. WATERS (drinking water, networks of air conditioners, cooling towers, sprinklers, fountains, etc.) | Legionella pneumophila, serogroup 1, Legionella pneumophila, serogroup 2-14 | ISO 11731 (2017) |
| Sampling |
| 1. Drinking water, surface water, ground water, seawater, coastal water, piped distribution systems, swimming pool water, water from natural and constructed reserves, and waste water | Sampling for the determination of chemical parameters and microbiological investigations | In house method based on ISO 5667-1:2006, ISO 5667-3:2003, ISO 5667-4:1987, ISO 5667-5:2006, ISO 5667-6:2005, ISO 5667-9:1992, ISO 5667-14:1998, ISO 19458:2006, ISO 5667-10:1992 and ASTM** D3370-08 (2008). ASTM** D 5013-89(09) ASTM** D 6538 (10) ISO 19458: 2006 Ε.U. DIRECTIVE 2006/7 Sampling manual |
| 2. Surface and seawater | 1. Sampling from predetermined depth for the determination of chemical parameters, nutrients and microorganisms and measurement of thermal, salinity and microbiological data from water column | ASTM** D 5358-93(09) ASTM** D 6759-09 In house procedure ΕΠΑ-01 |
|  | 2. Water transparency | Secchi Disc method and clarity tube |
|  | Sampling for the determination of phytoplankton, zooplankton, cyanobacteria, biomass and chlorophyll | In house method based on ASTM** D4132 – 82 (2012) ASTM** D4136 – 82 (2012) ASTM** D4137 – 82 (2012) APHA* 10200 BS EN 15204:2006 KAI USGS Chapter A4 |
| 3. Sludge and water waste | 1. Sampling from bulks and waste water treatment plants | ISO 5667-13 (2011) ASTM** D 5633-04 (08) |
| 4. Ground water | 1. Sampling from natural springs, wells and irrigation sites for the determination of physicochemical and microbiological parameters | ISO 19458 (2006) ISO 5667-11 (2009) ASTM** D4448-01 (07) ASTM** D 6634-01 (06) ASTM** D 6517-00 (05) ASTM** D 6564-00 (05) ASTM** D 6699-01 (10) ASTM** D 7069-04 (10) ASTM** D 4750-87 (01) |
| 5. Sediments of surface and sea water | 1. Sediment sampling | ISO 5567-12 (2012) ISO 5667-19 (2004) ISO 5567-15 (2009) |
| 6. Rain water from surface drain following a storm | 1. Storm water sampling | In house procedure based on ISO 5667-8 (1993) ASTM** D 5013-89 (09) |
| Soil | Soil sampling for the determination of physicochemical parameters | In house procedure based on ASTM** D1452-09 ASTM** D6640-01 (2010) ASTM** D6282 / D6282M - 14 ASTM** D421-95 (2007) ISO 11464 (2006) |

*American Public Health Association, American Water Works Association, Water Environment Federation, “Standard Methods for the Examination of Water and Wastewater”, 22nd Ed. 2012.

** American Society for Testing and Materials

Site of assessment: Permanent laboratory premises, 3 P. Melas str., Volos, Magnesia, Greece.

Approved signatory: A. Gounaris.

This scope of Accreditation replaces the previous one dated 16.06.2022.

The Accreditation Certificate No. 154-7, to ELOT EN ISO/IEC 17025:2017, is valid until 03.10.2024.

Athens,  01.02.2024

# Christos Nestoras

CEO of ESYD

# Text boxes

# Annex F1/21 to the Certificate No.154-7

SCOPE of ACCREDITATION

of the

Testing Laboratory

of

Envirolab ΜΙΚΕ

(former “Alexandros Gounaris” Chemical Laboratories)

###### Chemical Tests

###### Microbiological Tests