Hellenic Accreditation System

Annex F2/6 to the Certificate No. 789-3 SCOPE of ACCREDITATION of the Calibration & Testing Laboratory of N. Asteriadis S.A. for the performance of calibrations

| Measurand / Calibration item | Range of measurement | Calibration & Measurement Capability (k=2)* | Remarks |
| --- | --- | --- | --- |
| Spectrophotometric Measurements |
| Absorption / UV-Visible Spectrophotometers in the range: 235 ... 635 nm | 0-1 AU (visible) 0-1 AU (ultraviolet) | 2,7 mAU 4,9 mAU | ASTM E 275:2008 (Reapproved 2013) (photometric accuracy & repeatability, base line stability) ASTM E 925:2009 (Reapproved 2014) (photometric accuracy) Calibration is also performed on-site. |
|  | 1-2 AU (visible) 2-2,5 AU (visible) | 5,2 mAU 5,9 mAU |  |

* 	Where uncertainty is accompanied by the corresponding unit, it is absolute, while where it is not accompanied by a unit, it is relative.

Site of assessment:  Permanent laboratory premises, 31 Dervenion Str. & Poseidonos Str., GR-14451, Metamorfossi, Attiki, Greece

Approved Signatories: Emmanouil Barbounis, Konstantinos Tampouris, Fotios Fotiadis.

This Scope of Accreditation replaces the previous one dated September 8th 2020.

The Accreditation Certificate No. 789-3, to ELOT EN ISO/IEC 17025:2017, is valid until 23.07.2024, according ESYD decision.

Athens, March 15th, 2024

- Christos Nestoras

- CEO of ESYD