Hellenic Accreditation System

Annex C5/9 to the Certificate No. 825-4 SCOPE of ACCREDITATION of WPI Single Person Ltd. MATERIALS INSPECTION – TESTING - INSPECTIONS (WPI Single Person Ltd) as a Type A Inspection Body in the voluntary sector and /or according to the National Legislative Regulations

| Field of inspection | Type of inspection | Normative Regulations /Standards/ In house procedures |
| --- | --- | --- |
| Pressure equipment. 1. Water tube boilers 2. Shell tube boilers 3. L.P.G tanks | Periodic inspection | -R.D 277/63 -M.D 5286/GG236/B/97 -M.D 14858/477/B/93 -AD-Merkblatter 2000 (HP 30)-2005/2006 -ASME 2001.sec VIII Div 1 -TRD 2010 -TRB/TRR 2002(514 , 532) -TRG 2007 (765) -R82/ CEO/CP 91 Def,R50/CEOC/CP 90 DEF -In house inspection procedures SDK- 01 , MT-01 , PT-01, RT-01, UT-01 , VT-01 ADK W 01, PR-W-01, IDK-W-01, WDK-W-01 -ELOT EN 12952-1 to 12952-7:2002 -ELOT EN 12952-8:2002, ELOT EN 12952-9:2003 -ELOT EN 12952-10:2002, ELOT EN 12952-11:00 -ELOT EN 12952-13:2003 -TRD 2010 -ELOT EN 12953-1:2002 to 12953-6:2002 -ELOT EN 12953-8:2002 to 12953-9:2000 -ELOT EN 12953-11:2003, ELOT EN 12953-13:2003 -TDR 2010 -M.D D3/14858/93 ( GG 477/B/93) -ELOT EN 12542:04 , ELOT EN 12817:02 -ELOT EN 12818:02 ELOT EN 13799:03 -ELOT EN 14075+A1:05, ELOT ΕΝ 14071:05 -ELOT ΕΝ 14075:03 |
| Field of inspection | Type of inspection | Normative Regulations /Standards/ In house procedures |
| Pressure equipment (cont.) 4.Unfired pressure vessels 5. Cryogenic vessels 6. Security valves 7. Metallic industrial piping | Periodic inspection | -ΕLΟΤ ΕΝ 13445-1:2002, ΕLΟΤ ΕΝ 13445-2-Α1+Α2:2002 -ΕLΟΤ ΕΝ 13445-3:2003, ΕLΟΤ ΕΝ 13445-5:02 -ELOT EN 13445-6:04 -TRΒ 2002 (chapt..512, 534 , 531 , 532, 533) -ΕLΟΤ ΕΝ 13458-1:02, ΕLΟΤ EN 13458-2:03 -ΕLΟΤ ΕΝ 13530-2:03, ΕLΟΤ ΕΝ 13530-3:03 , -ΕLΟΤ ΕΝ 13648-1:02, ΕLΟΤ ΕΝ 13648-2:02 -ΤRB 2002 (chapt 512, 514 , 531, 532, 533) -ΑD Merkblaterr 2000, (HP 30 )-2005/2006 -TRD 2010 -TRB 2002, (chapt 532) -ΕLΟΤ ΕΝ 1591-1:01 , ΕLΟΤ EN 1592-2:01 -ΕLΟΤ ΕΝ 13480-1:02 to 13480-6:04 -TRR 2002 (chapt 514) |
| Field of inspection | Type of inspection | Normative Regulations /Standards/ In house procedures |
| Lifting equipment 1. Cranes which are in fuction near the sea such as cranes in shipping construction , cranes for port services e.t.c 2. Cranes used in steel industries , foundries or other plants where dangerous materials (such as flammable explosives toxics) are transported. cranes with lifting capacity equal or more 2t 3. Cranes used in steel industries , foundries or other plants where dangerous materials (such as flammable explosives toxics) are transported. cranes with lifting capacity less 2t 4. Bridge cranes with lifting capacity equal or more than 5 t. | Initial inspection and periodic re inspection (Type AA , Type A&B) | -M.D. 15085 /593/(G.G. 1186/Β/25.8.2003) Class Υ1, VBG 9a Lifting equipment BGV D29 BGV D6-08 : 01 German Federation for accident prevention UVV Class Υ1, VBG 9a Lifting equipment BGV D29 BGV D6-08 : 01 German Federation for accident prevention UVV BGG/GUV-G 905 Class Υ2, VBG 9a Lifting equipment BGV D29 BGV D6-08 :01 German Federation for accident prevention UVV BS 7121-2:2003 Class Υ1, VBG 9a Lifting equipment BGV D29 VGB 9 § 26 zh 1/27 German Federation for accident prevention UVV |
| Field of inspection | Type of inspection | Normative Regulations /Standards/ In house procedures |
| Lifting equipment 5. Bridge cranes with lifting capacity less than 5 t. 6. Tower cranes for buildings 7. Vehicle lifting platforms with vertical height of more than 4 m. 8. Fixed jib cranes and fixed must cranes with lifting capacity equal or more 2 t. 9. Fixed jib cranes and fixed must cranes with lifting capacity less than 2 t. 10. Devices for the lifting of persons involving a risk of falling from a vertical height of more than 3 m. 11. Lifting machinery as mobile cranes, mobile basket cranes, cranes- excavators, bridge cranes, | Initial inspection and periodic re inspection (Type AA , Type A&B) | -M.D. 15085 /593/(G.G. 1186/Β/25.8.2003) Group Υ2, VBG 9a Lifting equipment BGV D29 Class Υ1, VBG 9a Lifting equipment BGV D29 VBG 9/1977 ZH 1/27 BGV D6-098, 2001 German Federation for accident prevention UVV Class Υ1, VBG 9a Lifting equipment BGV D29 VGB 9 § 26 zh 1/27 German Federation for accident prevention UVV Class Υ1, VBG 9a Lifting equipment BGV D29 BGV D6-08: 01 German Federation for accident prevention Class Υ2, VBG 9a Lifting equipment BGV D29 Class Υ2, VBG 14 BGG 945 Class Υ2, VBG 14 VBG 9/1977& 26 ZH 1/27 BGV D6-098: 01 German Federation for accident prevention UVV |
| Field of inspection | Type of inspection | Normative Regulations /Standards/ In house procedures |
| Lifting equipment 12. Lifting platforms which are elevators for house appliances, lifting equipment on airports. 13. Lifts of handicapped people in airplane, mobile elevators of work platforms 14. Concrete pump 15. Fork lifts 16. Vehicles lifting platforms to 4 m. 17. Cranes for collecting vehicles 18. Manually controlled lifting cranes more than 100 kg 19. Elevators which are not self mobile. 20. Hydraulic mechanisms with scissors platforms with a lifting capacity of more than 200 Kg with the exception of those which are subject to more specific provisions | Initial inspection and periodic re inspection (Type AA , Type A&B) | -M.D. 15085 /593/(G.G. 1186/Β/25.8.2003) Class medium BGV D7-00 Class medium BGV D29 BGG 945, 945-1/01 Class medium BGR 182:1999 Class medium VBG 36:1997 Class medium Class low VBG 36/1997 Inspection manual of vehicle platforms testing No 9510 of VBG 14 UVV - 1996 BGV D8 :1996 Class low Inspection manual of vehicle platforms testing No 9510 of VBG 14 UVV - 1996 Class low BGV D7-2000 VBG 9 Class low BGG 945, 945-1/2000 |
| Field of inspection | Type of inspection | Normative Regulations /Standards/ In house procedures |
| Simple pressure vessels 1. Simple unfired pressure vessels designed to contain air 2. Simple unfired pressure vessels designed to contain nitrogen | Periodic re- inspection | -AD -Merkblätter 2000,(chapter HP30,WO-W13)05/06 -TRB 2002, (chapters 514 , series 800 ,801, 801 NR 34,801 NR 45) -ASME 2001 sec VIII Div 1 -B50/CEOC/CP 90 DEF -In house inspection procedures SDK- 01 , HPT-01, DB-W-01, MT-01, PT-01, RT-01, UT-01, VT-01 -ELOT EN 286-1 / 1998 -AD - Merkblätter 2000, (chapter HP 30)-05/06 -TRB 2002, (chapters 512, 514, 531, 532) -ELOT EN 286-1 / 1998 -AD - Merkblätter 2000, (chapter HP 30) -TRB 2002, (chapters 512, 514, 531, 532) |
| Metallic tanks with or without flammable material |  | -ELOT EN 12285-1:2003 -API 653: 2009/ADD3 |
| Mechanical installation for the tankage of liquid fuels. | Inspection of conformity | -AD -Merkblätter 2000,(chapter HP30,WO-W13)05/06 -DIN 6608/96, DIN4119-1/79, DIN4119-2/80 - ELOT EN 12285-1/03 &-2/05 -FEK 15/A/87, FEK 578/B/91 -PD 44 G.G 15/A/1987, PD 118/06. FEK119/A/06 CATEGORY I , II , III (The Accreditation solely covers the compliance of the body to those requirements of the above PD which are related to technical adequacy) -In house procedure for initial inspection :OE-AOT-810-01 -In house procedure for re inspection:OE –EOT -820-01 - In house procedure for inspection :OE-410-MA/01, MT-01, PT-01, RT-01, UT-01, VT-01 |
| Transportable refillable vessels | Periodic re inspection | -TRG 2007 (chapters 360,400,402,404, 765 , 770,790,801 §3.2 -§ 3.5 &§6) |
| Installation for the periodic re-inspection of refillable pressure vessels with capacity less than 450L. | Recommendation for approval of the operating regulation of the re-inspection centers. | -M.D 14165/F.17.4/373(G.G 673/B/1993) |
| Refillable pressure vessels with capacity more or equal to 450L. | Periodic re-inspection | -M.D 14165/F.17.4/373(G.G 673/B/1993) |
| Field of inspection | Type of inspection | Normative Regulations /Standards/ In house procedures |
| Steam boilers | 1. First commissioning (Certification of receipt for installation) 2. Re –inspection (Certification of periodic inspection) | -G.M.D 10735/651 (G.G B 2656/28/09/2012) Article 5 -TRD 2010 -G.M.D 10735/651 (G.G 2656/28/09/2012) Article 9 -TRD 2010 |

Address of Body headquarters: 77 Dimokratias street, 570 19 Perea Thessaloniki, Greece

Approved Signatories: C Charitidis, E.Kampisioulis, D.Daniil

This Scope of Accreditation replaces the previous one dated 26.02.2021.

The Accreditation Certificate No.825-4, to ELOT EN ISO/IEC 17020:2012, is valid until 15.07.2024.

Athens, 21.03.2024

Christos Nestoras

CEO of ESYD