Hellenic Accreditation System

# Annex F1/7 to the Certificate No. 862-3

SCOPE of ACCREDITATION

of the

the Akrokeramos Sewerage Laboratory

of the

Seawage Laboratory Analysis Department

of

Water & Seawage Company of Athens (E.YD.A.P.)

| Tested materials/ products | Types of test/ Properties to be measured | Applied Methods/ Techniques to be used |
| --- | --- | --- |
| Chemical Testing |
| Liquid Industrial Wastes & Wastewaters | 1. Determination of total suspended solids (TSS) | ELOT ΕΝ 872:2005 |
|  | 2. Determination of Chemical Oxygen Demand (COD) | ISO 15705:2002 |
|  | 3. Determination pH | ELOT 658:1983 |
|  | 4. Determination of Al, As, Cd, Cr, Cu, Fe, Hg, Ni, Pb, Se and Zn | Method code DP507OE5 In-house method based on APHA 3030K 23th ed. & ISO 17294-2:2016 |
|  | 5. Determination of Biochemical Oxygen Demand (BOD) | Method code DP507OE3 In-house method based on APHA 5210D 23th ed. |
|  | 6. Determiantion of total Phosphorous | Method code DP507OE5 In-house method based on APHA 3030K 23th ed. & ISO 17294-2:2016 |
|  | 7. Determination of Oil and Grease | Method code DP507OE10 In house method based on APHA 5520G 23th ed. |

| Tested materials/ products | Types of test/ Properties to be measured | Applied Methods/ Techniques to be used |
| --- | --- | --- |
| Microbiological Testing |
| Treated Wastewaters | 1. Detection and enumeration of Fecal Coliforms | APHA 9222D 23th ed. |
|  | 2. Detection and enumeration of Total Coliforms and E.coli | EPA 1604:2002 |
|  | 3. Detection and enumeration of enterococci | ISO 7899-2:2000 |

Site of asseseement : Permanent Laboratory premises, Propodidos str, Neos Molos Drapetsonas, 18755

Keratsini, Greece

Approved signatories : A. Eleftherianos, N. Aggelakis, V. Karmiris, G.Vasilantonopoulou,

D. Gagiouzi.

This Scope of Accreditation replaces the previous one dated 26.05.2021.

The Accreditation Certificate No 862-3, to ELOT EN ISO/IEC 17025:2017, is valid until 03.03.2025.

Athens, 27.08.2021

Spyridon Podaras

CEO  of ESYD