Hellenic Accreditation System

# Annex F1/Α33 to the Certificate No. 102-7

SCOPE of ACCREDITATION

of

the Testing Laboratory

of

«EUROFINS Athens Analysis Laboratories PCC»

| Tested materials/ products | Types of test/ Properties to be measured | Applied Standards/ Techniques to be used |
| --- | --- | --- |
| Chemical Tests |
| 1. Water (water for human consumption, pool water*, surface water, drilling water), waste and wastewater(1) *Parameters 2, 5, 16 and 33 1. Water (water for human consumption, pool water*, surface water, drilling water), waste and wastewater(1) *Parameters 2, 5, 16 and 33 (continued) | 1. Measurement of electric conductivity (#) ($) | ISO 7888:1985 |
|  |  | In house method (ΟΕ-7.0-143) based on ISO 7888:1985 by discrete analysis system |
|  | 2. Determination of pH (#) ($) | ISO 10523:2008 |
|  |  | In house method (ΟΕ-7.0-143) based on ISO 10523:2008 by discrete analysis system |
|  | 3. Determination of turbidity (#) ($) | ISO 7027-1:2016 |
|  | 4. Determination of chlorides (#) ($) | ISO 9297:1989 |
|  | 5. Determination of total and composite alkalinity, carbonate (CO32-) and bicarbonate (HCO3-) ions and carbonate hardness | ISO 9963-1:1994 |
|  |  | In house method (ΟΕ-7.0-143) based on ISO/TS 15923-2:2017 by discrete analysis system |
|  | 6. Determination of nitrate (#) ($) | LCK 339 |
|  | 7. Determination of nitrite (#) ($) | ISO 6777:1984 |
|  | 8. Determination of of Chemical Oxygen Demand (COD) | ISO 15705:2002 |
|  | 9. Determination of total and free phosphorus (#) ($) | In house method (ΟΕ-7.0-62) based on ISO 6878:2004 |
|  | 10. Determination of Kjeldahl nitrogen | ISO 5663:1984 |
|  | 11. Determination of BOD | In house method (OE-7.0-41) based on APHA 5210D, 24th Edition |
|  | 12. Determination of suspended solids | ΕLΟΤ ΕΝ 872:2005 |
|  | 13. Determination of aluminum (#) ($) | In house method (ΟΕ-7.0-67) based on ISO 10566:1994 |
|  | 14. Determination of boron (#) ($) | In house method (ΟΕ-7.0-68) based on ISO 9390:1990 |
|  | 15. Determination of free and total cyanide (#) ($) | In house method (ΟΕ-7.0-69) based on APHA 4500-CN, 24th Edition and ISO 6730/2:1984 |
|  |  | In house method (ΟΕ-7.0-143) based on APHA 4500-CN, 24th Edition, by discrete analysis system with photometric detection |
|  | 16. Determination of free and total chlorine | In house method (ΟΕ-7.0-70) based on ISO 7393-2:1985 |
|  | 17. Determination of hexavalent chromium (#) | In house method (ΟΕ-7.0-71) based on APHA 3500-Cr Β, 24th Edition |
|  | 18. Determination of sulfate (#) ($) | APHA 4500-SO42- E,. 24th Edition |
|  | 19. Determination of iron (#) ($) | In house method (ΟΕ-7.0-74) based on APHA 3500-Fe B, 24th Edition |
|  | 20. Determination of fluoride (#) ($) | In house method (ΟΕ-7.0-75) based on APHA 4500-F- D, 24th Edition |
|  | 21. Determination of colour (#) ($) | ΕLΟΤ ΕΝ ISO 7887 |
|  |  | In house method (ΟΕ-7.0-143) based on ELOT ΕΝ ISO 7887, by discrete analysis system with photometric detection |
|  | 22. Determination of Total Carbon (TC) and Total Organic Carbon (TΟC) (#) ($) | APHA 5310-Β,. 24th Edition |
|  | 23. Determination of Oil and Grease | In house method (ΟΕ-7.0-90) based on APHA 5520 Β and on APHA 5520 G,. 24th Edition |
|  | 24. Determination of silicates | Hach-Lange Method 8185 |
|  | 25. Determination of Anionic Surfactants | In house method (ΟΕ-7.0-91) based on APHA 5540 C,. 24th Edition |
|  | 26. Determination of Cationic Surfactants | LCK 331 |
|  | 27. Determination of Nonionic Surfactants | LCK 333 |
|  | 28. Determination of Total Solids (Dry Residue), Total Dissolved Solids, Volatile Solids (total, dissolved and suspended) and Fixed Solids (total, dissolved and suspended) | In house method (ΟΕ-7.0-98) based on APHA 2540 ΒC, D&Ε, 24th Edition |
| 1. Water (water for human consumption, pool water*, surface water, drilling water), waste and wastewater(1) *Parameters 2, 5, 16 and 33 (continued) | 29. Determination οf Formaldehyde | LCΚ 425 |
|  | 30. Determination of Sulfite | In house method (ΟΕ-7.0-157) based on APHA 4500-SO32- Β, 24th Edition |
|  | 31. Determination of Ammonium (#) ($) | ISO 7150-1:1984&ISO 5664:1984 |
|  | 32. Determination of Total Nitrogen | Calculated by the sum of nitrate nitrogen, nitrite nitrogen and Kjeldahl nitrogen |
|  |  | In house method (ΟΕ-7.0-153) based on ISO 11905-1:1997, LCK 238 and LCK 138 |
|  |  | In house method (ΟΕ-7.0-227) based on ISO 13878:1998 for wet drains and compost waste |
|  | 33. Determination of Cyanuric Acid | In house method (ΟΕ-7.0-158) based on HACH Method 8139 |
|  | 34. Determination of sulfides (S2-) and hydrogen sulfide (H2S) | LCK 653 |
|  | 35. Determination of phenols (phenol index) | LCK 345 |
|  | 36. Determination of ammonium, nitrate, nitrite, chloride, orthophosphate, sulfate and silicate by discrete analysis system with photometric detection (#) ($) | ISO 15923-1:2013 |
|  | 37. Determination of hexavalent chromium, fluoride, and hardness by discrete analysis system with photometric detection (#) ($) | ISO/TS 15923-2:2017 |
|  | 38. Determination of dissolved oxygen | ISO 17289:2014 |
|  | 39. Determinationof Volatile Organic Compounds (VOCs) (#) ($): Chloroform, 1,1,1-Trichloroethane,1,1,2-TrichloroethaneTetrachloromethane, Benzene, 1,2-Dichloroethane, Trichloroethene, 1,2-Dichloropropane, Bromodichloromethane, Trans-1,3-Dichloropropene, 1,1,2-Trichloroethane, Tetrachloroethene, Dibromochloromethane, m-Xylene, p-Xylene, o-Xylene, Bromoform (Tribromomethane), 1,2-Dichlorobenzene, 1,4-Dichlorobenzene, Epichlorhydrine, Vinylchloride | In house method (ΟΕ-7.0-140) based on ISO 17943:2016 and ISO 20595:2018. |
|  | 40. Determination of Bromates, Chlorates, Perchlorates, Chlorites (#) ($) | In house method (ΟΕ-7.0-144) based on Environ. Sci. Technol. 2005 15;39 (12):4586-93 with LC-MS/ΜS |
|  | 41. Determination of Adsorbable Organic Halogens (AOX) | LCΚ 390 |
|  | 42. Determination of settleable solids (Imhoff) | APHA 2540 F, 24th Edition |
|  | 43. Determination of Sodium Adsorption Ratio (SAR), Langelier index and Ryznar index | In house method (ΟΕ-7.0-191) based on U.S. Salinity Laboratory, Agriculture Handbook No. 60, 1954 ASTM- D3739-19 APHA 2330, 24th Edition |
|  | 44. Determination of Anions (Br-, Cl-, F-, NO3-, NO2-, PO42-, SO42-) | In house method (ΟΕ-7.0-242) based on ISO 10304-1:2009 |
| 1. Water (water for human consumption, pool water*, surface water, drilling water), waste and wastewater(1) *Parameters 2, 5, 16 and 33 (continued) | 45. Determination of elements (flexible scope) (#) ($) The elements are specified in detail in the List of Accredited Activities Flexible Field of the Laboratory (Document Ε-5.2, according to ESYD/G-FYTOPROST 2016, Link: LIST OF TESTS ACCREDITED IN FLEXIBLE SCOPE) | In house method (ΟΕ-7.0-93) with ICP-MS, based on ISO 17294-1:2004 and on ISO 17294-2:2016 |
|  | The flexibility that applies covers the following categories. Flexibility in relation to: adding new elements to existing matrices the integration of new matrices in existing methods the extension of methods to a new subcategory of matrices the extension/modification of existing methods (technique, scope of determination, quantification limit) Accredited Methods are described in detail on the Laboratory site. LIST OF TESTS ACCREDITED IN FLEXIBLE SCOPE |
| 2. Water (water for human consumption, surface water, groundwater) | 1. Determination of calcium | ΕLΟΤ 169:1978 |
|  | 2. Determination of total hardness | ΕLΟΤ 170:1980 |
|  | 3. Determination of permanent hardness | Calculated by the total and carbonate hardness |
| 2. Water (water for human consumption, surface water, groundwater) (continued) | 4. Determination of 184 pesticide residues (#) ($): Acetochlor, Acrinathrin, Aldrin, Atrazine, AzinphosEthyl, AzinphosMethyl, Benalaxyl, Benfluralin, Bifenox, Bifenthrin, Biphenyl, Bitertanol, Bromocyclen, BromophosEthyl, BromophosMethyl, Bromopropylate, Bromuconazole, Buprofezin, Butafenacil, Cadusafos, Carbaryl, Carbofuran, Carbophenothion, Carbosulfan, Chlordanealpha (cis), Chlordanegamma (trans), Chlorfenapyr, Chlorfenson, Chlorfenviphos, Chlorobenzilate, Chloropropylate, Chlorothalonil, ChlorpyriphosEthyl, ChlorpyriphosMethyl, Chlorthaldimethyl/DCPA, ChlorthionMethyl, Clodinafop-propargyl, Cloquintocetmexyl, Coumaphos, Cyfluthrin (4p.), Cyfluthrin-beta, Cyhalothrin-λ, Cypermethrin (4p.), Cypermethrin-αlpha, Cyproconazol, Cyprodinil, DDD-pp΄, DDE-pp΄, DDT-op΄, DDT-pp΄, Deltamethrin, Diazinon, Dichlobenil, Dichlofenthion, Dichlofluanid, Dichloran, Dichlorvos, Diclobutrazol, Dicofol, Dieldrin, Difenoconazole, Diflufenican, Dimethenamid, Diniconazol, Diphenamid, Endosulfanalpha, Endosulfanbeta, Endosulfanlactone, Endosulfansulfate, Endrin, Epoxiconazole, Esfenvalerate, Etaconazol, Ethalfluralin, Ethion, Ethoprophos, Etridiazol, Etrimfos, Famphur, Fenamiphos, Fenarimol, Fenazaquin, Fenbuconazol, Fenchlorphos, Fenitrothion, Fenoxycarb, Fenproparthrin, Fenpropidin, Fenpropimorph, Fenson, Fenvalerate, Fluazifop-P-butyl, Fluchloralin, Flucythrinate, Fludioxonil, Flufenoxuron, Fluquinconazole, Flusilazole, Fluvalinate-tau, Folpet, Furalaxyl, HCHalpha, HCHbeta, HCHdelta, HCHgamma (Lindane), Heptachlor, HeptachlorEpoxideA, HeptachlorEpoxideB, Hexachlorobenzene, Hexaconazole, Iodofenphos, Iprobenphos, Iprodione, Isazophos, Isodrin, Isofenphos, IsofenphosMethyl, Isoprocarb, Leptophos, Malathion, Mepronil, Metazachlor, Methidathion, Methoxychlor, Metolachlor, Metribuzin, Mirex, Myclobutanil, Nitrapyrin, Nitrofen, Nitrothalisopropyl, Nuarimol, o-phenylphenol, Oxadiazon, Oxyfluorfen, Paclobutrazol, ParathionEthyl, ParathionMethyl, Penconazole, Pendimethalin, Pentachloroanisole, Permethrin, Perthan, Phenothrin, Phenthoate, Phorate, Phosalone, Phosmet, Picolinafen, Piperonylbutoxide (PBO), PirimiphosEthyl, PirimiphosMethyl, Procymidone, Profenofos, Prometryn, Propargite, Propazine, Propham, Propyzamide, Prothiofos, Pyrazophos, Pyridaben, Pyrimethanil, Pyriproxyfen, Quinalphos, Quinoxyfen, Quintozene, Resmethrin, S421, Simazine, Spirodiclofen, Tebuconazole, Tecnazene, Tefluthrin, Terbuthylazine, Tetrachlorvinphos, Tetraconazole, Tetradifon, Tetramethrin, Tetrasul, Thiobencarb, TolclofosMethyl, Tolylfluanid, Transfluthrin, Triadimefon, Triazophos, Trichloronate, Trifluralin, Triticonazole, Uniconazole, Vinclozolin | In house method (ΟΕ-7.0-79) based on APHA 6410Β, 24th Edition with GC-MS/ΜS |
|  | 5. Determination of 248 pesticide residues (#) ($): 2,3,5-Trimethacarb/3,4,5-Trimethacarb, Acephate, Acetamiprid, Aldicarb, AldicarbSulfone, Ametoctradin, Ametryn, Asulam, Atrazine, Azaconazole, Azamethiphos, Azimsulfuron, AzinphosEthyl, AzinphosMethyl, Azoxystrobin, Benalaxyl, Benfuracarb, Bentazone, Benthiavalicarb-isopropyl, Benzoximate, Bispyribac-sodium, Bromacil, Bromoxynil, Bromuconazole 1&2, Bupirimate, Buprofezin, Butafenacil, Butocarboximsulfone, Butocarboximsulfoxide, Cadusafos, Carbaryl, Carbendazim, Carbofuran, Carbofuran-3-hydroxy, Carbofuran-3-keto, Carboxin, CarfentrazoneEthyl, Carpropamid, Chlorantraniliprole, Chlorbromuron, Chlorfenvinphos 1&2, Chloridazon, Chloroxuron, ChlorpyriphosEthyl, Chlorsulfuron, Chlortoluron, Clethodim, Climbazol, Clodinafop-propargyl, Clomazone, Cloquintocet-mexyl, CloransulamMethyl, Clothianidin, Coumaphos, Crimidine, Cycloate, Cycloxydim, Cyproconazol 1&2, Cyprodinil, Demeton-S-methyl, Demeton-S-methylsulfone, Desmethyl-formamido-pirimicarb, Desmethyl-pirimicarb, Desmetryn, Diazinon, Dichlorfenthion, Diclobutrazol, Dicrotophos, Diethofencarb, Difenoconazol 1&2, Diflubenzuron, Dimethenamid, Dimethoate, Dimethomorph 1&2, Dimoxystrobin, Diphenamid, Dipropetryn, Diuron, DMST, Dodemorph, Epoxiconazol, Etaconazole, Ethiofencarb, Ethiofencarbsulfone (NH4+), Ethiofencarbsulfoxide, Ethion, Ethiprole, Ethirimol, Ethoprophos, Etoxazole, Etrimfos, Fenamidone, Fenamiphos, Fenamiphossulfone, Fenamiphos-Sulfoxide, Fenarimol, Fenazaquin, Fenbuconazole, Fenhexamid, Fenitrothion, Fenoxaprop-P-ethyl, Fenoxycarb, Fenpropimorph, Fenpyroximate, Fensulfothion, Fenthionoxon, Fenthionsulfoxide, Fipronil, Fipronil-desulfinyl, Fluazifopbutyl, Fluazifop P, Flubendiamide, Fludioxinil, Flufenacet, Fluometuron, Fluopicolide, Fluoxastrobin, Flusilazole, Flutolanil, Flutriafol, Forchlorfenuron (CPPU), Formetanate, Fosthiazate, Fuberidazole, Furalaxyl, Furathiocarb, Halofenozide, Haloxyfop-2-ethoxyethyl, Heptenophos, Hexazinone, ImazamethabenzMethyl, Imazaquin, Imidachloprid, Ioxynil, Iprobenphos, Iprovalicarb 1&2, Isazofos, Isofenphos, Isoprocarb, Isoprothiolane, Isoproturon, Isoxathion, Lenacil, Linuron, Mecarbam, Mephospholan, Mepronil, Metalaxyl M, Metamitron, Metazachlor, Metconazole, Methabenzthiazuron, Methamidophos, Methidathion, Methiocarb, Methiocarbsulfoxide, Methomyl, Methoprotryne, Methoxyfenozide, Metobromuron, Metolachlor, Metoxuron, Metrafenone, Metribuzin, MetsulfuronMethyl, Monocrotophos, Monolinuron, Myclobutanil, Napropamide, Neburon, Nicosulfuron, Nitenpyram, Norflurazon, N-Phenylurea, Ofurace, Omethoate, Oxadixyl, Oxamyl-oxime, Oxycarboxin, OxydemetonMethyl, Paclobutrazol, ParaoxonEthyl, Penconazole, Pencycuron, Penoxsulam, Pethoxamid, Phenthoate, Phosalone, Phosdrin (Mevinphos), Phosmet, Phosphamidon, Phoxim, Picoxystrobin, Pinoxaden, Piperonylbutoxide, Pirimicarb, PirimiphosEthyl, PirimiphosMethyl, Prochloraz, Profoxydim 1, Profoxydim 2, Promecarb, Prometryn, Propachlor, Propamocarb, Propazine, Propiconazole, Propoxur, Propyzamide, Proquinazid, Prosulfocarb, Pymetrozine, Pyraclostrobin, PyraflufenEthyl, Pyrazophos, Pyridaphenthion, Pyrimethanil, Pyrimidifen, Pyriproxyfen, Quinalphos, Quinoxyfen, QuizalofopEthyl, Rimsulfuron, Rotenone, Sethoxydim, Simazine, Simeconazole, Spiroxamine, Sulfentrazone, Sulfotep, Tebufenozide, Tebuthiuron, Tepraloxydim, Terbufossulfone, Terbufossulfoxide (NH4+), Terbumeton, Terbuthylazine, Terbutryn, Tetrachlorvinphos, Tetraconazole, Thiabendazole, Thiachloprid, Thiamethoxam, ThifensulfuronMethyl, Thiobencarb, Thiodicarb, Thiometonsulfone, ThiophanateMethyl, Tralkoxydim, Triadimefon, Triasulfuron, Triazophos, TribenuronMethyl, Tricyclazole, Trifloxystrobin, Triflumizole, Uniconazole, Vamidothion, Vamidothionsulfone, Vamidothionsulfoxide, Zoxamide | In house method (ΟΕ-7.0-79) based on APHA 6410Β, 24th Edition with LC-MS/ΜS |
|  | 6. Determination of PAHs (#) ($): acenaphtene, acenaphthylene, anthracene, benzo[a]anthracene, benzo[a]pyrene, benzo[b]fluoranthene, benzo[ghi]perylene, benzo[k]fluoranthene, chrysene, dibenzo[a.h]anthracene, fluoranthene, fluorene, indeno[1.2.3-cd]pyrene, naphtalene, phenanthrene, pyrene | In house method (ΟΕ-7.0-80) based on ISO 28540:2011 with GC-MS/ΜS |
|  | 7. Determination of nitrate with ultraviolet Sprectrophotometric Screening method (#) ($) | APHA 4500-NO3- B, 24th Edition |
|  | 8. Determination of PCBs (#) ($): PCB 18, PCB 20, PCB 28, PCB 31, PCB 44, PCB 52, PCB 101, PCB 105, PCB 118, PCB 138, PCB 149, PCB 153, PCB 170, PCB 180, PCB 194 | In house method (ΟΕ-7.0-81) based on 6410Β, 24th Edition with GC-MS/ΜS |
|  | 9. Determination of PCΤs (#) ($): 2,3,4,5,6-pentachloro-p-terphenyl, 2,3,5,6-tetrachloro-p-terphenyl, 2,4,6-trichloro-p-terphenyl, 2,5-dichloro-p-terphenyl | In house method (ΟΕ-7.0-82) based on APHA 6410Β, 24rd Edition with GC-MS/ΜS |
|  | 10. Determination of Hydrocarbons and Mineral oils (Hydrocarbon oil index) (#) | In house method (ΟΕ-7.0-83) based on ISO 9377-2:2000 with GC-FID |
|  | 11. Determination of Phenols : 2,4,6 Trichlorophenol, 2,4-dichlorophenol, 2,4-dimethylphenol, 2-Nitrophenol, 4-Nitrophenol, 4-chloro-3-methylphenol, Pentachlorophenol, DNOC | In house method (ΟΕ-7.0-84) based on APHA 6410Β, 24th Edition with GC-MS/ΜS |
| 2. Water (water for human consumption, surfacewater, groundwater) (continued) | 12. Determination of Acrylamide (#) ($) | In house method (ΟΕ-7.0-86) based on Environmental Agency, UK (2009) with LC-MS/ΜS |
|  | 13. Determination of Permanganate Index (Oxisability) (#) ($) | ELOT ΕΝ ISO 8467 |
|  |  | LCK 394 |
|  | 14. Determination of Chloramine (Monochloramine) | In house method (ΟΕ-7.0-154) based on HACH method 10200 |
|  | 15. Determination of Ozone (O3) and substances that discolour indigo pigment | In house method (ΟΕ-7.0-155) based on APHA 4500-O3, 24th Edition |
|  | 16. Determination of Halogen Acids Concentration ($) Bromochloroacetic acid, Bromodichloroacetic acid, Bromoacetic acid, Chloroacetic acid, Dibromoacetic acid, Dibromochloroacetic acid, Dichloroacetic acid, Tribromoacetic acid, Trichloroacetic acid | In house method (ΟΕ-7.0-163) with LC-MS/MS, based on J. Duan, Analytical Methods, 2011, 7, 1667-1673 |
|  | 17. Determination of Uranium 234U, 235U και238U (##) | In house method (ΟΕ-7.0-130) based on ISO 17294-2:2016 |
|  | 18. Determination of Per- and Polyfluoroalkyl Substances (PFAS) ($) Perfluorobutyric acid (PFBA), Perfluoropentanoic acid (PFPeA), Perfluorohexanoic acid (PFHxA), Perfluoroheptanoic acid (PFHpA), Perfluorooctanoic acid (PFOA), Perfluorononanoic acid (PFNA), Perfluorodecanoic acid (PFDA), Perfluoroundecanoic acid (PFUnDA), Perflurododecanoic acid (PFDoDA), Perfluorotridecanoic acid (PFTrDA), Perfluorobutanesulfonic acid (PFBS), Perfluoropentanesulfonic acid (PFPeS), Perfluorohexanesulfonic acid (PFHxS), Perfluoroheptanesulfonic acid (PFHpS), Perfluorooctanesulfonic acid (PFOS), Perfluorononanesulfonic acid (PFNS), Perfluorodecanesulfonic acid (PFDS), Perfluoro-N-undecansulfonic acid , Perfluorododecanesulfonic acid , Perfluoro-N-tridecanesulfonic acid | In house method (ΟΕ-7.0-215) based on ISO 21675 |
|  | 19. Determination of microcystine LR($) | In house method (OE 7.0-219) with LC-MS/MS |
|  | 20. Determination of Nonylphenol (cas number: 84852-15-3) and 4-N-Nonylphenol (cas number: 104-40-5) | In house method (ΟΕ 7.0-233) with LC-MS/MS based on EPA 559 Ver 1.0 Sep. 2020 and APHA 6410Β, 24th Edition. |
|  | 21. Determination of 17b-Estradiol | In house method (ΟΕ 7.0-234) with LC-MS/ΜS based on APHA 6410Β, 24th Edition |
|  | 22. Determination of Bisphenol A | In house method (ΟΕ 7.0-225) with LC-MS/ΜS based on Peng-Peng Hao (2020): Determination of bisphenol A in barreled drinking water by a SPE–LC–MS method, Journal of Environmental Science and Health, Part A |
|  | 23. Determination of Un-Ionized Ammonia | In house method (OE 7.0-236) based on EPA, 1998, 822-R-98-008 |
| 3. Seawater and Wastewater(1) | Determination of Hydrocarbons and Mineral oils (hydrocarbon oil index) | In house method (ΟΕ-7.0-83) based on ISO 9377-2:2000 with GC-FID |
| 4. Seawater and high salinity wastewater | Determination of Chemical Oxygen Demand (COD) | LCK 1814 |
| 5. Surface water and Seawater | 1. Determination of chlorophyl Α | ISO 10260:1992 |
|  | 2. Determination of Water Transparency | In house method (ΟΕ-7.0-238) based on ISO 7027-2:2019 |
| 6. Surface water | 1. Determination of Trophic State Index (Carlson) | In house method (ΟΕ-7.0-235) based on Carlson, 1977, Limnology and Oceanography 22(2):361-369 |
|  | 2. Determination of Water Quality Index | In house method (ΟΕ-7.0-237) based on |
| 7. Water, hemodialysis fluid and ultra-pure hemodialysis fluid for hemodialysis and related therapies | 1. Determination of Li, Be, B, Na, Mg, Al, P, K, Ca, Ti, V, Cr, Mn, Co, Fe, Ni, Cu, Zn, As, Se, Sr, Mo, Ag, Cd, Sn, Sb, Ba, Hg, Tl, Pb and U | In house method (ΟΕ-7.0-93) based on ISO 17294-1:2004 and on ISO 17294-2:2016 |
|  | 2. Determination of pH | In house method (ΟΕ-7.0-143) based on ISO10523:2008 by discrete analysis system |
|  | 3. Determination of Permanganate Index (Oxidisability) | ΕLΟΤ ΕΝ ISO 8467 |
|  | 4. Determination of free and total cyanide | In house method (ΟΕ-7.0-143) based on APHA 4500-CN,. 24th Edition by discrete analysis system with photometric detection |
|  | 5. Determination of chlorides | ISO 9297:1989 |
|  | 6. Determination of fluoride | In house method (ΟΕ-7.0-75) based on APHA 4500-F- D, 24th Ed. |
|  | 7. Determination of nitrate | LCK 339 |
|  | 8. Determination of Ammonium | ISO 7150-1:1984& ISO 5664:1984 |
|  | 9. Determination of sulfate | APHA 4500-SO42- E, 24th Edition |
|  | 10. Determination of Chloramine (Monochloramine) | In house method (ΟΕ-7.0-154) based on HACH method 10200 |
| 8. Foods of plant origin Fruits and vegetables with high water content Cereals, pulses, nuts Foods of plant origin products with high fat content Products with high sugar content Plant leaves Infant and Baby foods | Determination of pesticide residues in a flexible scope of the following categories: Organophosphates, Organochlorinated, Pyrethrinoids, Triazoles, Triazines, Dinitroanilines, Amides, Benzimidazoles, Carbamates, Aryloxy-alkanoic acids, Benzoyl ureas, Strobilurins, Neonicotinoids, Polar, Dithiocarbamates, Phenolic Acids, Phthalimides, Biocides The active substances that are determined, are specified in detail in the List of Accredited Activities Flexible Field of the Laboratory (Document Ε-5.2, according to ESYD/G-FYTOPROST 2016, Link: LIST OF TESTS ACCREDITED IN FLEXIBLE SCOPE) | In house method ΟΕ-7.0-56 ΟΕ-7.0-135 ΟΕ-7.0-136 ΟΕ-7.0-141 ΟΕ-7.0-142 ΟΕ-7.0-162 All the above are based on SANTE/11312/2021 Analytical Techniques LC-MS/MS, GC-MS/MS, GC-MS In house method of Flexible Scope ΟΕ-7.2-7 |
|  | The flexibility that applies covers the following categories Flexibility in relation to adding new elements to existing matrices the integration of new matrices in existing methods the extension of methods to a new subcategory of matrices the extension / modification of existing methods (technique, scope of determination, quantification limit) Accredited Methods are described in detail on the Laboratory’s site. |
| 9. a) Fruits and vegetables with high water content: [stone fruits, pome fruits, fruiting vegetables, citrus fruits, root-tuber vegetables, stem vegetables, small fruits, pulses vegetables, brassica vegetables, bulb vegetables, leaf vegetables and fresh herbs, miscellaneous], as referred to Regulations EC 396/2005 and EC 187/2006 b) Cereals, pulses, nuts 9. a) Fruits and vegetables with high water content: [stone fruits, pome fruits, fruiting vegetables, citrus fruits, root-tuber vegetables, stem vegetables, small fruits, pulses vegetables, brassica vegetables, bulb vegetables, leaf vegetables and fresh herbs, miscellaneous], as referred to Regulations EC 396/2005 and EC 187/2006 b) Cereals, pulses, nuts (continued) | 1. Determination of 459 pesticide residues: 2.3.5-Trimethacarb/3.4.5-Trimethacarb, 2.4-D, 2-Naphthoxy acetic acid, Acephate, Acetamiprid, Acetochlor, Acibenzolar-S-methyl, Aclonifen, Acrinathrin, Alaclor, Aldicarb, Aldicarb sulfone, Allethrin, Ametoctradin, Ametryn, Amidosulfuron, Aminocarb, Atrazine, Atrazine-desethyl, Azaconazole, Azadirachtin, Azamethiphos, Azimsulfuron, Azinphos ethyl, Azinphos methyl, Azoxystrobin, Barban, Beflubutamid, Benalaxyl, Bendiocarb, Bensulfuron methyl, Bentazone, Benthiavalicarb-isopropyl, Benzoximate, Bifethrin, Bispyribac-sodium, Bitertanol, Bixafen, Boscalid, Bromacil, Bromoxynil, Bromuconazole, Bupirimate, Buprofezin, Butafenacil, Butocarboxim, Butocarboxim sulfone, Butocarboxim sulfoxide, Butralin, Buturon, Butylate, Cadusafos, Carbaryl, Carbendazim, Carbetamide, Carbofuran-3-hydroxy, Carbofuran-3-keto, Carbophenothion,, Carboxin, Carfentrazone ethyl, Carpropamid, Chlorantraniliprole, Chlorbromuron, Chlorbufam, Chlorfenson, Chlorfenvinphos, Chlorfluazuron, Chloridazon, Chloroxuron, Chlorpropham, Chlorpyriphos ethyl, Chlorpyriphos methyl, Chlorsulfuron, Chlorthiophos, Chlortoluron, Chromafenozide, Cinidon ethyl, Clethodim, Climbazole, Clodinafop-propargyl, Clomazone, Cloransulam methyl, Cloquintocet mexyl, Clothianidin, Coumaphos, Crimidine, Cyanazine, Cyanofenphos, Cyanophos, Cyazofamid, Cyclanilide, Cycloate, Cycloxydim, Cyflufenamid, Cyhalothrin-lambda, Cymoxanil, Cypermehrin, Cyproconazole, Cyprodinil, DEET, Deltamethrin, Demeton-S-methyl, Demeton-S-methyl sulfone, Demeton-S-methyl sulfoxide, Desmedipham, Desmetryn, Diallate, Diazinon, Dicamba, Dichlofenthion, Dichlorprop, Diclobutrazol, Diclosulam, Dicrotophos, Diethofencarb, Difenoconazole, Diflubenzuron, Diflufenican, Dimethachlor, Dimethoate, Dimethomorph, Dimoxystrobin, Diniconazole, Dinitramine, Dinobuton, Dinoseb, Dinoterb, Dioxacarb, Dioxathion, Diphenamid, Dipropetryn, Disulfoton sulfone, Disulfoton sulfoxide, Disulfuton, Diuron, DMF, DMPF, DMST, DNOC, Dodemorph, Emamectin benzoate, EPN, Epoxiconazole, Etaconazole, Ethiofencarb, Ethiofencarb sulfone, Ethiofencarb sulfoxide, Ethion, Ethiprole, Ethirimol, Ethofumesate, Ethoprophos, Ethoxysulfuron, Etofenprox, Etoxazole, Etrimfos, Famoxadone, Famphur, Fenamidone, Fenamiphos, Fenamiphos sulfone, Fenamiphos sulfoxide, Fenarimol, Fenazaquin, Fenbuconazole, Fenchlorazol ethyl, Fenchlorphosoxon, Fenhexamid, Fenobucarb, Fenoxaprop, Fenoxycarb, Fenpiclonil, Fenpropathrin, Fenpropimorph, Fenpyroximate, Fensulfothion, Fensulfothionoxon sulfone, Fensulfothion sulfone, Fenthion, Fenthion oxon, Fenthion oxon sulfone, Fenthion oxon sulfoxide, Fenthion sulfone, Fenthion sulfoxide, Fenuron, Fenvalerate, Fipronil, Fipronil desulfinyl, Fipronil sulfone, Flazasulfuron, Flonicamid, Fluazifop butyl, Fluazifop P, Flubendiamide, Fludioxinil, Flufenacet, Flufenoxuron, Flumetralin, Flumioxazine, Fluometuron, Fluopicolide, Fluopyram, Fluotrimazole, Fluoxastrobin, Flupyradifurone, Fluqiconazole, Flurochloridone, Fluroxypyr, Fluroxypyrmeptyl, Flurprimidol, Flurtamone, Flusilazole, Fluthiacet methyl, Flutolanil, Flutriafol, Fluvalinate-tau, Fluxapyroxad, Fomesafen, Fonofos, Foramsulfuron, Forchlorfenuron (CPPU), Formetanate, Fosthiazate, Fuberidazole, Furalaxyl, Furathiocarb, Gibberelic Acid, Halfenprox, Halofenozide, Halosulfuron methyl, Haloxyfop, Haloxyfop-2-ethoxyethyl, Haloxyfop-methyl, Heptenophos, Hexaconazole, Hexaflumuron, Hexazinone, Hexythiazox, Imazalil, Imazamethabenz methyl, Imazamox, Imazosulfuron, Imibenconazole, Imidacloprid, Indoxacarb, Iodosulfuron methyl sodium, Ioxynil, Ipconazole, Iprobenphos, Iprovalicarb, Isazofos, Isocarbophos, Isofenphos, Isofenphos methyl, Isoprocarb, Isopropalin, Isoprothiolane, Isoproturon, Isopyrazam, Isoxaben, Isoxadifen-ethyl, Isoxaflutole, Isoxathion, Kresoxim methyl, Lactofen, Lenacil, Linuron, Lufenuron, Malaoxon, Malathion, Mandipropamid, MCPA, Mecarbam, Mecoprop P, Mefenacet, Mefenpyr diethyl, Mepanipyrim, Mephospholan, Mepronil, Metaflumizone, Metalaxyl/Metalaxyl M, Metazachlor, Metconazole, Methabenzthiazuron, Methamidophos, Methidathion, Methiocarb, Methiocarb sulfone, Methiocarb sulfoxide, Methomyl, Methoprotryne, Methoxyfenozide, Metobromuron, Metolachlor, Metolcarb, Metosulam, Metoxuron, Metrafenone, Metribuzin, Metsulfuron methyl, Molinate, Monocrotophos, Monolinuron, Monuron, Myclobutanil, Napropamide, Neburon, Nitenpyram, Nitralin, Norflurazon, Novaluron, N-Phenylurea, Nuarimol, Ofurace, Omethoate, Oryzalin, Oxadiargyl, Oxadiazon, Oxadixyl, Oxamyl, Oxycarboxin, Oxydemeton methyl, Paclobutrazol, Paraoxon ethyl, Paraoxon methyl, Penconazole, Pencycuron, Pendimethalin, Penoxsulam, Permethrin, Pethoxamid, Phenmedipham, Phenthoate, Phorate, Phorate sulfoxide, Phosalone, Phosdrin (Mevinphos), Phosmet, Phosmetoxon, Phosphamidon, Phoxim, Picolinafen, Picoxystrobin, Piperonyl butoxide, Pirimicarb, Pirimicarb desmethyl, Pirimicarb-desmethyl-formamido, Pirimiphos ethyl, Pirimiphos methyl, Pirimiphos-Methyl-N-Desethyl, Prallethrin, Prochloraz, Profenofos, Profoxydim, Promecarb, Prometryn, Propachlor, Propamocarb, Propanil, Propaquizafop, Propargite, Propazine, Propetamphos, Propiconazole, Propoxur, Propoxycarbazone, Propyzamide, Proquinazid, Prosulfocarb, Prosulfuron, Prothioconazole, Prothioconazoledesthio, Pyraclostrobin, Pyraflufen ethyl, Pyrasulfotole, Pyrazophos, Pyridaben, Pyridalyl, Pyridaphenthion, Pyrifenox, Pyrimethanil, Pyrimidifen, Pyriproxyfen, Quinalphos, Quinoxyfen, Quizalofop ethyl, Rotenone, Saflufenacil, Sethoxydim, Siduron, Silthiofam, Simazine, Simeconazole, Spinetoram, Spinosyn A&D, Spirodiclofen, Spiromesifen, Spirotetramat, Spirotetramat Metabolite keto hydroxy, Spirotetramat Metabolite mono hydroxy, Spiroxamine, Sulfentrazone, Sulfosulfuron, Sulfotep, Sulfoxaflor, Sulprofos, Tebuconazole, Tebufenozide, Tebufenpyrad, Tebuthiuron, Teflubenzuron, Temephos, Tepraloxydim, Terbacil, Terbufos, Terbufos sulfone, Terbufos sulfoxide, Terbumeton, Terbuthylazine, Terbutryn, Tetrachlorvinphos, Tetraconazole, Tetramethrin, Thiabendazole, Thiachloprid, Thiamethoxam, Thidiazuron, Thifensulfuron methyl, Thiobencarb, Thiofanox sulfoxide, Thiometon sulfone, Thiophanate methyl, Tiocarbazil, Tolclofos Methyl, Topramezone, Tralkoxydim, Triadimefon, Triadimenol, Triallate, Triasulfuron, Triazophos, Tribenuron methyl, Trichlorfon, Triclopyr, Tricyclazole, Tridemorph, Trifloxystrobin, Triflumizole, Triflumuron, Triflusulfuron methyl, Triticonazole, Tritosulfuron, Uniconazole, Valifenalate, Vamidothion, Vamidothion sulfone, Vamidothion sulfoxide, Warfarin, Zoxamide. | In house method (ΟΕ-7.0-210), based on ΕLΟΤ EN 15662 and SANTE/11312/2021 LC-TOF-MS |
| 9. c) Plant origin products with high fat content | 1. Determination of 355 pesticide residues: Acetamiprid, Acetochlor, Acibenzolar-S-methyl, Acrinathrin, Alachlor, Aldicarb, Aldicarb-sulfone, Allethrin, Ametoctradin, Ametryn, Aminocarb, Atrazine, Atrazine-desethyl, Avermectin B1a, Azaconazole, Azamethiphos, Azinphos-ethyl, Azinphos-Methyl, Azoxystrobin, Beflubutamid, Benalaxyl, Benthiavalicarb-isopropyl, Bitertanol, Bixafen, Bromacil, Bromuconazole, Bupirimate, Buprofezin, Butafenacil, Butocarboxim sulfone, Butralin, Butylate, Cadusafos, Carbaryl, Carbendazim, Carbofuran, Carbofuran-3-hydroxy, Carbophenothion, Carboxin, Carfentrazone Ethyl, Carpropamid, Chlorantraniliprole, Chlorbromuron, Chlorbufam, Chlorfluazuron, Chloridazon, Chloroxuron, Chlorpropham, Chlorpyrifos-ethyl, Chlorpyriphos-methyl, Chlorthiophos, Chlortoluron, Climbazole, Clodinafop-propargyl, Clofentezine, Clomazone, Cloquintocet-methyl hexyl ester, Cloquintocet-mexyl, Clothianidin, Coumaphos, Crimidine, Cyanazine, Cyanofenphos, Cycloate, Cyflufenamid, Cyhalothrin-lambda, Cyproconazole, Cyprodinil, Deltamethrin, Demeton-S-methyl, Demeton-S-methyl sulfone, Desmedipham, Desmetryn, Diazinon, Dichlofenthion, Dichlofluanid, Diclobutrazol, Dichlorprop, Dicrotophos, Diethofencarb, Difenoconazole, Diflubenzuron, Diflufenican, Dimefuron, Dimethenamid, Dimethoate, Dimethomorph, Dimoxystrobin, Diniconazole (E+Z), Dinitramine, Diphenylamine, Dipropetryn, Diuron, DMSA, DMST, Dodine, Epoxiconazole, Etaconazole, Ethiofencarb-sulfone, Ethiofencarb-sulfoxide, Ethiprole, Ethofumesate, Ethoprophos, Ethoxyquin, Etofenprox, Etoxazole, Etrimfos, Famphur, Fenamiphos, Fenamiphos-sulfone, Fenamiphos-sulfoxide, Fenarimol, Fenazaquin, Fenbuconazole, Fenchlorazol-ethyl, Fenchlorphos-oxon, Fenhexamid, Fenobucarb, Fenoxaprop-p-ethyl, Fenoxycarb, Fenpropathrin, Fenpyroximate, Fenson, Fensulfothion, Fensulfothion-oxon, Fenthion oxon sulfoxide, Fenthion-oxon, Fenthion-sulfone, Fenthion-sulfoxide, Fenvalerate, Fipronil, Flonicamid, Fluazifop, Fluazifop-butyl, Flubendiamide, Flucythrinate, Fludioxonil, Flufenacet, Flufenoxuron, Flumioxazin, Fluometuron, Fluopicolide, Fluopyram, Fluoxastrobin, Flupyradifurone, Fluquinconazole, Flurochloridone, Fluroxypyr-meptyl, Flurprimidol, Flusilazole, Fluthiacet-methyl, Flutolanil, Flutriafol, Fluvalinate-tau, Fluxapyroxad, Formetanate, Formothion, Fosthiazate, Fuberidazole, Furalaxyl, Furathiocarb, Halfenprox, Halofenozide, Haloxyfop ethoxy ethyl ester, Haloxyfop-methyl, Hexaconazole, Hexaflumuron, Hexazinone, Hexythiazox, Icaridin (Picaridin), Imazalil, Imazamethabenz-Methyl, Imibenconazole, Imidacloprid, Indoxacarb, Iodosulfuron-methyl-sodium, Ipconazole, Iprobenfos, Iprovalicarb, Isazophos, Isofenphos, Isofetamid, Isopropalin, Isoprothiolane, Isoproturon, Isopyrazam, Isoxaben, Isoxadifen-ethyl, Isoxaflutole, Isoxathion, Karanjin, Kresoxim-methyl, Lactofen, Lenacil, Lufenuron, Malaoxon, Malathion, Mandipropamid, Mecarbam, Mefenacet, Mefenpyr-diethyl, Mepanipyrim, Mephosfolan, Mepronil, Metalaxyl -M, Metamitron, Metazachlor, Metconazole, Methidathion, Methiocarb, Methiocarb Sulfone, Methiocarb Sulfoxide, Methoprotryne, Methoxyfenozide, Metolachlor, Metoxuron, Metrafenone, Monolinuron, Myclobutanil, Naled, Napropamide, Neburon, Nitenpyram, Nitralin, Norflurazon, Novaluron, N-Phenylurea, Nuarimol, Omethoate, Oryzalin, Oxadiazon, Oxamyl, Oxathiapiprolin, Oxycarboxin, Paclobutrazol, Paraoxon-Methyl, Pencycuron, Pethoxamid, Phenthoate, Phorate, Phosalone, Phosmet, Phosmet oxon, Phosphamidon, Picolinafen, Picoxystrobin, Piperonyl butoxide, Pirimicarb, Pirimicarb-desmethyl, Pirimiphos Ethyl, Prochloraz, Profenophos, Promecarb, Prometryne, Propachlor, Propanil, Propaquizafop, Propargite, Propazine, Propiconazole, Propoxycarbazone, Propoxur, Propyzamide, Prosulfocarb, Prosulfuron, Prothioconazole-desthio, Pyraclostrobin, Pyraflufen-ethyl, Pyrazophos, Pyrethrin I, Pyridaben, Pyridaphenthion, Pyrifenox, Pyrimethanil, Pyriproxyfen, Quinalphos, Quinoxyfen, Quizalofop Ethyl, Rotenone, Siduron, Silthiofam, Simazine, Simeconazole, Spirodiclofen, Spirotetramat, Sulfotep, Sulfoxaflor, Sulprofos, Tebuconazole, Tebufenozide, Tebufenpyrad, Tebuthiuron, Teflubenzuron, Temephos, Terbufos, Terbufos sulfone, Terbufos sulfoxide, Terbumeton, Terbuthylazine, Terbutryn, Tetrachlorvinphos, Tetraconazole, Tetraethylpyrophosphate, Tetramethrin, TFNA-AM, Thiabendazole, Thiacloprid, Thiamethoxam, Thiobencarb, Thiodicarb, Thiometon sulfoxide, Thiophanate methyl, Tolclofos Methyl, Tolyfluanid, Triadimefon, Triazophos, Trichlorfon, Triclopyr, Tricyclazole, Trifloxystrobin, Triflumizole, Triflumuron, Triticonazole, Uniconazole, Valifenalate, Vamidothion, Vamidothion sulfone, Vinclozolin. | In house method (ΟΕ-7.0-210), based on ΕLΟΤ EN 15662 and SANTE/11312/2021 LC-TOF-MS |
| 9. d) Products with high sugar content | 1. Determination of 465 pesticide residues: 1,2-Naphthoxyaceticacid, 1-Naphthylacetamide, 2,4,6-Trichlorophenol, 2,4-D, 2,6Dichlorobenzamide, 3,4,5-Trimethacarb, Acephate, Acetamiprid, Acibenzolar-S-methyl, Alachlor, Aldicarb, Aldicarb-sulfone, Allethrin, Ametoctradin, Ametryn, Amidosulfuron, Amidosulfuron, Aminocarb, Asulam, Atrazine, Atrazine-desethyl, Azaconazole, Azamethiphos, Azimsulfuron, Azinphos-ethyl, Azinphos-Methyl, Azoxystrobin, Beflubutamid, Beflubutamid, Benalaxyl, Bendiocarb, Bensulfuron-methyl, Bentazone, Benthiavalicarb-isopropyl, Benzoximate, Bifenazate, Bifenthrin, Bitertanol, Bixafen, Boscalid, Bromacil, Bromoxynil, BromuconazolePeak, BromuconazolePeak2, Bupirimate, Buprofezin, Butafenacil, Butocarboximfrag, Butocarboximsulfone, Butocarboxim-sulfoxide, Buturon, Butylate, Cadusafos, Carbaryl, Carbendazim, Carbetamide, Carbofuran, Carbofuran-3-hydroxy, Carbofuran-3-keto, Carboxin, CarfentrazoneEthyl, Carpropamid, Chlorantraniliprole, Chlorbromuron, Chlorbufam, ChlorfenvinphosmixofZ&Eisomers, Chloridazon, Chloroxuron, Chlorpropham, Chlorpyrifos-ethyl, Chlorpyriphos-methyl, Chlorsulfuron, Chlorthiamid, Chromafenozide, Clethodim, Climbazole, Clodinafop-propargyl, Clofentezine, Clomazone, Clopyralid, Cloquintocet--methylhexylester, Clothianidin, Coumaphos, Crimidine, Cyanazine, Cyanofenphos, Cyanophos, Cyantraniliprole, Cyazofamid, Cyclanilide, Cyclanilide, Cycloate, Cycloxydim, Cyflufenamid, Cymiazole, Cyproconazole, Cyprodinil, Deet, Deltamethrin, Demeton-S-methyl, Demeton-S-methyl sulfone, Demeton-S-methyl sulfoxide, Desmedipham, Desmetryn, Diallate, Diazinon, Dicamba, Dichlorprop, Diclofop Methyl, Dicrotophos, Diethofencarb, Difenoconazole, Diflubenzuron, Diflubenzuron, Diflufenican, Dimefuron, Dimethachlor, Dimethenamid, Dimethoate, Dimethomorph, Dimoxystrobin, Diniconazole(E+Z), Dinitramine, Dinobuton, Dinoseb, Dinoterb, Diphenamid, Diphenylamine, Dipropetryn, Disulfoton, Disulfoton-sulfone, Disulfoton-sulfoxide, Dithianon, Diuron, DMA, DMF, DMPF, DMSA, DMST, DNOC, Dodemorph, Dodine, Edifenphos, Emamectin B1a, EPN, Epoxiconazole, EPTC, Etaconazole, Ethiofencarb, Ethiofencarb-sulfone, Ethiofencarb-sulfoxide, Ethion, Ethiprole, Ethirimol, Ethofumesate, Ethoprophos, Etofenprox, Etoxazole, Etridiazole, Etrimfos, Famoxadone, Famphur, Fenamidone, Fenamiphos, Fenamiphos-sulfone, Fenamiphos-sulfoxide, Fenarimol, Fenazaquin, Fenbuconazole, Fenhexamid, Fenhexamid, Fenobucarb, Fenoxaprop, Fenoxaprop-p-ethyl, Fenoxycarb, Fenpiclonil, Fenpropidin, Fenpropimorph, Fenpyrazamine, Fenpyroximate, Fenson, Fensulfothion, Fensulfothion-oxon, Fensulfothion-oxon-sulfone, Fenthion, Fenthionoxon sulfoxide, Fenthion-oxon, Fenthion-oxon-Sulfone, Fenthion-sulfone, Fenthion-sulfoxide, Fenuron, Fipronil, Fipronil, Fipronil-desulfinyl, Fipronil-sulfone, Flonicamid, Fluazifop, Fluazifop-butyl, Flubendiamide, Fludioxonil, Fludioxonil, Flufenacet, Flufenoxuron, Flufenoxuron, Flumioxazin, Fluometuron, Fluopicolide, Fluopyram, Fluoroglycofen-ethyl, Fluoxastrobin, Flupyradifurone, Fluquinconazole, Flurochloridone, Fluroxypyr-meptyl, Flurprimidol, Flurtamone, Flusilazole, Flutolanil, Flutriafol, Fluxapyroxad, Fluxapyroxad, Fomesafen, Fonofos (Dyfonate), Forchlorfenuron, Formetanate, Fosthiazate, Fuberidazole, Furalaxyl, Furathiocarb, Gibberellic acid, Halfenprox, Halofenozide, Halosulfuron-methyl, Haloxyfop, Haloxyfop ethoxy ethyl ester, Haloxyfop-methyl, Hexaconazole, Hexaflumuron, Hexazinone, Hexythiazox, Icaridin (Picaridin), Imazalil, Imazamethabenz-Methyl, Imazamox, Imazapic, Imibenconazole, Imidacloprid, Indoxacarb, Iodosulfuron-methyl-sodium, Ioxynil, Ipconazole, Iprobenfos, Iprodione, Iprovalicarb, Isazophos, Isofenphos, Isofenphos-methyl, Isofetamid, Isoprocarb, Isoprothiolane, Isoproturon, Isopyrazam, Isoxaben, Isoxadifen-ethyl, Isoxaflutole, Isoxathion, Karanjin, Kresoxim-methyl, Lenacil, Linuron, Lufenuron, Malaoxon, Malathion, Mandipropamid, MCPA, MCPB, Mecarbam, Mecoprop, Mefenacet, Mefenpyr-diethyl, Mepanipyrim, Mephosfolan, Mepronil, Metaflumizone, Metalaxyl-M, Metamitron, Metazachlor, Metconazole, Methacrifos, Methamidophos, Methidathion, Methiocarb, Methiocarb Sulfone, Methiocarb Sulfoxide, Methomyl, Methoprotryne, Methoxyfenozide, Metobromuron, Metolachlor, Metosulam, Metoxuron, Metrafenone, Mevinphos (Phosdrin), Molinate, Monocrotophos, Monolinuron, Monuron, Myclobutanil, Napropamide, Neburon, Nicosulfuron, Nitenpyram, Nitralin, Norflurazon, Novaluron, Noviflumuron, N-Phenylurea, Nuarimol, Ofurace, Omethoate, Oryzalin, Oxadiargyl, Oxadiazon, Oxadixyl, Oxamyl, Oxathiapiprolin, Oxycarboxin, Oxydemeton Methyl (Demeton-S-methylsulfoxide), Paclobutrazol, Paraoxon-Ethyl, Paraoxon-Methyl, Parathion, Pebulate, Penconazole, Pencycuron, Pendimethalin, Penoxsulam, Penthiopyrad, Pethoxamid, Phenmedipham, Phenthoate, Phorate, Phosalone, Phosmet, Phosmetoxon, Phosphamidon, Phoxim, Picolinafen, Picoxystrobin, Pinoxaden, Piperonyl butoxide, Pirimicarb, Pirimicarb-desmethyl, Pirimiphos Ethyl, Pirimiphos Methyl, Pirimiphos-methyl-N-desethyl, Prochloraz, Profenophos, Profoxydim, Promecarb, Prometryne, Propachlor, Propamocarb, Propanil, Propaquizafop, Propargite, Propazine, Propetamphos, Propham, Propiconazole, Propoxur, Propoxycarbazone, Propyzamide, Proquinazid, Prosulfocarb, Prosulfuron, Prothioconazole-desthio, Pyraclostrobin, Pyraflufen-ethyl, Pyrasulfotole, Pyrazophos, Pyridaben, Pyridalyl, Pyridaphenthion, Pyrifenox, Pyrimethanil, Pyrimidifen, Pyriproxyfen, Quinalphos, Quinoxyfen, Quizalofop, Quizalofop Ethyl, Rotenone, Sethoxydim, Siduron, Silthiofam, Simazine, Simeconazole, Spinetoram, Spinosad, Spirodiclofen, Spiromesifen, Spirotetramat Metabolite BYI08330-Mono-Hydroxy, Spirotetramat, Spiroxamine, Sulfentrazone, Sulfosulfuron, Sulfotep, Sulfoxaflor, Sulprofos, Tebuconazole, Tebufenozide, Tebufenpyrad, Tebufenozide, Tebuthiuron, Teflubenzuron, Temephos, Tepraloxydim, Terbacil, Terbufos, Terbufos sulfone, Terbufoss sulfoxide, Terbumeton, Terbuthylazine, Terbutryn, Tetrachlorvinphos, Tetraconazole, Tetraethylpyrophosphate, Tetramethrin, Thiabendazole, Thiacloprid, Thiamethoxam, Thidiazuron, Thifensulfuron-methyl, Thiobencarb, Thiodicarb, Thiofanox, Thiofanox sulfone, Thiometon sulfone, Thiometon sulfoxide, Thiophanate methyl, Tiocarbazil, Tolclofos Methyl, Topramezone, Tralkoxydim, Triadimefon, Triasulfuron, Triazophos, Trichlorfon, Triclopyr, Tricyclazole, Tridemorph, Trifloxystrobin, Triflumizole, Triflumuron, Triflusulfuron-methyl, Triticonazole, Uniconazole, Valifenalate, Vamidothion, Vamidothion sulfone, Vamidothion sulfoxide, Vinclozolin, Warfarin, Zoxamide. | In house method (ΟΕ-7.0-210), based on ΕLΟΤ EN 15662 and SANTE/11312/2021 LC-TOF-MS |
| 10. Special categories (spices, herbs, tea, coffee, cocoa) 10. Special categories (spices, herbs, tea, coffee, cocoa) (continued) | Determination of 208 pesticide residues: Acetochlor, Aclonifen, Acrinathrin, Ametryn, Atrazine, Azaconazole, Azinphos Ethyl, Azoxystrobin, Benalaxyl, Benfluralin, Bifenox, Bifenthrin, Biphenyl, Bitertanol 1&2, Boscalid, Bromophos Ethyl, Bromophos Methyl, Bromopropylate, Bromuconazole 1, Bromuconazole 2, Buprofezin, Butafenacil, Cadusafos, Carbofuran, Chlorbufam, Chlordane alpha (cis), Chlordane gamma (trans), Chlorfenapyr, Chlorfenson, Chlorfenviphos 1, Chlorfenviphos 2, Chlorobenzilate, Chloropropylate, Chlorothalonil, Chlorpropham, Chlorpyriphos Ethyl, Chlorpyriphos Methyl, Chlorthal dimethyl/DCPA, Chlorthion Methyl, Chlorthiophos, Chlozolinate, Climbazole, Clodinafop-propargyl, Cloquintocet mexyl, Coumaphos, Cyanazine, Cyanofenphos, Cycloate, Cyflufenamide, Cyfluthrin (Mix of Isomers), Cyhalothrin lambda, Cypermehrin (Mix of Isomers), Cyproconazol 1&2, Cyprodinil, Desmetryn, Diallate-trans, Diazinon, Dichlofenthion, Dichlorvos, Diclobutrazol, Dicofol 1,2, Dieldrin, Dimethenamid, Dinitramine, Dioxathion, Diphenamid, Dipropetryn, Dyfonate (Fonophos), Endosulfan alpha, Endosulfan beta, Endosulfan lactone, Endosulfansulfate, Endrin, Epoxiconazole 1&2, Esfenvalerate, Etaconazol 1&2, Ethalfluralin, Ethion, Etridiazol, Etrimfos, Fenamiphos, Fenarimol, Fenbuconazol, Fenchlorphos, Fenitrothion, Fenoxycarb, Fenproparthrin, Fenpropimorph, Fenson, Fensulfothion, Fenthion, Fenvalerate 1, Fenvalerate 2, Fipronil, Fluazifop-P-butyl, Fluchloralin, Flucythrinate 1, Flucythrinate 2, Fludioxonil, Flufenoxuron, Flumetralin, Fluopicolide, Fluotrimazole, Fluquinconazole, Flusilazole, Flutriafol, Fluvalinate-tau 1&2, Formothion, Furalaxyl, Haloxyfop-etotyl, HCH alpha, HCH beta, HCH delta, HCH gamma, Heptachlor Epoxide A, Heptachlor Epoxide B, Heptenophos, Hexaconazole, Hexazinone, Indoxacarb, Iodofenphos, Iprobenphos, Isazophos (Miral), Isocarbophos, Isofenphos, Isofenphos Methyl, Isoprocarb, Isopropalin, Isoprothiolane, Isoxathion, Kresoxim-methyl, Malathion, Mecarbam, Mepronil, Metalaxyl, Metazachlor, Methacrifos, Methoprotryne, Methoxychlor 2, Metolachlor, Metribuzin, Mevinphos/Phosdrin, Myclobutanil, Naled, Napropamide, Nitrapyrin, Nitrofen, Nitrothal isopropyl, Nuarimol, o-phenylphenol, Oxadiazon, Oxadixyl, Oxyfluorfen, Paclobutrazol, Paraoxon Ethyl, Parathion Ethyl, Penconazole, Pendimethalin, Perthan, Phenthoate, Phosalone, Picoxystrobin, Piperonyl butoxide (PBO), Pirimiphos Ethyl, Pirimiphos Methyl, Prochloraz, Procymidone, Profenofos, Prometryn, Propachlor, Propazine, Propetamphos, Propham, Propisochlor, Propyzamide, Prosulfocarb, Prothiofos, Pyraflufen Ethyl, Pyrazophos, Pyridaben, Pyridalyl, Pyrimethanil, Quinalphos, S421, Simeconazole, Spiromesifen, Spirotetramat, Tebuconazole, Tebufenpyrad, Tefluthrin, Terbacil, Terbufos, Terbumeton, Terbuthylazine, Terbutryn, Tetraconazole, Thiobencarb, Tolclofos Methyl, Transfluthrin, Triadimefon, Triadimenol 1&2, Triallate, Triazophos, Trifloxystrobin, Trifluralin, Triticonazole, Uniconazole, Vinclozolin. | In house method (ΟΕ-7.0-56) with GC-MS/ΜS, based on ΕLΟΤ EN 15662 and SANTE/11312/2021 |
|  | Determination of 222 pesticide residues: 2,3,5-Trimethacarb/3,4,5-Trimethacarb, Acephate, Acetamiprid, Alaclor, Ametryn, Atrazine, Azaconazole, Azamethiphos, Azinphos Ethyl, Azinphos Methyl, Azoxystrobin, Benalaxyl, Boscalid, Bromacil, Bromuconazole 1&2, Bupirimate, Cadusafos, Carbaryl, Carbendazim, Carbetamide, Carbofuran, Carpropamid, Chlorantraniliprole, Chlorfenvinphos 1&2, Chloridazon, Chlorpropham, Chlorpyriphos Ethyl, Chlortoluron, Chromafenozide, Clodinafop-propargyl, Clomazone, Clothianidin, Crimidine, Cyanazine, Cyanofenphos, Cycloate, Cyflufenamid, Cymiazole, Cyproconazol 1&2, Cyprodinil, DEET, Deltamethrin, Desmethyl-formamido-pirimicarb, Desmetryn, Diazinon, Diclobutrazol, Dicrotophos, Diethofencarb, Difenoconazol 1&2, Dimethenamid, Dimethoate, Dimethomorph 1&2, Dimoxystrobin, Diniconazol, Diphenamid, Dipropetryn, Diuron, DMST, Dodemorph, Epoxiconazol, Etaconazole, Ethion, Ethiprole, Ethofumesate, Ethoprophos, Etrimfos, Fenamidone, Fenamiphos, Fenamiphos sulfone, Fenarimol, Fenbuconazole, Fenitrothion, Fenobucarb, Fenoxycarb, Fenpropimorph, Fensulfothion, Fenthion oxon, Fenthion sulfoxide, Fipronil, Fluazifop butyl, Flubendiamide, Fludioxonil, Flufenacet, Flufenoxuron,Fluometuron, Fluopicolide, Fluopyram, Fluoroglycofen Ethyl, Fluoxastrobin, FluroxypyrMeptyl, Flurtamone, Flusilazole, Flutolanil, Flutriafol, Fluxapyroxad, Formetanate, Fosthiazate, Fuberidazole, Furalaxyl, Furathiocarb, Halofenozide, Haloxyfop-2-ethoxyethyl, Haloxyfop-methyl, Heptenophos, Hexaconazole, Hexazinone, Imazalil, Imazamethabenz Methyl, Imidachloprid, Indoxacarb, Iprobenphos, Iprovalicarb 1&2, Isazofos, Isofenphos, Isofenphos Methyl, Isoprocarb, Isoprothiolane, Isoproturon, Isopyrazam, Isoxaben, Isoxadifen-ethyl, Isoxathion, Kresoxim Methyl, Lenacil, Malaoxon, Mandipropamid, Mefenacet, Mefenpyr Diethyl , Mephospholan, Mepronil, Metalaxyl M, Metamitron, Metazachlor, Metconazole, Methidathion, Methiocarb sulfoxide, Methomyl, Methoprotryne, Methoxyfenozide, Metobromuron, Metoxuron, Metrafenone, Metribuzin, Monuron, Myclobutanil, Napropamide, Nitrothal isopropyl, Norflurazon, Ofurace, Omethoate, Oxadiargyl, Oxadiazon , Oxadixyl, Oxamyl, Paclobutrazol, Paraoxon Ethyl, Penconazole, Pendimethalin, Pethoxamid, Phenthoate, Phorate-Sulfoxide, Phosdrin (Mevinphos), Phosmet, Phosphamidon, Phoxim, Picoxystrobin, Piperonyl butoxide, Pirimicarb, Pirimiphos Ethyl, Pirimiphos Methyl, Pirimiphos-Methyl-N-Desmethyl, Prochloraz, Profenofos, Promecarb, Prometryn, Propachlor, Propamocarb, Propanil, Propargite, Propazine, Propiconazole, Propoxur, Propyzamide, Prosulfocarb, Prothioconazole-desthio, Pyraclostrobin, Pyraflufen Ethyl, Pyridaphenthion, Pyrimethanil, Quinalphos, Rotenone, Silthiofam, Simazine, Simeconazole, Sulfotep, Sulfoxaflor, Tebuconazole, Tebufenozide, Tebufenpyrad, Tebuthiuron, Terbufos sulfone, Terbufos sulfoxide , Terbumeton, Terbuthylazine, Terbutryn, Tetrachlorvinphos, Tetraconazole, Tetramethrin, Thiachloprid, Thiamethoxam, Thiodicarb, Thiometon sulfone, Thiometon sulfoxide, Triadimefon, Triazophos, Trifloxystrobin, Triflumizole, Triticonazole, Valifenalate, Vamidothion, Vamidothion sulfone, Vamidothion sulfoxide, Zoxamide. | In house method (ΟΕ-7.0-56) with LC-MS/ΜS, based on ΕLΟΤ EN 15662 and SANTE/11312/2021 |
| 11. Animal Feed Products with a. high water content b. high or intermediate fat content c. high content in starch and protein d. Meat and fish e. Milk and mlik products Annex A, Feed, SANTE/11213/2021 | Determination of 201 pesticide residues: 2,3,5-Trimethacarb/3,4,5-Trimethacarb, Acetamiprid, Ametryn, Aminocarb, Atrazine, Atrazine-desethyl, Azaconazole, Azamethiphos, Azoxystrobin, Benalaxyl, Benthiavalicarb-isopropyl, Bixafen, Bromacil, Bupirimate, Buprofezin, Buturon, Cadusafos, Carbaryl, Carbendazim, Carbofuran, Carbofuran-3-keto, Chlorantraniliprole, Chlorbromuron, Chlorfenvinphos 1&2, Chlorfluazuron, Chloroxuron, Chlorpyriphos Ethyl, Chromafenozide, Clomazone, Cloquintocet-mexyl, Coumaphos, Crimidine, Cyanofenphos, Cyflufenamid, Cyprodinil, DEET, Deltamethrin, Demeton-S-methyl sulfone, Desmethyl-formamido-pirimicarb, Desmethyl-pirimicarb, Desmetryn, Diazinon, Dicrotophos, Difenoconazol 1&2, Diflufenican, Dimethachlor, Dimethenamid, Dimethoate, Diphenamid, Dipropetryn, Disulfoton Sulfone, Disulfoton sulfoxide, DMA, DMF, DMST, Dodemorph, Emamectin B1a, Epoxiconazol, Ethiofencarb, Ethiofencarb sulfoxide, Ethion, Ethiprole, Ethoprophos, Etoxazole, Etrimfos, Fenamidone, Fenamiphos, Fenamiphos sulfone, Fenamiphos-Sulfoxide, Fenazaquin, Fenbuconazole, Fenchlorazol-ethyl, Fenitrothion, Fenobucarb, Fenoxycarb, Fenpropimorph, Fenpyroximate, Fenthion oxon, Fenthion sulfoxide, Fluazifop butyl, Fluometuron, Fluopicolide, Fluopyram, Fluoxastrobin, Flupyradifurone, Fluroxypyr Meptyl, Flurtamone, Flusilazole, Fluthiacet-methyl, Flutolanil, Flutriafol, Fluxapyroxad, Fosthiazate, Fuberidazole, Furalaxyl, Furathiocarb, Heptenophos, Hexaconazole, Hexazinone, Hexythiazox, Imazalil, Imazamethabenz Methyl, Imidachloprid, Indoxacarb, Iprobenphos, Isazofos, Isofenphos Methyl, Isoprocarb, Isoprothiolane, Isoproturon, Isopyrazam, Isoxaben, Isoxadifen-ethyl, Isoxathion, Lenacil, Malaoxon, Mepanipyrim, Mephospholan, Mepronil, Metalaxyl M, Metamitron, Metazachlor, Metconazole, Methabenzthiazuron, Methidathion, Methiocarb, Methiocarb Sulfone, Methiocarb sulfoxide, Methoprotryne, Metobromuron, Metoxuron, Metrafenone, Metribuzin, Monolinuron, Monuron, Napropamide, Norflurazon, Ofurace, Omethoate, Oxadixyl, Oxycarboxin, Penconazole, Pethoxamid, Phorate-Sulfoxide, Phosalone, Phosdrin (Mevinphos), Phosmet, Phosmet-Oxon, Picolinafen, Picoxystrobin, Piperonyl butoxide, Pirimicarb, Pirimicarb-desmethyl, Pirimiphos Ethyl, Pirimiphos Methyl, Pirimiphos-Methyl-N-Desmethyl, Profenofos, Prometryn, Propachlor, Propamocarb, Propazine, Propiconazole, Propoxur, Proquinazid, Prosulfocarb, Pyraclostrobin, Pyrazophos, Pyridaben, Pyridaphenthion, Pyrimethanil, Pyriproxyfen, Quinalphos, Quinoxyfen, Siduron, Simazine, Spinetoram J, Spinetoram L, Spinosyn A, Spinosyn D, Spirodiclofen, Sulfotep, Tebufenpyrad, Tebuthiuron, Temephos, Terbufos sulfoxide (NH4+), Terbumeton, Terbuthylazine, Terbutryn, Tetrachlorvinphos, Tetraconazole, Thiachloprid, Thiobencarb, Thiometon sulfone, Tiocarbazil, Triazophos, Tricyclazole, Trifloxystrobin, Triflumizole, Valifenalate, Zoxamide | In house method (ΟΕ-7.0-188) based on ΕLΟΤ EN 15662 and SANTE/11213/2021 with LC-MS/ΜS |
| 12. Animal Feed f. Special substrates (e.g., Straw, Hay, Premixes) | Determination of 239 pesticide residues: 2,3,5-Trimethacarb/3,4,5-Trimethacarb, Acephate, Acetamiprid, Ametoctradin, Ametryn, Aminocarb, Atrazine, Atrazine-desethyl, Azaconazole, Azamethiphos, Azimsulfuron, Azoxystrobin, Benalaxyl, Benthiavalicarb-isopropyl, Bifethrin , Bispyribac-sodium, Boscalid, Bromacil, Bupirimate, Buprofezin, Butafenacil , Buturon, Cadusafos, Carbaryl, Carbendazim, Carbetamide, Carbofuran, Carboxin, Carpropamid, Chlorbromuron, Chlorfenvinphos 1&2, Chloridazon, Chromafenozide, Climbazol, Clodinafop-propargyl, Clomazone, Cloquintocet-mexyl, Cloransulam Methyl, Coumaphos, Cyanofenphos, Cyflufenamid, Cymiazole, Cyprodinil, DEET, Deltamethrin, Demeton-S-methyl sulfone, Desmethyl-formamido-pirimicarb, Desmethyl-pirimicarb, Desmetryn, Diazinon, Diclobutrazol, Difenacoum, Difenoconazol 1&2, Dimehylaminosulfanilid (DMSA), Dimethachlor, Dimethenamid, Dimethoate, Diniconazol, Diphenamid, Dipropetryn, Disulfoton Sulfone, Disulfoton sulfoxide, DMA, DMF, DMST, Epoxiconazol, Etaconazole, Ethiofencarb sulfoxide, Ethion, Ethiprole, Ethirimol, Ethofumesate, Ethoprophos, Etonfenprox, Etrimfos, Fenamidone, Fenamiphos, Fenamiphos sulfone, Fenamiphos-Sulfoxide, Fenarimol, Fenbuconazole, Fenchlorazol-ethyl, Fenitrothion, Fenobucarb, Fenpropimorph, Fensulfothion, Fenthion oxon, Fenthion sulfoxide, Fluazifop butyl, Flufenacet, Flufenoxuron, Fluometuron, Fluopicolide, Fluopyram, Flupyradifurone, Fluroxypyr Meptyl, Flurprimidol, Flurtamone, Flusilazole, Fluthiacet-methyl, Flutolanil, Fluxapyroxad, Formetanate, Fosthiazate, Fuberidazole, Furalaxyl, Furathiocarb, Halosulfuron Methyl, Haloxyfop-methyl, Heptenophos, Hexazinone, Imazalil, Imazamethabenz Methyl, Imazosulfuron, Imidachloprid, Indoxacarb, Isazofos, Isofenphos Methyl, Isoprocarb, Isoprothiolane, Isoproturon, Isopyrazam, Isoxaben, Isoxathion, Lenacil, Linuron, Malaoxon, Mandipropamid, Mephospholan, Mepronil, Metalaxyl M, Metazachlor, Metconazole, Methabenzthiazuron, Methidathion, Methiocarb, Methiocarb Sulfone, Methoprotryne, Methoxyfenozide, Metobromuron, Metoxuron, Metrafenone, Metribuzin, Monolinuron, Monuron, Naled , Napropamide, Nitrothal isopropyl, Norflurazon, Nuarimol, Ofurace, Omethoate, Oxamyl, Oxasulfuron, Oxycarboxin, Paraoxon Ethyl, Penconazole, Pencycuron, Penoxsulam, Pethoxamid, Phosalone, Phosdrin (Mevinphos), Phosmet, Phosmet-Oxon, Picoxystrobin, Piperonyl butoxide, Pirimicarb, Pirimicarb-desmethyl, Pirimiphos Ethyl, Pirimiphos Methyl, Pirimiphos-Methyl-N-Desmethyl, Primisulfuron methyl, Prochloraz, Profenofos, Promecarb, Prometryn, Propachlor, Propargite, Propazine, Propoxur, Prosulfocarb, Pyraclostrobin, Pyraflufen Ethyl, Pyrasulfotole, Pyridaben, Pyridaphenthion, Pyridate, Pyrimethanil, Pyriproxyfen, Quinalphos, Quizalofop Ethyl, Rotenone, Saflufenacil, Sethoxydim, Silthiofam, Simeconazole, Spinetoram J, Spinetoram L, Spinosyn A, Spinosyn D, Spirodiclofen, Spirotetramat, Spiroxamine, Sulfosulfuron, Sulfotep, Sulfoxaflor, Sulprofos, Tebufenpyrad, Tebuthiuron, Terbufos sulfone, Terbufos sulfoxide , Terbumeton, Terbuthylazine, Terbutryn, Tetrachlorvinphos, Tetraconazole, Tetraethylpyrophosphate, Thiabendazole, Thiachloprid, Thiamethoxam, Thidiazuron, Thiobencarb, Tiocarbazil, Tralkoxydim, Triadimefon, Triazophos, Tribenuron Methyl, Tricyclazole, Tridemorph, Trifloxystrobin, Triflumizole, Triflusulfuron-methyl, Tritosulfuron, Valifenalate, Vamidothion, Vamidothion sulfone, Vamidothion sulfoxide, Warfarin, Zoxamide. | In house method (ΟΕ-7.0-188) based on ΕLΟΤ EN 15662 and SANTE/11312/2021 with LC-MS/ΜS |
| 13. Animal Feed / high content in starch and protein (Fish meal | Ethoxyquin | In house method (ΟΕ-7.0-188_4.0) based on ΕLΟΤ EN 15662 and on SANTE/11312/2021 with LC-MS/ΜS |
| 14. Tobacco | Determination of 251 pesticide residues: 2,3,5-Trimethacarb/3,4,5-Trimethacarb, Acephate, Acetamiprid, Aldicarb Sulfone, Ametryn, Aminocarb, Atrazine, Atrazine-desethyl, Azaconazole, Azamethiphos, Azoxystrobin, Benalaxyl, Benthiavalicarb-isopropyl, Bixafen, Boscalid, Bromacil, Bromuconazole (sum of isomers), Bupirimate, Buprofezin, Butafenacil, Butralin, Buturon, Butylate, Cadusafos, Carbaryl, Carbendazim, Carbofuran, Carbofuran-3-keto, Carfentrazone Ethyl, Carpropamid, Chlorantraniliprole, Chlorbromuron, Chlorfenvinphos (sum of isomers), Chloridazon, Chloroxuron, Chlorpyriphos Ethyl, Chlortoluron, Chromafenozide, Clodinafop-propargyl, Clomazone, Clothianidin, Crimidine, Cyanazine, Cyanofenphos, Cyazofamid, Cycloate, Cyflufenamid, Cymiazole, Cyproconazol (sum of isomers), DEET, Deltamethrin, Demeton-S-methyl sulfone, Desmethyl-formamido-pirimicarb, Desmethyl-pirimicarb, Desmetryn, Diazinon, Dichlorfenthion, Diclobutrazol, Dicrotophos, Diethofencarb, Difenoconazol (sum of isomers), Dimehylaminosulfanilid (DMSA), Dimethachlor, Dimethenamid, Dimethoate, Dimethomorph (sum of isomers), Dimoxystrobin, Diniconazol, Diphenamid, Dipropetryn, Disulfoton Sulfone, Disulfoton sulfoxide, DMST, Dodemorph, Epoxiconazol, Etaconazole, Ethiofencarb sulfoxide, Ethion, Ethiprole, Ethofumesate, Ethoprophos, Etoxazole, Etrimfos, Fenamidone, Fenamiphos, Fenamiphos sulfone, Fenarimol, Fenbuconazole, Fenchlorazol-ethyl, Fenitrothion, Fenobucarb, Fenoxycarb, Fenpropimorph, Fensulfothion, Fenthion oxon, Fenthion sulfoxide, Fluazifop butyl, Flufenacet, Flufenoxuron, Fluometuron, Fluopicolide, Fluopyram, Fluoroglycofen Ethyl, Fluoxastrobin, Fluquinconazole, Flurochloridone, FluroxypyrMeptyl, Flurprimidol, Flurtamone, Flusilazole, Flutolanil, Flutriafol, Fluxapyroxad, Formetanate, Fosthiazate, Furalaxyl, Furathiocarb, Haloxyfop-2-ethoxyethyl, Haloxyfop-methyl, Heptenophos, Hexaconazole, Hexazinone, Imazalil, Imazamethabenz Methyl, Imidachloprid, Indoxacarb, Iprobenphos, Isazofos, Isofenphos, Isofenphos Methyl, Isoprocarb, Isoprothiolane, Isoproturon, Isopyrazam, Isoxaben, Isoxadifen-ethyl, Isoxathion, Kresoxim Methyl, Lenacil, Linuron, Malaoxon, Mandipropamid, Mecarbam, Mefenacet, Mephospholan, Mepronil, Metalaxyl M, Metamitron, Metazachlor, Metconazole, Methacrifos, Methidathion, Methiocarb, Methiocarb sulfoxide, Methoprotryne, Methoxyfenozide, Metobromuron, Metoxuron, Metrafenone, Metribuzin, Molinate, Monocrotophos, Monolinuron, Monuron, Myclobutanil, Napropamide, Neburon, Nitenpyram, Nitrothal isopropyl, Norflurazon, Nuarimol, Ofurace, Omethoate, Oxadiargyl, Oxadixyl, Oxamyl, Oxydemeton Methyl, Paclobutrazol, Paraoxon Ethyl, Pebulate, Penconazole, Pencycuron, Pendimethalin, Pethoxamid, Phorate-Sulfoxide, Phosalone, Phosdrin (Mevinphos), Phosmet, Phosphamidon, Phoxim, Picoxystrobin, Piperonyl butoxide, Pirimicarb, Pirimicarb-desmethyl, Pirimiphos Methyl, Pirimiphos-Methyl-N-Desmethyl, Profenofos, Promecarb, Prometryn, Propachlor, Propargite, Propazine, Propiconazole, Propoxur, Propyzamide, Prosulfocarb, Prothioconazole-desthio, Pyraflufen Ethyl, Pyridaben, Pyridaphenthion, Pyrimethanil, Quinalphos, Rotenone, Siduron, Silthiofam, Simazine, Simeconazole, Spirodiclofen, Spiromesifen, Spirotetramat, Spirotetramat Metabolite keto hydroxy, Spirotetramat Metabolite Mono Hydroxy, Sulfotep, Sulfoxaflor, Tebuconazole, Tebufenozide, Tebufenpyrad, Tebuthiuron, Terbumeton, Terbuthylazine, Terbutryn, Tetrachlorvinphos, Tetraconazole, Tetramethrin, Thiachloprid, Thiamethoxam, Thiobencarb, Thiodicarb, Thiometon sulfone, Thiometon sulfoxide, Tiocarbazil, Tolylfluanid, Triazophos, Tricyclazole, Trifloxystrobin, Triflumizole, Triticonazole, Valifenalate, Vamidothion, Vamidothion sulfone, Zoxamide | In house method (ΟΕ-7.0-166) with LC-MS/ΜS, based on ELOT EN 15662 and SANTE/11312/2021, CORESTA Guide N°5 (2018) &Νο1 (2016) |
| 15. Industrial hemp | Determination of 49 pesticide residues: Acephate, Acetamiprid, Aldicarb, Azoxystrobin, Bifenazate, Bifenthrin, Boscalid, Carbaryl, Carbofuran, Chlorantraniliprole, Chlorpyrifos, Cypermethrin, Diazinon, Dichlorvos, Dimethoate, Ethoprophos, Etoxazole, Fenoxycarb, Fenpyroximate, Fipronil, Flonicamid, Fludioxonil, Hexythiazox, Imazalil, Imidachloprid, Kresoxim methyl, Malathion, Metalaxyl, Methiocarb, Methomyl, Myclobutanil, Naled, Oxamyl, Paclobutrazol, Parathion methyl, Phosmet, Piperonyl butoxide, Propoxur, Pyrethrin I, Pyrethrin II, Pyridaben, Spinosyn A&D, Spirotetramat, Spiroxamine, Tebuconazole, Thiacloprid, Thiamethoxam, Trifloxystrobin. | In house method (ΟΕ-7.0-165) with LC-MS/MS based on: 1. ΕΛΟΤ EN 15662 2. SANTE/11312/2021 and 3. EUROPEAN PHARMACOPOEIA 7.0, 2.8.13, Pesticides Residues07/2008:20813 4. Quantitation of Oregon List Pesticides and Cannabinoids in Cannabis Matrices by LC-MS/MS |
| 16. Vegetable oils and fats | Determinationof 19 plasticizers: Benzyl butyl phthalate (BBP), bis(2-Ethylhexyl) adipate (DEHA), Citroflex A-4 (Acetyl Tributyl Citrate), Di(2-ethyl hexyl) phthalate (DEHP), Di-amyl phthalate (DPP), Dicyclohexyl phthalate (DCHP), Diethyl adipate (DEA), Diethyl phthalate (DEP), Dihexyl phthalate (DHP), Diisobutyl adipate (DIBA), Diisobutyl phthalate (DiBP), Diisodecyl phthalate (DIDP), Diisononyl phthalate (DINP), Diisooctyl phthalate (DIOP), Dimethyl phthalate (DMP), Di-n-butyl adipate (DnBA), Di-n-butyl phthalate (DnBP, DBP), Di-n-octyl phthalate (DnOP), Tributylphosphate (TBP). | In house method (ΟΕ-7.0-120) based on EUR 23682 EN – 2009 Methods for the determination of phthalates in food |
| 17. Baby foods, rice and rice products | Determination of inorganic arsenic | In house method (ΟΕ-7.0-125) with HPLC/ICP-MS, according to method specification requirements of Regulation 333/2007/EC and as amended by Regulations 836/2011/EC and2016/582/EC |
| 18. Food and animal feeding stuffs | 1. Determination of Fat | In house method (ΟΕ-7.0-94) based on AOAC 954.02, 933.05, 9 48.15, 989.05, 920.111, 952.06 |
|  |  | In house method (ΟΕ-7.0-220) based on ISO 6492:1999, ISO 11085:2015 and on ΑΟAC 2003.05, 963.15, 991.36 |
|  | 2. Determination of moisture and solid residue | In house method (ΟΕ-7.0-95) based on AOAC 934.01, 925.09, 920.116, 926.08, 952.08, 934.06, 950.46, 990.20, 925.23, 920.107 and on ISO 712:2009 |
|  | 3. Determination of Kjeldahl nitrogen and total nitrogen (Dumas) | In house method (ΟΕ-7.0-96) based on AOAC 2001.11, 2001.14, 981.10, 991.20, 920.109, 930.33, 920.152 |
|  |  | In house method (ΟΕ-7.0-221 based on ISO 16634-1:2008, ISO 16634-2: 2016 and ISO 14891:2002 (Dumas) |
|  | 4. Determination of ash | In house method (ΟΕ-7.0-97) based on AOAC, 923.03, 935.42, 938.08, 926.53, 920.108, 942.05, 940.26 |
|  | 5. Determination of water activity (aw) | In house method (ΟΕ-7.0-138) based on ISO 21807:2004 and ISO 18787:2017. |
|  | 6. Determination of Aflatoxins (Β1, Β2, G1, G2) | In house method (ΟΕ-7.0-149) based on ISO 16050:2003. |
|  | 7. Determination of Ochratoxin A | In house method (ΟΕ-7.0-151) based on ISO 15141:2018. |
|  | 8. Determination of pH | In house method (ΟΕ-7.0-173) based on ISO 2917:1999, ISO 1842:1991 and on AOAC 945.42, 943.02, 981.02, 970.21, 19th Ed. |
|  | 9. Determination of dietary fiber | In house method (ΟΕ-7.0-115) based on AOAC 985.29. |
|  | 10. Determination of elements (flexible scope) The elements are specified in detail in the List of Accredited Activities Flexible Field of the Laboratory (Document Ε-5.2, according to ESYD/G-FYTOPROST 2016, Link: LIST OF TESTS ACCREDITED IN FLEXIBLE SCOPE) | In house method (ΟΕ-7.0-93) based on BS EN 15763:2009 and on ELOT ΕΝ 13804:2013 with ICP-MS and in accordance with the performance criteria of EC / 333/2007 and its amendments EC / 836/2011 and EC 2016/582 |
|  | The flexibility that applies covers the following categories Flexibility in relation to adding new elements to existing matrices the integration of new matrices in existing methods the extension of methods to a new subcategory of matrices the extension/modification of existing methods (technique, scope of determination, quantification limit) Accredited Methods are described in detail on the Laboratory’s site. |
| 19. Food | 1. Determination of Sugars (glucose, fructose, sucrose, maltose, galactose, lactose) | In house method (ΟΕ-7.0-182) based on AOAC 980.13, 982.14, 977.20 and on ISO 22662:2007 |
|  | Determination of Total and Digestible Carbohydrates, of Energy Value and Sodium Chloride | In house method (ΟΕ-7.0-183) Calculated based on Regulation 1169/2011 as amended and in force to date |
| 20. Foods of Plant and Animal Origin (Meat and meat products, fish, bakery products, legumes and cereals, high-fat processed foods) | Determination of Fatty Acids with gas chromatography | In house method (ΟΕ-7.0-181) based on ISO 12966-1 and ISO 12966-2 |
| 21. Olives oils and vegetable oils | 1. Determination of acidity | COI/T.20/Doc.34 (ΟΕ-7.0-111) |
|  | 2. Determination of peroxide value | COI/T.20/Doc.35 (ΟΕ-7.0-112) |
|  | 3. Determination of Fatty Acids with gas chromatography | In house method (ΟΕ-7.0-181) based on COI/T.20/Doc.33. |
|  | 4. Determination of hydrocarbons C10-C50 and specially of MOSH (mineral oil saturated hydrocarbons) and of MOAH (mineral oil aromatic hydrocarbons) with automatic HPLC-GC-FID organology and automatic epoxidation and purification system with an alox column | In house method (ΟΕ-7.0-111) based on EVS-EN 16995:2017 |
| 22. Olive oils | Determination of the extinction coefficient K (at 268 nm and 232 nm) and the parameter ΔK | COI/T.20/Doc.19 (ΟΕ-7.0-113) |
| 23. Milk (raw and powdered) | Determination of Aflatoxin Μ1 | In house method (ΟΕ-7.0-150) based on ISO 16050:2003. |
| 24. Milk and dairy products, foods high in fat levels, meat products, wheat and bakery products, patisserie products, marmalades and jams, non-alcoholic beverages, juices and alcoholic beverages | Determination of benzoic and sorbic acid | In house method (ΟΕ-7.0-106) based on ISO 22855:2008 |
| 25. Fruits and Vegetables (except fresh grapes, peeled, frozen, dried, fruit and vegetables in vinegar, brine or oil, canned), Jam, Jelly, Meat, Bakery Foods, Flour, Cereals, Pastry, mollusks and Crustaceans, soft drinks and fruit juices (Excluding some special food subcategories with legislative level <20mg / kg according to Reg 1129/2011). | Determination of Sulphur dioxide and Sulfites content | In house method (ΟΕ-7.0-114) based on method D2 of Greek Food Code Part B’ by titrimetry |
| 26. Meats, Dairy Products, Fruits, and Vegetables (excluding some special food subcategories with legislative level <20mg / kg according to Reg 1129/2011). | Determination of nitrite and nitrate content | In house method (ΟΕ -7.0-116) based on ISO 2918:1975, ISO 3091:1975, ISO 6635:1984 and ISO 14673:2004. |
| 27. Bread and bread products, bakery, and cereal products, french fries and potatoes products, coffee, and coffee substitudes | Determination of Acrylamide | In house method (ΟΕ-7.0-137) with LC-MS/ΜS, based on EN 16618:2015 |
| 28. Βakery products and cereal | Determination of Deoxynivalenol (DON) and Zearalenone (ZON) | In house method (ΟΕ-7.0-226) with LC-MS/MS |
|  | 2. Determination of Coumarin | In house method (ΟΕ-7.0-223) with HPLC-UV based on Sproll C. et al, 2007, Food chemistry, 109: 462-469. |
|  | 3. Determination of Propionic acid | In house method (ΟΕ-7.0-231) with GC-FID based on Tonogai Y. et al, 1983, Journal of Food Protection, Vol. 46, No.4, Pages 284-286. |
| 29. Meat and meat products | Determination of hydroxyproline and collagen | In house method (ΟΕ-7.0-174) based on ISO 3496:1994 and Regulation 1169/2011 as amended and in force to date |
| 30. Juices and Non-Alcoholic Beverages | Determination of ascorbic acid (Vitamin C) with Liquid chromatography | In house method (ΟΕ-7.0-180) with HPLC-UV based on Campos F.M et al 2009, Quim.Nova , 32: 87-91 |
| 31. Honey | 1. Determination of electrical conductivity | In house method (ΟΕ-7.0-176) based on International Honey Commision 2009 p.16-18 |
|  | Determination of hydroxymethylfurfural (HMF) | In house method (ΟΕ-7.0-175) based on International Honey Commision 2009 p.29-31 |
|  | Determination of diastase activity | In house method (ΟΕ-7.0-177) with Phadebas based on International Honey Commision 2009 p.39-41 |
|  | Determination of free acidity | In house method (ΟΕ-7.0-179) based on International Honey Commision 2009 p.21-23 |
|  | Determination of insoluble matter | In house method (ΟΕ-7.0-178) based on International Honey Commision 2009 p.55 |
|  | Determination of pH | In house method (ΟΕ-7.0-173) based on International Honey Commision 2009 p.21-25 |
|  | Determination of Sugars (glucose, fructose, sucrose) | In house method (ΟΕ-7.0-182) with HPLC/RI based on International Honey Commision 2009 p.46-48 |
| 32. Soil | 1. Determination of Li, Be, Na, Mg, P, K, Ca, Cr, Co, Ni, Cu, Zn, As, Se, Mo, Ag, Cd, Sn, Hg, Tl, Pb and U | In house method (ΟΕ-7.0-93) with ICP-MS, based on ISO/TS 16965:2013 |
|  | 2. Determination of Hydrocarbons and Mineral oils (hydrocarbon oil index) | In house method (ΟΕ-7.0-131) with GC-FID, based on ISO 16703:2004 |
|  | 3. Determination of Total Nitrogen | In house method (ΟΕ-7.0-227), based on ISO 13878:1998 |
|  | 4. Determination of Total Organic Carbon (TOC) | In house method (ΟΕ-7.0-228), based on ISO 10694:1998 |
| 33. Sludge and Sediments | 1. Determination of Li, Be, B, Na, Mg, P, K, Ca, V, Cr, Mn, Co, Ni, Cu, Zn, As, Se, Sr, Mo, Ag, Cd, Sn, Sb, Ba, Hg, Tl, Pb and U | In house method (ΟΕ-7.0-93) with ICP-MS, based on ISO/TS 16965:2013 |
|  | Determination of Total Solids, non-Volatile and Volatile Solids | In house method (ΟΕ-7.0-98) based on APHA 2540 G, 24th Edition |
|  | Determination of pH in Sludges | ISO 10523:2008 |
|  | 4. Determination of Total Nitrogen | In house method (ΟΕ-7.0-227), based on ISO 13878:1998 |
|  | 5. Determination of Total Organic Carbon (TOC) | In house method (ΟΕ-7.0-228), based on ISO 10694:1998 |
| 34. Granular waste materials, sludges, soils and soil-like materials | 1. One stage leaching test at a liquid to solid ratio of: L/S=2 l/kg. | In house method (ΟΕ-7.0-160) based on: 1. ELOT ΕΝ 12457-01:2002 and 2. ISO 21268-1:2019 and according to Directive 2003/33/EC |
|  | 2. One stage leaching test at a liquid to solid ratio of: L/S=10 l/kg. | In house method (ΟΕ-7.0-160) based on: 1. ELOT ΕΝ 12457-01:2002 and 2. ISO 21268-1:2019 and according to Directive 2003/33/EC |
|  | 3. Two stage leaching test at a liquid to solid ratio of: L/S=2 l/kg και L/S=8 l/kg | In house method (ΟΕ-7.0-160) based on ELOT ΕΝ 12457-03: 2002 |
|  | 4. Up-flow percolation test | In house method (ΟΕ-7.0-161) based on: 1. ΕΛΟΤΕΝ 14405:2017 και 2. ISO 21268-3:2019 and according to Directive 2003/33/EC |
| 35. Ceramic Materials | Determination of Specific Migration of lead and cadmium | In house method (ΟΕ-7.0-229) based on in Directive 84/500/EEC and in Directive 2005/31 / EC. |
| 36. Packaging materials in contact with foodstuffs (plastics) | Overall migration into aqueous food simulants A (ethanol 10%) and D1 (ethanol 50%) by cell | In house method (ΟΕ-7.0-224) based on EN 1186-5:2002 |
| Sensory Tests |
| Water for human consumption | Determination of the threshold odour number (TON) and threshold flavour number (TFN) | In house method (ΟΕ -7.0-105) based on ELOT EN 1622:2006 |
| Biological Tests |
| 1. Water, hemodialysis fluid and ultra-pure hemodialysis fluid for hemodialysis and related therapies | Determination of bacterial Endotoxin content (LAL test) | Charles River Endosafe® PTS portable Test System Protocol |
| 2. Water and Wastewater | Determination of acute water toxicity by the mobility inhibition test of Daphnia magna | ISO 6341:2012 |
| 3. Samples from surfaces and water samples | Horizontal method for quantification of hepatitis A virus and norovirus using Real Time RT-qPCR | In house method based on ISO 15216-1:2019, with Real-Time qPCR using Azure Cielo 6 Real Time thermal cycler (Azure Biosystems Inc) |
| 4. Samples from surfaces and water samples | Horizontal method for detection of hepatitis A virus and norovirus using Real Time RT-qPCR | In house method based on ISO 15216-2:2019, with Real-Time qPCR using Azure Cielo 6 Real Time thermal cycler (Azure Biosystems Inc) |
| 5. Water, surface water and groundwater | Detection of Cryptosporidium spp and Giardia Lamblia, using Real Time RT-qPCR | In house method (OE 7.0-218) based on Guy, R. A., Payment, P., Krull, U. J., & Horgen, P. A. (2003): Real-time PCR for quantification of Giardia and Cryptosporidium in environmental water samples and sewage [Applied and Environmental Microbiology, 69(9), 5178-5185], with Real-Time qPCR using Azure Cielo 6 Real Time thermal cycler (Azure Biosystems Inc) |
| 6. Wastewater | Detection of SARS-COV-2 RNA, using Real Time RT-qPCR | In house method (OE 7.0-209) based on the method described by IDEXX in Kit Water SARS-CoV-2 RT-qPCR Test, with Real-Time qPCR using Azure Cielo 6 Real Time thermal cycler (Azure Biosystems Inc) |
| 7. Soya and soya products (seeds, food, feed, raw materials) | Screening method for genetically modified organisms (GMOs), by the detection of CaMV 35S promoter and nopaline synthase terminator (NOS). | In house method (ΟΕ 7.0-211), based on: 1. ISO 21569:2005 2. Waiblinger, et al, Eur Food Res Technol (2008) 226:1221–1228 3. Laube et al, Food Chemistry (2010) 118: 979–986 using Real-Time PCR. DNA isolation with “MagCore® Genomic DNAPlant Kit” (MAGCORE) |
| 8. Corn and corn products (seeds, food, feed, raw materials) |  |  |
| 9. Food and animal feeding stuffs | Detection of Staphylococcal Enterotoxins | ISO 19020:2017 |
| 10. Soya and soya products (seeds, food, feed, raw materials) | Quantification of CaMV 35S promoter and NOS terminator | In house method (ΟΕ-7.0-212) based on: 1. ISO 21570:2005 2. Hans-Ulrich Waiblinger, et al, Eur Food Res Technol (2008) 226:1221–1228 3. Quantitative PCR method for detection of soybean event GTS 40-3-2. EURL GMFF, JRC. (https://gmo-crl.jrc.ec.europa.eu/gmomethods/docs/QT-EVE-GM-005.pdf) using Real-Time PCR. DNA isolation with “MagCore® Genomic DNA Plant Kit” or “MagCore® Genomic DNA Tissue Kit” (MAGCORE). |
| 11. Corn and corn products (seeds, food, feed, raw materials) | Quantification of CaMV 35S promoter and NOS terminator | In house method (ΟΕ-7.0-214) based on: 1. ISO 21570:2005 2. Hans-Ulrich Waiblinger, et al, Eur Food Res Technol (2008) 226:1221–1228 3. Quantitative PCR method for detection of maize event MON87403 (EURL GMFF, 2018) (https://gmo-crl.jrc.ec.europa.eu/gmomethods/docs/QT-EVE-ZM-025.pdf) using Real-Time PCR. DNA isolation with “MagCore® Genomic DNA Plant Kit” or “MagCore® Genomic DNA Tissue Kit” (MAGCORE). |
| 12. Soya and soya products (seeds, food, feed, raw materials) | Quantification of genetically modified Roundup Ready Soya (GTS 40-3-2) | In house method (ΟΕ-7.0-216) based on: 1. ISO 21570:2005 2. Quantitative PCR method for detection of soybean event GTS 40-3-2. EURL-GMFF, JRC (https://gmo-crl.jrc.ec.europa.eu/gmomethods/docs/QT-EVE-GM-005.pdf) using Real-Time PCR. DNA isolation with “MagCore® Genomic DNA Plant Kit” or “MagCore® Genomic DNA Tissue Kit” (MAGCORE). |
| 13. Food | Detection of animal DNA | In house method (ΟΕ-7.0-240) based on: ISO 23662-2021 Cottenet, G., & Blancpain, C. (2021). A real-time PCR method to assess the presence of vertebrate material in plant-based products _2 |
| 14. Food | Detection of porcine DNA | In house method (ΟΕ-7.0-239) based on: ISO TS 20224-3-2020 |
| Immunochemical Tests |
| 1. Water, hemodialysis fluid and ultra-pure hemodialysis fluid for hemodialysis and related therapies | Determination of bacterial Endotoxin content (LAL test) | European Pharmacopeia10nd Ed, chap. 2.6.14, BacterialEndotoxins, Photometric Quantitative Techniques, Method D. |
| 2. Processed and unprocessed Foods | Determination of gluten | In house method (ΟΕ-7.0-222) with Elisa Sandwich based on RidaScreen Gliadin (R7001) and according to AOAC 991.19-2001 and 2012.01-2012 |
| Physical Tests |
| 1. Water for human consumption, surface water and groundwater | Determination of Tritium activity concentration (##) | ISO 9698: 2019 Range tSIE from 69 to 272 |
|  | 2. Determination of gross alpha and beta activity concentration (##) | ISO 11704:2010 |
|  | 3. Determination of Radon-222 (222Rn) activity concentration (##) | ISO 13164-4:2015 |
| 2. Water and Wastewater | Temperature measurement | APHA 2550, 24th Ed., |
| Microbiological Tests |
| 1. Water (water for human consumption, surface and groundwater, pool water, sea water) wastewater | 1. Enumeration of culturable micro-organisms at 22(2οCand 36(2 οC | ISO 6222:1999 |
|  | 2. Detection of Salmonella spp. | ISO 19250:2010 |
|  | 3. Detection and enumeration of Pseudomonas aeruginosa | ISO 16266:2006 |
|  | 4. Detection and enumeration of Cl. perfringens (including spores) | ISO 14189:2013 |
|  | 5. Detection and enumeration of intestinal enterococci | ISO 7899-2:2000 |
|  | 6. Detection and enumeration of fecal coliforms | APHA 9222D |
|  | 7. Detection of Shigella spp. | APHA 9260E |
| 2. Water for human consumption | Detection of Campylobacter spp. | ISO 17995:2005 |
| 3. Water (water for human consumption, surface and groundwater, pool water, sea water) | Detection and enumeration of total coliforms and E. coli | ISO 9308-1:2014/Amd 1:2016 |
| 4. Water and environmental samples (sludge, precipitates etc) | 1. Enumeration of Legionella | ISO 11731:2017 |
| 5. Legionella isolates from water and environmental samples | 1. Serological indetification of Legionella spp: L. pneumophilaserogroup 1, L. pneumophila serogroups 2-14 | Legionella Latex Test – OXOID DR0800M |
| 6. Water (surface and groundwater), wastewater | 1. Detection and enumeration of total coliforms | APHA 9222 B |
|  | 2. Detection and enumeration of E. coli | APHA 9222 H |
| 7. Treated wastewater from treatment plant | Enumeration of E. coli and coliform bacteria | ISO 9308-1:2014 |
| 8. Water for haemodialysis and related therapies | Enumeration of total aerobic microorganisms at 20 °C | ISO 23500-3:2019 |
| 9. Dialysis fluid for haemodialysis and related therapies | Enumeration of total aerobic microorganisms at 20 °C | ISO 23500-5:2019 |
| 10. Water (water for human consumption, surface and groundwater, pool water, recreational water) | Enumeration of S. aureus | APHA 9213 B |
| 11. Food and animal feeding stuffs | 1. Enumeration of the total aerobic micro-organisms at 30 °C | ISO 4833-1:2013 |
|  | 2. Horizontal method for the enumeration of coliforms | ISO 4832:2006 |
|  | 3. Enumeration of β-glucuronidase-positive Escherichia coli | ISO 16649-2:2001 |
|  | 4. Enumeration of coagulase – positive staphylococci (Staphylococcus aureus and other species) | ISO 6888-2:1999/Amd 1:2021 |
|  | 5. Enumeration of anaerobicsulfite reducing clostridia | ISO 15213:2003 |
|  | 6. Enumeration of Cl. perfringens | ISO 7937:2004 |
|  | 7. Detection of non typhi non paratyphi Salmonella spp. | ISO 6579-1:2017 |
|  | 8. Detection of Listeria spp. andListeria monocytogenes | ISO 11290-1:2017 |
|  | 9. Enumeration of Listeria spp. andListeria monocytogenes | ISO 11290-2:2017 |
|  | 10. Enumeration of Enterobacteriaceae | ISO 21528-2:2017 |
|  | 11. Enumeration of presumptive Bacillus cereus-- Colony-count technique at 300 C | ISO 7932:2004 |
|  | 12. Detection ofCampylobacter spp. | ISO 10272-1:2017 |
|  | 13. Enumeration of Campylobacter spp. | ISO 10272-2:2017 |
|  | 14. Detection of Vibrio parahaemolyticus | ISO 21872-1:2007 |
|  | 15. Enumeration of mesophilic lactic acid bacteria -- Colony-count technique at 300C | ISO 15214:1998 |
|  | 16. Enumeration of β-glucuronidase-positive Escherichia coli (MPN Method) | ISO 16649-3:2015 |
|  | 17. Horizontal method for the detection of Escherichia coli O157 | ISO 16654:2001 |
|  | 18. Detection of Cronobacter spp. | ISO 22964:2017 |
|  | 19. Enumeration of Brochothrix spp. | ISO13722:2017 |
|  | 20. Detection of Shigella spp. | ISO 21567:2004 |
|  | 21. Detection of pathogenic Yersinia enterocolitica | ISO 10273:2017 |
|  | 22. Conduction challenge tests to study growth potential, lag time and maximum growth rate of Listeria monocytogenes | Method according to EURL Lm TECHNICAL GUIDANCE DOCUMENT on challenge tests and durability studies for assessingshelf-life of ready-to-eat foods related to Listeria monocytogenes Version 4 of 1 July 2021 |
| 12. Food and animal feeding stuffs with aw> 0,95 | Enumeration of yeasts and moulds | ISO 21527-1:2008 |
| 13. Food and animal feeding stuffs with aw ≤ 0,95 | Enumeration of yeasts and moulds | ISO 21527-2:2008 |
| 14. Meat and meat products | Enumeration of Pseudomonas spp. | ISO 13720:2010 |
| 15. Animal faeces and environmental samples from the primary production stage | Detection of non typhi non paratyphi Salmonella spp. | ISO 6579-1:2017 |
| 16. Salmonella isolates | Serotyping of S. Enteritidis and S. Typhimurium | ISO/TR 6579-3:2014 |
| 17. Cosmetics | 1. Enumeration and detection of aerobic mesophilic bacteria | ISO 21149:2017 |
|  | 2. Detection of Candida albicans | ISO 18416:2015 |
|  | 3. Enumeration of yeast and moulds | ISO 16212:2017 |
|  | 4. Detection of S. aureus | ISO 22718:2015 |
|  | 5. Detection of E. coli | ISO 21150:2015 |
|  | 6. Detection of Pseudomonas aeruginosa | ISO 22717:2015 |
|  | 7. Evaluation of the microbial protection of cosmetic products by use of a preservation efficacy test (Challenge test) | ISO 11930:2019/Amd 1:2022 |
| 18. Water for Injections | Enumeration of total aerobic mesophilic count (TAMC) at 30 - 35 0C | European Pharmacopoeia/ Monograph W 04/2017:0169 |
| 19. Water for preparation of Extracts | Enumeration of total aerobic mesophilic count (TAMC) at 30 – 35 0C | European Pharmacopoeia/ Monograph W 04/2012:2249 |
| 20. Purified Water | Enumeration of total aerobic mesophilic count (TAMC) at 30 - 35 0C | European Pharmacopoeia/ Monograph W 04/2018:0008 |
| 21. Water (water for human consumption, surface water and groundwater) | Detection and Enumeration of somatic coliphages ($) | ISO 10705-2:2000 |
| Environmental Tests |
| Air | Determination of airborne biocontamination (passive sampling) | ISO 14698-1:2003 |
| Sampling |
| 1. Drinking water and water for human consumption, processed waters, recreational waters and seawaters, water from lakes, rivers and streams, swimming pool water, environmental samples (sludge, sediments, sewage), water from air-conditionning instruments, waste, wastewaters and sludges | 1. Determination of chemical parameters | ISO 5667-1:2020 ISO 5667-3:2018 ISO 5667-4:2016 ISO 5667-5:2006 ISO 5667-6:2014 ISO 5667-9:1992 ISO 5667-10:2020 ISO 5667-11:2009 ISO 5667-13:2011 ISO 5667-14:2014 ISO 5667-15:2009 ISO 18400-101:2017 ISO 18400-102:2017 ISO 18400-103:2017 ISO 18400-104:2018 ISO 18400-105:2018 ISO 18400-106:2017 ΕΛΟΤ EN 14899:2006 |
|  | 2. Microbiological investigations | ISO 19458:2006 ISO 5667-1:2020 ISO 5667-5:2006 ISO 5667-6:2014 ISO 5667-9:1992 ISO 5667-13:2011 ISO 5667-14:2104 |
| 2. Samples from surfaces using contact plates and swabs | Horizontal methods for sampling techniques for microbiology tests | ISO 18593:2018 |

# Methods marked with (#) are in accordance with the method specification of Ministerial Decision Γ1(δ)/ ΓΠοικ.67322/6.9.2017 (ΦΕΚ 2382/Β/19-9-2017) concerning the quality of the water intended for human consumption

## Methods marked with (##) are in accordance with the method specification of Ministerial Decision Π/112/1057/2016/1.2.2016 ΚΥΑ (ΦΕΚ 241/Β/9-2-2016) and the Council Directive 2013/51/ΕΥRΑΤΟΜ

$ Methods marked with ($) are in accordance with the method specification of Council Directive (EU) 2020/2184 of 16 December 2020 on the quality of water intented for human consumption

(1) Waste and Wastewater include leachates from the leaching test at a liquid to solid ratio of:

L/S = 2, L/S = 8  and L/S = 10 l/kg and leachates from the up-flow percolation test.

Site of assessment: Laboratory permanent premises – Nafpliou 29, 14452, Metamorfosi, Athens, GREECE

Approved signatories: P. Nisianakis, G. Moschonas, A. Vasilakis

This Scope of Accreditation replaces the previous one, dated 24.01.2024.

The Accreditation Certificate No. 102-7, according to ELOT EN ISO/IEC 17025:2017, is valid until 09.10.2027.

Athens, 25th of April 2024

Christos Nestoras

CEO of ESYD