Hellenic Accreditation System

Annex F1/13 to the Certificate No. 760-5 SCOPE of ACCREDITATION of the Testing Laboratory of SCIELAB - ATHINA CHATZOPOULOU AND ASSOCIATES LIMITED PARTNERSHIP

| Tested materials/ products | Types of test/ Properties to be measured | Applied Standards/ Techniques to be used |
| --- | --- | --- |
| Microbiological testing |
| 1. Food and animal feeding stuffs | 1. Enumeration of the total aerobic microorganisms at 30 oC | ISO 4833-1:2013/AMD 1:2022 |
|  | 2. Enumeration of coliforms | ISO 4832:2006 |
|  | 3. Enumeration of β-glucuronidase-positive Escherichia coli | ISO 16649-2:2001 |
|  | 4. Enumeration of coagulase – positive staphylococci (Staphylococcus aureus and other species) | ISO 6888-1:2021 |
|  | 5. Enumeration of presumptive Bacillus cereus | ISO 7932:2004 |
|  | 6. Enumeration of Clostridium perfringens | ISO 7937 : 2004 |
|  | 7. Enumeration of Listeria monocytogenes and of Listeria spp | ISO 11290-2:2017 |
|  | 8. Detection of Listeria monocytogenes and of Listeria spp | ISO 11290-1:2017 |
|  | 9. Detection of Salmonella spp. (except Salmonella typhi and Salmonella paratyphi) | ISO 6579-1:2017/AMD 1:2020 |
|  | 10. Detection and enumeration of Enterobacteriaceae | ISO 21528-2:2017 |
| 2.Food and animal feeding stuffs (aw>0,95) | 1. Enumeration of yeasts and moulds | ISO 21527-1:2008 |
| 3. Animal faeces and environmental samples from primary production stages | 1. Detection of Salmonella spp. (except Salmonella typhi and Salmonella paratyphi) | ISO 6579-1:2017/ AMD 1:2020 |
| 4. Potable, surface, swimming pool waters etc. | 1. Enumeration of culturable micro-organisms at 22(2 οC and 36(2 οC | ISO 6222:1999 |
|  | 2. Enumeration of Escherichia coli and coliform bacteria | ISO 9308-1:2014/ AMD1:2016 |
|  | 3. Detection and enumeration of intestinal enterococci | ISO 7899-2:2000 |
| 5. Water with low concentration of interfering microorganisms (Matrix A) | 1. Enumeration of Legionella | ISO 11731:2017, Procedure 1; Media A & B Procedure 8,9,10; Media A & C-GVPC |
| 6. Water with a high concentration of interfering microorganisms (Matrix B) | 1. Enumeration of Legionella | ISO 11731:2017, Procedure 1,2,3; Media C-GVPC Procedure 8,9,10; Media C-GVPC |
| 7. Water with an extremely high concentration of interfering microorganisms (Matrix C) | 1. Enumeration of Legionella | ISO 11731:2017, Procedure 4; Media C-GVPC |
| 8. Water related matrices (e.g. swabs, biofilms, sediment, e.t.c.) (Matrix B & C) | 1. Καταμέτρηση της Legionella | ISO 11731:2017, Procedures 1,2,3; Media C-GVPC (Matrix B) Procedures 4, 14; Media C-GVPC (Matrix C) |
| Sampling |
| 1. Surface sampling using contact plates, stick swabs, sponges and cloths | 1. Microbiology of the food chain – Horizontal methods for surface sampling | ISO 18593:2018 |
| Drinking water from all kinds of water systems, e.g. pipes, tabs, treatment works, storage tanks, etc. Also, water from swimming pools, springs, wells etc. | Water sampling for microbiological analysis | ISO 19458:2006 |

Site of assessment: Laboratory permanent premises: 71 Posidonos av., GR-17562, P. Faliro, Greece.

Approved signatory: A. Chatzopoulou.

This Scope of Accreditation replaces the previous one dated 02.08.2023.

The Accreditation Certificate No. 760-5, to ELOT EN ISO/IEC 17025:2017, is valid until 02.08.2028.

Athens, 27.09.2023

Christos Nestoras

CEO of ESYD