# Hellenic Accreditation System

Annex F1/12 to the Certificate No. 909-4

# SCOPE of ACCREDITATION

of the Testing Laboratory

QLAB Private Company,

Research, Analytical & Quality Control Laboratory

| Tested materials and products | Types of test / Properties to be measured | Applied standards / Techniques to be used |
| --- | --- | --- |
| Chemical Tests |
| l. Water potable, ground, surface, swimming pool water and wastewater | l. Determination of pH | In house Method based on APHA*4500-H+ Lab Code: OE 2001 |
|  | 2. Determination of Electrical Conductivity | In house Method based on APHA*2510 B+ Lab Code: OE 2002 |
|  | 3. Determination of Chlorides | In house Method based on APHA*4500-Cl B Lab Code: OE 2010 |
|  | 4. Determination of Total Suspended Solids | In house Method based on APHA*2540 D Lab Code: OE 3009 |
| 2. Water potable, ground and surface | 1. Determination of Ammonium | In house Method based on APHA*4500-NH3- (Nessler method) Lab Code: OE 2017 |
|  | 2. Determination of Nitrates | In house Method based on APHA*4500-NO3 B Ultraviolet Spectrophotometric Screening Method (batch testing method) Lab Code: OE 2015 |
|  | 3. Determination of Nitrites | In house Method based on APHA* 4500-NO2 B Lab Code: OE 2016 |
|  | 4. Determination of Fluorides | In house Method based on HACH Method 8029 (SPADNS method) Lab Code: OE 2011 |
|  | 5. Determination of Total Hardness | In house Method based on APHA* 2340 C Lab Code: OE 2018 |
|  | 6. Determination of Chromium-VI | Based on HACH LCS 313 Lab Code: OE 2048 |
|  | 7. Determination of Al, As, B, Ba, Cd, Co, Cr, Cu, Fe, Hg, Mn, Mo, Ni, Pb, Sb, Se, Zn, Mg, Na, K | In house Method based on ISO 1 7294-1:2006 & ISO 17294-2:2016, ICP-MS Lab Code: OE 2800 |
| 3. Water potable and swimming pool water | 1. Determination of Carbonate Alkalinity and Bicarbonate alkalinity | In house Method based on APHA*2320 B Lab Code: OE 2028 |
| 4. Water potable | 1. Determination of Nitrates | HACH cd reduction Lab Code: OE 3013 |
| 5. Water and wastewater | l. Determination of Orthophosphates | In house Method based on APHA*4500-P E Lab Code: OE 2034 |
|  | 2. Determination of Sulphates | In house Method based on APHA*4500-SO4 E (turbidimetric) Lab Code: OE 2012 |
|  | 3. Determination of total Nitrogen | HACH LCK 138 and HACH LCK 238 Lab Code: OE 3063 |
|  | 4. Determination of total Phosphorous | HACH LCK 348 and HACH LCK 349 Lab Code: OE 3014 |
| 6. Wastewater | 1. Determination of Chromium-VI | Based on HACH LCK 313 Lab Code: OE 3032 |
| 7. Wastewater | 1. Determination of Nitrogen Nitrate, N-N03 | HACH Cd reduction Lab Code: OE 3013 |
|  | 2. Determination of Nitrogen Nitrite, N-N02 | In house Method based on APHA* 4500 NO2 B Lab Code: OE 2016 |
|  | 3. Determination of Ammonium Nitrogen N-NH4 | In house Method based on APHA* 4500 NH3 F Lab Code: OE 2017 |
|  | 4. Determination of Total Organic Carbon (TOC) | HACH LCK 385 Lab Code: OE 2080 |
|  | 5. Determination of total solids (TS) | In house Method based on APHA* 2540 Lab Code: OE 3047 |
| 8. Wastewater | l. Determination of BOD5 | In house Method based on APHA*5210 D Lab Code: OE 3007 |
|  | 2. Determination of COD | In house Method based on APHA*5220 D (closed reflux, colorimetric) and HACH LCK 314 & 514 Lab Code: OE 3008 |
| 9. Wastewater | l. Determination of Al, As, Cd, Co, Cr, Cu, Fe, Mn, Ni, Pb, Zn | In house Method based on ISO 17294-1:2006 & ISO 17294-2:2016, ICP-MS Lab Code: OE 2800 |
| 10. Food and Feed | l. Determination of Moisture & Volatiles | In house Method Lab Code: OE 6401 |
|  | 2. Determination of Crude Ash | In house Method Lab Code: OE 6402 |
|  | 3. Determination of Fat | In house Method Lab Code: OE 6403 |
|  | 4. Determination of Protein | In house Method Lab Code: OE 6404 |
|  | 5. Determination of Cd, Cu, Mn, Mo, Ni, Se, Zn, As, Pb, Hg | In house Method based on ISO 17294-1:2006 & ISO 17294-2:2016, ICP-MS Lab Code: OE 5501 |
| 11. Olive oils, kernel oils, vegetable oils and fats | 1. Determination of Free Fatty Acids | Based on Implementing Regulation (EU) 2022/2105 ANNEX I COI/T.20/Doc. αριθ. 34 Lab Code: ΟΕ 6201 |
|  | 2. Determination of Peroxides Index | Based on Implementing Regulation (EU) 2022/2105 ANNEX I COI/T.20/Doc. αριθ. 35 Lab Code: ΟΕ 6202 |
|  | 3. Determination of extinction coefficient K (232 nm & 268 nm) and specific extinction ΔK | Based on Implementing Regulation (EU) 2022/2105 ANNEX I COI/T.20/Doc. αριθ. 35 Lab Code: ΟΕ 6203 |
| 12. Fruits and vegetables with high water content Fruits and vegetables with high acid water and high water content | 2,3,5-Trimethacarb, Acetamiprid, Amidosulfuron, Aminocarb, Azaconazole, Azamethiphos, Azinphos-ethyl, Azoxystrobin, Beflubutamid, Benalaxyl, Benzoximate, Bitertanol, Boscalid,Bromuconazole(I), Bupirimate, Buprofezin, Carbaryl, Carbendazim, Carbofuran, Carboxin, Carfentrazone-ethyl, Chlorantraniliprole, Chlorfenvinphos(I), Chloridazon, Chloroxuron, Chlorpyrifos, Chlorsulfuron, Chlortoluron, Clofentezine, Clomazone, Coumaphos, Cyazofamid, Cycloate, Cycluron, Cyproconazole(I), Cyprodinil, DEET, Diazinon, Diethofencarb, Difenconazole, Diflubenzuron, Diflufenican, Dimethachlor, Dimethoate, Dimethomorph(E), Dimoxystrobin, Diniconazole(I), Dinotefuran, Dioxacarb, Diuron, Epoxiconazole, Ethidimuron, Ethirimol, Ethofumesate, Ethoprop, Fenamidone, Fenamiphos, Fenarimol, Fenazaquin, Fenbuconazole, Fenhexamid, Fenobucarb, Fenoxycarb, Fenpropidin, Fenpyroximate, Fenuron, Flonicamid, Flufenacet, Flufenoxuron, Fluometuron, Fluopicolide, Fluoxastrobin, Fluquinconazole, Flusilazol, Flutriafol, Forchlorfenuron, Fosthiazate, Fuberidazole, Furathiocarb, Halofenozide, Halosulfuron-methyl, Hexaconazole(I), Hexythiazox, Imazalil, Imidacloprid, Indoxacarb, Ipconazole(I), Iprovalicarb, Isoprothiolane, Isoxaben, Kresoxim-methyl, Lenacil, Linuron, Malaoxon, Malathion, Mandipropamid, Mecarbam, Mepanipyrim, Mesosulfuron-methyl, Metaflumizone, Metalaxyl, Metamitron, Metazachlor, Metconazole(I), Methabenzthiazuron, Methidathion, Methiocarb, Methoprotryne, Methoxyfenozide, Metobromuron, Metolachlor, Metrafenone, Metribuzin, Mevinphos, Molinate, Monocrotophos, Myclobutanil, Nitenpyram, Omethoate, Oxadiazon, Oxadixyl, Oxasulfuron, Paclobutrazol, Penconazole, Pencycuron, Pendimethalin,Phenthoate, Phosalone, Phosmet, Phosphamidon, Phoxim, Picolinafen, Picoxystrobin, Pirimicarb, Pirimiphos-methyl, Prochloraz, Profenofos, Promecarb, Prometon, Propamocarb, Propetamphos, Propiconazole(I), Propoxur, Propyzamide, Proquinazid, Prosulfocarb, Pyracarbolid, Pyraclostrobin, Pyridaben, Pyrimethanil, Pyriproxyfen, Quinalphos, Quinmerac, Quinoclamine,Quinoxyfen, Rotenone, Secbumeton, Silthiofam, Spinosyn A, Spinosyn D, Spirodiclofen, Spiromesifen, Spirotetramat, Spiroxamine, Sulfentrazone, Tebuconazole(I), Tebufenpyrad, Tebuthiuron, Temephos, Tepraloxydim, Terbufos, Tetraconazole, Thiacloprid, Thiamethoxam, Thidiazuron, Thifensulfuron-methyl, Thiodicarb, Tifatol,Tralkoxydim, Triadimefon, Triadimenol, Triasulfuron,Triazophos, Tribenuron-methyl, Tricyclazole, Trietazine, Trifloxystrobin, Triflumizole, Triflumuron, Triticonazole(I), Uniconazole-P(I), Vamidothion, Zoxamide | Based on ΕΛΟΤ EN 15662 & SANTE/11312/2021 LC-QTOF Lab Code: OE 6540 |
| High fat content products of plant origin | 2,3,5-Trimethacarb, Acetamiprid, Amidosulfuron, Aminocarb, Azaconazole, Azamethiphos, Azinphos-ethyl, Azoxystrobin, Beflubutamid, Benalaxyl, Benzoximate, Bifenazate,Bitertanol, Boscalid, Bromuconazole(I), Bupirimate, Buprofezin, Carbaryl, Carbendazim , Carbofuran, Carboxin, Carfentrazone-ethyl, Chlorantraniliprole, Chlorfenvinphos(I), Chloridazon, Chloroxuron, Chlortoluron,Clethodim, Clofentezine, Clomazone, Coumaphos, Cyazofamid, Cycloate, Cycluron, Cyproconazole(I), Cyprodinil, DEET, Desmedipham, Diazinon,Diethofencarb, Difenconazole, Diflubenzuron, Diflufenican, Dimethachlor, Dimethoate, Dimethomorph(E), Dimoxystrobin, Diniconazole(I), Dinotefuran, Dioxacarb, Diuron, Epoxiconazole, Ethidimuron, Ethion, Ethirimol, Ethoprop,Fenamidone, Fenamiphos, Fenarimol, Fenazaquin, Fenbuconazole, Fenhexamid, Fenobucarb, Fenoxycarb, Fenpropidin, Fenpyroximate, Fenuron, Flazasulfuron, Fludioxonil, Flufenacet, Flufenoxuron, Flumetsulam, Fluometuron, Fluopicolide, Fluoxastrobin, Fluquinconazole, Flusilazol, Flutriafol, Forchlorfenuron, Fosthiazate, Fuberidazole, Furathiocarb, Halosulfuron-methyl, Hexaconazole(I), Hexythiazox, Hydramethylnon, Imazalil, Imidacloprid, Indoxacarb, Ipconazole(I), Iprovalicarb, Isoprothiolane, Isoxaben, Kresoxim-methyl, Linuron, Malaoxon, Malathion, Mandipropamid, Mecarbam, Mepanipyrim, Mesosulfuron-methyl, Metaflumizone, Metalaxyl, Metamitron, Metazachlor, Metconazole(I), Methabenzthiazuron, Methamidophos, Methidathion, Methiocarb, Methoprotryne, Methoxyfenozide, Metobromuron, Metolachlor, Metrafenone, Metribuzin, Mevinphos , Mexacarbate,Molinate, Myclobutanil, Nitenpyram, Omethoate, Oxadiazon, Oxadixyl, Oxasulfuron, Paclobutrazol, Penconazole, Pencycuron, Pendimethalin, Phenmedipham, Phenthoate, Phosalone, Phosmet, Phosphamidon, Phoxim, Picolinafen, Picoxystrobin, Pirimicarb, Pirimiphos-methyl , Prochloraz, Profenofos, Promecarb, Prometon, Propamocarb, Propaquizafop, Propetamphos, Propiconazole(I), Propoxur, Propyzamide, Proquinazid, Prosulfocarb, Pyracarbolid, Pyraclostrobin, Pyridaben, Pyridate, Pyrimethanil, Pyriproxyfen, Quinalphos, Quinmerac, Quinoclamine, Quinoxyfen, Rimsulfuron, Rotenone, Secbumeton, Silthiofam, Spinosyn A, Spinosyn D, Spirotetramat, Spiroxamine, Sulfentrazone, Thiabendazole, Tebuconazole(I) , Tebufenpyrad, Tebuthiuron, Temephos, Tepraloxydim, Terbufos, Tetraconazole, Thiacloprid, Thiamethoxam, Thidiazuron, Thiodicarb, Tolylfluanide, Tralkoxydim, Triadimefon, Triadimenol, Triasulfuron, Triazophos, Tribenuron-methyl, Trichlorfon, Tricyclazole, Trietazine, Trifloxystrobin, Triflumizole, Triflumuron, Triticonazole(I), Uniconazole-P(I), Vamidothion, Zoxamide |  |
| Cereals and legumes | 2,3,5-Trimethacarb, Acetamiprid, Amidosulfuron, Aminocarb, Azaconazole, Azamethiphos, Azinphos-ethyl, Azoxystrobin, Beflubutamid, Benalaxyl, Benzoximate, Bitertanol, Boscalid,Bromuconazole(I), Bupirimate, Buprofezin, Carbaryl, Carbendazim, Carbofuran, Carboxin, Carfentrazone-ethyl, Chlorantraniliprole, Chlorfenvinphos(I), Chloridazon, Chloroxuron, Chlorsulfuron, Chlortoluron, Clethodim, Clomazone, Coumaphos, Cyazofamid, Cycluron, Cyproconazole(I), Cyprodinil, DEET, Desmedipham, Diazinon, Diethofencarb, Difenconazole, Diflubenzuron, Diflufenican, Dimethachlor, Dimethoate, Dimethomorph(E), Dimoxystrobin, Diniconazole(I), Dinotefuran, Dioxacarb, Diuron, Epoxiconazole, Ethidimuron, Ethirimol, Ethoprop, Fenamidone, Fenamiphos, Fenarimol, Fenbuconazole, Fenhexamid, Fenobucarb, Fenoxycarb, Fenpropidin, Fenpyroximate, Fenuron, Flazasulfuron, Flonicamid, Fludioxonil, Flufenacet, Flumetsulam, Fluometuron, Fluopicolide, Fluoxastrobin, Fluquinconazole, Flusilazol, Flutriafol, Forchlorfenuron, Fosthiazate, Fuberidazole, Furathiocarb, Halofenozide, Halosulfuron-methyl, Hexaconazole(I), Hexythiazox, Hydramethylnon, Imazalil, Imidacloprid, Indoxacarb, Ipconazole(I), Iprovalicarb, Isoprothiolane, Isoxaben, Kresoxim-methyl, Lenacil, Linuron, Malaoxon, Malathion, Mandipropamid, Mecarbam, Mepanipyrim, Mesosulfuron-methyl, Metaflumizone, Metalaxyl, Metamitron, Metazachlor, Metconazole(I), Methabenzthiazuron, Methamidophos, Methidathion, Methiocarb, Methomyl, Methoprotryne, Metobromuron, Metolachlor, Metrafenone, Metribuzin, Mexacarbate, Molinate, Monocrotophos, Myclobutanil, Nicosulfuron, Nitenpyram, Omethoate, Oxadixyl, Oxasulfuron, Paclobutrazol, Penconazole, Pencycuron, Pendimethalin, Phenmedipham, Phenthoate, Phosalone, Phosmet, Phosphamidon, Phoxim, Picolinafen, Picoxystrobin, Pirimicarb, Pirimiphos-methyl,Prochloraz, Profenofos, Promecarb, Prometon, Propamocarb, Propaquizafop, Propetamphos,Propiconazole(I), Propyzamide , Prosulfocarb, Pyracarbolid, Pyraclostrobin, Pyrimethanil, Quinalphos,Quinmerac, Quinoclamine, Rimsulfuron, Rotenone, Secbumeton, Silthiofam, Spinosyn A, Spinosyn D, Spiromesifen, Spiroxamine, Sulfentrazone, Thiabendazole, Tebuconazole(I), Tebufenpyrad, Tebuthiuron, Temephos, Tepraloxydim, Terbufos, Tetraconazole, Thiacloprid, Thiamethoxam, Thidiazuron, Thifensulfuron-methyl, Tralkoxydim, Triadimefon, Triadimenol, Triasulfuron,Triazophos, Tribenuron-methyl, Tricyclazole, Trietazine, Trifloxystrobin, Triflumizole, Triflumuron, Triticonazole(I), Uniconazole-P(I), Vamidothion, Zoxamide |  |
| 13. Fruits and vegetables with high water content Fruits and vegetables with high acid water and high water content | Acetochlor, Acrinathrin, Alachlor, Aldrin, Allethrin-3,4 (Bioallethrin), Allidochlor, Atrazine, Benfluralin, BHC-alpha, BHC-beta, BHC-delta, BHC-gamma (Lindane), Bifenthrin, Biphenyl, Bromfenvinfos-methyl, Bromfenvinphos, Bromophos, Bromophos-ethyl, Bupirimate, Carbophenothion, Chlorbenside, Chlordane-trans, Chlorfenapyr, Chlorfenson, Chlorfenvinphos (2 isomers), Chlorthiophos (3 isomers), Clomazone, Cycloate, Cyfluthrin (4 isomers), Cyhalothrin-lambda, Cypermethrin (4 isomers), Cyprodinil, DDD-o,p', DDD-p,p', DDE-o,p', DDE-p,p', DDT-o,p', Di-allate-cis, Di-allate-trans, Dichlobenil, Ethylan (Perthane), 4,4'-Dichlorobenzophenone, Dicloran, Dieldrin, Dimethachlor, Diphenamid, Disulfoton, Edifenphos, Endosulfan ether, Endosulfan sulfate, Endosulfan-alpha, Endosulfan-beta, Ethalfluralin, Etofenprox, Etridiazole, Fenamiphos, Fenarimol, Fenchlorphos, Fenson, Fenthion, Fenvalerate (2 isomers), Fipronil, Fluchloralin, Flucythrinate (2 isomers), Fludioxonil, Flusilazole, Flutolanil, Flutriafol, Fonofos, Heptachlor, Heptachlor-exo-epoxide, Hexachlorobenzene, Hexazinone, Iodofenphos, Iprodione, Isodrin, Isopropalin, Leptophos, Linuron, Malathion, Metazachlor, Methacrifos, 4,4'-Methoxychlor olefin, Metolachlor, Mevinphos (2 isomers), MGK-264 (2 isomers), Myclobutanil, N-(2,4-dimethylphenyl) formamide, Nonachlor-cis, Nonachlor-trans, Norflurazon, Paclobutrazol, Parathion, Parathion-methyl, Pebulate, Penconazole, Pendimethalin, Pentachloroaniline, Pentachloroanisole, Pentachlorobenzene, Pentachlorobenzonitrile, Pentachlorothioanisole, Permethrine-cis, Permethrine-trans, Phenothrin-2, Phorate, Piperonyl butoxide, Procymidone, Prodiamine, Profenofos, Profluralin, Propachlor, Propanil, Propargite (2 isomers), Propisochlor, Propyzamide, Prothiofos, Pyrimethanil, Pyriproxyfen, Quintozene, Sulfotep, Sulprofos, tau-Fluvalinate (2 isomers), Tebuconazole, Tecnazene, Tefluthrin, Terbacil, Terbufos, Terbuthylazine, Tetrachlorvinphos, Tetradifon, Tetramethrin (2 isomers), THPI , Tolclofos-methyl, Transfluthrin, Triadimefon, Triadimenol, Tri-allate, Triazophos, Tricyclazole, Triflumizole, Trifluralin, Vinclozolin | Based on ΕΛΟΤ EN 15662 & SANTE/11312/2021 GC-MS/MS Lab Code: OE 8050 |
| High fat content products of plant origin | Acetochlor, Acrinathrin, Alachlor, Allethrin-3,4 (Bioallethrin), Allidochlor, Anthraquinone, Atrazine, Azinphos-ethyl, Azinphos-methyl, Benfluralin, BHC-alpha, Bifenthrin, Biphenyl, Bromfenvinfos-methyl, Bromfenvinphos, Bromophos-ethyl, Bupirimate, Carfentrazone-ethyl, Chlorbenside, Chlordane-cis, Chlordane-trans, Chlorfenapyr, Chlorfenvinphos (2 isomers), Chlorothalonil, Chlorpyrifos-methyl, Chlorthal-dimethyl, Chlorthiophos-2, Chlozolinate, Clomazone, Coumaphos, Cycloate, Cyfluthrin (4 isomers), Cyhalothrin-lambda, Cypermethrin (3 isomers), Cyprodinil, DDD-o,p', DDD-p,p', DDT-o,p', Deltamethrin-2, Di-allate-cis, Di-allate-trans, Diazinon, Dichlobenil, Dichlofluanid, Ethylan (Perthane), 4,4'-Dichlorobenzophenone, Dicloran, Dieldrin, Dimethachlor, Diphenamid, Disulfoton, Edifenphos, Endosulfan sulfate, Endosulfan-alpha, EPN, Ethalfluralin, Ethion, Etofenprox, Fenamiphos, Fenarimol, Fenchlorphos, Fenitrothion, Fenpropathrin, Fenson, Fenthion, Fenvalerate (2 isomers), Fipronil, Fluazifop-P-butyl, Fluchloralin, Flucythrinate (2 isomers), Fludioxonil, Fluquinconazole, Fluridone, Flusilazole, Flutolanil, Flutriafol, Fonofos, Heptachlor-exo-epoxide, Hexazinone, Iprodione, Isazofos, Leptophos, Linuron, Malathion, Metalaxyl, Metazachlor, Methacrifos, Methoxychlor, 4,4'-Methoxychlor olefin, Metolachlor, Mevinphos (2 isomers), MGK-264 (2 isomers), Myclobutanil, N-(2,4-dimethylphenyl) formamide, Nitralin, Nonachlor-cis, Nonachlor-trans, Norflurazon, Oxadiazon, Oxyfluorfen, Paclobutrazol, Parathion, Parathion-methyl, Penconazole, Pentachloroaniline, Pentachlorobenzonitrile, Permethrine-cis, Phenothrin-2, Phorate, Phosalone, Phosmet, Piperonyl butoxide, Pirimiphos ethyl, Pirimiphos-methyl, Pretilachlor, Procymidone, Prodiamine, Profenofos, Profluralin, Propachlor, Propanil, Propargite (2 isomers), Propisochlor, Propyzamide, Prothiofos, Pyraclofos, Pyrazophos, Pyridaphenthion, Quinalphos, Quintozene, Resmethrin-2 , Sulfotep, tau-Fluvalinate (2 isomers), Tebuconazole, Tecnazene, Terbacil, Terbufos, Terbuthylazine, 2,3,5,6-Tetrachloroaniline, Tetrachlorvinphos, Tetramethrin (2 isomers), THPI , Tolclofos-methyl, Tolylfluanid, Triadimefon, Triadimenol, Triazophos, Tricyclazole, Triflumizole, Trifluralin, Vinclozolin |  |
| Cereals and legumes | Acetochlor, Acrinathrin, Alachlor, Allethrin-3,4 (Bioallethrin), Allidochlor, Anthraquinone, Atrazine, Azinphos-ethyl, Benfluralin, BHC-alpha, BHC-beta, BHC-delta, BHC-gamma, Bifenthrin, Biphenyl, Bromfenvinfos-methyl, Bromfenvinphos, Bromophos, Bromophos-ethyl, Bromopropylate, Bupirimate, Carbophenothion, Carfentrazone-ethyl, Chlordane-cis, Chlordane-trans, Chlorfenapyr, Chlorfenson, Chlorfenvinphos (2 isomers), Chlorobenzilate, Chlorpropham, Chlorpyrifos, Chlorpyrifos-methyl, Chlorthal-dimethyl, Chlorthiophos (3 isomers), Chlozolinate, Clomazone, Coumaphos, Cycloate, Cyfluthrin (4 isomers), Cyhalothrin-lambda, Cypermethrin (4 isomers), Cyprodinil, DDD-o,p', DDD-p,p', DDE-o,p', DDE-p,p', DDT-o,p', DDT-p,p', Di-allate-cis, Di-allate-trans, Diazinon, Dichlobenil, Ethylan (Perthane), 4,4'-Dichlorobenzophenone, Dicloran, Dieldrin, Dimethachlor, Diphenamid, Edifenphos, Endosulfan ether, Endosulfan sulfate, Endosulfan-alpha, Endosulfan-beta, Endrin, Endrin ketone, EPN, Ethalfluralin, Ethion, Etofenprox, Etridiazole, Fenamiphos, Fenarimol, Fenchlorphos, Fenitrothion, Fenson, Fenvalerate (2 isomers), Fipronil, Fluazifop-P-butyl, Fluchloralin, Flucythrinate (2 isomers), Fludioxonil, Fluquinconazole, Fluridone, Flusilazole, Flutolanil, Flutriafol, Fonofos, Heptachlor, Heptachlor-exo-epoxide, Hexachlorobenzene, Hexazinone, Iodofenphos, Iprodione, Isazofos, Isodrin, Isopropalin, Lenacil, Leptophos, Linuron, Malathion, Metalaxyl, Metazachlor, Methacrifos, Methoxychlor, 4,4'-Methoxychlor olefin, 2,4'-Methoxychlor, Metolachlor , Mevinphos-1, MGK-264 (2 isomers), Mirex, Myclobutanil, N-(2,4-dimethylphenyl) formamide, Nitralin, Nitrofen, Nonachlor-cis, Nonachlor-trans, Norflurazon, Oxadiazon, Oxyfluorfen, Paclobutrazol, Parathion, Parathion-methyl, Pebulate, Penconazole, Pendimethalin, Pentachloroaniline, Pentachloroanisole, Pentachlorobenzene, Pentachlorobenzonitrile, Pentachlorothioanisole, Permethrine-cis, Permethrine-trans, Phosmet, Pirimiphos ethyl, Pretilachlor, Procymidone, Prodiamine, Profenofos, Profluralin, Propachlor, Propanil, Propargite (2 isomers), Propisochlor, Propyzamide, Prothiofos, Pyrazophos, Pyridaben, Pyridaphenthion, Pyrimethanil, Quinalphos, Quintozene, Resmethrin-2 , Sulfotep, Sulprofos, tau-Fluvalinate (2 isomers), Tebuconazole, Tebufenpyrad, Tecnazene, Tefluthrin, Terbacil, Terbufos, Terbuthylazine, 2,3,5,6-Tetrachloroaniline, Tetrachlorvinphos, Tetradifon, Tetramethrin-1, THPI , Tolclofos-methyl, Transfluthrin, Triadimefon, Triadimenol, Tri-allate, Triazophos, Tricyclazole, Triflumizole, Trifluralin, Vinclozolin |  |
|  | Microbiological Tests |
| 1. Water potable, ground, surface, swimming pool water and treated waste water from treatment plant | l. Enumeration of Total Coliforms & E. coli | ISO 9308-1 : 2014 Lab Code: OE 4003 |
|  | 2. Detection and enumeration of Intestinal Enlerococci | ISO 7899-2: 2000 Lab Code: OE 4005 |
|  | 3. Enumeration of culturable microorganisms at 22 ± 2οC & 36 ± 2οC, pour plate method | ISO 6222: 1999 Lab Code: OE 4001 |
| 2. Potable water and swimming pool water | l. Detection and enumeration of Pseudomonas aeruginosa | ISO 16266:2006 Lab Code: OE 4007 |
| 3. Potable Water, cooling tower, process water, water from air washers' chambers, dental units water and other water with a high concentration of interfering | l. Enumeration of Legionella | ISO 1 1731: 2017 Lab Code: OE 4051 |
| 4. Sea water | 1. Enumeration of Total Coliforms & E. coli | ISO 9308-1: 2014 Lab Code: OE 4003 |
|  | 2. Detection and enumeration of Intestinal Enterococci | ISO 7899-2: 2000 Lab Code: OE 4005 |
| 5. Food and Feed | l. Enumeration of the total aerobic microorganisms at 30 0C | ISO 4833-1: 2013 Lab Code: OE 4012 |
|  | 2. Enumeration of Enterobacteriaceae | ISO 21528-2: 2017 Lab Code: OE 4044 |
|  | 3. Enumeration of Coliforms | ISO 4832: 2006 Lab Code: OE 4013 |
|  | 4. Enumeration of ß-glucuronidase- positive E. coli | ISO 16649-2: 2001 Lab Code: OE 4014 |
|  | 5. Detection of non typhi, non paratyphi Salmonella spp. | ISO 6579-1: 2017 Lab Code: OE 4033 |
|  | 6. Detection of Listeria spp. and Listeria monocytogenes | ISO 11290-1: 2017 Lab Code: OE 4042 |
|  | 7. Enumeration of Listeria spp. and Listeria monocytogenes | ISO 11290-2: 2017 Lab Code: OE 4043 |
|  | 8. Enumeration of yeasts and moulds at 25 0C with aw > 95 % | ISO 21527-1: 2008 Lab Code: OE 4021 |
|  | 9. Enumeration of yeasts and moulds at 25 0C with aw> 95 % | ISO 21527-2: 2008 Lab Code: OE 4045 |
|  | 10. Enumeration of coagulase-positive staphylococci | ISO 6888-2:2021 Lab Code: OE 4020 |
| 6. Sludge and Biowaste | 1. Enumeration of E. coli | CEN/TR 16193: 2013 (method A) Lab Code: OE 4031 |
| 7. Environmental samples, animal faeces and samples from the primary production stage | 1. Detection of non-typhi, non-paratyphi Salmonella spp. | ISO 6579-1:2017 Lab Code: OE 4050 |
|  | Biological Tests |  |
| l. Water | l. Detection of Legionella | ISO/TS 12869: 2019 (PCR) Lab Code: OE 4052 |
| 2. Water, effluents, foodstuffs and animal feeding stuffs | 1. Detection of Salmonella spp | Internal method by Real-Time PCR based on: StarPrep One Kit, Salmonella Detection Kit (Biotecon Diagnostics) according to DIN 10135:2013. Lab Code: OE 4050. |
| Soya: foodstuffs(beans,flour), feedstuffs (flour) Maize: foodstuffs(grains,flour), feedstuffs (grains, flour) | 1. Screening method for genetically modified organisms (GMOs), by the detection of CaMV 35S promoter, FMV promoter and nopaline synthase terminator (NOS) | Internal method by Real-Time PCR based on: Foodproof GMO Screening I LyoKit and Foodproof Plant Detection LyoKit (Biotecon Diagnostics) and according to ISO 21569:2005, DNA extraction with Foodproof Sample preparation kit III. Lab Code: OE 5272. |
|  | 2. Screening method for genetically modified organisms (GMOs), by the detection of genetic elements BAR, P-35S-pat and CTP2-CP4-EPSPS | Internal method by Real-Time PCR based on: Foodproof GMO Screening I LyoKit and Foodproof Plant Detection LyoKit (Biotecon Diagnostics) and according to ISO 21569:2005. DNA extraction with Foodproof Sample preparation kit III. Lab Code: OE 5273. |
|  | 3. Detection of Cauliflower mosaic virus (CaMV) | Internal method by Real-Time PCR based on CaMV Detection Kit (Biotecon Diagnostics).DNA extraction with Foodproof Sample preparation kit III. Lab Code: OE 5274. |
|  | Immunochemical Tests |  |
| l. Food | 1. Detection of Sesame protein | Internal method based on ELISA kit "Sesame", Immunolab and according to EN 15633-1:2019. Lab Code: OE 5245. |
|  | 2. Detection of Gliadin/Gluten | Internal method based on ELISA kit "Gliadin/Gluten", Immunolab and according to EN 15633-1 2019. Lab Code: OE 5196. |
|  | 3. Detection of Milk protein | Internal method based on ELISA kit "Milk", Immunolab and according to EN 15633-1:2019. Lab Code: OE 5224. |
|  | 4. Detection of Soy | Internal method based on ELISA kit "Soy", Immunolab and according to EN 15633-1:2019. Lab Code: OE 5239. |
|  | Sampling |  |
| l. Water potable, from piped distribution systems, ground, surface, swimming pool water and wastewater | Sampling for the testing of physicochemical and microbiological parameters | ISO 5667-1: 2020 ISO 5667-3: 2018 ISO 5667-5: 2006 ISO 5667-6: 2014 ISO 5667-10: 1992 ISO 5667-11:2009 ISO 5667-14: 2014 ISO 19458: 2006 |

* American Public Health Association, American Water Works Association, Water Environment Federation, "Standard Methods for the Examination of Water and Wastewater", 23rd Edition, 2017

Site of assessment: Laboratory permanent premises – Konstantinou Karamanli 122 road, PC 57008, Ionia,

Thessaloniki

Approved signatories: Ioanna Dalla, Themistoklis Sfetsas and Vassiliki Tsioni

This scope of Accreditation replaces the previous one, dated 06.03.2023.

The Accreditation Certificate 909-4, according to ELOT EN ISO/IEC 17025:2017, is valid until 20.03.2027.

Athens, 29th of June 2024

Christos Nestoras

CEO of ESYD