Hellenic Accreditation System

Annex G1/9 to the Certificate No. 905-5 SCOPE of ACCREDITATION of the Clinical Laboratory of AFFIDEA OF THESSALONIKI Private multisurgery, Medical Single Member S. A.

| Materials/Products tested | Types of test/Properties measured | Applied methods/Techniques used |
| --- | --- | --- |
| Biochemical Tests |
| 1. Blood serum Blood serum (continued) | Determination of 37 parameters | Automated biochemical analyzer Cobas 6000, Roche* |
|  | 1. Glucose | Enzymatic Chromatometric reaction GOD-PAP, (WP 504Α-11, Version 2/14.7.2016) |
|  | 2. Triglycerides | Enzymatic Chromatometric reaction GPO – PAP, (WP 504Α-11, Version 2/14.7.2016) |
|  | 3. Total Cholesterol | Enzymatic reaction CHOD – PAP, (WP 504Α-11, Version 2/14.7.2016) |
|  | 4. HDL-Cholesterol | Enzymatic Chromatometric reaction, (WP 504Α-11, Version 2/14.7.2016) |
|  | 5. LDL-Cholesterol | Enzymatic Chromatometric reaction, (WP 504Α-11, Version 2/14.7.2016) |
|  | 6. VLDL-Cholesterol | Calculated method, (WP 504Α-11, Version 2/14.7.2016) |
|  | 7. Uric acid | Enzymatic Chromatometric reaction uricase/peroxidase, (WP 504Α-11, Version 2/14.7.2016) |
|  | 8. Urea | Kinetic Enzymatic reaction / UV, (WP 504Α-11, Version 2/14.7.2016) |
|  | 9. Creatinine | Kinetic Enzymatic reaction - JAFFE METHOD, (WP 504Α-11, Version 2/14.7.2016) |
|  | 10.Total Bilirubin | Photometric reactionUV Liquid DPD, (WP 504Α-11, Version 2/14.7.2016) |
|  | 11. Direct Bilirubin | Photometric reactionUV, (WP 504Α-11, Version 2/14.7.2016) |
|  | 12.Calcium | Photometric reaction -5NITRO-5METHYL- BAPTA, (WP 504Α-11, Version 2/14.7.2016) |
|  | 13.Phosphorus | Photometric reaction end point PHOSPHOMOLYBDADE, (WP 504Α-11, Version 2/14.7.2016) |
|  | 14.Iron | Colorimetric reaction /FERROZINE, (WP 504Α-11, Version 2/14.7.2016) |
|  | 15.Total Protein | Colorimetric reaction BIURET, (WP 504Α-11, Version 2/14.7.2016) |
|  | 16. Albumin | Photometric reaction BROMOCRESOL GREEN, (WP 504Α-11, Version 2/14.7.2016) |
|  | 17.Serum glutamic-oxaloacetic transaminase (SGOT) | Photometric reaction UV / IFCC without P-S-P (WP 504Α-11, Version 2/14.7.2016) |
|  | 18. Serum glutamic-pyruvic transaminase (SGPT) | Photometric reaction UV / IFCC without P-S-P (WP 504Α-11, Version 2/14.7.2016) |
|  | 19.Gamma-glutamyl trasferase (γ-GT) | Enzymatic Colorimetric reaction GCNA- Liquid stand SZΑSZ, (WP 504Α-11, Version 2/14.7.2016) |
|  | 20.Alkaline phosphatase (ALP) | Colorimetric reaction LIQUID acc to IFCC, (WP 504Α-11, Version 2/14.7.2016) |
|  | 21.Creatinine kinase (CPK) | Photometric reaction LIQUID IFCC, (WP 504Α-11, Version 2/14.7.2016) |
|  | 22.Lactate dehydrogenase (LDH) | Photometric reaction UV/optimized DGKC, (WP 504Α-11, Version 2/14.7.2016) |
|  | 23. Amylase | Enzymatic colorimetric method liquid acc to IFCC, (WP 504Α-11, Version 2/14.7.2016) |
|  | 24. Magnesium | Chromatometric method, (WP 504Α-11, Version 2/14.7.2016) |
|  | 25. Potassium | ISE method, (WP 504Α-11, Version 2/14.7.2016) |
|  | 26. Sodium | ISE method, (WP 504Α-11, Version 2/14.7.2016) |
|  | 27. Transferrin | Immunoturbidimetric method, (WP 504Α-11, Version 2/14.7.2016) |
|  | 28. Ferritin | Immunoturbidimetric method, (WP 504Α-11, Version 2/14.7.2016) |
|  | 29. Globulins | Calculated method, (WP 504Α-11, Version 2/14.7.2016) |
|  | 30. Atheromatic index | Calculated method, (WP 504Α-11, Version 2/14.7.2016) |
|  | 31.A/G ratio | Calculated method, (WP 504Α-11, Version 2/14.7.2016) |
|  | 32. Bicarbonate (HCO3 -) | Enzymatic Colorimetric Method (WP 504Α-11, Version 2/14.7.2016) |
| 2. Urine | Determination of 5 parameters | Automated biochemical analyzer Cobas 6000, Roche* |
|  | 1.Creatinine | Kinetic Enzymatic reaction - JAFFE METHOD, (WP 504Α-11, Version 2/14.7.2016) |
|  | 2.Calcium | Photometric reaction -5NITRO-5METHYL- BAPTA, (WP 504Α-11, Version 2/14.7.2016) |
|  | 3.Phosphorus | Photometric reaction end point PHOSPHOMOLYBDADE, (WP 504Α-11, Version 2/14.7.2016) |
|  | 4. Potassium | ISE method, (WP 504Α-11, Version 2/14.7.2016) |
|  | 5. Sodium | ISE method, (WP 504Α-11, Version 2/14.7.2016) |
| Hematological Tests |
| Whole blood | Determination of 8 parameters | Automated analyzers SYSMEX XT 1800-i |
|  | 1. White Blood Cells (WBC) | Flow Cytometry with fluorescence method (WP 504Α-11, Version 2/14.7.2016) |
|  | 2. Red Blood Cells (RBC) | Hydrodynamic Focusing (DC Detection), (WP 504Α-11, Version 2/14.7.2016) |
|  | 3. Hemoglobin (HGB) | Photometry, (WP 504Α-11, Version 2/14.7.2016) |
|  | 4. Hematocrit (HCT) | Hydrodynamic Focusing (DC Detection), (WP 504Α-11, Version 2/14.7.2016) |
|  | 5. Mean Cell Volume (ΜCV) | Calculated based on specific equation (DC Detection) (WP 504Α-11, Version 2/14.7.2016) |
|  | 6. Mean Cell Hemoglobin (MCH) | Calculated based on specific equation (DC Detection), (WP 504Α-11, Version 2/14.7.2016) |
|  | 7. Mean corpuscular hemoglobin concentration (MCHC) | Calculated based on specific equation (DC Detection), (WP 504Α-11, Version 2/14.7.2016) |
|  | 8. Platelets (PLTs) | Hydrodynamic Focusing (DC Detection), (WP 504Α-11, Version 2/14.7.2016) |
| Immunochemical Tests |
| 1. Blood serum Blood serum (continued) | Determination of 20 parameters | Automated immunochemical analyzer Cobas 6000, Roche* |
|  | Prolactin (PRL) | Electrochemiluminescense (ECLIA) (WP 504Α-11, Version 2/14.7.2016) |
|  | Follicle Stimulating Hormone (FSH) |  |
|  | Luteinizing Hormone (LH) |  |
|  | Thyrotropin Hormone (TSH) |  |
|  | 5. Thyroxin total (Τ4) |  |
|  | 6. Triidothyronine total (T3) |  |
|  | 7. Free Thyroxin (Free T4) |  |
|  | 8. Free Triidothyronine total (Free T3) |  |
|  | 9. Testosterone |  |
|  | 10. β-Human Chorionic Gonadotropin (β-ΗCG) |  |
|  | 11. Estradiol (E2) |  |
|  | 12. Dehydroepiandrosterone-sulfate (DHEA-s) |  |
|  | 13. Carcinoembryonic antigen (CEA) |  |
|  | 14. Cancer antigen CA 125 |  |
|  | 15. Cancer antigen CA 15-3 |  |
|  | 16. Cancer antigen CA 19-9 |  |
|  | 17. Prostate Specific Antigen (PSA) |  |
|  | 18 Parathyroid (PTH) |  |
|  | 19. Vitamin B12 |  |
|  | 20. Follate |  |
| Blood serum | Determination of 4 parameters | Automated immunochemical analyzer Cobas e411, Roche* |
|  | 1. Alpha-Fetoprotein (AFP) | Electrochemiluminescense (ECLIA) (WP 504Α-11, Version 2/14.7.2016) |
|  | 2. Immunogloboulin Ε (IgE) |  |
|  | 3. Progesterone (PRG) |  |
|  | 4. Cortisol |  |

*Reference to the commercial name of a specific analyzer/kit,  refers to a specific analytical method and protocol

IFCC: International Federation of Clinical Chemistry

DGKC: Deutsche Geselschaft fur Klinische Chemie

Site of assessment : Laboratory permanent premises, 6 Vas. Georgiou str, Thessaloniki, Greece.

Approved signatories : Paraskevi Alexiou.

The Accreditation Certificate No. 905-5, to ELOT EN ISO 15189:2012, is valid until 18.02.2027.

Athens, 11.01.2023

Christos Nestoras

CEO of ESYD