Hellenic Accreditation System

Annex F1/9 to the Certificate No. 547-5 SCOPE of ACCREDITATION of the Renewable Energy Laboratory of INTERNATIONAL WINDENGINEERING G.P. for the performance of tests

| Materials / Products to be tested | Types of test / Properties to be measured | Applied methods / Techniques to be used |
| --- | --- | --- |
| Wind Measurements |
| Wind potential intended for the estimation of wind turbine generator performance | Wind speed (m/s) | IEC 61400-12-1: 2017 §7.2 (εκτός 7.2.1) |
|  | Wind direction (Deg.) | IEC 61400-12-1: 2017 § 7.3 |
| Wind Turbine Testing |
| Wind turbines | Power performance measurements of wind turbines | IEC 61400-12-1: 2005* MEASNET Power Performance, v.5: 2009 |
|  |  | IEC 61400-12-1: 2017 According to Configuration 3 και 4 of Table 1, Section 5 (using meteorological mast without use of lidar) |
| Meteorological measurements |
| Air temperature | Measurement of air temperature in open field | Internal method ΤPR-05 based on guide: WMO-No8: 2017, Part I, Chapter 2 |
| Relative humidity | Measurement of relative humidity in open field | Internal method ΤPR-05 based on guide: WMO-No8: 2017, Part I, Chapter 4 |
| Atmospheric pressure | Measurement of atmospheric pressure | Internal method ΤPR-05 based on guide: WMO-No8: 2017, Part I, Chapter 3 |

*This standard has been replaced by the 2017 version but still included in the  SoA due to customer request.

Site of assessment: Permanent laboratory premises, Theotokopoulou 24, 153 44 Gerakas, Attiki, Greece

Approved signatories: E. Morfiadakis, K. Papadopoulos

This Scope of Accreditation replaces the previous one dated May 18th, 2021.

The Accreditation Certificate No. 547-5, to ELOT EN ISO/IEC 17025: 2017, is valid until 18.5.2025

Athens, July 28th, 2021

Spyridon Podaras

CEO of ESYD