Hellenic Accreditation System

| Annex F1/18 to the Certificate No. 16-6 SCOPE of ACCREDITATION of the Testing Laboratory “A. TSAKALIDIS Inc.” |
| --- |
| Tested Materials/Products | Types of test/Properties measured | Applied methods/Techniques used |
| Chemical Tests |
| 1. Water and wastewater | 1. Determination of Conductivity (*) | APHA 2510 B |
|  | 2. Determination of Alkalinity | In house methodΟ.106 based on APHA 2320 B |
|  | 3. Determination of pH (*) | APHA 4500-H+ |
|  | 4A. Determination of Ammonium (*) | APHA 4500-NH3F |
|  | 4B. Determination of Ammonium (*) | In house methodΟ.304 based on DIN 38406-E5-1 and ISO 7150-1 |
|  | 5. Determination of Calcium | APHA 3111 B |
|  | 6. Determination of Sulfates (*) | In house methodΟ.306 based on APHA 4500-SO4 |
|  | 7. Determination of Nitrates (*) | In house methodΟ.305 based on DIN 38405-D9-2 & ISO 7890-1-2 |
|  | 8. Determination of Nitrites (*) | In house methodΟ.301 based on APHA 4500-NO2Β |
|  | 9. Determination of Potassium | APHA 3500-K B |
|  | 10. Determination of Magnesium | APHA 3111 B |
|  | 11. Determination of Sodium (*) | In house methodΟ.504 based on APHA 3500-Na B |
|  | 12. Determination of Silicates | APHA 4500-SiO2C |
|  | 13. Determination of Chloride (*) | APHA 4500-Cl B |
|  | 14. Determination of Turbidity (*) | In house methodΟ.114 based on APHA 2130 Β |
|  | 15. Determination of C.O.D. | In house methodΟ.308 based on DIN 38409-H41 & ISO 6060 |
|  | 16. Determination of Cyanides (*) (total, free) | In house methodΟ.309 |
|  | 17. Determination of Carbonate | In house method Ο.106 based on APHA 2320 Β |
|  | 18. Determination of Bicarbonate | In house method Ο.106 based on APHA 2320 Β |
|  | 19. Determination of Total Solids (*) | APHA 2540B |
|  | 20. Determination of Total Dissolved Solids | APHA 2540C |
|  | 21. Determination of Total Suspended Solids | APHA 2540D |
|  | 22. Determination of Total Nitrogen | In house method O.314/photometry |
|  | 23. Determination of Total Phosphorus | In house method O.315/photometry |
|  | 24. Determination of metals (Al*, As*, Ba, Be, Ca, Cd*, Co, Cr*, Cu*, Fe*, K, Mg, Mn*, Mo, Na*, Ni*, P, Pb*, Sb*, Se*, Sn, Sr, Ti, Tl, V, Zn, B*, U*, Ηg*, Li) | In house method Ο.520 based on EPA Method 6020B, ISO 17294-1:2004 & ISO 17294-2:2016 / ICP-MS |
|  | 25. Determination of Bromide | In house method Ο.628 by Ion Chromatography |
|  | 26. Determination of Nitrate (*) |  |
|  | 27. Determination of Sulphate (*) |  |
|  | 28. Determination of Fluoride (*) |  |
|  | 29. Determination of Phosphate (*) |  |
|  | 30. Determination of Chloride (*) |  |
|  | 31. Determination of Cr (VI) | EPA 7196 A |
|  | 32. Determination of phenols | In house method Ο.311 based on APHA 5530 |
|  | 33. Determination of Total Hardness (calculation) | APHA 2340B |
|  | 34. Determination of Anionic Surfactants (MBAS) | In house method Ο.321 based on APHA 5540 C |
| 2. Potable, surface and ground water | 1. Determination of Total Hardness (as CaCO3) | ΕLOT 170:1980 |
|  | 2. Determination of Boron (*) | APHA 4500-B B |
|  | 3. Determination of Bromates (*) | In house method Ο.624 |
|  | 4. Determination of Acrylamide (*) | In house method Ο.625 |
|  | 5. Determination of Trialomethanes (*) (Chloroform, Dichlorobromomethane, Chlorodibromomethane, Bromoform) | In house method Ο.617 |
|  | 6. Determination of 1,2-Dichloroethane (*) |  |
|  | 7. Determination of Trichloroethene (*) |  |
|  | 8. Determination of Tetrachloroethene (*) (*) |  |
|  | 9. Determination of Benzene (*) |  |
|  | 10. Determination of Vinylchloride (*) |  |
|  | 11. Determination of Epichlorohydrin (*) | In house method Ο.630 based on EN 14207 |
|  | 12. Determination of Color | APHA 2120 C |
|  | 13. Determination of Chlorine residual (total, free) (*) | In house method Ο.312 |
|  | 14. Determination of Oxidisability (*) (Permanganate index value) | ELOT 827 |
|  | 15. Determination of 16 Polycyclic Aromatic Hydrocarbons: Acenaphthene, Acenaphthylene, Anthracene, Benzo[a]anthracene, Benzo[a]pyrene(*), Benzo[b]fluoranthene(*), Benzo[ghi]perylene(*), Benzo[k]fluoranthene(*), Chrysene, Dibenzo[a.h]anthracene, Fluoranthene, Fluorene, Indeno[1.2.3-cd]pyrene(*), Naphthalene, Phenanthrene, Pyrene | In house method O.631 based on EPA 525.3 |
|  | 16. Determination of Bromide | In house method Ο.628 by Ion Chromatography |
|  | 17. Determination of Nitrate (*) |  |
|  | 18. Determination of Sulphate (*) |  |
|  | 19. Determination of Fluoride (*) |  |
|  | 20. Determination of Phosphate (*) |  |
|  | 21. Determination of Chloride (*) |  |
|  | 22. Determination of Cr (VI) | EPA 7196 A |
| 3. Pool water | Determination of Chlorine residual (total, free) (*) | In house method Ο.312 |
| 4. Products of animal and vegetable origin | Determination of Nitrogen | ISO 1871:2009 |
| 5. Foodstuffs and drinks ESYD G-METALS/01/01/20-10-2016 | 1. Determination of Moisture and Dry total matter | Greek Food Code, VolumeΙΙ, Part B, Γ1 |
|  | 2. Determination of Ash | Greek Food Code, VolumeΙΙ, Part B, Γ2 |
|  | 3. Determination of Fat | In house method O.140 based on Weibull-Stoldt |
|  | 4. Determination of Sodium | In house method Ο.514 |
|  | 5. Determination of metals (As, Ca, Cd**, Cr, Cu, Fe, Hg**, K, Mg, Mn, Na, P, Pb**, Se, Sn**, Zn) | In house method Ο.521 based on AOAC 2015.01 / ICP-MS |
|  | 6. Determination of Sorbic and Benzoic acid | In house method Ο.608 / HPLC |
|  | 7. Determination of Total Sugars and Sugars’ Profile: fructose, galactose, glucose, sucrose, maltose, lactose | Εσωτερική μέθοδος Ο.613 |
| 6. Dried nuts, cereals and their products | Determination of Aflatoxins B1, B2, G1, G2 | In house method O.603 based on AOAC 991.31:2000 |
| 7. High carbohydrate content food, Wine | Determination of Ochratoxin A | In house method Ο.622 |
| 8. Fish, wine | Determination of Histamine | In house method Ο.611 |
| 9. Foodstuffs of vegetable origin, fresh and processed | 1. Determination of Dietary fibers | In house method O.118 based on AOAC 991.43 |
|  | 2. Determination of total & digestible carbohydrates (calculation) | In house method O.144 based on ε FAO-Food energy methods of analysis and conversion factors |
|  | 3. Determination of Energy (calculation) | In house method O.144 based on Regulation (ΕC) 1169/2011 |
| 10. Cereals and their products | Determination of Propionic acid | In house method O.600 |
| 11. Cereals and their products, potato and its products | Determination of acrylamide | In house method O.637 based on method of QuΕChERS (AOAC) |
| 12. Animal feeds | 1. Determination of Total Fat | Regulation (EC) 152/2009, Method H, 2.2 |
|  | 2. Determination of directly extractable Fats | Regulation (EC) 152/2009, Method H, 2.1 |
|  | 3. Determination of crude fibre | In house method Ο.116 |
|  | 4. Determination of Moisture and Dry total matter | In house method Ο.113 |
|  | 5. Determination of Ash | In house method Ο.111 |
|  | 6. Determination of Nitrogen | ISO 1871:2009 |
|  | 7. Determination of Metals (As, Ca, Cd, Cu, Fe, Hg, Mg, Mn, Na, P, Pb, Zn) | In house method μέθοδος Ο.521 based on AOAC 2015.01 |
| 13. Materials in contact with foodstuffs | 1. Overall migration into aqueous simulants (A, B, C) and simulant D1 (50% ethanol) by total immersion | ΕΝ 1186-3:2002 |
|  | 2. Overall migration into aqueous simulants (A, B, C) and simulant D1 (50% ethanol) by article filling | ΕΝ 1186-9:2002 |
|  | 3. Overall migration into aqueous simulants (A, B, C) and simulant D1 (50% ethanol) using a pouch | ΕΝ 1186-7:2002 |
|  | 4. Overall migration into aqueous simulants (A, B, C) and simulant D1 (50% ethanol) by cell | EN 1186-5:2002 |
|  | 5. Overall migration into simulant D2 (vegetable oil) by total immersion | In house method Ο.626 based on ΕΝ 1186-2:2002 |
|  | 6. Overall migration into simulant D2 (vegetable oil) by article filling | In house method Ο.629 based on ΕΝ 1186-8:2002 |
|  | 7. Overall migration into simulant D2 (vegetable oil) using a pouch | In house method Ο.627 based on ΕΝ 1186-6:2002 |
|  | 8. Overall migration into simulant D2 (vegetable oil) by cell | In house method O.633 based on EN 1186-4:2002 |
|  | 9. Overall migration using simulant E (adsorption by poly(2,6-diphenyl-p-phenylene oxide)- Tenax®) | In house method Ο.125 based on ΕΝ 1186-13 Β:2002 & EN 14338:2003 |
|  | 10. Overall migration into Substitutes of simulant D2 (Ethanol 95% and Isooctane) by using: total immersion, pouch, cell and filling. | EN 1186-14:2002 |
|  | 11. Specific migration of Primary Aromatic Amines into aqueous simulants (A, B, C) | BVL L 00.00-6 |
|  | 12. Specific migration of Bisphenol A into aqueous simulants (A, B,C) and simulant D1 (50% ethanol), into simulant Εthanol 95% and simulant D2 (vegetable oil) | In house method O.634/HPLC-FLD |
|  | 13. Specific migration of 10 Phthalate Esters into simulant D2 (vegetable oil): DMP:Dimethyl Phthalate DEP: Diethyl Phthalate DIBP: Diisobutyl Phthalate DBP: Dibutyl Phthalate BBP: Benzyl-butyl Phthalate DEHP: Bis (2-ethylhexyl) phthalate DCHP: Dicyclohexyl Phthalate DNOP: Di-n-octyl Phthalate DINP: Diisononyl Phthalate DIDP: Diisodecyl Phthalate | In house methodΟ.644 based on EN 13130-1:2004 & Food Additives and Contaminants, 1999, Vol. 16, No. 5, 197-206 |
|  | 14. Specific migration of metals into simulant 3% acetic: Al, As, Ba, Ca, Cd, Co, Cr, Cu, Eu, Fe, Gd, Hg, K, La, Li, Mg, Mn, Na, Ni, Pb, Sb, Tb, Zn. | In house method Ο.522 based on ISO 17294-1:2004 & ISO 17294-2:2016 / ICP-MS |
|  | 15. Specific migration of isophthalic and terephthalic acid into aqueous simulants (A, B, C) and simulant D1 (50% ethanol) and simulant D2 (vegetable oil) | In house method Ο.650 based on ΕΝ 13130-2 |
|  | 16. Specific migration of Formaldehyde into aqueous simulants (A, B, C) and simulant D1 (50% ethanol) | In house method Ο.322 based on EN 13130-23:2005 |
| 14. Materials in contact with foodstuffs- Paper and board | 1. Determination of Pentachlorophenol | In house method O.635 based on ISO 15320:2011 |
|  | 2. Determination of Cadmium | In house method Ο.523/ ICP-MS |
|  | 3. Determination of Lead | In house method Ο.523/ ICP-MS |
|  | 4. Determination of Mercury | In house method Ο.523/ ICP-MS |
|  | 5. Determination of Formaldehyde in cold extract water | In house method Ο.322 based on EN 645:1994 και EN 1541:2001 |
| 15. Soil and solid wastes | Determination of Hydrocarbons C10-C40 | In house method Ο.649 based on EN 14039 |
| 16. Foods, Fats and Oils | Composition of Fatty Acids (saturated, unsaturated, monounsaturated, polysaturated, trans, Ω3 & Ω6) | In house method O.606 based on AOAC 996.06 |
| 17.Vegetable oils | 1. Determination of 10 Phthalate Ester: DMP: Dimethyl Phthalate DEP: Diethyl Phthalate DIBP: Diisobutyl Phthalate DBP: Dibutyl Phthalate BBP: Benzyl-butyl Phthalate DEHP: Bis (2-ethylhexyl) phthalate DCHP: Dicyclohexyl Phthalate DNOP: Di-n-octyl Phthalate DINP: Diisononyl Phthalate DIDP: Diisodecyl Phthalate | In house method Ο.651 based on Food Additives and Contaminants, 1999, Vol. 16, No. 5, 197-206 |
|  | 2. Determination of Bisphenol A | In house method Ο.653 (HPLC-FLD) |
| 18. Bakery and Pastry Raw Materials, Flour | Determination of Ascorbic Acid | In house method Ο.647 / HPLC/DAD |
| 19. Meat and meat products, Cold cuts, Dairy products, Fruits, Vegetables and their products | Determination of Nitrate | In house method O.121 based on EN 12014-4:2005 |
| 20. Meat and meat products, Cold cuts, Dairy products | Determination of Nitrite | In house method O.121 based on EN 12014-3:2005 |
| 21. Food Additives | Determination of Nitrate & Nitrite | In house method O.654 based on EN 12014-4:2005 |
| 22. Catches and Fishery Products | Determination of Net Weight and glaze percentage | In house method O.147 based on CODEX STAN 190-1995 and CODEX STAN 165-1989 |
| 23. Bakery Products, Cereal Products, Cinnamon, Mahlab | Determination of Coumarin | In house method O.614 / HPLC/UV-DAD |
| Microbiological Tests |
| 1. Water for human consumption, surface water, groundwater, pool water, sea water, | Detection and enumeration of Escherichia coli and coliform bacteria | ISO 9308-1:2014 |
| 2. Water for human consumption, surface water, groundwater, pool water, sea water | 1. Detection and enumeration of intestinal enterococci | ISO 7899-2:2000 |
|  | 2. Enumeration of culturable micro-organisms at 22±2 °C and at 36±2 °C | ISO 6222:1999 |
| 3. Water for human consumption, surface water, groundwater, pool water | 1. Detection and enumeration of Pseudomonas aeruginosa | ISO 16266:2006 |
|  | 2. Detection and enumeration of Cl. perfrigens (including spores) | ISO 14189:2013 |
| 4. Water with a low concentration of interfering microorganisms (Matrix A) | Enumeration of Legionella | ISO 11731:2017, (Annex J, Procedure 1 Medium A-BCYE & B-BCYE+AB) (Annex J, Procedures 5,7, 8,9,10 Medium A-BCYE & C – GVPC) |
| 5. Water with a high concentration of interfering microorganisms (Matrix B) | Enumeration of Legionella | ISO 11731:2017, (Annex J, Procedures 8,9,10, Medium C – GVPC) |
| 6. Water with extremely high concentration of interfering microorganisms (Matrix C) | Enumeration of Legionella | ISO 11731:2017, (Annex J, Procedures 4, 14, Medium C – GVPC) |
| 7. Legionella isolates from water samples | Identification of the following species: L. pneumophila serogroup 1 and L. pneumophila serogroups 2-14 | Latex agglutination |
| 8. Wastewater | 1.Enumeration of Total coliforms | APHA 9222B |
|  | 2. Enumeration of Fecal coliforms | APHA 9222D |
|  | 3. Enumeration of Total coliforms and Ε. Coli | ISO 9308-1:2014 |
| 9. Food and animal feeding stuffs | 1. Εnumeration of total coliforms | ISO 4832:2006 |
|  | 2. Εnumeration of Escherichia coli | ISO 7251:2005 |
|  | 3. Detection of Listeria monocytogenes | ISO 11290-1:2017 |
|  | 4. Detection of Salmonella spp. (ex svs typhi, paratyphi) | ISO 6579-1 :2017 |
|  | 5. Enumeration of coagulase positive Staphylococcus | ISO 6888-2:2021 |
|  | 6. Enumeration of microorganisms -- Colony-count technique at 300 C | ISO 4833-1:2013 |
|  | 7. Enumeration of Bacillus cereus | ISO 7932:2004 |
|  | 8. Enumeration of Clostridium perfigens | ISO 7937:2004 |
|  | 9. Enumeration of Enterobacteriacae | ISO 21528-2:2017 |
|  | 10. Enumeration of Escherichia coli | ISO 16649-2:2001 |
|  | 11. Enumeration of Listeria monocytogenes | ISO 11290-2:2017 |
|  | 12. Enumeration of beta-glucuronidase-positive Escherichia coli (MPN technique) | ISO 16649-3:2015 |
| 10. Food and animal feeding stuffs with aw>0,95 | Enumeration of yeasts and moulds | ISO 21527-1:2008 |
| 11. Food and animal feeding stuffs with aw≤0,95 | Enumeration of yeasts and moulds | ISO 21527-2:2008 |
| 12. Animal faeces and environmental samples from the primary production stage | Detection of non-typhoidal -paratyphoid Salmonella spp. | ISO 6579-1 :2017 |
| 13. Products intended for human consumption, animal feeding & environmental samples in the area of food and feed production | Enumeration of Campylobacter spp | ISO 10272-2:2017 |
| Sampling |
| 1. Water for human consumption | Determination of chemical and microbiological parameters | ISO 5667-1:2020 ISO 5667-3:2018 ISO 5667-5:2006 ISO 5667-14:2014 ISO 19458:2006 |
| 2. Samples from surfaces using contact plates and swabs | Horizontal methods for sampling techniques for microbiology tests | ISO 18593:2018 |

*Methods marked with (*) are in accordance with the method specification of Common Ministerial Decision Γ1 δΓΠ 67332/2017 and the Directive (EU) 2020/2184 concerning the quality of of water intended for human consumption.

** Methods marked with (**) are in accordance with the method specification of European Commission EC/333/2007 and its amendments (ΕU) 2021/705.

1. American Public Health Association, American Water Works Association, Water Environment Federation, “Standard Methods for the Examination of Water and Wastewater”, 23rd Edition, 2017

2.AOAC: Association of Analytical Communities

Site of assessment: Permanent laboratory premises – 12 Tsamadou Str., Piraeus, Attiki, Greece

Approved signatories: A. Tsakalidis, A. Gagomoiros, P. Drillia

This scope of Accreditation replaces the previous one, dated 03.02.2022.

The Accreditation Certificate No. 16-6, according to ELOT EN ISO/IEC 17025:2017, is valid until 12.03.2025.

Athens, 16th of March 2023

Christos Nestoras

CEO of ESYD