Hellenic Accreditation System

Annex F2/8 to the Certificate No. 962-4 SCOPE of ACCREDITATION of the Calibration Laboratory of IKAROS S.A.

| Calibration item/ Measurand | Range of measurement | Calibration & Measurement Capability (k=2)* | Remarks |
| --- | --- | --- | --- |
| Volume measurements |
| Metal tanks /Liquid Volume | [1 m3 to 5 m3) | 0.10 % | Volumetric method according to: EURAMET cg-21 «Guidelines on the Calibration of Standard Capacity Measures Using the Volumetric Method», ver. 2.0 (05/2020) Calibration medium: Tap water Calibration is performed on site |
|  | [5 m3 to 20 m3) | 0.06 % |  |
|  | [20 m3 to 50 m3) | 0.05% |  |
|  | [50 m3 to 100 m3) | 0.04% |  |
| Tanks mounted on road tankers/ Liquid volume | [0.9 m3 to 10 m3] | 0.1 % of nominal volume | Volumetric method according to: EURAMET cg-21 «Guidelines on the Calibration of Standard Capacity Measures Using the Volumetric Method», ver. 2.0 (05/2020) OIML R80-2: 2017 «Road and rail tankers with level gauging – Part 2 Metrological controls and tests», 2017, Annex B Calibration medium: Tap water. Calibration is performed in laboratory premises. |

*Where uncertainty is accompanied by the corresponding unit, it is absolute, while where it is not accompanied by a unit, it is relative. All uncertainty values refer to the nominal tank volume.

Site of assessment: Permanent laboratory premises, 3rd km Karditsas - Trikalon, 43 100, Karditsa, Greece.

Approved Signatories: S. Makris, V. Karagounis

This Scope of Accreditation replaces the previous one dated 12.04.2023.

The Accreditation Certificate No. 962-4, to ELOT EN ISO/IEC 17025: 2017, is valid until 15.01.2028.

Athens, 05.05.2023

Christos Nestoras

CEO of ESYD