Hellenic Accreditation System

Annex G1/7 to the Certificate No.1010-2 SCOPE of ACCREDITATION of the Clinical Laboratory of Biocheck Diagnostic Center

| Tested materials/ products | Types of test/ Properties to be measured | Applied Standards/ Techniques to be used |
| --- | --- | --- |
| Biochemical testing |
| 1. Blood serum, blood plasma (EDTA) Blood serum, blood plasma (continued) | Determination of 21 parameters | Automated analyzer A/15 (BioSystems)* |
|  | 1. Alkaline Phosphatase (ALP) | DEA (I1-VM/01) |
|  | 2. Alanine Aminotranferase (ALT/SGPT) | IFCC (I1-VM/01) |
|  | 3.Amylase (AMYL) | CNPG3/BENZYLIDENE (I1-VM/01) |
|  | 4. Aspartate Aminotranferase (AST/SGOT) | IFCC (I1-VM/01) |
|  | 5.Calcium (Ca) | ARSENAZO III (I1-VM/01) |
|  | 6.Creatinine Kinase (CK NAK) | IFCC (I1-VM/01) |
|  | 7.Creatinine (CREA) | JAFFÈ MOD. (I1-VM/01) |
|  | 8. Gamma-glutamyltransferase (GGT) | IFCC (I1-VM/01) |
|  | 9.Glucose (GLU) | GOD POD (I1-VM/01) |
|  | 10.HDL Cholesterol (HDLC) | BI-REACTIVE LIQUID (I1-VM/01) |
|  | 11.Iron (Fe) | FERROZINE (I1-VM/01) |
|  | 12.LDL Cholesterol | ENZYMATIC DIRECT (I1-VM/01) |
|  | 13.Magnesium (Mg) | XYLIDYL BLUE (I1-VM/01) |
|  | 14.Phosphate (P) | PHOSPHOMOLYBDATE REDUCTION UV (I1-VM/01) |
|  | 15.Total Bilirubin (BILT) | DIAZO WITH SULPHANILIC ACID (I1-VM/01) |
|  | 16.Total Cholesterol (CHOL) | CHOD PAP (I1-VM/01) |
|  | 17.Total Proteins (TP) | BIURET REACTION (I1-VM/01) |
|  | 18.Triglycerides (TRIG) | LIPASE/GPO-PAP (I1-VM/01) |
|  | 19.Urea (UREA) | UREASE KINETIC (I1-VM/01) |
|  | 20.Uric Acid (UA) | UREASE PEROXIDASE (I1-VM/01) |
|  | 21.Albumin (ALB) | BROMOCRESOL GREEN/PURPLE (I1-VM/01) |
| Immunochemical testing |
| 1. Blood Serum, blood plasma (EDTA) Blood Serum, blood plasma (continued) | Determination of 16 parameters | Automated analyzer Immulite 1000 (Siemens)* |
|  | 1. α1-Fetoprotein (AFP) | FPIA (I1-VM/01) |
|  | 2. Carcinoembryonic Antigen (CEA) | FPIA (I1-VM/01) |
|  | 3. Estradiol (E2) | FPIA (I1-VM/01) |
|  | 4.Ferritin | FPIA (I1-VM/01) |
|  | 5. Triidothyronine Free (FT3) | FPIA (I1-VM/01) |
|  | 6. Thyroxin Free (FT4) | FPIA (I1-VM/01) |
|  | 7. Human Chorionic Gonadotropin (HCG) | FPIA (I1-VM/01) |
|  | 8. Immunoglobulin Ε (IgE) | FPIA (I1-VM/01) |
|  | 9. Luteinizing Hormone (LH) | FPIA (I1-VM/01) |
|  | 10. Progesterone (PRG) | FPIA (I1-VM/01) |
|  | 11. Prolactin (PRL) | FPIA (I1-VM/01) |
|  | 12. Testosterone Total (TESTO) | FPIA (I1-VM/01) |
|  | 13. Thyrotropin Hormone (TSH) | FPIA (I1-VM/01) |
|  | Determination of 6 parameters | Automated analyzer Immulite 1000 (Siemens)* |
|  | 1. Cancer Antigen 125 (CA-125) | IMMUNOFLUORESCENCE; ELFA (I1-VM/01) |
|  | 2. Cancer Antigen 15-3 (CA-15.3) | IMMUNOFLUORESCENCE; ELFA (I1-VM/01) |
|  | 3. Follicle Stimulating Hormone (FSH) | IMMUNOFLUORESCENCE; ELFA (I1-VM/01) |
|  | 4. Prostate Specific Antigen Total | IMMUNOFLUORESCENCE; ELFA (I1-VM/01) |
|  | 5. Triidothyronine Total (T3) | IMMUNOFLUORESCENCE; ELFA (I1-VM/01) |
|  | 6. Thyroxin Total (T4) | IMMUNOFLUORESCENCE; ELFA (I1-VM/01) |
| Blood Coagulation testing |
| 1. Blood Plasma (sodium citrate) | Determination of 3 parameters | Semi-automated analyzer BFT II (Siemens)* |
|  | 1. Prothrombin time (PT, ISI<= 1.4) | Siemens Thromborel S (I1-VM/01) |
|  | 2. Prothrombin time (PT/INR) | Calculated INR (I1-VM/01) |
|  | 3.Fibrinogen (FIB) | Immunoturbidimetric (I1-VM/01) |
| Hematology testing |
| 1.Whole Blood (EDTA) Whole Blood (EDTA) (continued) | Determination of 8 parameters | Automated analyzer Mythic -22 (Orphee)* |
|  | 1. Haematocrit (HCT%) | Dedicated Reagent Calculated (I1-VM/01) |
|  | 2. Hemoglobim (HB) | Dedicated Reagent Photometric (I1-VM/01) |
|  | 3. Mean Corpuscular Haemoglobin (MCH) | Dedicated Reagent Calculated (I1-VM/01) |
|  | 4. Mean Corpuscular Haemoglobin Concentration (MCHC) | Dedicated Reagent Calculated (I1-VM/01) |
|  | 5. Mean Corpuscular Volume (MCV) | Dedicated Reagent Electrical impedance (I1-VM/01) |
|  | 6.Platelets (PTLs) | Dedicated Reagent Electrical impedance (I1-VM/01) |
|  | 7.Red Blood Cells (RBC) | Dedicated Reagent Electrical impedance (I1-VM/01) |
|  | 8. White Blood Cells (WBC) | Dedicated Reagent Electrical impedance (I1-VM/01) |
| Urine testing |
| 1.Urine | Determination of 10 parameters | Automated analyzer Clinitek 500 (Siemens)* |
|  | 1.Bilirubin | MULTISTIX 10 SG BAYER (I1-VM/01) |
|  | 2.Blood | MULTISTIX 10 SG BAYER (I1-VM/01) |
|  | 3.Glucose | MULTISTIX 10 SG BAYER (I1-VM/01) |
|  | 4.Ketones | MULTISTIX 10 SG BAYER (I1-VM/01) |
|  | 5.Leukocytes | MULTISTIX 10 SG BAYER (I1-VM/01) |
|  | 6.Nitrite | MULTISTIX 10 SG BAYER (I1-VM/01) |
|  | 7.Ph | MULTISTIX 10 SG BAYER (I1-VM/01) |
|  | 8.Protein | MULTISTIX 10 SG BAYER (I1-VM/01) |
|  | 9.Specific Gravity | MULTISTIX 10 SG BAYER (I1-VM/01) |
|  | 10.Urobilinogen | MULTISTIX 10 SG BAYER (I1-VM/01) |

*The use of the genetic analyser’s brand name refers to a specific analytical method and the corresponding experimental protocol

** IFCC: International Federation of Clinical Chemistry

Site of assessment: Laboratory Permanent premises: Bulevardi Zhan D'Ark, Pallati 15 katesh, Kati 3 prane Drejtorise se Policise, 1000, Tirana,Albania.

Approved signatories: Valbona Fazlli, Erialda Prifti

This Scope of Accreditation replaces the previous one dated 30.04.2020.

The Accreditation Certificate No.1010-2, to EN ISO 15189:2012, is extended until 08.05.2024.

Athens, November 01, 2023

Christos Nestoras

CEO of ESYD