Hellenic Accreditation System

Annex G1/9 to the Certificate No. 979-4 SCOPE of ACCREDITATION of the Department of Clinical Biochemistry of the Division of Laboratory Medicine of General Hospital of Athens “ELPIS”

| Tested materials/ products | Types of test/ Properties to be measured | Applied Standards/ Techniques to be used |
| --- | --- | --- |
| Immunochemical Tests |
| Blood serum | Determination of 5 parameters | Automated analyzer Alinity i Abbott* Ε.ΒΧ.530-1, Revision 6, 3/5/2023 |
|  | 1. Triidothyronine total (Total T3) | Chemiluminescense |
|  | 2. Free Triidothyronine (Free T3) | Chemiluminescense |
|  | 3. Thyroxin total (Total Τ4) | Chemiluminescense |
|  | 4. Free Thyroxin (Free-T4) | Chemiluminescense |
|  | 5. Thyrotropin Hormone (TSH) | Chemiluminescense |
| Biochemical Tests |
| Blood serum Blood Serum (continued) | Determination of 26 parameters | DIMENSION EXL WITH LM 1 and 2 (SIEMENS) Clinical Chemistry Systems*, Ε.ΒΧ.530-1, Revision 6, 3/5/2023 |
|  | Glucose | Hexokinase |
|  | Total Cholesterol | Cholesterol oxidase, esterase, peroxidase |
|  | Triglycerides | Glycerol phosphate oxidase, enzymatic end point |
|  | HDL-Cholesterol | Direct without precipitation |
|  | LDL-Cholesterol | By calculations |
|  | Total Bilirubin | Modified diazotized method |
|  | Direct Bilirubin | Modified diazotized method |
|  | Albumin | Bromocresol violet |
|  | Alkaline phosphatase | PNPP, AMP Buffer |
|  | Alanine aminotransferase | IFCC modified, UV without P-5’-P |
|  | Aspartate aminotransferase | IFCC modified, UV without P-5’-P |
|  | G-Glutamyltranspeptdase | IFCC modified, G-glutamyl-carboxy-nitroanilide |
|  | Creatine kinase | Transphosphorylation of phosphate |
|  | Lactate dehydrogenase | L-lactate oxidization |
|  | Urea | UV-urease |
|  | Creatinine | Alkaline picrate-kinetic rate blanked IFCC-IDMS Standardized |
|  | Sodium | Ion exchange |
|  | Potassium | Ion exchange |
|  | Chloride | Ion exchange |
|  | Uric acid | Uricase colorimetric |
|  | Calcium | OSPC complex |
|  | Phosphate | UV-phosphomolybdate |
|  | Magnesium | MTB blue |
|  | Iron | Disodium salt complex |
|  | Alpha-Amylaseo | Substrate complex with CNPG3 |

*Reference to the commercial name of a specific analyzer, refers to a specific analytical method and protocol

Site of assessment: Laboratory permanent premises:Department of Clinical Biochemistry, “ELPIS” General Hospital, Dimitsanas 7, 11522, Ampelokipoi, Athens, Greece.

Approved signatories: P. Karagkounis, G. Parvouleskou, S. Diamantopoulou, G. Paganitsa, E. Michas, E. Zosima, D. Mpriamatos, E. Petropoulou, Th. Dimitriou.

This Scope of Accreditation replaces the previous one dated 29.05.2023.

The Accreditation Certificate No.979-4, to ELOT EN ISO 15189:2012, is valid until 01.06.2028.

Athens, 31.07.2023

Christos Nestoras

CEO of E.SY.D.