##### Hellenic Accreditation System

Annex F1/6 to the Certificate No. 196-7 SCOPE of ACCREDITATION of the Testing and Calibration Laboratory of ‘CQS S.A. – Calibration and Quality Services’

| Materials / Products to be tested | Type of Tests / Properties to be measured | Applied Methods / Techniques to be used |
| --- | --- | --- |
| Performance Tests of UV-Vis Spectrophotometers |
| Ultraviolet & Visible Spectrophotometers (UV – Vis) | Wavelength Accuracy & Precision in the range of 235 nm to 635 nm | ASTM E 275:2008 (2013) The testing is also performed on site |
|  | Stray Light (220 nm, 370 nm) | ASTM E 387:2004 (reapproved 2009) The testing is also performed on site |
|  | Linearity of detector response in the range of 235 nm to 350 nm | ASTM E 275:2008 The testing is also performed on site |
|  | Resolution (A269/A266) | European pharmacopoeia 10.0, 2.2.25, Absorption Spectrophotometry Ultraviolet and Visible The testing is also performed on site |

Site of assessment: Permanent laboratory premises, 44 Αg. Triados Str. - Pefka, Thessaloniki, Greece.

Approved Signatories: A. Kougioumtzidis, C. Vratmiras

This Scope of Accreditation replaces the previous one dated 31.05.2021.

The Accreditation Certificate No. 196-7, to ELOT EN ISO/IEC 17025:2017, is valid until 22.03.2025.

Athens, May 4th, 2023

Christos Nestoras

CEO of ESYD