Hellenic Accreditation System

| Annex F1/19 to the Certificate No. 99-7 SCOPE of ACCREDITATION of the Testing Laboratory of “ISOLAB” Η. Tsilfidis & Co Inc. |
| --- |
| Materials/ Products tested | Types of test/ Properties measured | Applied methods/ Techniques used |
| Sampling |
| 1. Sampling of drinking water from distribution systems, surface water, marine water, water from swimming pools and wastewater | 1. Determination of chemical parameters | ISO 5667-1 : 2020 ISO 5667-3 : 2018 ISO 5667-4 : 2016 ISO 5667-5 : 2006 ISO 5667-6 : 2014 ISO 5667-9 : 1992 ISO 5667-10 : 2020 ISO 5667-14 : 2014 |
|  | 2. Microbiological investigations | ISO 19458 : 2006 ISO 5667-1 : 2020 ISO 5667-5 : 2006 ISO 5667-6 : 2014 ISO 5667-9 : 1992 ISO 5667-10 : 2020 ISO 5667-14 : 2014 |
| 2. Surfaces using swabs and contact plates | 1. Detection of viable microorganisms | ISO 18593: 2018 |
| Chemical tests |
| 1. Water Wastes | 1. Determination of pH | APHA*4500 B, 23rd Edition, 2017 |
| 2. Water 2. Water (continued) | 1. Determination of conductivity | APHA* 2510 B, 23rd Edition, 2017 |
|  | 2. Determination of hardness | APHA* 2340 C, 23rd Edition, 2017 |
|  | 3. Determination of calcium | APHA* 3500-Ca B, 23rd Edition, 2017 |
|  | 4. Determination of magnesium | APHA* 3500-Μg B, 23rd Edition, 2017 |
|  | 5. Determination of chloride | APHA* 4500-Cl, 23rd Edition, 2017 |
|  | 6. Determination of nitrate (Screening method) | APHA* 4500-NO3- B, 23rd Edition, 2017 |
|  | 7. Determination of nitrate | HACH Method 8039 |
|  | 8. Determination of nitrite | APHA* 4500-NO2- B, 23rd Edition, 2017 |
|  | 9. Determination of ammonium | APHA* 4500 F, 23rd Edition, 2017 |
|  | 10. Determination of iron | HACH Method 8008 |
|  | 11. Determination of alkalinity | APHA* 2320 B, 23rd Edition, 2017 |
| 3. Wastes | 1. Determination of BOD** | APHA* 5210 D, 23rd Edition, 2017 |
|  | 2. Determination of COD*** | APHA* 5220 D, 23rd Edition, 2017 |
|  | 3. Determination of total suspended solids | APHA* 2540 D, 23rd Edition, 2017 |
| Microbiological tests |
| 1. Water | 1. Detection and enumeration of coliforms and E. coli | ISO 9308-1: 2014 / Amd 1:2016 |
|  | 2. Enumeration of culturable micro-organisms at 22±2οC and 36±2οC | ISO 6222: 1999 |
|  | 3. Detection and enumeration of intestinal enterococci | ISO 7899-2: 2000 |
|  | 4. Enumeration of Cl.Perfringens | ISO 14189: 2013 |
|  | 5. Detection of Salmonella spp. | ISO 19250: 2010 |
|  | 6. Detection and enumeration of Pseudomonas aeruginosa | ISO 16266: 2006 |
| 2. Water with a low concentration of interfering microorganisms (Matrix A) | Enumeration of Legionella spp. | ISO 11731:2017, (Annex J, Procedure 5,7 Medium A & C – GVPC), (Annex J, Procedure 8,9,10 Medium A & C – GVPC) |
| 3. Water with a high concentration of interfering microorganisms (Matrix B) | Enumeration of Legionella spp. | ISO 11731:2017, (Annex J, Procedure 8,9,10 Medium C – GVPC) |
| 4. Legionella isolates from water samples | Identification of Legionella pneumophila serogroup 1 and Legionella pneumophila serogroups 2-14. | Latex agglutination by using Legionella Latex Test –Thermo Scientific™ |
| 5. Wastes | 1. Detection and enumeration of total coliforms | APHA*9222 B, 23rd Edition, 2017 |
|  | 2. Detection and enumeration of faecal coliforms bacteria | APHA*9222 D, 23rd Edition, 2017 |
| 6. Food and animal feeding stuff | 1. Detection of Listeria spp and Listeria monocytogenes | ISO 11290-1: 2017 |
|  | 2. Enumeration of Listeria spp and Listeria monocytogenes | ISO 11290-2: 2017 |
|  | 3. Enumeration of the total aerobic micro-organisms at 30 °C | ISO 4833-1: 2013/Amd 1:2022 |
|  | 4. Enumeration of Enterobacteriaceae | ISO 21528-2: 2017 |
|  | 5. Enumeration of coliforms | ISO 4832: 2006 |
|  | 6. Enumeration of β–glucuronidase-positive E. coli | ISO 16649-2: 2001 |
|  | 7. Enumeration of coagulase-positive staphylococci | ISO 6888-1: 2021 |
|  | 8. Enumeration of sulfite-reducing bacteria | ISO 15213: 2003 |
|  | 9. Enumeration of Clostridium perfringens | ISO 7937: 2004 |
|  | 10. Detection of Salmonella spp. and Salmonella Paratyphi (not included Salmonella Typhi) | ISO 6579-1: 2017/Amd 1:2020 |
|  | 11. Enumeration of Bacillus cereus at 30°C | ISO 7932: 2004 |
|  | 12. Enumeration of lactic acid bacteria at 30°C | ISO 15214: 1998 |
| 7. Food and animal feeding stuffs with aw> 0,95 | Enumeration of yeasts and moulds | ISO 21527-1:2008 |
| 8. Food and animal feeding stuffs with aw ≤ 0,95 | Enumeration of yeasts and moulds | ISO 21527-2:2008 |
| 9. Food cans with a pH value greater than or equal to 4,5 | 1. Determination of stability at 32 °C and at 55 °C | FDA/BAM:2001, Chapter 21A |
| 10. Food cans with a pH value lower than 4,5 | 1. Determination of stability at 32 °C | FDA/BAM:2001, Chapter 21A |
| 11. Animal faeces and environmental samples from the primary production stage | 1. Detection of Salmonella spp. and Salmonella Paratyphi (not included Salmonella Typhi) | ISO 6579-1: 2017/Amd 1:2020 |

*  American Public Health Association, American Water Works Association, Water Environment Federation, “Standard Methods for the Examination of Water and Wastewater”, 23rd Edition, 2017

** BOD:  biochemical demand oxygen

*** COD: chemical demand oxygen

Site of assessment: Laboratory permanent premises, 37 Andrea Papandreaou Str., Aghios Ioannis Kalamarias, Thessaloniki, Greece.

Approved signatory: Η. Tsilfidis, M. Tsilfidou, E. Michailidis, S. Katopodis.

This Scope of Accreditation replaces the previous one dated, 07.09.2022.

Τhe Accreditation Certificate No. 99-7, to ELOT EN ISO/IEC 17025:2017, is valid until 08.09.2027.

Athens, 06.03.2023

Christos Nestoras

CEO of ESYD