Hellenic Accreditation System

Annex F2/7 to the Certificate No. 995-2 SCOPE of ACCREDITATION of the Calibration Laboratory of XANTHOPOULOS PANTELIS

| Calibration item/ Parameters | Range of measurement | Expanded Uncertainty (k=2)* | Remarks |
| --- | --- | --- | --- |
| Volume measurements |
| Liquid Volume / Fixed Metallic Tanks | 0,5 m3 to 100 m3 | 0.1 % of nominal tank volume | Method followed: Volumetric Standards followed: ISO 4269:2001 PETROLEUM PRODUCTS TANK CALIBRATION BY LIQUID MEASUREMENT EURAMET cg-21 Version 2.1 (09/2021) “Guidelines on the calibration of standard capacity measures using the volumetric method” Calibration medium: Tap water The calibration can be performed on site. |

*Where uncertainty is accompanied by the corresponding unit, it is absolute, while where it is not accompanied by a unit, it is relative.

The Calibration Measurement Capability (CMC) includes the measured quantity, the measurement range and the measurement uncertainty, expressing the minimum measurement uncertainty which can be achieved in a calibration.

Site of assessment: Permanent laboratory premises, Nea Kessani, 67 063, Xanthi, Greece.

Approved Signatory: P. Xanthopoulos

This scope of Accreditation replaces the previous one dated 31.07.2023.

The Accreditation Certificate No. 995-2, to ELOT EN ISO/IEC 17025:2017, has been extended according to ESYD’s decision and it is valid until 03.05.2024.

Athens, 29.01.2024

Christos Nestoras

CEO of ESYD