Hellenic Accreditation System

Annex F1/2 to the Certificate No. 1230 SCOPE of ACCREDITATION of the Testing Laboratory of P. MELENIOS & SIA E.E. – BIOYGEIA E.E

| Tested materials/ products | Types of test/ Properties to be measured | Applied Standards/ Techniques to be used |
| --- | --- | --- |
| Chemical testing |
| 1. Driniking water | 1. Determination of pH | APHA* 4500-Η+ Β. |
|  | 2. Measurement of electric conductivity | APHA* 2510 Β |
| Microbiological Tests |
| 1. Water for human consumption | 1. Enumeration of culturable microorganisms at 22(2οC and 36(2οC | ISO 6222:1999 |
|  | 2. Enumeration of Escherichia coli and coliform bacteria | ISO 9308-1:2014, Amd 1:2016 |
|  | 3. Detection and enumeration of intestinal enterococci | ISO 7899-2:2000 |
| 2. Food and animal feeding stuff | 1. Enumeration of microorganisms at 30οC | ISO 4833-1:2013 |
|  | 2. Enumeration of coagulase-positive staphylococci | ISO 6888-1:2021 |
|  | 3. Enumeration of β-glucuronidase-positive Escherichia coli | ISO 16649-2:2001 |
|  | 4. Enumeration of coliforms | ISO 4832:2006 |
|  | 5. Enumeration of Enterobacteriaceae | ISO 21528-2: 2017 |
|  | 6. Detection of Salmonella spp (except S. Typhi and Paratyphi) | ISO 6579-1:2017 |
|  | 7. Detection of Listeria monocytogenes | ISO 11290-1:2017 |
|  | 8. Enumeration of yeasts and moulds | ISO 21527-1: 2008 (for foods with aw>0,95) ISO 21527-2: 2008 (for foods with aw≤0,95) |

* ΑPHA: American Public Health Association, American Water Works Association, Water Environment Federation, “Standard Methods for the Examination of Water and Wastewater”, 24th Edition 2022.

Site of assessment: Laboratory permanent premises: 30, G. Nikolaou str., Komotini, Greece.

Approved signatories: P. Melenios

This Scope of Accreditation replaces the previous one dated 25.11.2020.

The Accreditation Certificate No. 1230, to ELOT EN ISO/IEC 17025:2017, is valid until 24.11.2024.

Athens, 08.02.2024

Christos Nestoras

# CEO of ESYD