Hellenic Accreditation System

Annex F1/12 to the Certificate No. 567-5 SCOPE of ACCREDITATION of the Laboratories of the 3rd Army Veterinary Hospital of the Hellenic Army General Staff

| Tested materials / products | Types of test / Properties to be measured | Applied Standards / Techniques to be used |
| --- | --- | --- |
| Chemical tests |
| 1. Non alcoholic beverages | 1. Determination of caffeine, benzoic acid and sorbic acid | In-house HPLC – DAD method, (O-305/53), based on bibliography methods |
| 2. Drinking water, surface water | Determination of pH | ISO 10523:2008 |
|  | Determination of electrical conductivity | Modified ISO 27888:1993 |
|  | Determination of Chloride (Cl-) | ISO 9297:1989 |
|  | Determination of Νitrates (ΝΟ3-) | HACH Method 10049, (Screening method) |
|  | Determination of Nitrites (NO2-) | HACH Method 8507, (USEPA Diazotization Method) |
|  | Determination of Αmmonia (ΝΗ3) | HACH Method 8038, (USEPA Nessler Method) |
|  | Determination of Ortho-Phosphates (P2O5) | HACH Method 8048, (USEPA Ascorbic Acid Method) |
|  | Determination of Sulfates (SO42-) | HACH Method 8051, (USEPA SulfaVer Method) |
|  | Determination of Fluoride (F-) | HACH Method 10225, (USEPA SPADNS Method) |
| 3. Olives oils and vegetable oils | 1. Determination of free fatty acids, cold method - Acidity | In house method (O-305/54) Regulation 2568/91/ΕEC (Annex ΙΙ), as amended and in force |
| 4. Olives oils | 1. Determination of K232 – K268/270 – ΔΚ Spectrophotometric analysis - UV spectrometry | In house method (O-305/55) Regulation 2568/91/ΕEC (Annex ΙΧ), as amended and in force, by spectrophotometry |
|  | 2. Peroxide value of vegetable oils and fats | In house method (O-305/56) Regulation 2568/91/ΕEC (Annex ΙΧ), as amended and in force, by spectrophotometry |
| 5. Honey | 1. Determination of moisture, refractometric method | In house method (O-305-57) based on Harmonised Methods of the International Honey Commission (IHC), 2009, refractometric method |
|  | 2. Determination of electrical conductivity | In house method (O-305-58) based on Harmonised Methods of the International Honey Commission (IHC), 2009 |
|  | 3. Determination of Hydromethylfurfural | In house method (O-305-68) based on Harmonised Methods of the International Honey Commission (IHC), 2009 |
|  | 4. Determination of diastase index | In house method (O-305-69) based on Harmonised Methods of the International Honey Commission (IHC), 2009 |
| Microbiological tests |
| 1. Food | 1. Detection of Salmonella spp. | ISO 6579:2002 |
|  | 2. Detection of Listeria monocytogenes and of Listeria spp. | ISO 11290-1:2017 |
|  | 3. Enumeration of Listeria monocytogenes and of Listeria spp. | ISO 11290-2:2017 |
|  | 4. Enumeration of beta-glucuronidase-positive Escherichia coli | ISO 16649-2:2001 |
|  | 5. Enumeration of coagulase-positive staphylococci (Staphylococcus aureus and other species) | ISO 6888-1:1999 Amd 1:2003 |
| 2. Canned foods | 1. Sterility test | FDA/BAM:2001, Chapter 21A |
| 3. Drinking water, surface water | 1. Enumeration of culturable micro-organisms at 22(2οC and 36(2 οC | ISO 11731:2017 |
|  | 2. Detection and enumeration of total coliforms and E. coli | ISO 6222:1999 |
|  | 3. Detection and enumeration of intestinal enterococci | ISO 9308-1:2014 |
|  | 4. Detection and Enumeration of Legionella | ISO 7899-2:2000 |
| 4. Drinking water, surface water and swimming pool water | 1. Detection and enumeration of P. aeruginosa | ISO 16266:2006 |
| Histological tests |
| 1. Food | 1. Microscopic detection of restricted tissues | a) In house method (Working document 305-02, Microscopic detection of restricted tissues on stained sections) b) In house method (Working document 305-03, Microscopic examination of minced meat) |

Site of assessment: Permanent laboratory premises, 3rd Army Veterinary Hospital, ‘‘G. Makris’’ Military Campus, BST 903, Thermi, Thessaloniki, 57001, Greece.

Approved signatories: S. Karolidis, K. Kapsalis, E. Giotas.

Chemical Laboratory: E. Michaelidis, G. Georgakis, D. Katsiaflakas.

Microbiological Laboratory: A. Tzouanopoulos, K. Papageorgiou, D. Koutsopoulos,

K. Paraskevopoulos.

Histological Laboratory: D. Anastasiadis, E. Parinos.

This scope of Accreditation replaces the previous one dated 1.12.2021.

The Accreditation Certificate No 567-5, to ELOT EN ISO/IEC 17025:2017, is valid until 11.06.2025.

Athens, 8.07.2022

Christos Nestoras

CEO of ESYD