Hellenic Accreditation System

Annex F2/5 to the Certificate No. 1155-3 SCOPE of ACCREDITATION of the Tank Volume Calibration Laboratory of TEKAT LTD

| Calibration item/ Measurand | Range of measurement | Calibration & Measurement Capability (k=2)* | Remarks |
| --- | --- | --- | --- |
| Volume measurements |
| Liquid volume/ Fixed metal storage tanks: - Horizontal cylindrical - Orthogonal | [3 m3 to 50 m3) | 0,13 % of nominal tank volume | Volumetric method according to: EURAMET cg-21 «Guidelines on the Calibration of Standard Capacity Measures Using the Volumetric Method», ver. 2.0 (05/2020) Calibration medium: Tap water Calibration is performed on site |
|  | [50 m3 to 100 m3) | 0,11 % of nominal tank volume |  |
| Liquid Volume/ Road tankers | [1 m3 to 10 m3) | 0,14% of nominal tank volume | Volumetric method according to: EURAMET cg-21 «Guidelines on the Calibration of Standard Capacity Measures Using the Volumetric Method», ver. 2.0 (05/2020) OIML R80-2: 2017 «Road and rail tankers with level gauging – Part 2 Metrological controls and tests», 2017, Annex B Calibration medium: Tap water. Calibration is performed in laboratory premises. |
|  | [10 m3 to 50 m3) | 0,12 % of nominal volume |  |

*Where uncertainty is accompanied by the corresponding unit, it is absolute, while where it is not accompanied by a unit, it is relative. All uncertainty values refer to the nominal tank volume.

Site of assessment: Permanent laboratory premises, lroon Politechniou Ave. 118, 19300 Neoktista Aspropyrgos, Attica, Greece

Approved Signatories: M. Zervakis

This Scope of Accreditation replaces the previous one dated 14.02.2023.

The Accreditation Certificate No. 1155-3, to ELOT EN ISO/IEC 17025: 2017, is valid until 17.02.2028.

Athens, 23.06.2023

Christos Nestoras

CEO of ESYD