Hellenic Accreditation System
[image: image1.png]



	Annex F1/13 to the Certificate No 366-6
SCOPE of ACCREDITATION

of the
Testing Laboratory
Biogeochemical Laboratory
of the

Institute of Oceanography

of the

Hellenic Centre for Marine Research


	Tested materials and products
	Types of test / Properties to be measured
	Applied standards / Techniques to be used

	Chemical Tests

	1. Seawater

	1. Determination of nitrate ions
	Laboratory method code:ΜΔ-01

In-house method based on the Strickland-Parsons1 and EPA 353.42 methods.

	
	2. Determination of nitrite ions
	Laboratory method code: ΜΔ-02
In-house method based on the Strickland-Parsons1 and EPA 353.42 methods.

	
	3. Determination of silicate ions
	Laboratory method code: ΜΔ-03
In-house method based on the Mullin-Riley3 and EPA 366.04 methods.

	
	4. Determination of phosphate ions
	Laboratory method code: ΜΔ-04
In-house method based on the Murphy-Riley5 and EPA 353.42 methods.



	
	5. Determination of ammonium ions
	Laboratory method code: ΜΔ-05
In-house method based on the Koroleff 6 method.



	2. Seawater

	Determination of the following Polycylic Aromatic Hydrocarbons:

Naphthalene, 2-methyl-Naphthalene, 1-methyl-Naphthalene, Acenaphthylene, Acenaphthene, 1,2-dimethyl-Naphthalene, 
2,6-dimethyl-Naphthalene,
2,3,5-trimethyl-Naphthalene, 
Fluorene, Dibenzothiophene, 
Phenanthrene, Anthracene, 
1-methyl-Phenanthrene, 
2-methyl-Phenanthrene, 
3,6-dimethyl-Phenanthrene, 
Fluoranthene, Pyrene, 
Benzo(a)anthracene, 
Chrysene+triphenylene, 
Benzo(b)+Benzo(j)fluoranthene, 
Benzo(k)fluorenthene, Benzo(e)pyrene, Benzo(a)pyrene, Perylene, Indeno[1,2,3-cd]pyrene

Benzo(ghi)perylene

Dibenzo(a,h)anthracene
	Laboratory method code: ΜΔ-06

In-house method based on the OSPAR Guidelines 2013.

	3. Marine sediments
	Determination of the following Polycylic Aromatic Hydrocarbons:

Naphthalene, Methyl-Naphthalenes, Acenaphthylene, Acenaphthene, dimethyl-Naphthalenes, trimethyl-Naphthalenes, Fluorene, Dibenzothiophene, Methyl-Dibenzothiophenes, Dimethyl –Dibenzothiophenes, Phenanthrene, Anthracene, methyl-Phenanthrenes, 
dimethyl-Phenanthrenes, 
trimethyl-Phenanthrenes, 
Fluoranthene, Pyrene, Methyl-pyrenes, Dimethyl-pyrenes, 
Benzo(a)anthracene, 
Chrysene+triphenylene, Methyl-chrysenes, Dimethyl-chrysenes

Benzo(b)+Benzo(j)fluoranthene, 
Benzo(k)fluorenthene, Benzo(e)pyrene, Benzo(a)pyrene, Perylene, Indeno[1,2,3-cd]pyrene, 
Benzo(ghi)perylene, Dibenzo(a,h)anthracene
	Laboratory method code:ΜΔ-07

In-house method based on the UNEP/IOC/IAEA, 1995 and OSPAR Guidelines 2002.

	4. Marine Sediments, rocks, soils, bauxites


	1. Determination of major elements: Fe2O3, CaO, TiO2, Al2O3, K2O, MgO, Na2O, P2O5, S03, SiO2
	Laboratory method code:ΜΔ-08

In-house method

	
	2. Determination of trace elements: As, Co, Cr, Cu, Mn, Mo, Ni, Pb, Sb, Sn, Sr, V, Zn.
	Laboratory method code: ΜΔ-09

In-house method

	Sampling

	1. Seawater and marine sediments
	Sampling for the determination of parameters included in the present scope of accreditaion
	Laboratory method code:ΜΔ-10

In-house method based on: ESYD ΚΟ-SAMPLING /01/02/10-5-2006, ISO 5667-9, ISO 5667-1, ISO 5667-14, ISO 5667-19, ISO 5667-12, ISO 5667-15


1 OSPAR, 2013. JAMP Guideline for monitoring of contaminants in seawater, OSPAR agreement 2013-03

2 UNEP/IOC/IAEA, 1992. Determination of petroleum hydrocarbons in sediments. Reference methods for marine pollution studies No.20. 

3 OSPAR, 2002. JAMP Guideline for monitoring of contaminants in sediments, OSPAR agreement 2002-16

Site of assessment: Laboratory Permanent Premises – 47 km Athinon-Souniou Av., Anavyssos 19013, Greece
Approved signatories: A. Pavlidou, I. Hatzianestis, E. Rouselaki, A. Papageorgiou
This Scope of Accreditation replaces the previous one, dated 15.03.2024.
The Accreditation Certificate No. 366-6, according to ELOT EN ISO/IEC 17025:2017, is valid until 15.07.2028.
Athens, 27th of June 2025
                                                                                     Konstantinou Evangelos Apostolos 
      CEO of ESYD
           Page 2 of  3                                     Annex F1/13 to the ESYD Certificate No. 366-6                                  27.06.2025

