  Hellenic Accreditation System 

[image: image1.png]



Annex F1/11 to the Certificate No. 66-7
	SCOPE of ACCREDITATION
of the 

Cooling Technology & Refrigerated Vehicles Laboratory,
ATP* Testing Unit 

of the
Faculty of Mechanical Engineering 
of the

National Technical University of Athens
 


	Materials/ Products to be tested
	Types of test / Properties to be measured
	Applied methods / Techniques to be used

	

	Refrigerated vehicles and special equipment (ATP) for the carriage of perishable foodstuffs. 
	1. Insulating capacity of special equipment (heat transfer coefficient “k”).
2. Efficiency of thermal and cooling equipment.
3. Verifying of insulating capacity and efficiency of thermal and cooling equipment in service.
4. 
	Agreement on the International carriage of perishable foodstuffs and on the special equipment to be used for such carriage (ΑΤΡ Annex 1 Appendix 2, 06.07.2020).




* ATP (International Agreement on the International Carriage of Perishable Foodstuffs and on the Special Equipment to be used for such Carriage, Geneva,1.9.1970).

Site of assessment:    1. 9, Heroon Politechniou Av., Zografou Campus, Zografou, Attiki, Greece.
                 2. Technological Park of Lavrio, Lavrio, Attiki, Greece. 
Approved signatories: Em. Rogdakis, Kon. Chatzidakis.
This Scope of Accreditation replaces the previous one dated September 26th, 2022.                                                           
The Accreditation Certificate No. 66-7, to ELOT EN ISO/IEC 17025: 2017, is valid until 26.03.2027.

  Athens, December 9th, 2022
  

Christos Nestoras

                         CEO of ESYD
Physical tests








Page 1 of 1                              Annex F1/11 to the Certificate ESYD No.66-7                            09.12.2022

