Hellenic Accreditation System

Annex F1/6 to the Certificate No. 1050-3 SCOPE of ACCREDITATION of «IONLAB» Testing Laboratory

| Tested materials/ products | Types of test/ Properties to be measured | Applied Standards/ Techniques to be used |
| --- | --- | --- |
| Chemical testing |
| 1. Drinking water, surface and swimming pool water | 1. Determination of electrical conductivity | APHA* 2510 B |
|  | 2. Determination of pH | APHA* 4500-Η+ |
|  | 3. Determination of alkalinity | APHA* 2320 |
|  | 4. Determination of fluoride | HACH LCK 323 (SPADNS Method) |
| 2. Drinking and surface water | 1. Determination of total hardness | APHA* 2340 C |
|  | 2. Determination of chloride | ISO 9297:1989 |
|  | 3. Determination of ammonium | APHA 4500-NH3 F |
|  | 4. Determination of sulphate | APHA 4500 SO42- E |
|  | 5. Determination of manganese | HACH LCK 532 & LCK 032 (Formaldoxime Method) |
| 3. Marine waters | 1. Determination of electrical conductivity | APHA* 2510 B |
| Microbiological testing |
| 1. Drinking and swimming pool water Drinking and swimming pool water (continued) | 1. Enumeration of Escherichia coli | ISO 9308-1:2014/Amd.1:2016 |
|  | 2. Enumeration of culturable microorganisms at 22 οC and 36 οC. Colony count by inoculation in a nutrient agar culture medium. | ISO 6222:1999 |
|  | 3. Detection and enumeration of intestinal enterococci | ISO 7899-2:2000 |
|  | 4. Detection and enumeration of Legionella spp., 0 – 104 cfu | ISO 11731:2017 |
|  | 5. Detection and enumeration of Pseudomonas aeruginosa | ISO 16266:2006 |
| 2. Marine waters | 1. Enumeration of Escherichia coli | ISO 9308-1:2014/Amd.1:2016 |
|  | 2. Detection and enumeration of intestinal enterococci | ISO 7899-2:2000 |
| 3. Foodstuff | 1. Detection of Salmonella spp | ISO 6579-1:2017 |
|  | 2. Enumeration of coliforms | ISO 4832:2006 |
|  | 3. Enumeration of beta-glucuronidase-positive Escherichia coli | ISO 16649-2:2001 |
|  | 4. Detection and enumeration of Enterobacteriaceae | ISO 21528-2:2017 |
| Sampling |
| 1. Drinking water & swimming pools | Sampling for microbiological parameters | ISO 19458:2006 § 4.4.1, 4.4.3, 4.4.4.1 |
| 2. Drinking water | sampling of drinking water from treatment works and piped distribution systems | ISO 5667-5:2006 |
| 3. Marine waters | Sampling for marine waters (seaside) | ISO 5667-9:1992 |

*  American Public Health Association, American Water Works Association, Water Environment Federation, “Standard Methods for the Examination of Water and Wastewater”, 23rd Edition, 2017.

Site of assessment: Laboratory permanent premises: Messaria, 85300, Kos, Dodecanese, Greece.

Approved signatories: I. Trakossa

This Scope of Accreditation replaces the previous one dated 30.06.2020

The Accreditation Certificate No. 1050-3, to ELOT EN ISO/IEC 17025:2017, is valid until 18.07.2024

                - Athens,  24.05.2022

Christos Nestoras

CEO of ESYD