Hellenic Accreditation System

| Annex F2/11 to the Certificate 931-4 SCOPE of ACCREDITATION of the Tank Calibration Laboratory of ERGOTEK TERTSIS S.A |
| --- |
| Calibration item / Parameters | Range of measurement | Expanded Measurement Uncertainty (k=2)* | Remarks |
| Liquid volume / Metallic tanks | 0.3 m3 to 0.5 m3 | 0.07 % of nominal volume | Volumetric method using volumetric vessels. Calibration medium: water. Standard followed: EURAMET/cg-21/v.01: 2013 Calibration is performed on site. |
|  | 0.3 m3 to 100 m3 | 0.04 % of nominal volume |  |
| Liquid volume / Tanks mounted on road tankers | 0.5 m3 to 10 m3 | 0.04 % of nominal volume | Volumetric method using volumetric vessels. Calibration medium: water. Standards followed: EURAMET/cg-21/v.01: 2013 OIML R80-2: 2017, Annex B Calibration is performed in laboratory premises. |

* Where the expanded uncertainty (with 95 % coverage) is accompanied by the corresponding unit, it is absolute, while where it is not accompanied by a unit, it is relative.

The Calibration Measurement Capability (CMC) includes the measured quantity, the measurement range and the measurement uncertainty, expressing the minimum measurement uncertainty which can be achieved in a calibration.

Permanent Laboratory premises address: Ioannina Industrial Area, 45500 Ioannina, Greece

Approved Signatories: V. Rakas

This Scope of Accreditation replaces the previous one dated 04.07.2023.

The Accreditation Certificate No. 931-4, to ELOT EN ISO/IEC 17025:2017, is valid until 12.10.2027.

Athens, 21.07.2023

Christos Nestoras

CEO of ESYD