Hellenic Accreditation System

Annex F1/10 to the Certificate No. 1061-2 SCOPE OF ACCREDITATION of the Testing Laboratory “ICMEA” Institute of Chemical, Microbiological and Environmental Analysis Dr. Sidirelli M. & Co G.P.

| Materials / Tested products | Type of Test / Measured properties | Applied Standards / Techniques used |
| --- | --- | --- |
| Chemical Tests |
| 1. Drinking water and water for human consumption, drilling water, sea water, surface water, ground water, swimming pool water, wastewater & wastes | 1. Determination of pH | ISO 10523:2008 |
|  | 2. Determination of electrical conductivity | ISO 7888:1995 |
|  | 3. Determination of NH3 | ΜΕRCK 114752 |
|  | 4. Determination of Iron | ΜΕRCK 114761 |
| 2. Drinking water and water for human consumption, drilling water, surface water, swimming pool water, wastewater & wastes | 1. Determination of chlorides | ΜΕRCK 114897 |
|  | 2. Determination of nitrates | ΜΕRCK 114776 |
|  | 3. Determination of nitrites | ΜΕRCK 109713 |
|  | 4. Determination of total nitrogen | APHA 4500 N-B, 23rd Edition 2017 |
|  | 5. Determination of manganese | ΜΕRCK 101739 |
| 3. Drinking water and water for human consumption, drilling water, surface water, wastewater & wastes | Determination of Chemical Oxygen Demand, (COD) | ISO 15705:2002 |
| 4. Drinking water | Determination of phosphates | ΜΕRCK 114848 |
| 5. Drinking water, surface water, wastewater & wastes | Determination of total Ρ | ΜΕRCK 114848 |
| 6. Wastewater & Wastes | Determination of ΒOD5 | ISO 5815-1:2019 ISO 5815-2:2003 |
| Microbiological Tests |
| 1. Drinking water and sea water, surface water, swimming pool water | 1. Enumeration of culturable microorganisms at 22 2 οC and at 36 2 οC | ISO 6222:1999 |
|  | 2. Detection and enumeration of intestinal enterococci | ISO 7899-2:2000 |
|  | 3. Detection and enumeration of Escherichia coli and coliforms | ISO 9308-1:2014 |
|  | 4. Detection and enumeration of Pseudomonas aeruginosa | ISO 16266:2006 |
| 2. Drinking water | Enumeration of Legionella spp | ISO 11731: 2017 (Matrix A-procedure 5,7- medium A, C) |
| 3. Wastewater produced by a sewage treatment plant/installation | Detection and enumeration of Escherichia coli and coliforms | ISO 9308-1:2014 |
| 4. Food and animal feed | 1.Horizontal method for the enumeration of coliforms | ISO 4832:2006 |
|  | 2. Enumeration of β-glucuronidase-positive Escherichia coli | ISO 16649-2:2001 |
|  | 3. Enumeration of Enterobacteriaceae | ISO 21528-2:2017 |
|  | 4. Enumeration of coagulase-positive staphylococci (Staphylococcus aureus and other species) | ISO 6888-1:1999/Amd 1:2003 |
|  | 5. Detection of presence of Salmonella enterica serovars of somatic groups A-E | Reveal 2.0 Salmonella Test System (Neogen Corporation) Validation Certificate AOAC 960801 |
|  | 6. Detection of presence of Listeria spp.(except L. gravi) | Reveal 2.0 Listeria Test System (Neogen Corporation) Validation Certificate AOAC 041101 |
| Sampling |
| Drinking water and water for human consumption, drilling water, sea water, surface water, ground water, swimming pool water, wastewater & wastes | Sampling for microbiological parameters | ISO 19458:2006 |
|  |  | ISO 5667-1:2020 |
|  |  | ISO 5667-3:2018 |
|  |  | ISO 5667-4:2016 |
|  |  | ISO 5667-5:2006 |
|  |  | ISO 5667-9:1992 |
|  |  | ISO 5667-10:2020 |
|  |  | ISO 5667-14:2014 |

Site of assessment: Permanent laboratory premises – 24 Hellinikis Dimokratias, 65201, Kavala, Greece

Approved signatories: M. Sidirelli

This scope of Accreditation replaces the previous one, dated 22.12.2022.

# The Accreditation Certificate No. 1061-2, according to ELOT EN ISO/IEC 17025:2017, is valid until 26.09.2024.

Athens, 6th of October 2023

Christos Nestoras

CEO of ESYD