Hellenic Accreditation System

Annex F1/13 to the Certificate No. 377-5 SCOPE of ACCREDITATION of the Testing Laboratory ANDREOU K. P.C.

| Tested materials / products | Types of test / Properties to be measured | Applied Methods / Techniques to be used |
| --- | --- | --- |
| Chemical Tests |
| 1. Waters and wastewaters 2. Waters and sewages 2. Waters and wastewaters (of low organic load without digestion) | 1. Determination of pH | SMEWW * 4500-Η+ / Electrometry |
|  | 2. Determination of electrical conductivity | SMEWW * 2510 Β / Electrometry |
|  | 3. Determination of ammonium | MERCK 1.14752 analogous to SMEWW – 4500 – NH3 – part D/ Spectrophotometry |
|  | 4. Determination of nitrates | MERCK 1.09713 / Spectrophotometry |
|  | 5. Determination of orthophosphates | MERCK 1.14848 analogous to SMEWW analogous to SMEWW – 4500 – P – part E/ Spectrophotometry |
|  | 6. Determination of silicates | MERCK 1.1494 / analogous to SMEWW – 4500 – Si – part E / Spectrophotometry |
|  | 7. Determination of chlorides | SMEWW – 4500 – Cl- – part B / Titration |
|  | 8. Determination of the total dissolved solids (TDS) | SMEWW – 2540 – part C / Gravimetric |
|  | 9. Determination of the total suspended solids (TSS) | Laboratory method code: WP.M.035 in house based on ISO11923 / Gravimetric |
|  | 10. Determination of chemical oxygen demand (COD) | Laboratory method code: WP.M.036 in house based on SMEWW – 5220 – part B / Open bottle - Titration |
|  | 11. Determination of nitrites | MERCK 1.14776 analogous to SMEWW – 4500 – NO2- – part B / Spectrophotometry |
|  | 12. Determination of calcium | Laboratory method code: WP.M.022 In house method based on ASTM D 511-2014 / Atomic Absorption - Flame |
|  | 13. Determination of magnesium | Laboratory method code: WP.M.023 In house method based on ASTM D 511-2014 / Atomic Absorption - Flame |
|  | 14. Determination of sodium | Laboratory method code: WP.M.021 In house method based on ASTM D 4191- 2015, ASTM D 3561-2011 / Atomic Absorption - Flame |
|  | 15. Determination of potassium | Laboratory method code: WP.M.020 In house method based on ISO 9964-3:1993 (E) / Atomic Absorption - Flame |
|  | 16. Determination of copper | Laboratory method code: WP.M.018 In house method based on ASTM D 1688- 2012 / Atomic Absorption - Flame |
|  | 17. Determination of zinc | Laboratory method code: WP.M.019 In house method based on ASTM D 1691- 2012 / Atomic Absorption - Flame |
|  | 18. Determination of cadmium | Laboratory method code: WP.M.061 In house method based on ISO 15586 : 2003 / Atomic Absorption – Graphite furnace |
|  | 19. Determination of manganese | ISO 15586:2003 / Atomic Absorption – Graphite furnace |
| 4. Foods and feedstuffs | 1. Determination of Kjeldahl nitrogen | Laboratory method code: WP.M.040 In house method based on AOAC 928.08 II / Titration |
|  | 2. Determination of total fat content | Laboratory method code: WP.M.044 In house method / Gravimetric |
|  | 3. Determination of moisture content | Laboratory method code: WP.M.039 In house method based on ISO 1442:1997/ Gravimetric |
|  | 4. Determination of ash | Laboratory method code: WP.M.046 In house method based on AOAC 900.02 and 923.03 / Gravimetric |
|  | 5. Determination of sodium content | Laboratory method code:WP.M.033 & 021 In house method based on AOAC 985.35 / Atomic Absorption - Flame |
| 5. Ceramic articles intended to come into contact with foodstuffs | 1. Determination of cadmium migration | Laboratory method code: WP.M.043 In house method based on APHA* 3500-Cd-B and on the article 25 of C.A. / Atomic Absorption - Flame |
|  | 2. Determination of lead migration | Laboratory method code: WP.M.049 In house method based on APHA* 3500-Pb-B and on the article 25 of C.A. / Atomic Absorption - Flame |

(*)SMEWW: Standard Methods for the Examination of Water and Wastewater

Site of assessment:  Laboratory permanent premises – Agiou Fanouriou 38 & Kiatou, 13122 Ilion,

Athens, Greece

Approved signatories: C. Andreou, St. Andreou

This scope of Accreditation replaces the previous one, dated 19.07.2023.

The Accreditation Certificate No 377-5, according to ΕLΟΤ EN ISO/IEC 17025:2017, has been extended until 05.09.2024.

Athens, 28th of February 2024

Christos Nestoras

CEO of ESYD