Hellenic Accreditation System

Annex G1/13 to the Certificate No. 466-5 SCOPE of ACCREDITATION of the Biochemistry Department of the Laboratories Division of General Hospital of Nea Ionia «Konstantopouleio-Patission»

| Tested materials/ products | Types of test/ Properties to be measured | Applied Standards/ Techniques to be used |
| --- | --- | --- |
| Biochemical Tests |
| 1. Blood Serum | Determination of 22 parameters | Automated biochemical analysers Alinity C ,CI (Abbott), AL-C-01, SN: AC05258, AL-CΙ-02,SN : AC05214 / AI23531, AL-CI-03 EFHMEREIO, SN: AC05155 Ε.ΒΧ.530-1 (10/4/2023) |
|  | Glucose (Gluc) | Enzymatic (Exokinase with G-6-PD) |
|  | Urea (BUN) | Ourease |
|  | 3. Creatinine (CREA) | Kinetic Alkaline Picrate |
|  | 4.Potassium (K+) | Diluted Ion Selective Electrodes ( indirect) |
|  | 5.Sodium (Na+) | Diluted Ion Selective Electrodes ( indirect) |
|  | 6.Chloride (Cl-) | Diluted Ion Selective Electrodes ( indirect) |
|  | 7. Alkaline phosphatase (ALP) | Para-nitrophenyl phosphate (p-NPP) |
|  | 8. Glutaminic-pyruvic transaminase (AST) | Enzymatic (NADH, without P-5’-P) |
|  | 9. Glutaminic-oxaloacetic transaminase (ALT) | NADH (without P-5'-P) |
|  | 10. Creatinine kinase (CK) | NAC (N-acetyl-L-cysteine) |
|  | 11. Gamma-glutamyl transferase (GGT) | L-gamma-glutamyl-3-carboxy-4-nitroanilide substrate |
|  | 12. Total bilirubin (TBiLi) | Diazonic salt |
|  | 13.Total Protein (TP) | Biuret |
|  | 14. Albumin (ALB) | Colorimetric (Bromocresol Green) |
|  | 15.Globulines (G) | Calculated (TP-ALB) |
|  | 16.Ratio A/G | Calculated (ALB/G) |
|  | 17. Magnesium (Mg) | Enzymatic |
|  | 18.Αmylase (AMY) | Enzymatic/Colorimetric |
|  | 19.Calcium (Ca) | Arsenazo III |
|  | 20.Phosphorus (PHOS) | Phosphomolybdate |
|  | 21.Uric acid (URAC) | Uricase |
|  | 22.Lactate Dehydrogenase (LDH) | Conversion reaction of lactate to pyruvate (IFCC) |
| 2.Blood Serum | Determination of 6 parameters | Automated biochemical analysers Alinity C ,CI (Abbott), AL-C-01, SN: AC05258, AL-CΙ-02,SN : AC05214 / AI23531, Ε.ΒΧ.530-1 (10/4/2023) |
|  | 1. Iron (Fe) | Ferene |
|  | 2. High-density lipoprotein cholesterol (HDL) | ASD (Accelerator Selective Detergent) |
|  | 3. Low-density lipoprotein cholesterol (LDL) | Selective reagent purification in liquid form |
|  | 4. Triglycerides (TGL) | Glycerol phosphate oxidase |
|  | 5. Total Cholesterol (CHOL) | Enzymatic |
|  | 6. Atheromatic Index | Calculated (TC/HDL) |
| 3. Urine | Determination of 10 parameters | Automated biochemical analysers Alinity C ,CI (Abbott), AL-C-01, SN: AC05258, Ε.ΒΧ.530-1 (1/11/2022) |
|  | Αmylase (AMY) | Enzymatic (CNPG3 Substrate) |
|  | Urea (BUN) | Urease |
|  | 3.Calcium (Ca) | Arsenazo III |
|  | 4. Creatinine (CREA) | Kinetic assay ofpicric salt in alkaline enviroment |
|  | 5.Phosphorus (PHOS) | Phosphomolybdate |
|  | 6.Uric acid (URAC) | Uricase |
|  | 7.Potassium (K+) | Diluted Ion Selective Electrodes ( indirect) |
|  | 8.Sodium (Na+) | Diluted Ion Selective Electrodes ( indirect) |
|  | 9.Chloride (Cl-) | Diluted Ion Selective Electrodes ( indirect) |
|  | 10. Magnesium (Mg) | Enzymatic |
| 4. CSF | Determination of 2 parameters | Automated biochemical analysers Alinity C ,CI (Abbott), AL-CΙ-02,SN : AC05214 / AI23531 Ε.ΒΧ.530-1 (10/4/2023) |
|  | Glucose (Gluc) | Enzymatic (Exokinase with G-6-PD) |
|  | Lactate Dehydrogenase (LDH) | Conversion reaction of lactate to pyruvate (IFCC) |
| 5. Biological fluids | Determination of 3 parameters | Automated biochemical analysers Alinity C ,CI (Abbott), AL-C-01, SN: AC05258, AL-CΙ-02,SN : AC05214 / AI23531, AL-CI-03 EFHMEREIO, SN: AC05155 Ε.ΒΧ.530-1 (10/4/2023) |
|  | 1.Total Protein (TP) | Diuretic |
|  | 2.Glucose (Gluc) | Enzymatic (Exokinase with G-6-PD) |
|  | Lactate Dehydrogenase (LDH) | Conversion reaction of lactate to pyruvate (IFCC) |
| 6. Blood serum | Determination of 1 parameter | Automated biochemical analysers Alinity C ,CI (Abbott), AL-CΙ-02,SN : AC05214 / AI23531, AL-CI-03 EFHMEREIO, SN: AC05155 Ε.ΒΧ.530-1 (10/4/2023) |
|  | 1. Troponin I (cTnI) | Chemiluminescent Microparticle Immunoassay (CMIA) |
| Immunochemical Tests |
| 1. Blood Serum | Determination of 9 parameters | Automated biochemical analyser Alinity C ,CI (Abbott), AL-CΙ-02,SN : AC05214 / AI23531, Ε.ΒΧ.530-1 (10/4/2023) |
|  | 1. Triidothyronine total (Total T3) | Chemiluminescent Microparticle Immunoassay (CMIA) Calculated (Free / Total PSA) |
|  | 2. Thyroxin total (Total Τ4) |  |
|  | 3. Free Triidothyronine (Free T3) |  |
|  | 4. Free Thyroxin (Free-T4) |  |
|  | 5. Thyrotropin Hormone (TSH) |  |
|  | 6. Procalcitonin (PCT) |  |
|  | 7. 25-HydroxyvitaminnD serum (Vit D 25-OH) |  |
|  | 8. Total Human Chorionic Gonadotropin (T-ΗCG) |  |
|  | 9. Prostate Specific Antigen (PSA) |  |
|  | 10. Free Prostate Specific Antigen (FPSA) |  |
|  | 11. Ratio Free/Total PSA |  |

*Reference to the commercial name of a specific analyzer,  refers to a specific analytical method and protocol

Site of assessment: Laboratory permanent premises: 3-5 Theodorou Konstantopoulou  str., 14233 N. Ionia, Greece.

Approved signatories: P. Paraskevopoulou, I. Manolis, A. Tsirigotis, , S. Likousi, A.Heliopoulos, A. Kougioumtzi

This Scope of Accreditation replaces the previous one dated 26.04.2021.

The Accreditation Certificate No.466-5, to ELOT EN ISO 15189:2012, is valid until 05.11.2024.

Athens, 10th May 2023

# Christos Nestoras

CEO of ESYD