Hellenic Accreditation System

Annex G1/8 to the Certificate No. 857-4 SCOPE of ACCREDITATION of the Department of Clinical Biochemistry of the Division of Laboratory Medicine of General Pediatric Hospital “Aghia Sophia”

| Tested materials/ products | Types of test/ Properties to be measured | Applied Standards/ Techniques to be used |
| --- | --- | --- |
| Biochemical Tests |
| Blood serum Blood serum (continued) | 24 parameters determination | Cobas 6000 (C1, C2, C3) clinical chemistry analyzer Roche Diagnostics |
|  | Glucose | Hexokinase Enzymatic Ε.ΒΧ.530-1, version 8, 21-09-2020 |
|  | Total Cholesterol | Cholesterol oxidase, esterase, peroxidase Ε.ΒΧ.530-1, version 8, 21-09-2020 |
|  | Triglycerides | Glycerol phosphate oxidase, enzymatic end point Ε.ΒΧ.530-1, version 8, 21-09-2020 |
|  | HDL-Cholesterol | Homogenous Enzymatic Colorimetric (PEG) Ε.ΒΧ.530-1, version 8, 21-09-2020 |
|  | Total protein | Biuret, end point Ε.ΒΧ.530-1, version 8, 21-09-2020 |
|  | Total Bilirubin | Colorimetric with Diazonic ion Ε.ΒΧ.530-1, version 8, 21-09-2020 |
|  | Direct Bilirubin | Diazonium method Ε.ΒΧ.530-1, version 8, 21-09-2020 |
|  | Albumin | Bromocresol green (BCG) Ε.ΒΧ.530-1, version 8, 21-09-2020 |
|  | Alkaline phosphatase | PNPP, AMP Buffer Ε.ΒΧ.530-1, version 8, 21-09-2020 |
|  | Alanine aminotransferase | IFCC modified, UV without P-5’-P Ε.ΒΧ.530-1, version 8, 21-09-2020 |
|  | Aspartate Αμινοτρανσεράση | IFCC modified, UV without P-5’-P Ε.ΒΧ.530-1, version 8, 21-09-2020 |
|  | G-Glutamyltranspeptdase | IFCC modified, G-glutamyl-carboxy-nitroanilide Ε.ΒΧ.530-1, version 8, 21-09-2020 |
|  | Creatine kinase | NAC activated Ε.ΒΧ.530-1, version 8, 21-09-2020 |
|  | Lactate dehydrogenase | Lactate to Pyruvate Ε.ΒΧ.530-1, version 8, 21-09-2020 |
| 2. Blood serum and urine Blood serum and urine (continued) | Urea | UV-urease Ε.ΒΧ.530-1, version 8, 21-09-2020 |
|  | Creatinine | Enzymatic Ε.ΒΧ.530-1, version 8, 21-09-2020 |
|  | Sodium | ISE Indirect Ε.ΒΧ.530-1, version 8, 21-09-2020 |
|  | Potassium | ISE Indirect Ε.ΒΧ.530-1, version 8, 21-09-2020 |
|  | Chloride | ISE Indirect Ε.ΒΧ.530-1, version 8, 21-09-2020 |
|  | Uric acid | Uricase colorimetric Ε.ΒΧ.530-1, version 8, 21-09-2020 |
|  | Calcium | NM-BAPTA complex Ε.ΒΧ.530-1, version 8, 21-09-2020 |
|  | Phosphate | UV-phosphomolybdate Ε.ΒΧ.530-1, version 8, 21-09-2020 |
|  | Magnesium | Xylidyl blue Ε.ΒΧ.530-1, version 8, 21-09-2020 |
|  | Alpha-Amylase | G7-PNP blocked Ε.ΒΧ.530-1, version 8, 21-09-2020 |

*Reference to the commercial name of a specific analyzer refers to a specific analytical method and protocol

Site of assessment: Laboratory permanent premises:Department of Clinical Biochemistry “Aghia Sophia” Children’s Hospital, 11527 Athens, Greece.

Approved signatories: A. Bartzeliotou, T. Karakonstantakis, I. Papassotiriou, A. Margeli,

F. Apostolakou,  C. Lazaropoulou, K. Michalakakou, A. Kariyanni,

Ε. Hanzi, Μ. Papastamataki, A. Tzortzopoulos.

This Scope of Accreditation replaces the previous one dated 04.12.2020.

The Accreditation Certificate No.857-4, to ELOT EN ISO 15189:2012, is valid until 30.12.2024.

Athens, January 20, 2021

Spyridon Podaras

CEO of ESYD