
                       Hellenic Accreditation System 
[image: image1.png]



Annex F1/15 to the Certificate No. 487-6
SCOPE of ACCREDITATION 
of the

Soil Analysis Laboratory

of the 
Institute of Industrial and Fodder Crops (I.I.F.C.)

of the 

Agricultural Research General Directorate
of the 

Hellenic Agricultural Organization “DIMITRA”

	Tested materials / products
	Types of test / Properties 
	Applied Methods / Techniques

	Chemical Tests


	1.Soils 
	1. Determination of available cupper
	In house method based on Meth.Soil Anal. Part3, Chemical Methods SSSA**, 1996
Method code: OE-24

	
	2. Determination of available iron
	

	
	3. Determination of available manganese
	

	
	4. Determination of available zinc
	

	
	5. Determination of Exchangeable Potassium and Magnesium
	In house method based on Meth.Soil Anal. Part3, Chemical Methods SSSA**, 1996, Method code: OE-19

	
	6. Determination of soil acidity (pH)
	In house method based on Meth.Soil Anal. Part3, Chemical Methods SSSA**, 1996, Method code: OE-18

	
	7. Determination of Nitrate Nitrogen
	In house method based on Methods of Soil Analysis, Part 3, Chemical Methods SSSA** 1996, Chapter 38, Method code: ΟΕ-27

	
	8. Determination of available Phosphorous (Olsen)
	In house method based on Meth.Soil Anal. Part3, Chemical Methods SSSA**, 1996, Method code: OE-22

	1.Soils (cont.)


	9. Determination of Total Nitrogen (TKN) (Kjeldhal)
	In house method based on Meth.Soil Anal. Part3, Chemical Methods SSSA**, 1996, Method code: OE-23

	
	10. Determination of organic matter
	In house method based on: 

Meth.Soil Anal. Part3, Chemical Methods SSSA**, 1996, 

K.Alexiadi, Physical and Chemical analysis of soil

Method code: OE-25

	2. Soils, sludge
	1. Determination of total forms of heavy metals  Cu, Cr, Ni, Pb, Zn
	In house method based on Meth.Soil Anal. Part3, Chemical Methods SSSA**, 1996, Method code: OE-20

	3. Soils
	Concerning submitted samples of soil and application of the analytical methods of the Scope of the Accreditation ;

Interpretation of laboratoty soil sample analysis and express of opinion on the soil fertility, regardless of culture. 


	In house method based on:

1. Methods of Soil Analysis, Part 2-Chemical and Microbiological Properties, 2nd Edition by Page et al. 1982. ASA (American Society of Agronomy), SSSA (Soil Science Society of America), Mad. WI., and its subsequent versions.
2. Soil Testing and Plant Analysis, 3rd Edition by Westerman, 1990. SSSA (Soil Science Society of America), Mad. WI.

3. Soil Analysis, an interpretation manual. By Peverill, K.I., L.A. Sparrow, and D.J. Reuter 1999. Australian Soil and Plant Analysis Council, ASPAC. Collin. AU.


**Soil Science of America, American Society of Agronomy, M.W.USA

   Site of assessement: Laboratory permanent premises – 1 Theofrastou, 41335, Larissa, Greece
Approved signatories: D. Vlachostergios, M.Tziouvalekas, Ch. Noulas, E. Evangelou

This Scope of Accreditation replaces the previous one, dated 11.07.2024.
The Accreditation Certificate No. 487-6, according to ELOT EN ISO/IEC 17025:2017, has been extended and is valid until 14.12.2029.
Athens, 2nd of December 2024
  Konstantinos Kourtalis
                                                                                                             Chairman of  ESYD
Page 2 of 2                                            Annex F1/15 to the ESYD Certificate No. 487-6                                          02.12.2024

