Hellenic Accreditation System 

[image: image1.png]



	Annex F1/15 to the Certificate No. 496-6
SCOPE of ACCREDITATION
of the
Sanitary Engineering Laboratory
of

School of Civil Engineering

of

National Technical University - Athens


	Materials/Products tested
	Types of test/Properties measured
	Applied methods/Techniques used

	Microbiological Testing

	Potable water, surface water and swimming pool water

	1.Enumeration of Escherichia coli and coliforms
	ISO 9308-1:2014

	
	2.Detection and enumeration of intestinal Enterococci
	ISO 7899-2:2000

	
	3.Enumeration of culturable microorganisms at 22 ( 2oC και 36 ( 2 oC
	ISO 6222:1999


Site of assessment:  Permanent laboratory premises, Politechnioupoli, 9 Iroon Politechniou str., 157 80, Zografos, Athens, Greece.                       
Approved signatories: G. Nikitopoulos, D.Mamais.
This Scope of Accreditation replaces the previous one dated 26.11.2024
The Accreditation Certificate No.496-6, to ELOT EN ISO/IEC 17025:2017, is valid until 06.01.2030.
Athens, 16.12.2024
Konstantinos Kourtalis 

   Chairman of ESYD
Page 1 of 1                           Annex F1/15 to the Certificate ESYD No.496-6               16.12.2024

