Hellenic Accreditation System

| Materials/Products tested | Types of test/Properties measured | Applied methods/Techniques used |
| --- | --- | --- |
| Sampling |
| Potable water, Surface water, underground and swimming pool water | 1. Determination of physicochemical parameters | ISO 5667-1:2020 ISO 5667-3:2018 ISO 5667-5:2006 ISO 5667-6:2014 ISO 5667-11:2009 ISO 5667-14:2014 |
|  | 2. Determination of microorganisms | ISO 5667-1:2020 ISO 5667-3:2018 ISO 5667-5:2006 ISO 5667-6:2014 ISO 5667-11:2009 ISO 5667-14:2014 ISO 19458:2006 Οδηγία 2006/7/ΕΚ, Υγ. Διάταξη Γ1/443/73 (ΦΕΚ 87/Β/24-1-73), όπως τροποποιήθηκε και ισχύει |

| Materials/Products tested | Types of test/Properties measured | Applied methods/Techniques used |
| --- | --- | --- |
| Chemical testing |
| Potable water, Surface water, underground and swimming pool water | 1. Determination of pH | ISO 10523:2008 |
|  | 2. Determination of Conductivity | ΕΛΟΤ ΕΝ ISO 27888:1993 Modified |
|  | 3. Determination of Τurbidity | HACH Method 8195 |
|  | 4. Determination of Νitrates (ΝΟ3-) | HACH Method 10049, (Screening method) |
|  | 5. Determination of Αmmonium (ΝΗ4+) | HACH Method 8038 |
| Potable water, Surface, and underground water | 1. Determination of Ortho-Phosphates (PO43-) | HACH Method 8048 |
|  | 2. Determination of Sulfates (SO42-) | HACH Method 8051 |
|  | 3. Determination of Nitrites (NO2-) | HACH Method 8507 |
| Potable water, and swimming pool water | Determination of Free Chlorine (Cl2) | HACH Method 8021 |
| Microbiological Testing |
| Potable water, Surface water, underground and swimming pool water | 1. Detection and enumeration of Escherichia coli and coliform bacteria | ISO 9308-1 : 2014 / Amd 1:2016 |
|  | 2. Enumeration of culturable micro-organisms at 22(2 οC and 36(2 οC | ISO 6222 : 1999 |
|  | 3. Detection and enumeration of intestinal enterococci | ISO 7899-2 : 2000 |
|  | 4. Detection and enumeration of Pseudomonas aeruginosa | ISO 16266 : 2006 |

Site of assessement: Permanent Laboratory premises, Ethnikis Antistaseos 56, Dispilio, Kastoria

Approved signatory: V. Maleas, E. Malea.

This Scope of Accreditation replaces the previous one dated 21.02.2023.

The Accreditation Certificate No.1157-3, to ELOT EN ISO 17025:2017, is valid until 29.02.2028.

Athens, 12.04.2023

Christos Nestoras

CEO of ESYD

# Text boxes

# Annex F1/5 to the Certificate Νο. 1157-3

SCOPE of ACCREDITATION

of the

Testing Laboratory

of

“EnvoLab” – Vasileios Maleas