Hellenic Accreditation System

Annex G1/2 to the Certificate No.1196 SCOPE of ACCREDITATION of the Clinical Laboratory of Teuta Dushkaj (UNIVERSS )

| Tested materials/ products | Types of test/ Properties to be measured | Applied Standards/ Techniques to be used |
| --- | --- | --- |
| Biochemical Testing |
|  | Determination of 16 parameters | Automated analyzer SELECTRA PRO S (ELITECH Group)* |
| Blood Serum | 1.Alanine Aminotransferase (ALT/GPT) | KINETICS-Alanine aminotransferase Liquid Reagent IFCC (I1-PL) |
|  | 2.Aspartate Aminotransferase (AST/GOT) | KINETICS- Aspartate aminotransferase Liquid Reagent IFCC (I1-PL) |
|  | 3.Glucose (GLU) | END POINT-Monochromatic (I1-PL) |
|  | 4.Urea (UREA) | KINETIC-Urease (I1-PL) |
|  | 5.Creatinine (CRE) | KINETIC- Pap (I1-PL) |
|  | 6.Total Cholesterol (CHOL) | END POINT-Monochromatic (I1-PL) |
|  | 7.Triglycerides (TRIG) | END POINT-Monochromatic (I1-PL) |
|  | 8.Total protein (TP) | END POINT-Monochromatic (I1-PL) |
|  | 9.Creatine kinase (CK) | END POINT- Kinetic (I1-PL) |

| Tested materials/ products | Types of test/ Properties to be measured | Applied Standards/ Techniques to be used |
| --- | --- | --- |
| Blood Serum (continued) | 10.Lactate Dehydrogenase (LDH) | END POINT-Kinetic (I1-PL) |
|  | 11.Iron (Fe) | END POINT- Kinetic (I1-PL) |
|  | 13.Total Bilirubine (TBIL) | END POINT- Bichromatic (I1-PL) |
|  | 12. Gamma-glutamyltransferase (GGT) | END POINT- Kinetic (I1-PL) |
|  | 14.Calcium (Ca) | END POINT- Bichromatic (I1-PL) |
|  | 15. Uric Acid (UA) | END POINT-Monochromatic (I1-PL) |
|  | 16. Amylase (AMYL) | END POINT- Kinetic (I1-PL) |

*The use of the analyser’s brand name refers to a specific analytical method and the corresponding experimental protocol

Site of assessment: Laboratory Permanent premises: LEZHE Lagjja Spitalit, Rruga Kryesore, Nderetese

Private 1 kateshe ne zonen kadastrale nr.8631, numri i pasurise 4/250-N, Albania

Approved signatories: TEUTA DUSHKAJ

The Accreditation Certificate No.1196, to EN ISO 15189:2012, is extended until 03.08.2024.

Athens, January 01,2024

Christos Nestroas

CEO  of  ESYD