Hellenic Accreditation System

| Annex G1/6 to the Certificate No.1154 SCOPE of ACCREDITATION of the Department of Immunology and Histocompatibility of the Laboratories Division of “Helena Venizelou” Hospital of the “Helena Venizelou-Alexandra” Hospital |
| --- |
| Tested materials/ products | Types of test/Properties to be measured | Applied Standards/Techniques to be used |
| Immunological Tests |
| 1. Blood Serum | Determination of 9 parameters: | ARCHITECT iSystem automated analyzer ΟΕ-ΧΜ-01/1.2 /18-1-2021 |
|  | 1. CEA | CMIA Chemiflex |
|  | 2. AFP |  |
|  | 3. Ca 125 |  |
|  | 4. Ca 15-3 |  |
|  | 5. Ca 19-9 |  |
|  | 6. Prostate Specific antigen (PSA) |  |
|  | 7. Free Prostate Specific antigen (FPSA) |  |
|  | 8. Thryroid peroxidase antibodies (anti-TPO) |  |
|  | 9. Thyroglobulin antibodies (anti-Tg) |  |
| 2. Blood serum Blood serum (continued) | Determination of 11 parameters | DSH automated ELISA system DYNEX technologies DSX ΟΕ-EL-01/1.2/18-1-2021 |
|  | 1. anti Cardiolipin antibodies IgG | ELISA |
|  | 2. anti Cardiolipin antibodies IgM |  |
|  | 3. anti-β2GPI IgG |  |
|  | 4. anti-β2GPI IgM |  |
|  | 5. ΕΝΑ antibodies Screening test |  |
|  | 6. ΕΝΑ SS-A/Ro antibodies |  |
|  | 7. ΕΝΑ SS-B/La antibodies |  |
|  | 8. ΕΝΑ RNP antibodies |  |
|  | 9. ΕΝΑ Sm antibodies |  |
|  | 10. ΕΝΑ Scl-70 antibodies |  |
|  | 11. ΕΝΑ Jo-1 antibodies |  |
| 3. Blood serum | Determination of 3 parameters: | IFA OE-ΑΦ-01/1.3 /18-1-2021 |
|  | 1. antinuclear antibodies ΑΝΑ | IFA |
|  | 2. antibodies against double stranded DNA (dsDNA) |  |
|  | 3. Anti-motochondrial antibodies ΑΜΑ |  |
| 4. Whole blood | Determination of 12 parameters: | Beckman Coulter FC500 Flow Cytometer ΟΕ-ΚΡ-01/1.2 /18-1-2021 |
|  | CD3+ cells | Flow cytometry |
|  | CD3+CD4+ cells |  |
|  | CD3+CD8+ cells |  |
|  | CD3-CD(16/56)+ cells |  |
|  | CD2+ cells |  |
|  | CD3+CD(16/56)+ cells |  |
|  | CD19+ cells |  |
|  | CD5+/CD19+ cells |  |
|  | TCRγδ+ Τ-cells |  |
|  | TCR Vγ9+ Τ-cells |  |
|  | CD4/CD8+ cells | ratio |
|  | TCR Vγ9+/ TCR PANγδ+ Τ-cells |  |

*Reference to the commercial name of a specific analyzer,  refers to a specific analytical method and protocol

Site of assessment: Laboratory permanent premises: “Helena Venizelou” Hospital, 2 Helen’s Venizelou Sq, 11521 Athens, Greece.

Approved signatories: Theodora Keramitsoglou, Dimitra Oikonomopoulou

This Scope of Accreditation replaces the previous one dated 17.01.2023.

The Accreditation Certificate No. 1154 to ELOT EN ISO 15189:2012, is extended until 27.07.2023.

Athens, 25.04.2023

Christos Nestoras

CEO of ESYD