Hellenic Accreditation System

# Annex G1/2 to the Certificate No.1171

SCOPE of ACCREDITATION

of the

Clinical Laboratory

of

BYLIS DC

| Tested materials/ products | Types of test/ Properties to be measured | Applied Standards/ Techniques to be used |
| --- | --- | --- |
| Biochemical Tests |
| Blood Serum | Determination of 12 parameters | Automated analyzer Cobas Integra 400⁺-Roche * P20-EK/00/02.05.2017 |
|  | 1. Alanine Aminotransferase (ALT/GPT) | KINETICS-Alanine aminotransferase Liquid Reagent IFCC |
|  | 2. Aspartate Aminotransferase (AST/GOT) | KINETICS- Aspartate aminotransferase Liquid Reagent IFCC |
|  | 3. Glucose | END POINT-Hexokinase |
|  | 4. Urea | KINETIC-Urease |
|  | 5. Creatinine | KINETIC-Jaffe |
|  | 6. Cholesterol total | END POINT-Cholesterol |
|  | 7. Triglycerides | END POINT-Triglycerides |
|  | 8. Cholesterol HDL | END POINT -HDL-cholesterol |
|  | 9.cholesterol LDL | END POINT- LDL-cholesterol |
|  | 10. Total Bilirubine | END POINT-Colorimetric Diazo |
|  | 11. Direct Bilirubine | END POINT-Diazo |
| Whole Blood | 12. HbA1C | END POINT-HbA1C |
| Immunochemical Tests |
| Blood Serum | Determination of 3 parameters | Automated analyzer Immulite One-Siemens* P20-EK/00/02.05.2017 |
|  | 1.Thyroid Stimulues Hormone (TSH) | Chemiluminescence |
|  | 2. Free Thyroxin (FT4) | Chemiluminescence |
|  | 3.Prostatic Specific Antigen (PSA) | Chemiluminescence |
| Hematology Tests |
| Whole Blood (EDTA) | Determination of 5 parameters | Automated analyzer XS-1000i Sysmex* P20-EK/00/02.05.2017 |
|  | 1. Hemoglobin (HB) | Method Photometry |
|  | 2. Haematocrit (HCT) | Method Numeric integration |
|  | 3. White Blood Cells (WBC) | DHSS Technology Cytometry & Cytochemical association |
|  | 4. Red Blood Cells (RBC) | Method Impedance |
|  | 5. Platelets (PTL) | Method Impedance |
| Urine Tests |
| Urine | Determination of 9 parameters | Strip analyser 500-Dialab * P20-EK/00/02.05.2017 |
|  | 1.Leucocytes | Urine Strip 11 |
|  | 2.Nitrites | Urine Strip 11 |
|  | 3.Urobilinogen | Urine Strip 11 |
|  | 4.Protein | Urine Strip 11 |
|  | 5.pH | Urine Strip 11 |
|  | 6. SG (Specific Gravity) | Urine Strip 11 |
|  | 7. Ketones | Urine Strip 11 |
|  | 8. Bilirubine | Urine Strip 11 |
|  | 9. Glucose | Urine Strip 11 |

*The use of the analyser’s brand name refers to a specific analytical method and the corresponding experimental protocol

Site of assessment: Laboratory Permanent premises: FIER Lagjja 1 Maj, Rruga Jani Bakalli, Nd 7,

Njesia 4, Albania.

Approved signatories: Elsa Shehu.

This Scope of Accreditation replaces the previous one dated 21.06.2019.

The Accreditation Certificate No.1171, to ELOT EN ISO 15189:2012, is valid until 20.06.2023.

- Athens, September 30, 2021

Spyridon Podaras

CEO of ESYD