Hellenic Accreditation System

Annex G1/Β8 to the Certificate No. 958-6 SCOPE of ACCREDITATION of the Clinical Laboratory of LABNET MEDICAL S.A. LARISSA BRANCH

| Tested materials / Products | Types of test / Properties measured | Applied Standards / Techniques used |
| --- | --- | --- |
| Biochemical testing |  |  |
| Blood Serum Blood Serum (continued) | Determination of 37 parameters | Automated biochemical analyzer Alinity ci (AC03019) ABBOTT* (ΕΞΟ-12/03/20-04-2023) |
|  | - Albumin (ALB) | Colorimetric (Bromocresol Green) |
|  | - Total Protein (TP) | Colorimetric (Biuret) |
|  | - Total globulin | Calculated from total protein (TP) and albumin (ALB) |
|  | - Albumin / Total globulin ratio | Calculated from total protein (TP) and albumin (ALB) |
|  | - Glucose (GLUC) | Enzymatic – colorimetric (HEX-G6PDH) |
|  | - Urea (UREA) | Enzymatic – colorimetric (Urease) |
|  | - Blood Urea Nitrogen (BUN) | Calculated from urea (UREA) |
|  | - Uric acid (UA) | Enzymatic – colorimetric (Uricase) |
|  | - Creatinine (CREA) | Enzymatic – colorimetric (Jaffe) |
|  | - Cholesterol Total (CHOL) | Enzymatic – colorimetric (CHO-OEP-HBA) |
|  | - Triglycerides (TRIG) | Enzymatic – colorimetric (GPO) |
|  | - HDL Cholesterol (HDL-Chol) | Enzymatic – colorimetric (ASD) |
|  | - LDL Cholesterol (LDL-Chol) | Enzymatic – colorimetric |
|  | - VLDL Cholesterol (VLDL-Chol) | Calculated from triglycerides (TRIG) |
|  | - Atherogenic index | Calculated from total cholesterol (CHOL) and HDL cholesterol (HDL-Chol) |
|  | - Total lipids (LIPIDS) | Calculated from total cholesterol (CHOL) and triglycerides (TRIG) |
|  | - Phospholipids (PH-LIP) | Calculated from total cholesterol (CHOL) |
|  | - Alanine Aminotransferase (ALT/SGPT) | Enzymatic –Kinetic - Colorimetric (NADH) |
|  | - Aspartate Aminotransferase (AST/SGOT) | Enzymatic –Kinetic - Colorimetric (NADH) |
|  | - Gamma-Glytamyl Transferase (γ-GT) | Enzymatic |
|  | - Alkaline Phosphatase (ALP) | Enzymatic –Kinetic - Colorimetric (Para-nP) |
|  | - Bilirubin Total (TBIL) | Enzymatic –Kinetic - Colorimetric (Diazonium) |
|  | - Bilirubin direct (DBIL) | Enzymatic –Kinetic - Colorimetric (Diazo) |
|  | - Bilirubin indirect (IBIL) | Calculated from bilirubin total (TBIL) and bilirubin direct (DBIL) |
|  | - Amylase (AMY) | Enzymatic - Colorimetric (GNPG3) |
|  | - Creatine Kinase (CK/CPK) | Enzymatic –Kinetic - Colorimetric (NAC) |
|  | - Lactate Dehydrogenase (LDH) | Enzymatic - Kinetic (IFCC) |
|  | - Iron (Fe) | Colorimetric (Ferene) |
|  | - Magnesium (Mg) | Enzymatic |
|  | - Phosphorus (Phos) | Colorimetric (Phosphomolybdate) |
|  | - Calcium (Ca) | Colorimetric (Arsenazo III) |
|  | - Potassium (K) | Ion Selective Electrodes (ISE) |
|  | - Sodium (Na) | Ion Selective Electrodes (ISE) |
|  | - Chloride (Cl) | Ion Selective Electrodes (ISE) |
|  | - Serum Osmolality | Calculated from glucose (GLUC), urea (UREA) and sodium (Na) |
|  | - C-reactive protein (CRP) | Turbidimetry (TA) / Immunoturbidimetry (ITA) |
|  | - Rheumatoid factor (RF) | Immunoturbidimetry (ITA) |
| Immunochemical Testing |  |  |
| Blood Serum Blood Serum (continued) | Determination of 22 parameters | Automated immunoassay analyzer Alinity ci (AI20977) ABBOTT* (ΕΞΟ-12/03/20-04-2023) |
|  | - Ferritin (FERR) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Thyroid-Stimulating Hormone (TSH) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Anti-Thyroglobulin antibodies (anti-TG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Anti-Thyroid Peroxidase antibodies (anti-TPO) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Free Triiodothyronine (FT3) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Free Thyroxine (FT4) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Total Triiodothyronine (TT3) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Total Thyroxine (TT4) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - β-Human Chorionic Gonadotropin (β-hCG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Prostate-Specific Antigen (PSA) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Alpha Fetoprotein (AFP) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Carcinoembryonic antigen (CEA) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Cancer antigen 125 (CA125) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Cancer antigen 15.3 (CA15.3) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Vitamin B12 (B12) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Folate acid (FOLATE) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - 25-OH Vitamin D (25-OH VitD) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Testosterone (TESTO) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Sex Hormone-Binding Globulin (SHBG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Free Androgen Index (FAI) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Thyroglobulin (TG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
| Blood Plasma (EDTA) or Blood Serum | - intact Parathyroid Hormone (iPTH) | Chemiluminescent Microparticle Immunoassay (CMIA) |
| Blood Serum Blood Serum (continued) | Determination of 14 parameters | Automated immunoassay analyzer Alinity i (AI24525) ABBOTT* (ΕΞΟ-12/03/20-04-2023) |
|  | - Hepatitis B surface antigen (HBsAg) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Hepatitis B core antigen antibodies (anti-HBc) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Hepatitis B surface antibodies (anti-HBs) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Human immunodeficiency virus type 1/2 antigen/antibodies (HIV 1/2 Ag/Ab) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Hepatitis C antibodies (anti-HCV) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Toxoplasma IgG antibodies (Toxo IgG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Toxoplasma IgM antibodies (Toxo IgM) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Rubella IgG antibodies (Rubella IgG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Rubella IgΜ antibodies (Rubella IgΜ) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Cytomegalovirus IgG antibodies (CMV IgG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Cytomegalovirus IgM antibodies (CMV IgM) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Vitamin B12 (B12) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Folate acid (FOLATE) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - 25-OH Vitamin D (25-OH VitD) | Chemiluminescent Microparticle Immunoassay (CMIA) |
| Blood serum | Determination of 8 parameters | Automated immunoassay analyzer Cobas e411 ROCHE* (ΕΞΟ-12/03/20-04-2023) |
|  | - Cancer antigen 19.9 (CA19.9) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | - Estradiol (E2) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | - Progesterone (PRG) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | - Follicle Stimulating Hormone (FSH) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | - Luteinizing Hormone (LH) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | - Prolactin (PRL) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | - Dehydroepiandrosterone Sulfate (DHEA-S) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | - Cortisol (CORT) | Elecrochemiluminescence Immunoassay (ECLIA) |
| Hematological Testing |  |  |
| Whole Blood (EDTA) | Determination of 1 parameter | Automated electrophoresis system HBNEXT MENARINI* (ΕΞΟ-12/03/20-04-2023) |
|  | - Glycated Haemoglobin A1c (HbA1c) | High performance liquid chromatography (HPLC) |
| Whole Blood (EDTA) Whole Blood (EDTA) (continued) | Determination of 10 parameters | Automated hematological analyzer Celldyn EMERALD 22 ABBOTT* (ΕΞΟ-12/03/20-04-2023) |
|  | - Hemoglobin (HGB) | Spectrophotometric |
|  | - Hematocrit (HCT) | Calculated from RBC and MCV |
|  | - Red Blood Cells (RBC) | Electrical impedance |
|  | - Mean Corpuscular Volume (MCV) | Calculated from red blood cell size distribution data |
|  | - Mean Corpuscular Hemoglobin (MCH) | Calculated from HGB and RBC |
|  | - Mean Cell Hemoglobin Concentration (MCHC) | Calculated from HGB and HCT |
|  | - Red blood cell Distribution Width (RDW) | Calculated from RBC histogram |
|  | - White Blood Cells (WBC) | Optical count (WOC) / Impedance count (WIC) |
|  | - Platelets (PLT) | Electrical impedance |
|  | - Mean Platelet Volume (MPV) | Calculated from PLT histogram |

*Reference to the commercial name of a specific analyzer, refers to a specific analytical method and protocol

Site of assessment: Laboratory Permanent premises: Larisa Branch, 3rd kilometer Palaia Ethniki Odos Larissa - Athens, 41335 Larissa, Greece.

Approved signatories: D. Poutsiakas, E. Minos.

This scope of Accreditation replaces the previous one dated 18.05.2023.

The Accreditation Certificate No. 958-6, to ELOT EN ISO 15189:2022, is valid until 02.12.2027.

Athens, 7th March 2025

Konstantinou Evangelos Apostolos

CEO of ESYD