Hellenic Accreditation System

Annex G1/3 to the Certificate No.1255 SCOPE of ACCREDITATION of the Private diagnostic clinical laboratory «MIKROSKOPISI»

| Tested Materials/ products | Types of test/ Properties to be measured | Applied Standards/ Techniques to be used |
| --- | --- | --- |
| Cytopathology Tests |
| Conventional cervico-vaginal smears | Morphologic test - Detection and typing of pathologic lesions | Qualitative - semiquantitative method 1. Papanicolaou Stain 2. Automated Slide Stainer (Leica Autostainer XL) & automated Glass Coverslipper (Leica CV5030). 3. Microscopic evaluation 4. Reporting according to the BETHESDA 2014 System Ο.510-3/1/1-9-2019, Ο.510-4/1/1-9-2019 5. OS ULTRA (Optra Scan) slide scanner, storage and Cytology Image analysis |
| Cervico-vaginal smears, obtained by liquid based technique | Morphologic test - Detection and typing of pathologic lesions | Qualitative - semiquantitative method 1. Papanicolaou Stain 2. Liquid based cytology processor (THIN PREP CYTYC 2000)* 3. Microscopic evaluation 4. Reporting according to the BETHESDA 2014 system Ο.510-3/1/1-9-2019, Ο.510-4/1/1-9-2019 5. OS ULTRA (Optra Scan) slide scanner, storage and Cytology Image analysis |
| Cervico-vaginal smears, obtained by liquid based technique | Molecular assay for qualitative detection of 14 high-risk (HR) types of Human Papillomavirus | Method CE-IVD Cobas 4800 HPV test. Performed according to the Kit Manufacturer's instructions (Roche Diagnostics) with automated nucleic acid extraction of the clinical sample on the COBAS x 4800 device and PCR reaction on the COBAS Z device. Molecular typing of HPV 16 and 18 and detection of other high-risk HPVs: 31 , 33, 35, 39, 45, 51, 52, 56, 58, 59, 66 and 68. |

* Commercial names mentioned are reffering to specific analytical method and laboratory work protocol.

Site of assessment: Laboratory permanent premises: 4 Thetidos & Michalokopoulou Str., Athens, 15128,  Greece.

Primary Sample Collection: Laboratory permanent premises: 4 Thetidos & Michalokopoulou Str., Athens, 15128, Greece.

Approved signatories: Α. Lainis, K. Savvidou, A. Diamantis, P. Nikolaou, Α. Kelemtzi, D. Vasilakos.

This Scope of Accreditation replaces the previous one dated 12.10.2022.

The Accreditation Certificate No. 1255, to ELOT EN ISO 15189:2012, is valid until 10.05.2025.

Athens, 09.08.2023

                - Christos Nestoras

CEO of ESYD