Hellenic Accreditation System

Annex F1/13 to the Certificate No. 580-5 SCOPE of ACCREDITATION of the Laboratory of Environmental Analysis of the Institute of Nanoscience and Nanotechnology of the National Center for Scientific Research “Demokritos”

| Materials/Products tested | Types of test/Properties measured | Applied methods/Techniques used |
| --- | --- | --- |
| Chemical testing |
| 1.Drinking water | 1.Determination of Polycyclic Aromatic Hydrocarbons (PAHs) (5) [benzo(b)fluoranthene, benzo(k)fluoranthene, benzo(a)pyrene, benzo(g,h,i)perylene, indeno(1,2,3-c,d)pyrene] | In-house method ΜΔ.01 using HPLC – FLD and LC-MS/MS based on U.S. EPA 550.1 ‘‘Determination of polycyclic aromatic hydrocarbons in drinking water by liquid-solid extraction and HPLC with coupled ultraviolet and fluorescence detection’’ |
| 2.Surface water | 1.Determination of Polycyclic Aromatic Hydrocarbons (PAHs) (8) [benzo(b)fluoranthene, benzo(k)fluoranthene, benzo(a)pyrene, benzo(g,h,i)perylene, indeno(1,2,3-c,d)pyrene, naphthalene, anthracene, fluoranthene] |  |
| 3.Drinking water, surface water | Determination of cyanotoxins: Anatoxin-a, Cylindrospermopsin, [D-Asp3] Microcystin-RR, Microcystin-RR, [D-Asp3] Microcystin-LR, Microcystin-LR, Microcystin-YR, Microcystin-HtyR, Microcystin-LA, Microcystin-LY | In house method (ΜΔ.05) using LC-MS/MS. |
| 4. Biomass | Determination of cyanotoxins: [D-Asp3] Microcystin-RR, Microcystin-RR, Microcystin-LR, Microcystin-YR, Microcystin-HtyR, Microcystin-WR, Nodularin (NOD) | In house method (ΜΔ.05) using LC-MS/MS. |

Site of assessment: Permanent laboratory premises, Agia Paraskevi, 15310, Attiki, Greece

Approved signatories: A. Hiskia, Th. Triantis.

This scope of Accreditation replaces the previous one dated 15.02.2022.

The Accreditation Certificate No. 580-5, to ELOT EN ISO/IEC 17025:2017, is valid until 16.07.2025.

Athens, 07.07.2022.

Christos Nestoras

CEO of ESYD