Hellenic Accreditation System

Annex G1/Δ7 to the Certificate No. 958-6 SCOPE of ACCREDITATION of the Clinical Laboratory of LABNET MEDICAL S.A. ATHENS BRANCH

| Tested materials / Products | Types of test / Properties measured | Applied Standards / Techniques used |
| --- | --- | --- |
| Biochemical testing |  |  |
| Blood Serum Blood Serum (continued) | Determination of 39 parameters | Automated biochemical analyzer Alinity A cii (AC01334) ABBOTT* (ΕΞΟ-12/04/01-11-2024) |
|  | - Albumin (ALB) | Colorimetric (Bromocresol Green) |
|  | - Total Protein (TP) | Colorimetric (Biuret) |
|  | - Total globulin | Calculated from total protein (TP) and albumin (ALB) |
|  | - Albumin / Total globulin ratio | Calculated from total protein (TP) and albumin (ALB) |
|  | - Glucose (GLUC) | Enzymatic – colorimetric (HEX-G6PDH) |
|  | - Urea (UREA) | Enzymatic – colorimetric (Urease) |
|  | - Blood Urea Nitrogen (BUN) | Calculated from urea (UREA) |
|  | - Uric acid (UA) | Enzymatic – colorimetric (Uricase) |
|  | - Creatinine (CREA) | Enzymatic – colorimetric (Jaffe) |
|  | - Cholesterol Total (CHOL) | Enzymatic – colorimetric (CHO-OEP-HBA) |
|  | - Triglycerides (TRIG) | Enzymatic – colorimetric (GPO) |
|  | - HDL Cholesterol (HDL-Chol) | Enzymatic – colorimetric (ASD) |
|  | - LDL Cholesterol (LDL-Chol) | Enzymatic – colorimetric |
|  | - Calculated from triglycerides (TRIG) | VLDL Cholesterol (VLDL-Chol) |
|  | - Atherogenic index | Calculated from total cholesterol (CHOL) and HDL cholesterol (HDL-Chol) |
|  | - Total lipids (LIPIDS) | Calculated from total cholesterol (CHOL) and triglycerides (TRIG) |
|  | - Phospholipids (PH-LIP) | Calculated from total cholesterol (CHOL) |
|  | - Alanine Aminotransferase (ALT/SGPT) | Enzymatic –Kinetic – Colorimetric (NADH) |
|  | - Aspartate Aminotransferase (AST/SGOT) | Enzymatic –Kinetic - Colorimetric (NADH) |
|  | - Gamma-Glytamyl Transferase (γ-GT) | Enzymatic |
|  | - Alkaline Phosphatase (ALP) | Enzymatic –Kinetic – Colorimetric (Para-nP) |
|  | - Bilirubin Total (TBIL) | Enzymatic –Kinetic - Colorimetri (Diazonium) |
|  | - Bilirubin direct (DBIL) | Enzymatic –Kinetic – Colorimetric (Diazo) |
|  | - Bilirubin indirect (IBIL) | Calculated from bilirubin total (TBIL) and bilirubin direct (DBIL) |
|  | - Amylase (AMY) | Enzymatic - Colorimetric (GNPG3) |
|  | - Creatine Kinase (CK/CPK) | Enzymatic –Kinetic – Colorimetric (NAC) |
|  | - Creatine Kinase MB (CKMB) | Immunoinhibition (IFCC) |
|  | - Lactate Dehydrogenase (LDH) | Enzymatic - Kinetic (IFCC) |
|  | - Iron (Fe) | Colorimetric (Ferene) |
|  | - Magnesium (Mg) | Enzymatic |
|  | - Phosphorus (Phos) | Colorimetric (Phosphomolybdate) |
|  | - Calcium (Ca) | Colorimetric (Arsenazo III) |
|  | - Potassium (K) | Ion Selective Electrodes (ISE) |
|  | - Sodium (Na) | Ion Selective Electrodes (ISE) |
|  | - Chloride (Cl) | Ion Selective Electrodes (ISE) |
|  | - Serum Osmolality | Calculated from glucose (GLUC), urea (UREA) and sodium (Na) |
|  | - C-reactive protein (CRP) | Turbidimetry (TA) / Immunoturbidimetry (ITA) |
| Urine | - Total Protein urine (uPRO) | Immunoturbidimetry (ITA) |
|  | - Microalbumin urine (uALB) | Turbidimetry (TA) / Immunoturbidimetry (ITA) |
| Blood serum | Determination of 43 parameters | Automated biochemical analyzer Alinity B ci (AC01993) ABBOTT* (ΕΞΟ-12/04/01-11-2024) |
|  | - Complement C3 | Immunoturbidimetry (ITA) |
|  | - Complement C4 | Immunoturbidimetry (ITA) |
|  | - Immunoglobulin A (IgA) | Immunoturbidimetry (ITA) |
|  | - Immunoglobulin G (IgG) | Immunoturbidimetry (ITA) |
|  | - Immunoglobulin M (IgM) | Immunoturbidimetry (ITA) |
|  | - C-reactive protein (CRP) | Turbidimetry (TA) / Immunoturbidimetry (ITA) |
|  | - Rheumatoid factor (RF) | Immunoturbidimetry (ITA) |
|  | - Lipoprotein a (Lpa) | Turbidimetry (TA) / Immunoturbidimetry (ITA) |
|  | - Antistreptolysin-O (ASTO) | Latex agglutination/ Turbidimetry (TA) |
|  | - Valproic acid (VPA) | Particle-enhanced turbidimetric inhibition immunoassay (PETINIA) |
|  | - Apolipoprotein A (ApoA) | Immunoturbidimetry (ITA) |
|  | - Apolipoprotein B (ApoB) | Immunoturbidimetry (ITA) |
|  | - Immunoglobulin E (IgE) | Immunoturbidimetry (ITA) |
|  | - Albumin (ALB) | Colorimetric (Bromocresol Green) |
|  | - Total Protein (TP) | Colorimetric (Biuret) |
|  | - Total globulin | Calculated from total protein (TP) and albumin (ALB) |
|  | - Albumin / Total globulin ratio | Calculated from total protein (TP) and albumin (ALB) |
|  | - Glucose (GLUC) | Enzymatic – colorimetric (HEX-G6PDH) |
|  | - Urea (UREA) | Enzymatic – colorimetric (Urease) |
|  | - Blood Urea Nitrogen (BUN) | Calculated from urea (UREA) |
|  | - Uric acid (UA) | Enzymatic – colorimetric (Uricase) |
|  | - Creatinine (CREA) | Enzymatic – colorimetric (Jaffe) |
|  | - Cholesterol Total (CHOL) | Enzymatic – colorimetric (CHO-OEP-HBA) |
|  | - Triglycerides (TRIG) | Enzymatic – colorimetric (GPO) |
|  | - HDL Cholesterol (HDL-Chol) | Enzymatic – colorimetric (ASD) |
| Blood serum (continued) | - LDL Cholesterol (LDL-Chol) | Enzymatic – colorimetric |
|  | - Calculated from triglycerides (TRIG) | VLDL Cholesterol (VLDL-Chol) |
|  | - Atherogenic index | Calculated from total cholesterol (CHOL) and HDL cholesterol (HDL-Chol) |
|  | - Total lipids (LIPIDS) | Calculated from total cholesterol (CHOL) and triglycerides (TRIG) |
|  | - Phospholipids (PH-LIP) | Calculated from total cholesterol (CHOL) |
|  | - Alanine Aminotransferase (ALT/SGPT) | Enzymatic –Kinetic – Colorimetric (NADH) |
|  | - Aspartate Aminotransferase (AST/SGOT) | Enzymatic –Kinetic – Colorimetric (NADH) |
|  | - Gamma-Glytamyl Transferase (γ-GT) | Enzymatic |
|  | - Amylase (AMY) | Enzymatic - Colorimetric (GNPG3) |
|  | - Creatine Kinase (CK/CPK) | Enzymatic –Kinetic - Colorimetric (NAC) |
|  | - Lactate Dehydrogenase (LDH) | Enzymatic - Kinetic (IFCC) |
|  | - Iron (Fe) | Colorimetric (Ferene) |
|  | - Magnesium (Mg) | Enzymatic |
|  | - Calcium (Ca) | Colorimetric (Arsenazo III) |
|  | - Potassium (K) | Ion Selective Electrodes (ISE) |
|  | - Sodium (Na) | Ion Selective Electrodes (ISE) |
|  | - Chloride (Cl) | Ion Selective Electrodes (ISE) |
|  | - Serum Osmolality | Calculated from glucose (GLUC), urea (UREA) and sodium (Na) |
| Immunochemical Testing |  |  |
| Blood Serum Blood serum (continued) | Determination of 16 parameters | Automated immunoassay analyzer Alinity A cii (AI01615) ABBOTT* (ΕΞΟ-12/04/01-11-2024) |
|  | - Ferritin (FERR) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Thyroid-Stimulating Hormone (TSH) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Anti-Thyroglobulin antibodies (anti-TG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Anti-Thyroid Peroxidase antibodies (anti-TPO) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Free Triiodothyronine (FT3) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Free Thyroxine (FT4) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Total Triiodothyronine (TT3) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Total Thyroxine (TT4) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Insulin (Insulin) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - C-peptide (C-peptide) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Sex Hormone-Binding Globulin (SHBG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Testosterone (TESTO) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Free Androgen Index (FAI) | Calculated from Testosterone (TESTO) and Sex Hormone-Binding Globulin (SHBG) |
|  | - Thyroglobulin (TG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
| Blood Plasma (EDTA) or Blood Serum | - intact Parathyroid Hormone (iPTH) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Homocysteine (HCY) | Chemiluminescent Microparticle Immunoassay (CMIA) |
| Blood Serum | Determination of 10 parameters | Automated immunoassay analyzer Alinity A cii (AI22295) ABBOTT* (ΕΞΟ-12/04/01-11-2024) |
|  | - 25-OH Vitamin D (25-OH VitD) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Vitamin B12 (B12) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Folate acid (FOLATE) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Alpha Fetoprotein (AFP) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Prostate-Specific Antigen (PSA) | Chemiluminescent Microparticle Immunoassay (CMIA) |
| Blood serum (continued) | - Free Prostate-Specific Antigen (free-PSA) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Free-PSA / PSA ratio | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Carcinoembryonic antigen (CEA) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Cancer antigen 125 (CA125) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Cancer antigen 15.3 (CA15.3) | Chemiluminescent Microparticle Immunoassay (CMIA) |
| Blood Serum | Determination of 27 parameters | Automated immunoassay analyzer Alinity B ci (AI02931) ABBOTT* (ΕΞΟ-12/04/01-11-2024) |
|  | - Ferritin (FERR) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Thyroid-Stimulating Hormone (TSH) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - 25-OH Vitamin D (25-OH VitD) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Vitamin B12 (B12) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Folate acid (FOLATE) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Troponin I high sensitivity (TnI hs) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - β-Human Chorionic Gonadotropin (β-hCG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Anti-Thyroglobulin antibodies (anti-TG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Anti-Thyroid Peroxidase antibodies (anti-TPO) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Free Thyroxine (FT4) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Prostate-Specific Antigen (PSA) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Hepatitis B surface antigen (HBsAg) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Hepatitis B core antigen antibodies (anti-HBc) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Hepatitis B surface antibodies (anti-HBs) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Human immunodeficiency virus type 1/2 antigen/antibodies (HIV 1/2 Ag/Ab) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Hepatitis C antibodies (anti-HCV) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Toxoplasma IgG antibodies (Toxo IgG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Toxoplasma IgM antibodies (Toxo IgM) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Rubella IgG antibodies (Rubella IgG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Rubella IgΜ antibodies (Rubella IgΜ) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Cytomegalovirus IgG antibodies (CMV IgG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Cytomegalovirus IgM antibodies (CMV IgM) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Hepatitis B core antigen IgM antibodies (anti-HBc IgM) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Hepatitis A IgG antibodies (anti-HAV IgG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Hepatitis A IgM antibodies (anti-HAV IgM) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Epstein barr viral capsid IgG antibodies (EBV VCA IgG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Epstein barr viral capsid IgM antibodies (EBV VCA IgM) | Chemiluminescent Microparticle Immunoassay (CMIA) |
| Blood serum Blood serum (continued) | Determination of 10 parameters | Automated immunoassay analyzer Cobas e601 ROCHE* (ΕΞΟ-12/04/01-11-2024) |
|  | - Estradiol (E2) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | - Follicle Stimulating Hormone (FSH) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | - Luteinizing Hormone (LH) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | - Prolactin (PRL) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | - Progesterone (PRG) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | - Dehydroepiandrosterone Sulfate (DHEA-S) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | - Cortisol (CORT) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | - Adrenocorticotropic hormone (ACTH) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | - Calcitonin (CT) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | - Cancer antigen 19.9 (CA 19.9) | Elecrochemiluminescence Immunoassay (ECLIA) |
| Immunological Testing |  |  |
|  | Determination of 2 parameters | Automated chemiluminescence analyzer Liaison XL DIASORIN* (ΕΞΟ-12/04/01-11-2024) |
| Blood serum | - Aldosterone (ALDO) | Chemiluminescence (CLIA) |
| Blood Plasma (EDTA) | - Renin (Renin) | Chemiluminescence (CLIA) |
| Blood serum | Determination of 10 parameters | Automated immunoassay analyzer Zenit Ra MENARINI* (ΕΞΟ-12/04/01-11-2024) |
|  | - Extractable nuclear antigen antibodies (anti-ENA) | Chemiluminescence (CLIA) |
|  | - Anti-double stranded DNA antibodies (anti-ds DNA) | Chemiluminescence (CLIA) |
|  | - Cardiolipin antibodies IgG (αCL IgG) | Chemiluminescence (CLIA) |
|  | - Cardiolipin antibodies IgM (αCL IgM) | Chemiluminescence (CLIA) |
|  | - β2-Glycoprotein I antibodies IgG (β2-GPI IgG) | Chemiluminescence (CLIA) |
|  | - β2-Glycoprotein I antibodies IgM (β2-GPI IgM) | Chemiluminescence (CLIA) |
|  | - Deamidated gliadin peptides antibodies IgG (anti-DGP IgG) | Chemiluminescence (CLIA) |
|  | - Deamidated gliadin peptides antibodies IgA (anti-DGP IgA) | Chemiluminescence (CLIA) |
|  | - Tissue transglutaminase antibodies IgG (t-TG IgG) | Chemiluminescence (CLIA) |
|  | - Tissue transglutaminase antibodies IgA (t-TG IgA) | Chemiluminescence (CLIA) |
| Hematological Testing |  |  |
| Whole Blood (EDTA) | Determination of 1 parameter | Automated High Performance Liquid Chromatography HBNEXT (A), (B) MENARINI** (ΕΞΟ-12/04/01-11-2024) |
|  | - Glycated Haemoglobin A1c (HbA1c) | High Performance Liquid Chromatography |
| Whole Blood (EDTA) Whole Blood (EDTA) (continued) | Determination of 10 parameters | Automated hematological analyzer Alinity HQ, EMERALD 22 ABBOTT* (ΕΞΟ-12/04/01-11-2024) |
|  | - Hemoglobin (HGB) | Spectrophotometric |
|  | - Hematocrit (HCT) | Calculated from RBC and MCV |
|  | - Red Blood Cells (RBC) | Electrical impedance |
|  | - Mean Corpuscular Volume (MCV) | Calculated from red blood cell size distribution data |
|  | - Mean Corpuscular Hemoglobin (MCH) | Calculated from HGB and RBC |
|  | - Mean Cell Hemoglobin Concentration (MCHC) | Calculated from HGB and HCT |
|  | - Red blood cell Distribution Width (RDW) | Calculated from RBC histogram |
|  | - White Blood Cells (WBC) | Optical count (WOC) / Impedance count (WIC) |
|  | - Platelets (PLT) | Electrical impedance |
|  | - Mean Platelet Volume (MPV) | Calculated from PLT histogram |
| Blood Coagulation Testing |  |  |
| Blood Plasma (citrate) | Determination of 7 parameters | Automated coagulation analyzer STAR Max3 STAGO* (ΕΞΟ-12/04/01-11-2024) |
|  | - Prothrombine time (PT sec) | Clot detection |
|  | - Prothrombine time (PT %) | Clot detection |
|  | - Prothrombine time (International Normalized Ratio, PT INR) | Calculated from Prothrombin time (PT patient and PT normal) |
|  | - Activated partial prothrombine time (aPTT) | Clot detection |
|  | - Fibrinogen (FIB) | Clot detection |
|  | - Antithrombin III (ATIII) | Colorimetric |
|  | - D-Dimer (D-Dimer) | Latex / Turbidimetry (TA) |
| Molecular Testing |  |  |
| Whole blood and plasma, amniotic fluid, biopsies, upper and lower respiratory system speciments (nasopharyngeal swabs, bronchial secretions) | Detection and quantification of human cytomegalovirus DNA (hCMV) | Manufacturer’s kit Sacace Biotechnologies, CMV Real-TM Quant (CE-IVD), V7-100/2FRT, real-time PCR with the use of SaCycler-96 Real-Time PCR System* (ΕΞΟ-12/04/01-11-2024) |
| Upper and lower respiratory system speciments (nasopharyngeal swabs, oropharyngeal swans, nasal swabs, bronchial secretions) | Simultaneous RNA detection of Influenza A and B viruses DNA | Manufacturer’s kit Sacace Biotechnologies, Influenza A B RT-PCR (CE- IVD), V36-FRT, real-time PCR (TaqMan assay) with the use of SaCycler-96 Real-Time PCR System* (ΕΞΟ-12/04/01-11-2024) |
| Upper and lower respiratory system speciments (nasopharyngeal swabs, oropharyngeal swans, nasal swabs, nasal washing, sputum, bronchial secretions) | Quantitative detection of SARSCoV-2 virus DNA, genesORF1ab, N and E. | Manufacturer’s kit Maccura Biotechnology Co., Ltd., SARS-CoV-2 Fluorescent PCR (CE-IVD), real-time RT-PCR with the use of SaCycler-96 Real-Time PCR System (ΕΞΟ-12/04/01-11-2024) |
| Cervical swabs, urethral swabs, vaginal swabs, semen, urine | Simultaneous detection of Chlamydia trachomatis, Ureaplasma parvum & urealyticum and Mycoplasma hominis & genitalium bacterial DNA | Manufacturer’s kit Sacace Biotechnologies, С.trachomatis/Ureapl./M.hominis/M.genitalium Real-TM (CE-IVD), B60-100FRT, real-time PCR with the use of SaCycler-96 Real-Time PCR System* (ΕΞΟ-12/04/01-11-2024) |
| Whole blood, bone marrow | Detection of the genetic point mutation V617F of the JAK2 gene | Manufacturer’s kit Sacace Biotechnologies, JAK2 (Val617Phe) SNP Screen (CE-IVD), T01154-50-T, real-time PCR with the use of SaCycler-96 Real-Time PCR System (ΕΞΟ-12/04/01-11-2024) |
| Cervical specimen collected in the collection, preservation and transport system of Alinity m cervi-collect specimen collection kit Cervical specimen collected in ThinPrep PreservCyt Solution και SurePath Preservative Fluid | DNA detection of 14 high risk genotypes (16,18,31,33,35,39,45,51,52, 56,58,59,66,68) Human Papillomavirus (HPV) in clinical samples and specifically identifies HPV16, HPV18, HPV45 | Automated molecular diagnostics analyzer Alinity m polymerase chain reaction (PCR) real-time (Abbott, Abbott Park, Illinois, U.S.A.) (ΕΞΟ-12/04/01-11-2024) |

*Reference to the commercial name of a specific analyzer, refers to a specific analytical method and protocol

Site of assessment: Laboratory Permanent premises: Athens Branch, Antigonis 95 and Kifisou 54, P.O. 10442, Kolonos, Athens, Greece.

Approved signatures: P. Chatzivasileiou, G. Mayorkinis.

This scope of Accreditation replaces the previous one dated 18.05.2023.

The Accreditation Certificate No. 958-6, to ELOT EN ISO 15189:2022, is valid until 02.12.2027.

Athens, 7th March 2025

Konstantinou Evangelos Apostolos

CEO of ESYD