Hellenic Accreditation System

Annex G1/Γ7 to the Certificate No. 908-6

SCOPE of ACCREDITATION of the Clinical Laboratory of the PLUSMA PRIVATE DIAGNOSTIC LABORATORIES MEDICAL S.A. PATRA BRANCH

| Materials/ Products tested | Types of test/Properties measured | Applied methods/Techniques used |
| --- | --- | --- |
| Biochemical tests |
|  | Determination of 1 parameter | HPLC Arkray HA-8180V ΤΠ602-02-25/07/22, ΚΤΑ/30/01.11.2021 |
| Whole blood/EDTA | HbA1c | High performance liquid chromatography (HPLC) |
|  | Determination of 38 parameters | Thermo Konelab 60i ΤΠ602-02-25/07/22, ΚΤΑ/30/01.11.2021 |
| serum/plasma (heparin) | ALT/SGPT | Konelab 60i 1,2/ IFCC modified (UV without P5P) |
| serum/plasma (heparin) | AST/SGOT | Konelab 60i 1,2/ IFCC modified (UV without P5P) |
| serum | CK-MB | Konelab 60i 1/Photometric-UV NAC activated |
| serum/plasma (heparin) | CPK | Konelab 60i 1/Enzymatic/ IFCC (37oC) |
| serum | CRP qualitative | Siemens latex |
| serum | LDH | Konelab 60i 1/ Enzymatic (Pyruvate-lactate) |
| serum | TIBC | Calculation |
| serum/plasma (EDTA) | Urea Nitrogen - BUN | Calculation |
| serum/plasma (heparin) | Total/HDL Cholesterol Index | Calculation |
| serum/plasma (heparin | Albumin | Konelab 60i 1/Colorimetric (Bromocresol purple) |
| serum/plasma (heparin) | Amylase | Konelab 60i 1/Enzymatic (pNPG7 blocked) |
| serum/plasma (heparin) | Calcium (Ca) total | Konelab 60i 2/Colorimetric (Arsenazo III) |
| serum/plasma (heparin) | γ-GT | Konelab 60i 1,2/ Photometric - IFCC |
| serum/plasma (EDTA) | Glucose | Konelab 60i 1,2/ Enzymatic (Hexokinase/ G6PDH) |
| serum/plasma (heparin Li+) | Potassium | Konelab 60i 1/ Direct potentiometry (ISE) |
| serum/plasma (heparin) | Creatinine | Konelab 60i 1,2/ Enzymatic – colorimetric (Jaffe) |
| serum | Albumin/Globulin Index | Calculation |
| serum/plasma (EDTA) | Lipids total | Calculation |
| serum/plasma (heparin) | Magnesium (Mg) | Konelab 60i 2/ Enzymatic-colorimetric (Xylidyl blue) |
| serum/plasma (heparin Li+) | Sodium (Na) | Konelab 60i 1/ Direct potentiometry (ISE) |
| serum/plasma (EDTA) | Urea | Konelab 60i 1,2/ Enzymatic (urease/ GLDH/ UV) |
| serum/plasma (heparin) | Uric acid | Konelab 60i 1,2/ Enzymatic – colorimetric (uricase/ peroxidase) |
| serum/plasma (heparin) | Protein total | Konelab 60i 1/ Photometric – Biuret |
| serum/plasma (heparin) | eGFR | Calculation (NKDEP) |
| serum/plasma (heparin) | Iron (Fe) | Konelab 60i 1/ Colorimetric (Ferrozine) |
| serum/plasma (heparin/ EDTA) | Globulins total | Calculation |
| serum/plasma (EDTA) | Triglycerides | Konelab 60i 1,2/ Enzymatic – colorimetric (GPO Trinder) |
| serum/plasma (heparin) | Alkaline Phosphatase | Konelab 60i 1/ Photometric –DEA Buffer 37oC |
| serum/plasma (heparin) | Phospholipids | Calculation |
| serum | Phosphorous inorganic (P) | Konelab 60i 1/ Photometric – Phosphomolybdate |
| serum/plasma (heparin Li+) | Bilirubin direct | Konelab 60i 1/ Colorimetric - vanadate oxidation |
| serum/plasma (heparin Li+) | Bilirubin indirect | Calculation |
| ορός/πλάσμα (ηπαρίνη Li+) | Bilirubin total | Konelab 60i 1/ Colorimetric - vanadate oxidation |
| serum/plasma (heparin) | Cholesterol total | Konelab 60i 1,2/ Enzymatic – colorimetric |
| serum/plasma (heparin) | Cholesterol HDL | Konelab 60i 1/ Enzymatic – colorimetric |
| serum/plasma (heparin) | Cholesterol LDL | Calculation |
| serum/plasma (EDTA) | Cholesterol VLDL | Calculation |
| serum | Osmolality | Calculation |
|  | Determination of 2 parameters | Thermo Konelab 60i ΤΠ602-02-25/07/22, ΚΤΑ/30/01.11.2021 |
| serum | CRP high sensitive | Konelab 60i 1/ Immunoturbidimetry (latex - wide range) |
| serum | Lp(a) | Konelab 60i 2/ Immunoturbidimetry (latex) |
|  | Determination of 1 parameter | Thermo Konelab 60i 2 ΤΠ602-02-25/07/22, ΚΤΑ/30/01.11.2021 |
| serum/plasma (EDTA) | Homocystein | Enzymatic |
| Immunochemical tests |
|  | Determination of 14 parameters | Siemens Centaur XP ΤΠ602-02-25/07/22, ΚΤΑ/30/01.11.2021 |
| serum | Ferritin | Siemens Centaur XP 6,7/ Chemiluminescence (CLIA) |
| serum | Vitamin Β-12 | Siemens Centaur XP 6,7/ Chemiluminescence (CLIA) |
| serum | Vitamin D [25-hydroxy] | Siemens Centaur XP 6,7/ Chemiluminescence (CLIA) |
| serum | Folate | Siemens Centaur XP 6,7/ Chemiluminescence (CLIA) |
| serum | T3 | Siemens Centaur XP 6/ Chemiluminescence (CLIA) |
| serum | T3 free | Siemens Centaur XP 6/ Chemiluminescence (CLIA) |
| serum | T4 | Siemens Centaur XP 6/ Chemiluminescence (CLIA) |
| serum | T4 free | Siemens Centaur XP 6/ Chemiluminescence (CLIA) |
| serum | anti-Tg | Siemens Centaur XP 6/ Chemiluminescence (CLIA) |
| serum | anti-TPO | Siemens Centaur XP 6/ Chemiluminescence (CLIA) |
| serum | TSH | Siemens Centaur XP 6,7/ Chemiluminescence (CLIA) |
| serum | Calcitonin | Siemens Centaur XP 6/ Chemiluminescence (CLIA) |
| serum/plasma (heparin Li+/ Na+/EDTA) | Parathormone intact (PTH intact) | Siemens Centaur XP 6/ Chemiluminescence (CLIA) |
| serum | Cortisol | Siemens Centaur XP 13/ Chemiluminescence (CLIA) |
|  | Determination of 8 parameters | Siemens Centaur XP ΤΠ602-02-25/07/22, ΚΤΑ/30/01.11.2021 |
| serum | AFP | Siemens Centaur XP 7/ Chemiluminescence (CLIA) |
| serum | CA 15.3 | Siemens Centaur XP 7/ Chemiluminescence (CLIA) |
| serum | CA 19.9 | Siemens Centaur XP 6/ Chemiluminescence (CLIA) |
| serum | CA 125 | Siemens Centaur XP 7/ Chemiluminescence (CLIA) |
| serum | CEA | Siemens Centaur XP 7/ Chemiluminescence (CLIA) |
| serum | PSA | Siemens Centaur XP 7/ Chemiluminescence (CLIA) |
| serum | PSA free | Siemens Centaur XP 7/ Chemiluminescence (CLIA) |
| serum | Ratio free/total PSA | Calculation |
|  | Determination of 10 parameters | Siemens Centaur XP ΤΠ602-02-25/07/22, ΚΤΑ/30/01.11.2021 |
| serum | DHEA-S | Siemens Centaur XP 7/ Chemiluminescence (CLIA) |
| serum | FSH | Siemens Centaur XP 7/ Chemiluminescence (CLIA) |
| serum | LH | Siemens Centaur XP 7/ Chemiluminescence (CLIA) |
| serum | SHBG | Siemens Centaur XP 7/ Chemiluminescence (CLIA) |
| serum | Androstendione | Siemens Centaur XP 13/ Chemiluminescence (CLIA) |
| serum | hCG | Siemens Centaur XP 13/ Chemiluminescence (CLIA) |
| serum | Estradiol (Ε2) | Siemens Centaur XP 7/ Chemiluminescence (CLIA) |
| serum | Progesterone | Siemens Centaur XP 7/ Chemiluminescence (CLIA) |
| serum | Prolactin | Siemens Centaur XP 7/ Chemiluminescence (CLIA) |
| serum | Testosterone total | Siemens Centaur XP 7/ Chemiluminescence (CLIA) |
|  | Determination of 2 parameters | Siemens Centaur XP 13 ΤΠ602-02-25/07/22, ΚΤΑ/30/01.11.2021 |
| serum | Insulin | Chemiluminescence (CLIA) |
| serum/plasma (heparin Li+) | Troponin-I high sensitive | Chemiluminescence (CLIA) |
|  | Determination of 10 parameters | Siemens Centaur XP 7 ΤΠ602-02-25/07/22, ΚΤΑ/30/01.11.2021 |
| serum | HBs Ag | Chemiluminescence (CLIA) |
| serum | HBs antibodies | Chemiluminescence (CLIA) |
| serum | HBc antibodies total | Chemiluminescence (CLIA) |
| serum | HCV antibodies | Chemiluminescence (CLIA) |
| serum | HIV Ag/Ab | Chemiluminescence (CLIA) |
| serum | Syphilis antibodies (Treponema IgG+IgM) | Chemiluminescence (CLIA) |
| serum | Τoxoplasma IgG | Chemiluminescence (CLIA) |
| serum | Τoxoplasma IgM | Chemiluminescence (CLIA) |
| serum | Rubella IgG | Chemiluminescence (CLIA) |
| serum | Rubella IgM | Chemiluminescence (CLIA) |
|  | Determination of 2 parameters | Siemens Immulite 2000 ΤΠ602-02-25/07/22, ΚΤΑ/30/01.11.2021 |
| serum | CMV IgG | Chemiluminescence (CLIA) |
| serum | CMV IgM | Chemiluminescence (CLIA) |

*Reference to the commercial name of a specific analyzer/kit,  refers to a specific analytical method and protocol

Site of assessement : Permanent Laboratory premises, 7 Aratou str, 262 21, Patra, Greece.

Approved signatories: Giorgos Oikonomopoulos.

This scope of Accreditation replaces the previous one dated 25.05.2022.

The Accreditation Certificate No. 908-6, to ELOT EN ISO 15189:2012, is valid until 18.03.2027.

Athens, 16.12.2022

# Christos Nestoras

CEO of ESYD