Hellenic Accreditation System

Annex F1/7 to the Certificate No. 1182 SCOPE of ACCREDITATION of the Electrotechnical Products Testing Laboratories of MIRTEC (EBETAM S.A.)

| Materials / Products tested | Types of test/ Properties measured | Applied methods / Techniques used |
| --- | --- | --- |
| Acoustic Tests |
| Electrical appliances and machinery which emit noise. Noise sources: | Measurement of emission sound pressure level Measurement of emission sound pressure level | EN ISO 3746:2010 EN ISO 11201:2010 EN ISO 3744:2010 In combination with product specific standards: |
| Household and similar use electrical appliances |  | EN IEC 60704-1:2021 EN 60704-3:2019 |
| Vacuum cleaners |  | EN IEC 60704-2-1:2020 |
| Forced draught convection heaters |  | EN 60704-2-2:2010 |
| Dishwashers |  | EN 60704-2-3:2019 |
| Washing machines and spin extractors |  | EN 60704-2-4:2012 +A11:2020 |
| Room heaters of storage type |  | EN 60704-2-5:2005 +A1:2015 |
| Tumble dryers |  | EN 60704-2-6:2012 |
| Fans |  | ΕΝ IEC 60704-2-7:2020 |
| Electric shavers |  | ΕΝ IEC 60704-2-8:2020 |
| Hair care electric appliances |  | EN 60704-2-9:2003 |
| Electric cooking ranges, ovens, grills, microwave ovens and any combination of these |  | EN 60704-2-10:2011 |
| Electrically operated food preparation appliances |  | EN 60704-2-11:1999 |
| Range hoods |  | ΕΝ 60704-2-13:2017 |
| Refrigerators |  | EN 60704-2-14:2013 +A11:2015 +A1:2019 |
| Medical electrical equipment |  | ΕΝ 60601-1:2006 +A1:2013 +A12:2014 +A2:2021 § 9.6.2 |
| Electric motor-operated hand-held tools, transportable tools and lawn and garden machinery |  | ΕΝ 62841-1:2015 +A11:2022 Annex I |
| Electric toys |  | EN 71-1:2014 +A1:2018 Annex A.25 |
| Maritime navigation and radiocommunication equipment and systems |  | IMO Res. A.343(IX) Res. A.468 (XII) |
| Physical Tests |
| Electric cables: | Loss of mass test for thermoplastic insulations and sheaths | ΕΝ 60811-409:2012 § 4 και § 6 |
| Cables for general applications - Flexible cables with thermoplastic PVC insulation |  | EN 50525-2-11:2011 Annex A |
| Cables for general applications - Single core non-sheathed cables with thermoplastic PVC insulation |  | EN 50525-2-31:2011 Annex A |
| Cables for general applications - Flat tinsel cables (cords) with thermoplastic PVC insulation |  | EN 50525-2-71:2011 Annex A |
| Insulating, sheathing and covering materials for low voltage energy cables - PVC insulating compounds |  | EN 50363-3:2005 +A1:2011 Table 2 |
| Insulating, sheathing and covering materials for low voltage energy cables - PVC sheathing compounds |  | ΕΝ 50363-4-1:2005 Table 2 |
| Electric cables: | Thermal stability test | ΕΝ 60811-405:2012 § 4 |
| Cables for general applications - Flexible cables with thermoplastic PVC insulation |  | EN 50525-2-11:2011 Annex A |
| Insulating, sheathing and covering materials for low voltage energy cables - PVC insulating compounds |  | EN 50363-3:2005 +A1:2011 Table 2 |
| Insulating, sheathing and covering materials for low voltage energy cables - PVC sheathing compounds |  | ΕΝ 50363-4-1:2005 Table 2 |
| Chemical Tests |
| Electric cables και Conduit systems for cable management | Test on gases evolved during combustion of materials from cables - Determination of acidity (by pH measurement) and conductivity. (0-14) pH (0-1.999) μS/cm System 3 | *EN 60754-2:2014 +A1:2020 |
| Electric cables - Low voltage energy cables of rated voltages up to and including 450/750 V (U0/U) |  | **EN 50525-1:2011 Table B.1 |
| Conduit systems for cable management |  | **EN 61386-1:2008 +A1:2019 §13.1.4 |
| Fire classification of construction products and building elements - Part 6: Classification using data from reaction to fire tests on electric cables |  | ***EN 13501-6:2018 §5.6 |
| Power, control and communication cables - Cables for general applications in construction works subject to reaction to fire requirements |  | Regulation (EU) 305/2011 Dec. 2011/284/EE EΝ 50575:2014 +A1:2016 §5 |
| Performance tests |
| Electrical products and equipment, telecommunication equipment, electronics | Degrees of protection provided by enclosures (IP Code) IP1X up to IP6X and IPX1 up to IPX8 Degrees of protection provided by enclosures (IP Code) IP1X up to IP6X and IPX1 up to IPX8 | EN 60529:1991 +A1:2000 +A2:2013 |
| Plugs and fixed or portable socket-outlets |  | IEC 60884-1:2002 +A1:2006 +A2:2013 § 16.2 ΕΛΟΤ 1413-1:1999 § 16.2 |
| Household and similar use electrical appliances |  | ΕΝ 60335-1:2012 +Α11:2014 +A13:2017 +A1:2019 +A2:2019 +A14:2019 +A15:2021 § 22.1 |
| Grills, toasters and similar portable cooking appliances |  | EN 60335-2-9:2003 +A1:2004 +A2:2006 +A12:2007 +A13:2010 §22 |
| Blankets, pads, clothing and similar flexible heating appliances |  | EN 60335-2-17:2013 +A11:2019 +A1:2020 +A2:2021 §22 |
| Appliances for heating liquids |  | EN 60335-2-15:2016 +A11:2018 +A1:2021 +A2:2021 +A12:2021 §22 |
| Storage water heaters |  | EN 60335-2-21:2021 +A1:2021§ 22 |
| Refrigerating appliances, ice-cream appliances and ice makers |  | EN 60335-2-24:2010 +A1:2019 +A2:2019 +A11:2020 §22 |
| Room heaters |  | EN 60335-2-30:2009 +A11:2012 +A1:2020 +A12:2020 § 22 |
| Commercial refrigerating appliances with an incorporated or remote refrigerant condensing unit or compressor |  | EN 60335-2-89:2010 +A1:2016 +A2:2017 §22 |
| Commercial electric kitchen machines |  | EN 60335-2-64:2000 +A1:2002 §22 |
| Commercial dispensing appliances and vending machines |  | ΕΝ 60335-2-75:2004 +Α11:2006 +Α12:2010 +Α1:2005 +Α2:2008 § 22 |
| Luminaires |  | EN IEC 60598-1:2021 +A11:2022 §9.2 |
| Fixed general purpose luminaires |  | EN IEC 60598-2-1:2021 §1.13 |
| Recessed luminaires |  | ΕΝ 60598-2-2:2012 §2.14 |
| Luminaires for road and street lighting |  | ΕΝ 60598-2-3:2003 +Α1:2011 §3.13 |
| Portable general purpose luminaires |  | ΕΝ 60598-2-4:2018 §4.13 |
| Floodlights |  | ΕΝ 60598-2-5:2015 § 5.13 |
| Handlamps |  | ΕΝ 60598-2-8:2013 §8.13 |
| Portable luminaires for children |  | ΕΝ 60598-2-10:2003 §10.13 |
| Ground recessed luminaires |  | ΕΝ 60598-2-13:2006 +Α1:2012 +A2:2016 +A11:2021 §13.13 |
| Luminaires for swimming pools and similar applications |  | ΕΝ 60598-2-18:1994 +Α1:2012 §18.13 |
| Lighting chains |  | ΕΝ 60598-2-20:2015 §20.14 |
| Rope lights |  | ΕΝ 60598-2-21:2015 §21.14 |
| Luminaires for emergency lighting |  | EN IEC 60598-2-22:2022 §22.14 |
| Conduit systems for cable management |  | ΕΝ 61386-1:2008 +A1:2019 §14.1.2 |
| Boxes and enclosures for electrical accessories for household and similar fixed electrical installations |  | EN IEC 60670-1:2021 +A11:2021 §13.2 |
| Low-voltage switchgear and controlgear assemblies |  | EN IEC 61439-1:2021 § 8.2.2 §10.3 |
| Empty enclosures for low-voltage switchgear and controlgear assemblies |  | EN 62208:2011 §9.8.1 |
| Electric vehicle conductive charging system |  | EN IEC 61851-1:2019 §12.4 |
| Electric cables | Measurement of smoke density of cables burning under defined conditions (0-100)% System 3 | **EN 61034-1:2005 +A1:2014 +A2:2020 *EN 61034-2:2005 +A1:2013 +A2:2020 |
| Cables with special fire performance - Flexible cables with halogen-free thermoplastic insulation, and low emission of smoke |  | **ΕΝ 50525-3-11:2011 Annex A |
| Cables with special fire performance - Flexible cables with halogen-free crosslinked insulation, and low emission of smoke |  | **ΕΝ 50525-3-21:2011 Annex A |
| Cables with special fire performance - Single core non-sheathed cables with halogen-free thermoplastic insulation, and low emission of smoke |  | **ΕΝ 50525-3-31:2011 Annex A |
| Cables with special fire performance - Single core non-sheathed cables with halogen-free crosslinked insulation, and low emission of smoke |  | **ΕΝ 50525-3-41:2011 Annex A |
| Fire classification of construction products and building elements - Part 6: Classification using data from reaction to fire tests on electric cables |  | ***ΕΝ 13501-6:2018 §5.6 |
| Power, control and communication cables - Cables for general applications in construction works subject to reaction to fire requirements |  | Regulation (EU) 305/2011 Dec. 2011/284/EE ΕΝ 50575:2014+A1:2016 § 5 |
| Safety tests |
| Electrical products and equipment, telecommunication equipment, electronics | Protection against access to live parts and against electric shock |  |
| Household and similar use electrical appliances |  | EN 60335-1:2012 +Α11:2014 +A13:2017 +A1:2019 +A2:2019 +A14:2019 +A15:2021 §8 |
| Appliances for heating liquids |  | EN 60335-2-15:2016 +A11:2018 +A1:2021 +A2:2021 +A12:2021 §8 |
| Commercial dispensing appliances and vending machines |  | ΕΝ 60335-2-75:2004 +Α11:2006 +Α12:2010 +Α1:2005 +Α2:2008 § 8 |
| Luminaires |  | EN IEC 60598-1:2021 +A11:2022 §8.2 |
| Plugs and fixed or portable socket-outlets |  | IEC 60884-1:2002 +A1:2006 +A2:2013 §10 |
| Lamp controlgear |  | EN 61347-1:2015 +A1:2021 §10 |
| D.C. or A.C. supplied electronic controlgear for LED modules |  | EN 61347-2-13:2014 +A1:2017 §8 |
| Dimensional Tests |
| Plugs and fixed or portable socket-outlets | Measurement of dimensions | IEC 60884-1:2002 +A1:2006 +A2:2013 § 9 ELOT 1413-1:1999 § 9 |
| Electric cables: | Measurement of outer dimensions (diameter) Measurement of outer dimensions (diameter) | EN 50396:2005 +A1:2011 §4.4 ΕΝ 60811-203:2012 §4 ΕLΟΤ 757:1987 §4.3 |
| Electric cables - Low voltage energy cables of rated voltages up to and including 450/750 V (U0/U) |  | ΕΝ 50525-1:2011 § 7.3 |
| Cables for general applications - Flexible cables with thermoplastic PVC insulation |  | EN 50525-2-11:2011 Annex A |
| Cables for general applications - Flexible cables with crosslinked elastomeric insulation |  | EN 50525-2-21:2011 Annex A |
| Cables for general applications - Single core non-sheathed cables with thermoplastic PVC insulation |  | EN 50525-2-31:2011 Annex A |
| Cables for general applications - Flat tinsel cables (cords) with thermoplastic PVC insulation |  | EN 50525-2-71:2011 Annex A |
| Cables for general applications - Cables with crosslinked elastomeric covering for arc welding |  | EN 50525-2-81:2011 Annex A |
| Cables with special fire performance - Single core non-sheathed cables with halogen-free crosslinked insulation, and low emission of smoke |  | EN 50525-3-41:2011 Annex A |
| Polyvinyl chloride insulated and sheathed power cables for rated voltage 600/1000 V |  | ΕLΟΤ 843:2016 §12.7 |
| Power cables with extruded insulation and their accessories for rated voltages from 1 kV (Um = 1,2 kV) up to 3 kV (Um=3,6 kV) |  | IEC 60502-1:2021 § 16.8 |
| Polyvinyl chloride insulated cables of rated voltages up to and including 450/750 V |  | IEC 60227-1:2007 § 5.6.2 |
| Rubber insulated cables - Rated voltages up to and including 450/750 V |  | IEC 60245-1:2003 +A1:2007 § 5.6.2 |
| Electric cables: | Thickness measurement of insulation and non-metallic sheath | EN 50396:2005 +A1:2011 § 4.1, § 4.2 και § 4.3 ΕΝ 60811-201:2012 +A1:2017 § 4 ΕΝ 60811-202:2012 +A1:2017 § 4 |
| Electric cables - Low voltage energy cables of rated voltages up to and including 450/750 V (U0/U) |  | ΕΝ 50525-1:2011 § 5.3.3 και § 5.7.3 |
| Cables for general applications - Flexible cables with thermoplastic PVC insulation |  | EN 50525-2-11:2011 Annex A |
| Cables for general applications - Flexible cables with crosslinked elastomeric insulation |  | EN 50525-2-21:2011 Annex A |
| Cables for general applications - Single core non-sheathed cables with thermoplastic PVC insulation |  | EN 50525-2-31:2011 Annex A |
| Cables for general applications - Flat tinsel cables (cords) with thermoplastic PVC insulation |  | EN 50525-2-71:2011 Annex A |
| Cables for general applications - Cables with crosslinked elastomeric covering for arc welding |  | EN 50525-2-81:2011 Annex A |
| Cables with special fire performance - Single core non-sheathed cables with halogen-free crosslinked insulation, and low emission of smoke |  | EN 50525-3-41:2011 Annex A |
| Polyvinyl chloride insulated and sheathed power cables for rated voltage 600/1000 V |  | ELOT 843:2016 §6.2 και §9.3 |
| Power cables with extruded insulation and their accessories for rated voltages from 1 kV (Um = 1,2 kV) up to 3 kV (Um=3,6 kV) |  | IEC 60502-1:2021 § 16.5, § 16.6, § 16.7 |
| Polyvinyl chloride insulated cables of rated voltages up to and including 450/750 V |  | IEC 60227-1:2007 § 5.2.3, § 5.5.3 |
| Rubber insulated cables - Rated voltages up to and including 450/750 V |  | IEC 60245-1:2003 +A1:2007 § 5.2.3, § 5.5.2.2, § 5.5.3 |
| Electrical Tests |
| Household and similar use electrical appliances | Transient overvoltages test | ΕΝ 60335-1:2012 +Α11:2014 +A13:2017 +A1:2019 +A2:2019 +A14:2019 +A15:2021 §14 |
| Audio/video, information and communication technology equipment |  | EN IEC 62368-1-2020 +A11:2020 §5.4.2.3 |
| Household and similar use electrical appliances | Measurement of input power | ΕΝ 60335-1:2012 +A11:2014 +A13:2017 +A1:2019 +A2:2019 +A14:2019 +A15:2021 §10.1 |
| Appliances for heating liquids |  | EN 60335-2-15:2016 +A11:2018 +A1:2021 +A2:2021 +A12:2021 §8 |
| Commercial dispensing appliances and vending machines |  | ΕΝ 60335-2-75:2004 +Α11:2006 +Α12:2010 +Α1:2005 +Α2:2008 § 8 |
| Medical electrical equipment |  | ΕΝ 60601-1:2006 +A1:2013 +A12:2014 +A2:2021, §4.11 |
| Self-ballasted LED lamps for general lighting services with supply voltage |  | EN 62612:2013 +A1:2017 +A11:2017 +A2:2018 §8.1 |
| Household and similar use electrical appliances | Measurement of input current | ΕΝ 60335-1:2012 +A11:2014 +A13:2017 +A1:2019 +A2:2019 +A14:2019 +A15:2021 § 10.2 |
| Appliances for heating liquids |  | EN 60335-2-15:2016 +A11:2018 +A1:2021 +A2:2021 +A12:2021 §8 |
| Commercial dispensing appliances and vending machines |  | ΕΝ 60335-2-75:2004 +Α11:2006 +Α12:2010 +Α1:2005 +Α2:2008 § 8 |
| Audio/video, information and communication technology equipment |  | EN IEC 62368-1-2020 +A11:2020 |
| Household and similar use electrical appliances | Dielectric strength (0-5) kV a.c. Dielectric strength (0-5) kV a.c. Dielectric strength (0-5) kV a.c. | ΕΝ 60335-1:2012 +A11:2014 +A13:2017 +A1:2019 +A2:2019 +A14:2019 +A15:2021 §13.3 §16.3 |
| Grills, toasters and similar portable cooking appliances |  | EN 60335-2-9:2003 +A1:2004 +A2:2006 +A12:2007 +A13:2010 §13.3 §16.3 |
| Appliances for heating liquids |  | EN 60335-2-15:2016 +A11:2018 +A1:2021 +A2:2021 +A12:2021 §8 |
| Blankets, pads, clothing and similar flexible heating appliances |  | EN 60335-2-17:2013 +A11:2019 +A1:2020 +A2:2021 §13.3 §16.3 |
| Storage water heaters |  | EN 60335-2-21:2021 +A1:2021§13.3 §16.3 |
| Refrigerating appliances, ice-cream appliances and ice makers |  | EN 60335-2-24:2010 +A1:2019 +A2:2019 +A11:2020 §13.3, §16.3 |
| Room heaters |  | EN 60335-2-30:2009 +A11:2012 +A1:2020 +A12:2020 §13.3 §16.3 |
| Commercial refrigerating appliances with an incorporated or remote refrigerant condensing unit or compressor |  | EN 60335-2-89:2010 +A1:2016 +A2:2017 §13.3, §16.3 |
| Commercial electric kitchen machines |  | EN 60335-2-64:2000 +A1:2002 §13.3, §16.3 |
| Commercial dispensing appliances and vending machines |  | ΕΝ 60335-2-75:2004 +Α11:2006 +Α12:2010 +Α1:2005 +Α2:2008 § 8 |
| Medical electrical equipment |  | ΕΝ 60601-1:2006 +A1:2013 +A12:2014 +A2:2021 §8.8.3 |
| Luminaires |  | EN IEC 60598-1:2021 +A11:2022 §10.2.2 |
| Fixed general purpose luminaires |  | EN IEC 60598-2-1:2021 §1.14 |
| Recessed luminaires |  | ΕΝ 60598-2-2:2012 §2.15 |
| Luminaires for road and street lighting |  | ΕΝ 60598-2-3:2003 +Α1:2011 §3.14 |
| Portable general purpose luminaires |  | ΕΝ 60598-2-4:2018 §4.14 |
| Floodlights |  | ΕΝ 60598-2-5:2015 §5.14 |
| Handlamps |  | ΕΝ 60598-2-8:2013 §8.14 |
| Portable luminaires for children |  | ΕΝ 60598-2-10:2003 §10.14 |
| Mains socket-outlet mounted nightlights |  | ΕΝ 60598-2-12:2013 §12.11 |
| Ground recessed luminaires |  | ΕΝ 60598-2-13:2006 +Α1:2012 +A2:2016 +A11:2021 §13.14 |
| Luminaires for swimming pools and similar applications |  | ΕΝ 60598-2-18:1994 +Α1:2012 §18.14 |
| Lighting chains |  | ΕΝ 60598-2-20:2015 §20.15 |
| Rope lights |  | ΕΝ 60598-2-21:2015 §21.15 |
| Luminaires for emergency lighting |  | EN IEC 60598-2-22:2022 §22.14 |
| Audio/video, information and communication technology equipment |  | EN IEC 62368-1-2020 +A11:2020 §5.4.9 |
| Electrical equipment of machines |  | ΕΝ 60204-1:2018 §18.4 |
| Power transformers, power supplies, reactors and similar products |  | EN IEC 61558-1:2019 § 18.1, § 18.3 |
| Automatic electrical controls for household and similar use |  | EN 60730-1:2016 +A1:2019 +A2:2022 § 13.2 |
| Electrical equipment for measurement, control, and laboratory use |  | ΕΝ 61010-1:2010 +A1:2019 § 6.8 |
| Conduit systems for cable management |  | ΕΝ 61386-1:2008 +A1:2019 §11.3 |
| Cable trunking systems and cable ducting systems for electrical installations |  | EN 50085-1:2005 +A1:2013 § 11.2.4 |
| Switches for household and similar fixed-electrical installations |  | ΕΝ 60669-1:2018 § 16.2 |
| Plugs, socket-outlets and couplers for industrial purposes |  | EN IEC 60309-1:2022 § 19.3 |
| Electric toys |  | EN IEC 62115:2020 +A11:2020 §10, §12 |
| Plugs and socket-outlets for household and similar purposes |  | IEC 60884-1:2002 +A1:2006 +Α2:2013 § 17.2 ΕΛΟΤ 1413-1:1999 § 17.2 |
| Road traffic signal systems |  | EN 50556:2018 §6.5.9 |
| Low-voltage switchgear and controlgear assemblies |  | EN IEC 61439-1:2021 §10.9 |
| Lamp controlgear |  | EN 61347-1:2015 +A1:2021 §12 |
| LED modules for general lighting |  | EN IEC 62031:2020 +A11:2021 §12 |
| Self-ballasted lamps for general lighting services |  | EN 60968:2015 §8.3 |
| Electric vehicle conductive charging system |  | EN IEC 61851-1:2019 §12.7.1 |
| Self-ballasted LED-lamps for general lighting services by voltage > 50 V |  | EN 62560:2012 +A1:2015 +A11:2019 §8.3 |
| Electrical, electronic and programmable equipment intended for control, monitoring, alarm and protection systems for use in ships. |  | IACS Req.1991/Rev.7 2018 E10 A/A 10 |
| Household and similar use electrical appliances | Leakage current Leakage current | ΕΝ 60335-1:2012 +A11:2014 +A13:2017 +A1:2019 +A2:2019 +A14:2019 +A15:2021 § 13.1 § 13.2 § 16.1 § 16.2 ΕΝ 60335-2-102:2016 §13 |
| Grills, toasters and similar portable cooking appliances |  | EN 60335-2-9:2003 +A1:2004 +A2:2006 +A12:2007 +A13:2010 §13.1 §13.2 §16.1 §16.2 |
| Blankets, pads, clothing and similar flexible heating appliances |  | EN 60335-2-17:2013 +A11:2019 +A1:2020 +A2:2021 §13.1 §13.2 §16.1 §16.2 |
| Storage water heaters |  | EN 60335-2-21:2021 +A1:2021 §13.1 §13.2 §16.1 §16.2 |
| Refrigerating appliances, ice-cream appliances and ice makers |  | EN 60335-2-24:2010 +A1:2019 +A2:2019 +A11:2020 §13.1 §13.2 §16.1 §16.2 |
| Room heaters |  | EN 60335-2-30:2009 +A11:2012 +A1:2020 +A12:2020 §13.1 §13.2 §16.1 §16.2 |
| Commercial refrigerating appliances with an incorporated or remote refrigerant condensing unit or compressor |  | EN 60335-2-89:2010 +A1:2016 +A2:2017 §13.1 §13.2 §16.1 §16.2 |
| Commercial electric kitchen machines |  | EN 60335-2-64:2000 +A1:2002 §13.1 §13.2 §16.1 §16.2 |
| Luminaires |  | EN IEC 60598-1:2021 +A11:2022 §10.3 Annex G |
| Fixed general purpose luminaires |  | EN IEC 60598-2-1:2021 §1.14 |
| Recessed luminaires |  | ΕΝ 60598-2-2:2012 §2.15 |
| Luminaires for road and street lighting |  | ΕΝ 60598-2-3:2003 +Α1:2011 §3.14 |
| Portable general purpose luminaires |  | ΕΝ 60598-2-4:2018 §4.14 |
| Floodlights |  | ΕΝ 60598-2-5:2015 §5.14 |
| Handlamps |  | ΕΝ 60598-2-8:2013 §8.14 |
| Portable luminaires for children |  | ΕΝ 60598-2-10:2003 §10.14 |
| Mains socket-outlet mounted nightlights |  | ΕΝ 60598-2-12:2013 §12.11 |
| Ground recessed luminaires |  | ΕΝ 60598-2-13:2006 +Α1:2012 +A2:2016 +A11:2021 §13.14 |
| Luminaires for swimming pools and similar applications |  | ΕΝ 60598-2-18:1994 +Α1:2012 §18.14 |
| Lighting chains |  | ΕΝ 60598-2-20:2015 §20.15 |
| Rope lights |  | ΕΝ 60598-2-21:2015 §21.15 |
| Luminaires for emergency lighting |  | EN IEC 60598-2-22:2022 §22.14 |
| Audio/video, information and communication technology equipment |  | EN IEC 62368-1-2020 +A11:2020 §5.7.6.2 |
| Power transformers, power supplies, reactors and similar products |  | EN IEC 61558-1:2019 § 18.1, § 18.5 |
| Arc welding equipment |  | EN IEC 60974-1:2018 +A1:2019 § 6.3.2 |
| Electric motor-operated hand-held tools, transportable tools and lawn and garden machinery |  | ΕΝ 62841-1:2015 +A11:2022 §14.4 Annex C |
| Plugs and socket-outlets for household and similar purposes | Moisture resistance and insulation resistance measurement Moisture resistance and insulation resistance measurement | IEC 60884-1:2002 + A1:2006 +Α2:2013 §16.3 §17.1 ΕLΟΤ 1413-1:1999 §16.3 §17.1 |
| Luminaires |  | EN IEC 60598-1:2021 +A11:2022 §10.2 §10.2.1 EN 60598-2-3:2003 +A1:2011 §3.14 |
| Fixed general purpose luminaires |  | ΕΝ IEC 60598-2-1:2021 §1.14 |
| Recessed luminaires |  | ΕΝ 60598-2-2:2012 §2.15 |
| Luminaires |  | EN 60598-2-3:2003 +A1:2011 §3.14 |
| Portable general purpose luminaires |  | ΕΝ 60598-2-4:2018 §4.14 |
| Floodlights |  | ΕΝ 60598-2-5:2015 §5.14 |
| Handlamps |  | ΕΝ 60598-2-8:2013 §8.14 |
| Portable luminaires for children |  | ΕΝ 60598-2-10:2003 §10.14 |
| Mains socket-outlet mounted nightlights |  | ΕΝ 60598-2-12:2013 §12.11 |
| Ground recessed luminaires |  | ΕΝ 60598-2-13:2006 +Α1:2012 +A2:2016 +A11:2021 §13.14 |
| Luminaires for swimming pools and similar applications |  | ΕΝ 60598-2-18:1994 +Α1:2012 §18.14 |
| Lighting chains |  | ΕΝ 60598-2-20:2015 §20.15 |
| Rope lights |  | ΕΝ 60598-2-21:2015 §21.15 |
| Luminaires for emergency lighting |  | EN IEC 60598-2-22:2022 §22.14 |
| Electrical installations in ships |  | IEC 60092-504:2016 §5 Table 1 Test 5 |
| Electrical, electronic and programmable equipment intended for control, monitoring, alarm and protection systems for use in ships. |  | IACS Req.1991/Rev.7 2018 E10 A/A 9 |
| Switches for household and similar fixed-electrical installations |  | ΕΝ 60669-1:2018 §16.1 |
| Automatic electrical controls for household and similar use |  | EN 60730-1:2016 +A1:2019 +A2:2022 §13.1 |
| Lamp controlgear. |  | EN 61347-1:2015 +A1:2021 §11 |
| Power transformers, power supplies, reactors and similar products |  | EN IEC 61558-1:2019 §18.1 §18.2 |
| Electrical equipment of machines. |  | ΕΝ 60204-1:2018 §18.3 |
| Self-ballasted LED-lamps for general lighting services by voltage > 50 V |  | EN 62560:2012 +A1:2015 +A11:2019 §18.2 |
| Conduit systems for cable management |  | EN 61386-1:2008 +A1:2019 §11.3 |
| Electric cables: | Electrical DC resistance of conductor Electrical DC resistance of conductor | ΕΝ 50395:2005 +Α1:2011 §5 IEC 60227–2:1997 +A1:2003 § 2.1 IEC 60245–2:1994 +A1:1997 +A2:1997 § 2.1 ΕΝ 60228:2005 Annex A |
| Polyvinyl chloride insulated and sheathed power cables for rated voltage 600/1000 V |  | ΕLΟΤ 843:2016 §11.2 |
| Electric cables - Low voltage energy cables of rated voltages up to and including 450/750 V (U0/U) |  | ΕΝ 50525-1:2011 § 5.2.5 |
| Cables for general applications - Flexible cables with thermoplastic PVC insulation |  | EN 50525-2-11:2011 Annex A |
| Cables for general applications - Flexible cables with crosslinked elastomeric insulation |  | EN 50525-2-21:2011 Annex A |
| Cables for general applications - Single core non-sheathed cables with thermoplastic PVC insulation |  | EN 50525-2-31:2011 Annex A |
| Cables for general applications - Flat tinsel cables (cords) with thermoplastic PVC insulation |  | EN 50525-2-71:2011 Annex A |
| Cables for general applications - Cables with crosslinked elastomeric covering for arc welding |  | EN 50525-2-81:2011 Annex A |
| Cables with special fire performance - Single core non-sheathed cables with halogen-free crosslinked insulation, and low emission of smoke |  | EN 50525-3-41:2011 Annex A |
| Power cables with extruded insulation and their accessories for rated voltages from 1 kV (Um = 1,2 kV) up to 3 kV (Um=3,6 kV) |  | IEC 60502-1:2021 § 15.2 |
| Polyvinyl chloride insulated cables of rated voltages up to and including 450/750 V |  | IEC 60227-1:2007 § 5.1.4 |
| Rubber insulated cables - Rated voltages up to and including 450/750 V |  | IEC 60245-1:2003 +A1:2007 § 5.1.5 |
| Sheathed Polyvinyl chloride (PVC) insulated cables of rated voltages up to and including 450/750 V |  | ΕLΟΤ 563.4:1997 +Α1:2003 § 2.3 |
| Flexible cables with thermoplastic PVC insulation of rated voltages up to and including 450/750 V |  | ΕLΟΤ 563.5:1987 +Α1:2003 § 2.3, 3.3, 4.3, 5.3 |
| Electric cables: | Voltage test on completed cable Voltage test on completed cable | ΕΝ 50395:2005 +Α1:2011 §6 IEC 60227–2:1997 +A1:2003 § 2.2 IEC 60245–2:1994 +A1:1997 +A2:1997 § 2.2 |
| Electric cables - Low voltage energy cables of rated voltages up to and including 450/750 V (U0/U) |  | ΕΝ 50525-1:2011 §7.2 |
| Cables for general applications - Flexible cables with thermoplastic PVC insulation |  | EN 50525-2-11:2011 Annex A |
| Cables for general applications - Flexible cables with crosslinked elastomeric insulation |  | EN 50525-2-21:2011 Annex A |
| Cables for general applications - Single core non-sheathed cables with thermoplastic PVC insulation |  | EN 50525-2-31:2011 Annex A |
| Cables for general applications - Flat tinsel cables (cords) with thermoplastic PVC insulation |  | EN 50525-2-71:2011 Annex A |
| Cables for general applications - Cables with crosslinked elastomeric covering for arc welding |  | EN 50525-2-81:2011 Annex A |
| Cables with special fire performance - Single core non-sheathed cables with halogen-free crosslinked insulation, and low emission of smoke |  | EN 50525-3-41:2011 Annex A |
| Polyvinyl chloride insulated and sheathed power cables for rated voltage 600/1000 V |  | ΕLΟΤ 843:2016 §11.3 |
| Power cables with extruded insulation and their accessories for rated voltages from 1 kV (Um = 1,2 kV) up to 3 kV (Um=3,6 kV) |  | IEC 60502-1:2021 § 15.3 |
| Polyvinyl chloride insulated cables of rated voltages up to and including 450/750 V |  | IEC 60227-1:2007 § 5.6 Table 3 |
| Rubber insulated cables - Rated voltages up to and including 450/750 V |  | IEC 60245-1:2003 +A1:2007 § 5.1.5 Table 3 |
| Sheathed Polyvinyl chloride (PVC) insulated cables of rated voltages up to and including 450/750 V |  | ΕLΟΤ 563.4:1997 +Α1:2003 Table 2 |
| Flexible cables with thermoplastic PVC insulation of rated voltages up to and including 450/750 V |  | ΕLΟΤ 563.5:1987 +Α1:2003 Tables 2, 4, 6 και 8 |
| Electric cables: | Voltage test on cores Voltage test on cores | ΕΝ 50395:2005 +Α1:2011 §7 IEC 60227–2:1997 +A1:2003 § 2.3 IEC 60245–2:1994 +A1:1997 +A2:1997 § 2.3 |
| Electric cables - Low voltage energy cables of rated voltages up to and including 450/750 V (U0/U) |  | ΕΝ 50525-1:2011 §7.2 |
| Cables for general applications - Flexible cables with thermoplastic PVC insulation |  | EN 50525-2-11:2011 Annex A |
| Cables for general applications - Flexible cables with crosslinked elastomeric insulation |  | EN 50525-2-21:2011 Annex A |
| Polyvinyl chloride insulated and sheathed power cables for rated voltage 600/1000 V |  | ΕLΟΤ 843:2016 §13.3 |
| Power cables with extruded insulation and their accessories for rated voltages from 1 kV (Um = 1,2 kV) up to 3 kV (Um=3,6 kV) |  | IEC 60502-1:2021 § 17.3 |
| Polyvinyl chloride insulated cables of rated voltages up to and including 450/750 V |  | IEC 60227-1:2007 § 5.6 Table 3 |
| Rubber insulated cables - Rated voltages up to and including 450/750 V |  | IEC 60245-1:2003 +A1:2007 § 5.1.5 Table 3 |
| Sheathed Polyvinyl chloride (PVC) insulated cables of rated voltages up to and including 450/750 V |  | ΕLΟΤ 563.4:1997 +Α1:2003 Table 2 |
| Flexible cables with thermoplastic PVC insulation of rated voltages up to and including 450/750 V |  | ΕLΟΤ 563.5:1987 +Α1:2003 Tables 2, 4, 6 και 8 |
| Electric cables: | Insulation resistance test < 90 °C | ΕΝ 50395:2005 +Α1:2011 §8.1 IEC 60227–2:1997 +A1:2003 § 2.4 IEC 60502-1:2021 § 17.1 § 17.2 |
| Electric cables - Low voltage energy cables of rated voltages up to and including 450/750 V (U0/U) |  | ΕΝ 50525-1:2011 §7.2 |
| Cables for general applications - Flexible cables with thermoplastic PVC insulation |  | EN 50525-2-11:2011 Annex A |
| Cables for general applications - Single core non-sheathed cables with thermoplastic PVC insulation |  | EN 50525-2-31:2011 Annex A |
| Cables for general applications - Flat tinsel cables (cords) with thermoplastic PVC insulation |  | EN 50525-2-71:2011 Annex A |
| Polyvinyl chloride insulated and sheathed power cables for rated voltage 600/1000 V |  | ΕLΟΤ 843:2016 §13.1 |
| Polyvinyl chloride insulated cables of rated voltages up to and including 450/750 V |  | IEC 60227-1:2007 § 5.6 Table 3 |
| Sheathed Polyvinyl chloride (PVC) insulated cables of rated voltages up to and including 450/750 V |  | ΕLΟΤ 563.4:1997 +Α1:2003 Table 2 |
| Flexible cables with thermoplastic PVC insulation of rated voltages up to and including 450/750 V |  | ΕLΟΤ 563.5:1987 +Α1:2003 Tables 2, 4, 6 και 8 |
| Electric cables: | Insulation resistance test > 90 °C | ΕΝ 50395:2005 +Α1:2011 §8.2 |
| Electric cables - Low voltage energy cables of rated voltages up to and including 450/750 V (U0/U) |  | ΕΝ 50525-1:2011 §7.2 |
| Cables for general applications - Flexible cables with thermoplastic PVC insulation |  | EN 50525-2-11:2011 Annex A |
| Cables for general applications - Single core non-sheathed cables with thermoplastic PVC insulation |  | EN 50525-2-31:2011 Annex A |
| Cables with special fire performance - Single core non-sheathed cables with halogen-free crosslinked insulation, and low emission of smoke |  | EN 50525-3-41:2011 Annex A |
| Polyvinyl chloride insulated and sheathed power cables for rated voltage 600/1000 V |  | ΕLΟΤ 843:2016 §13.2 |
| Electric cables: | Cable Flexing test | ΕΝ 50396:2005 +Α1:2011 §6.2 ΕΝ 50395:2005 +Α1:2011 §7 |
| Cables for general applications - Flexible cables with thermoplastic PVC insulation |  | ΕΝ 50525-2-11:2011 Annex A |
| Cables for general applications - Flexible cables with crosslinked elastomeric insulation |  | ΕΝ 50525-2-21:2011 Annex A |
| Cables for general applications - High flexibility braided cables with crosslinked elastomeric insulation |  | ΕΝ 50525-2-22:2011 Annex A |
| Cables for general applications - Oil resistant control cables with thermoplastic PVC insulation |  | ΕΝ 50525-2-51:2011 Annex A |
| Cables for general applications - Flat divisible cables (cords) with thermoplastic PVC insulation |  | ΕΝ 50525-2-72:2011 Annex A |
| Cables for general applications - Cables with crosslinked elastomeric insulation for decorative chains |  | ΕΝ 50525-2-82:2011 Annex A |
| Cables for general applications - Multicore cables with crosslinked silicone rubber insulation |  | ΕΝ 50525-2-83:2011 Annex A |
| Cables with special fire performance - Flexible cables with halogen-free thermoplastic insulation, and low emission of smoke |  | ΕΝ 50525-3-11:2011 Annex A |
| Blankets, pads, clothing and similar flexible heating appliances |  | EN 60335-2-17:2013 +A11:2019 +A1:2020 +A2:2021 §21.111.1 |
| Electric cables: | Surface resistance of sheath | EN 50395:2005 +A1:2011 §11 |
| Cables for general applications - Flexible cables with crosslinked elastomeric insulation |  | ΕΝ 50525-2-21:2011 Annex A |
| Cables for general applications - Single core cables with crosslinked silicone rubber insulation |  | ΕΝ 50525-2-41:2011 Annex A |
| Cables for general applications - Cables with crosslinked elastomeric insulation for decorative chains |  | ΕΝ 50525-2-82:2011 Annex A |
| Cables for general applications - Multicore cables with crosslinked silicone rubber insulation |  | ΕΝ 50525-2-83:2011 Annex A |
| Cables for general applications - Flexible cables with crosslinked elastomeric insulation |  | ΕΝ 50525-3-21:2011 Annex A |
| Cables with special fire performance - Flexible cables with halogen-free thermoplastic insulation, and low emission of smoke |  | ΕΝ 50525-3-11:2011 Annex A |
| Electrical products and equipment, telecommunication equipment, electronics | Glow-wire test (500-960) °C | EN 60695-2-10:2013 EN 60695-2-11:2014 EN 60695-2-12:2010 +A1:2014 EN 60695-2-13:2010 +A1:2014 |
| Household and similar use electrical appliances |  | EN 60335-1:2012 +A11:2014 +A13:2017 +A1:2019 +A2:2019 +A14:2019 +A15:2021 §30.2 |
| Luminaires |  | EN IEC 60598-1:2021 +A11:2022 §13.3 |
| Boxes and enclosures for electrical accessories for household and similar fixed electrical installations |  | EN IEC 60670-1:2021 +A11:2021 §18 |
| Conduit systems for cable management |  | EN 61386-1:2008 +A1:2019 §13.1.3.1 |
| Lamp controlgear |  | EN 61347-1:2015 +A1:2021 §18.3 |
| LED modules for general lighting |  | EN IEC 62031:2020 +A11:2021 §18 |
| Plugs and fixed or portable socket-outlets |  | IEC 60884-1:2002 +A1:2006 +A2:2013 §28.1.1 |
| Empty enclosures for low-voltage switchgear and controlgear assemblies |  | EN 62208:2011 §9.9.3 |
| Low-voltage switchgear and controlgear assemblies |  | EN IEC 61439-1:2021 §10.2.3.2 |
| Cable trunking systems and cable ducting systems for electrical installations |  | EN 50085-1:2005 +A1:2013 §13.1.1, §13.1.2 |
| Self-ballasted LED-lamps for general lighting services by voltage > 50 V |  | EN 62560:2012 +A1:2015 +A11:2019 §12 |
| Electrical products and equipment, telecommunication equipment, electronics | Tracking test (0-600) V Tracking test (0-600) V | EN 60112:2003 +A1:2009 |
| Household and similar use electrical appliances |  | EN 60335-1:2012 +A11:2014 +A13:2017 +A1:2019 +A2:2019 +A14:2019 +A15:2021 Annex N |
| Luminaires |  | EN IEC 60598-1:2021 +A11:2022 §13.4 |
| Plugs and socket-outlets for household and similar purposes |  | IEC 60884-1:2002 +A1:2006 +A2:2013 §28.2 |
| Plugs, socket-outlets and couplers for industrial purposes |  | EN IEC 60309-1:2022 §27.5 |
| Appliance couplers for household and similar general purposes |  | EN 60320-1:2015 §27.2 |
| LED modules for general lighting |  | EN IEC 62031:2020 +A11:2021 §18 |
| Lamp controlgear |  | EN 61347-1:2015 +A1:2021 §18.5 |
| Switches for appliances |  | EN IEC 61058-1:2018 Annex D |
| Switches for household and similar fixed-electrical installations |  | EN 60669-1:2018 §24.2 |
| Automatic electrical controls for household and similar use |  | EN 60730-1:2016 +A1:2019 +A2:2022 §21.2.7 |
| Bayonet lampholders |  | EN 61184:2017 §19.5 |
| Edison screw lampholders |  | EN 60238:2018 +A1:2018 §21.5 |
| Miscellaneous lampholders |  | EN 60838-1:2017 +A1:2017 §17.5 |
| Connectors for LED-modules |  | EN 60838-2-2:2006 +A1:2012 §17 |
| Household and similar use electrical appliances | Earthing resistance (0-7) Ω | EN 60335-1:2012 +A11:2014 +A13:2017 +A1:2019 +A2:2019 +A14:2019 +A15:2021 §27.5 |
| Luminaires |  | EN IEC 60598-1:2021 +A11:2022 §7.2.3 |
| Plugs and socket-outlets for household and similar purposes |  | IEC 60884-1:2002 +A1:2006 +A2:2013 §11.5 ΕΛΟΤ 1413-1:1999 |
| Audio/video, information and communication technology equipment |  | EN IEC 62368-1-2020 +A11:2020 §5.6.6 |
| Medical electrical equipment |  | ΕΝ 60601-1:2006 +A1:2013 +A12:2014 +A2:2021§8.6.4 |
| Electrical equipment of machines |  | EN 60204-1:2018 §18.2.2 |
| Household and similar use electrical appliances | Load discharge (0-230) V AC | EN 60335-1:2012 +A11:2014 +A13:2017 +A1:2019 +A2:2019 +A14:2019 +A15:2021 §22.5 |
| Luminaires |  | EN IEC 60598-1:2021 +A11:2022 §8.2.7 |
| Plugs and socket-outlets for household and similar purposes |  | IEC 60884-1:2002 +A1:2006 +A2:2013 §8.4 |
| Medical electrical equipment |  | ΕΝ 60601-1:2006 +A1:2013 +A12:2014 +A2:2021§8.4 |
| Electrical equipment of machines |  | EN 60204-1:2018 §6.2.4 |
| Electromagnetic compatibility tests |
| Electrical and electronic equipment subjected to electrostatic discharges. | Electrostatic discharge immunity test air discharge method +2kV up to +8kV and contact discharge method +2kV up to +8kV Electrostatic discharge immunity test air discharge method +2kV up to +8kV and contact discharge method +2kV up to +8kV | ΕΝ 61000-4-2:2009 |
| Electrical installations in ships |  | IEC 60092-504:2016 §5 Table 1 No.13 |
| Electrical and electronic installations in ships |  | IEC 60533:2015 §7.2 |
| Maritime navigation and radiocommunication equipment and systems |  | IEC 60945:2002 §10.9 |
| Alarm systems |  | ΕΝ 50130-4:2011 +A1:2014 §9 |
| Equipment for general lighting purposes |  | EN 61547:2009 §5.2 |
| Electrical equipment for measurement, control and laboratory use |  | ΕΝ 61326-1:2013 §6 |
| Electrical equipment for measurement, control and laboratory use. In vitro diagnostic (IVD) medical equipment |  | ΕΝ 61326-2-6:2013 Table 101 |
| Low-voltage switchgear and controlgear assemblies |  | EN 61439-1:2011 EN IEC 61439-1:2021 §J.10.12.1 |
| Low voltage power supplies, d.c. output |  | ΕΝ 61204-3:2018 Table 1 |
| Product family standard for lifts, escalators and moving walks - Immunity |  | EN 12016:2013 |
| Immunity for industrial environments |  | EN 61000-6-2:2019 Table 1 |
| Immunity for residential, commercial and light-industrial environments |  | EN 61000-6-1:2019 Table 1 |
| Electrical and electronic equipment having an input current up to and including 16 A per phase, and intended to be connected to public low-voltage distribution systems. | Harmonic currents measurements in public low-voltage distribution systems. | EN IEC 61000-3-2:2019 |
| Electrical equipment for measurement, control and laboratory use |  | ΕΝ 61326-1:2013 §7 |
| Electrical equipment for measurement, control and laboratory use. In vitro diagnostic (IVD) medical equipment |  | ΕΝ 61326-2-6:2013 §7 |
| Low voltage power supplies, d.c. output |  | ΕΝ IEC 61204-3:2018 §6 |
| Emission standard for residential, commercial and light-industrial environments |  | EN 61000-6-3:2007 +A1:2011 |
| Limitation of voltage changes, voltage fluctuations and flicker in public low-voltage supply systems, for equipment with rated current <= 16 A per phase and not subject to conditional connection | Voltage fluctuations and flicker impressed on the public low-voltage system. | EN 61000-3-3:2013 +A1:2019 |
| Electrical equipment for measurement, control and laboratory use |  | ΕΝ 61326-1:2013 §7 |
| Electrical equipment for measurement, control and laboratory use. In vitro diagnostic (IVD) medical equipment |  | ΕΝ 61326-2-6:2013 §7 |
| Low voltage power supplies, d.c. output |  | ΕΝ IEC 61204-3:2018 §6 |
| Emission standard for residential, commercial and light-industrial environments |  | EN 61000-6-3:2007 +A1:2011 |
| Environmental Tests |
| Electrical products and equipment, telecommunication equipment, electronics | Resistance to environmental conditions - Salt mist Resistance to environmental conditions - Salt mist | EN 60068-2-11:1999 EN IEC 60068-2-52:2018 |
| Maritime navigation and radiocommunication equipment and systems |  | ΕΝ 60945:2002 §8.12 |
| Electrical, electronic and programmable equipment intended for control, monitoring, alarm and protection systems for use in ships. |  | IACS Req.1991/Rev.7 2018 E10 A/A 12 |
| Military equipment |  | MIL-STD-810-G:2008 Method 509.5 |
| Grills, toasters and similar portable cooking appliances |  | EN 60335-2-9:2003 +A1:2004 +A2:2006 +A12:2007 +A13:2010 §31 |
| Electrical installations in ships |  | IEC 60092-504:2016 §5 |
| Electrical products and equipment, telecommunication equipment, electronics | Resistance to environmental conditions – Temperature cycling (-20 +180) °C (10 - 95) % RH | ΕΝ 60068-2-14:2009 ΕΝ 60068-2-30:2005 ΕΝ 60068-2-38:2009 |
| Alarm systems |  | EN 50130-5:2011 §14 §15 |
| Telecommunication equipment |  | ETSI EN 300 019-2-4 V2.5.1 (2018-07) |
| Electrical installations in ships |  | IEC 60092-504:2016 §5 |
| Life-saving appliances |  | IMO 1991 Res.A.689(17) Part I §1.2, 2.1 |
| Life-saving appliances |  | MSC 70/23/Add.1 Annex 6 §1.2, 2.1 |
| Electrical, electronic and programmable equipment intended for control, monitoring, alarm and protection systems for use in ships. |  | IACS Req.1991/Rev.7 2018 E10 A/A 6 |
| Military equipment |  | MIL-STD-883H:2010 Method 1004.7 |
| Maritime navigation and radiocommunication equipment and systems |  | ΕΝ 60945:2002 §8.3 |
| Electrical products and equipment, telecommunication equipment, electronics | Resistance to environmental conditions – Dry heat (-20 +180) °C Resistance to environmental conditions – Dry heat (-20 +180) °C | ΕΝ 60068-2-2:2007 |
| Maritime navigation and radiocommunication equipment and systems |  | ΕΝ 60945:2002 §8.2 |
| Traffic control equipment - Signal heads |  | ΕΝ 12368:2015 Table 12 |
| Telecommunication equipment |  | ETSI EN 300 019-2-4 V2.5.1 (2018-07) |
| Electrical installations in ships |  | IEC 60092-504:2001 §5 |
| Electrical, electronic and programmable equipment intended for control, monitoring, alarm and protection systems for use in ships. |  | IACS Req.1991/Rev.7 2018 E10 A/A 5 |
| Life-saving appliances |  | Res. MSC 81 (70): 1998 §1.2.1, 2.7.1, 4.2.3 |
| Life-saving appliances |  | IMO MSC Circular 980 §3.2.4 |
| Military equipment |  | MIL STD 810G:2008 Method 501.5 |
| Electrical products and equipment, telecommunication equipment, electronics | Resistance to environmental conditions – Damp heat (10 - 95) % RH (+5 +95)°C | ΕΝ 60068-2-78:2013 |
| Household and similar use electrical appliances |  | EN 60335-1:2012 +A11:2014 +A13:2017 +A1:2019 +A2:2019 +A14:2019 +A15:2021 §15.3 |
| Low-voltage switchgear and controlgear assemblies |  | EN 60947-1:2007 +A1:2011 +A2:2014 §C.13.5.2 |
| Life-saving appliances |  | IMO MSC Circular 980 §3.2.5 |
| Military equipment |  | MIL STD 810G:2008 Method:507.5 |
| Telecommunication equipment |  | ETSI EN 300 019-2-4 V2.5.1 (2018-07) |
| Electrical products and equipment, telecommunication equipment, electronics | Resistance to environmental conditions – Cold -50°C +5°C | ΕΝ 60068-2-1:2007 |
| Maritime navigation and radiocommunication equipment and systems |  | ΕΝ 60945:2002 §8.4 |
| Life-saving appliances |  | IMO MSC Circular 980 §3.2.3 |
| Life-saving appliances |  | Res. MSC 81 (70): 1998 § 4.2.2 |
| Low-voltage switchgear and controlgear assemblies |  | EN 60947-1:2007 +A1:2011 +A2:2014 Annex Q |
| Military equipment |  | MIL STD 810G:2008 Method:502.5 |
| Telecommunication equipment |  | ETSI EN 300 019-2-8 V2.2.1 (2020-03) |
| Electrical, electronic and programmable equipment intended for control, monitoring, alarm and protection systems for use in ships. |  | IACS Req.1991/Rev.7 2018 E10 A/A 11 |
| Electrical installations in ships |  | IEC 60092-504:2016 §5 |
| Traffic control equipment - Signal heads |  | ΕΝ 12368:2015 |
| Electrical products and equipment, telecommunication equipment, electronics | Vibration test (random – sinusoidal) 5 Hz – 3 kHz Vibration test (random – sinusoidal) 5 Hz – 3 kHz Vibration test (random – sinusoidal) 5 Hz – 3 kHz | ΕΝ 60068-2-6:2008 ΕΝ 60068-2-64:2008 +A1:2019 |
| Luminaires |  | EN IEC 60598-1:2021 +A11:2022 §4.20 |
| Connectors for LED-modules |  | EN 60838-2-2:2006 +A1:2012 §19.1 |
| Refrigerating appliances, ice-cream appliances and ice makers |  | EN 60335-2-24:2010 +A1:2019 +A2:2019 +A11:2020 §21.101 |
| Microwave ovens |  | EN 60335-2-25:2012 +A1:2015 +A2:2016 +A11:2010 §22.116 |
| Battery chargers |  | EN 60335-2-29:2004 +A2:2010 +A11:2018 §21.102 |
| Cable ties for electrical installations |  | EN IEC 62275:2019 |
| Electricity metering equipment (AC) |  | EN 62052-11:2003 +A1:2017 §5.2.2.3 |
| Maritime navigation and radiocommunication equipment and systems |  | ΕΝ 60945:2002 §8.7 |
| Electrical installations in ships |  | IEC 60092-504:2016 §5 |
| Military equipment |  | MIL STD 810G:2008 Method:514.6 |
| Military equipment |  | MIL STD 883H:2010 Method:2026 |
| Traffic control equipment - Signal heads |  | ΕΝ 12368:2015 |
| Fire detection and fire alarm systems |  | EN 54-10:2002 +A1:2005 §5.14, 5.15, 5.16 |
| Fire detection and fire alarm systems |  | EN 54-24:2008 §5.16, 5.17 |
| Telecommunication equipment |  | ETSI EN 300 019-2-4 V2.5.1 (2018-07) |
| Telecommunication equipment |  | ETSI EN 300 019-2-6 V3.0.0 (2002-12) |
| Telecommunication equipment |  | ETSI EN 300 019-2-8 V2.2.1 (2020-03) |
| Electrical, electronic and programmable equipment intended for control, monitoring, alarm and protection systems for use in ships. |  | IACS Req.1991/Rev.7 2018 E10 A/A 7 |
| Pollution prevention equipment for machinery space bilges of ships |  | Resolution MEPC.107(49):2003 §3.2.2.1 |
| Oil discharge monitoring and control systems for oil tankers |  | Resolution MEPC.108(49):2003 §2.2.2.1 |
| Maritime equipment |  | Resolution MSC.81(70):1998§10.4.1, 13.2.2 |
| Electric lifts |  | EN 81-20:2020 §F.6.3.1.1 |
| Hydraulic lifts |  | EN 81-50:2020 §F.6.3.1.1 |
| Alarm systems |  | EN 50130-5:2011 §22, 23 |
| Control, protection and safety Maritime equipment |  | IACS E10 (Rev.6 Oct. 2014), Πίνακας, Δοκιμή Νο 7 |
| Active implantable medical devices |  | EN 45502-2-1:2003, § 23.2, ΕLΟΤ EN 45502-2-2:2008, § 23.2 |
| Electricity metering - Tariff and load controls - Time switches |  | EN 61038: 1992+A1:1996+A2 :1998 §5.2.3 |
| Programmable controllers |  | EN 61131-2: 2007 § 6.3.1 |
| Lead-acid starter batteries |  | EN 50342-1:2015 +A1:2018 § 5.9 |
| Low-voltage power supply devices, d.c. output |  | EN 61204: 1995+A1:2001 §7.2.6 |
| Fire detection and fire alarm systems. Control and indicating equipment. |  | EN 54-2:1997 +A1:2006 §15.7 §15.15 |
| Fire detection and fire alarm systems – Sounders |  | EN 54-3:2014 +A1:2019 §5.4.3.3, §5.4.3.4 |
| Fire detection and fire alarm systems - Power supply equipment |  | EN 54-4:1997 +A1:2002 +A2:2006 §9.8, §9.15 |
| Fire detection and fire alarm systems – Heat detectors - Point heat detectors |  | EN 54-5:2017+A1:2018 §5.16, §5.17 |
| Fire detection and fire alarm systems – Smoke detectors - Point detectors using scattered light, transmitted light or ionization |  | EN 54-7:2018 §5.15, §5.16 |
| Fire detection and fire alarm systems – Manual call points |  | EN 54-11:2001 +A1:2005 §5.16, §5.17 |
| Fire detection and fire alarm systems - Smoke detectors - Line detectors using an optical beam |  | EN 54-12:2015 § 5.15 |
| Fire detection and fire alarm systems - Voice alarm control and indicating equipment |  | EN 54-16:2009 (EN 54-16:2008) §16.12, §16.13 |
| Fire detection and fire alarm systems - Short-circuit isolators |  | EN 54-17:2006 (EN 54-17:2005) §5.11, §5.12 |
| Fire detection and fire alarm systems - Input/output devices |  | EN 54-18:2005 §5.10, §5.11 |
| Fire detection and fire alarm systems - Aspirating smoke detectors |  | EN 54-20:2006 §6.12, §6.13 |
| Fire detection and fire alarm systems – Alarm transmission and fault warning routing equipment |  | EN 54-21:2006 §10.7 |
| Fire detection and fire alarm systems – Fire alarm devices - Visual alarm devices |  | EN 54-23:2010 §5.4.3.3, §5.4.3.4 |
| Fire detection and fire alarm systems - Components using radio links |  | EN 54-25:2008 §8.3.18, §8.3.19 |
| Test Ea: Shock | Shock Test (27 kN) Shock Test (27 kN) | EN 60068-2-27:2009 |
| Military equipment |  | MIL STD 810G:2008 Method:516.6 |
| Low-voltage power supply devices, d.c. output |  | EN 61204:1995+A1:2001, §7.2.4 |
| Programmable controllers |  | EN 61131-2: 2007, §6.3.2 |
| Electricity metering - Tariff and load controls - Time switches |  | EN 62052−21:2004 +A1:2017 §5.2.2.2 |
| Telecommunication equipment |  | ETSI EN 300 019-2-4 V2.5.1 (2018-07) |
| Microelectronic devices suitable for use within Military and Aerospace electronic systems. |  | MIL-STD-883H:2010 METHOD 2002.5 |
| Alarm systems |  | EN 50130-5:2011 §19 |
| Fibre optic interconnecting devices and passive components |  | EN 61300-2-9:2017 §6 |
| Electric lifts |  | EN 81-20:2020 §F.6.3.1.1 b), §F.6.3.1.2 |
| Hydraulic lifts |  | EN 81-50:2020 §F.6.3.1.1 b), §F.6.3.1.2 |
| Inland navigation vessels and sea-going vessels - Navigation light |  | EN 14744:2005 § 4.8.10 § 5.4.1 |
| Low-voltage power supply devices, d.c. output |  | EN 61204: 1995+A1:2001 § 7.2.4 |
| Fire detection and fire alarm systems – Sounders |  | EN 54-3:2014 +A1:2019 §5.4.3.1 |
| Fire detection and fire alarm systems – Heat detectors - Point heat detectors |  | EN 54-5:2017+A1:2018 §5.14 |
| Fire detection and fire alarm systems – Smoke detectors - Point detectors using scattered light, transmitted light or ionization |  | EN 54-7:2018 §5.13 |
| Fire detection and fire alarm systems – Manual call points |  | EN 54-11:2001 +A1:2005 §5.14 |
| Fire detection and fire alarm systems - Input/output devices |  | EN 54-18:2005 §5.8 |
| Fire detection and fire alarm systems - Aspirating smoke detectors |  | EN 54-20:2006 §6.10 |
| Non-metallic material subjected to heat resistance test (ball pressure test). | Resistance to heat / Ball pressure test Resistance to heat / Ball pressure test (con.) | EN 60695-10-2:2014 In conjunction with the following standards: |
| Plugs and socket-outlets for household and similar purposes |  | IEC 60884-1:2002 +Α1:2006 +Α2:2013 § 25.1, § 25.2 και §25.3 ΕLΟΤ 1413-1:1999 |
| Medical electrical equipment |  | ΕΝ 60601-1:2006 +A1:2013 +A12:2014 +A2:2021 §8.8.4.1 |
| Household and similar use electrical appliances |  | ΕΝ 60335-1:2012 +A11:2014 +A13:2017 +A1:2019 +A2:2019 +A14:2019 +A15:2021 §30.1 |
| Appliances for heating liquids |  | EN 60335-2-15:2016 +A11:2018 +A1:2021 +A2:2021 +A12:2021 §30.1 |
| Commercial dispensing appliances and vending machines |  | ΕΝ 60335-2-75:2004 +Α11:2006 +Α12:2010 +Α1:2005 +Α2:2008 § 30.1 |
| Luminaires |  | EN IEC 60598-1:2021 +A11:2022 §13.2.1 |
| Switches for household and similar fixed-electrical installations |  | ΕΝ 60669-1:2018 § 21.2, 21.3 |
| Audio/video, information and communication technology equipment |  | EN IEC 62368-1-2020 +A11:2020 §5.7.6.2 |
| Power transformers, power supplies, reactors and similar products |  | EN IEC 61558-1:2019 §27.1 |
| Switches for appliances |  | EN IEC 61058-1:2018 §21.1 |
| Boxes and enclosures for electrical accessories for household and similar fixed electrical installations |  | EN IEC 60670-1:2021 +A11:2021 §16.1, §16.2 |
| Electric motor-operated hand-held tools, transportable tools and lawn and garden machinery |  | ΕΝ 62841-1:2015 +A11:2022 § 13.1 |
| Self-ballasted LED-lamps for general lighting services by voltage > 50 V |  | EN 62560:2012 +A1:2015 +A11:2019 §11 |
| Conduit systems for cable management | Thermal properties. Pressure test at high temperature | EN 61386-1:2008 +A1:2019 §12 |
| Rigid conduit systems |  | EN IEC 61386-21:2021 +A11:2021 §12 |
| Pliable conduit systems |  | EN IEC 61386-22:2021 +A11:2021 §12 |
| Flexible conduit systems |  | EN IEC 61386-23:2021 +A11:2021 §12 |
| Electric cables: | Heat shock test for insulation and sheath | ΕΝ 60811-509:2012 +A1:2017 §4 |
| Cables for general applications - Flexible cables with thermoplastic PVC insulation |  | EN 50525-2-11:2011 |
| Cables for general applications - Single core non-sheathed cables with thermoplastic PVC insulation |  | EN 50525-2-31:2011 |
| Insulating, sheathing and covering materials for low voltage energy cables - PVC insulating compounds |  | EN 50363-3:2005 +A1:2011 |
| Insulating, sheathing and covering materials for low voltage energy cables - PVC sheathing compounds |  | ΕΝ 50363-4-1:2005 |
| Fire tests |
| Electric cables: | Test for vertical flame propagation for a single insulated wire or cable - Procedure for 1 kW pre-mixed flame Test for vertical flame propagation for a single insulated wire or cable - Procedure for 1 kW pre-mixed flame (con.) | *ΕΝ 60332-1-2:2004 +Α1:2015 +Α11:2016 +A12:2020 **EN 60695-11-2:2017 |
| Cables for general applications - Flexible cables with thermoplastic PVC insulation |  | **ΕΝ 50525-2-11:2011 Table A.1 |
| Cables for general applications - Cables with thermoplastic PVC insulation for extensible leads |  | **ΕΝ 50525-2-12:2011 Table C.1 |
| Cables for general applications - Flexible cables with crosslinked elastomeric insulation |  | **ΕΝ 50525-2-21:2011 Table A.2 |
| Cables for general applications - Single core non-sheathed cables with thermoplastic PVC insulation |  | **ΕΝ 50525-2-31:2011 Table A.1 |
| Cables for general applications - Single core cables with crosslinked silicone rubber insulation |  | **ΕΝ 50525-2-41:2011 Table A.1 |
| Cables for general applications - Oil resistant control cables with thermoplastic PVC insulation |  | **ΕΝ 50525-2-51:2011 Table A.1 |
| Cables for general applications - Flat tinsel cables (cords) with thermoplastic PVC insulation |  | **ΕΝ 50525-2-71:2011 Table A.1 |
| Cables for general applications - Flat divisible cables (cords) with thermoplastic PVC insulation |  | **ΕΝ 50525-2-72:2011 Table A.1 |
| Cables for general applications - Cables with crosslinked elastomeric covering for arc welding |  | **ΕΝ 50525-2-81:2011 Table A.1 |
| Cables for general applications - Cables with crosslinked elastomeric insulation for decorative chains |  | **ΕΝ 50525-2-82:2011 Table A.1 |
| Cables with special fire performance - Flexible cables with halogen-free thermoplastic insulation, and low emission of smoke |  | **ΕΝ 50525-3-11:2011 Table A.1 |
| Cables with special fire performance - Flexible cables with halogen-free crosslinked insulation, and low emission of smoke |  | **ΕΝ 50525-3-21:2011 Table A.1 |
| Cables with special fire performance - Single core non-sheathed cables with halogen-free thermoplastic insulation, and low emission of smoke |  | **ΕΝ 50525-3-31:2011 Table A.1 |
| Cables with special fire performance - Single core non-sheathed cables with halogen-free crosslinked insulation, and low emission of smoke |  | **ΕΝ 50525-3-41:2011 Table A.1 |
| Fire classification of construction products and building elements - Part 6: Classification using data from reaction to fire tests on electric cables |  | ***ΕΝ 13501-6:2018 §5.6 |
| Power, control, and communication cables - Cables for general applications in construction works subject to reaction to fire requirements | System 3 | Regulation (EU) 305/2011 Dec. 2011/284/EE ΕΝ 50575:2014+A1:2016 Table 1 |
| Conduit systems for cable management | Test for vertical flame propagation for a single insulated wire or cable - Procedure for 1 kW pre-mixed flame | EN 61386-1:2008 +A1:2019 §13.1.3.2 |
| Cable trunking systems and cable ducting systems for electrical installations |  | EN 50085-1:2005 +A1:2013 § 13.1.3 |
| Electrical equipment for measurement, control, and laboratory use. |  | EN 61010-1:2010 +A1:2019 § 9.3.2 |
| Mechanical tests |
| Plugs and socket-outlets for household and similar purposes | Breaking capacity and normal operation | IEC 60884-1:2002 +A1:2006 +A2:2013 § 20 και § 21 ΕLΟΤ 1413-1:1999 § 20 και § 21 |
| Plugs and socket-outlets for household and similar purposes | Test Ec: Rough handling shocks, primarily for equipment-type specimens – Procedure 2 (tumbling barrel) | EN 60068-2-31:2008 ΙEC 60884-1:2002 +Α1:2006 +A2:2013 § 24.2 ΕLΟΤ 1413-1:1999 §24.2 |
| Power transformers, power supplies, reactors and similar products |  | EN IEC 61558-1:2019 §16.4 |
| Luminaires |  | EN IEC 60598-1:2021 +A11:2022 §4.13.6 |
| Automatic electrical controls for household and similar use |  | EN 60730-1:2016 +A1:2019 +A2:2022 §18.6.1 |
| Surge protective devices connected to low-voltage power systems |  | EN 61643-11:2012 +A11:2018 §7.9.2.2 |
| Blankets, pads, clothing and similar flexible heating appliances |  | EN 60335-2-17:2013 +A11:2019 +A1:2020 +A2:2021 §21.107 |
| Lamp controlgear - Starting devices |  | EN 61347-2-1:2001 +A1:2006 +A2:2014 §17.1 |
| Connecting devices for low-voltage circuits for household and similar purposes |  | EN 60998-1:2004 §14.2 |
| Luminaires | Mechanical strength of screws and connections | ΕΝ IEC 60598-1:2021 +A11:2022 §4.12.1 |
|  | Mechanical strength of screw terminals | EN IEC 60598-1:2021 +A11:2022 §14.4.6 |
|  | Clamping reliability of terminal conductors | EN IEC 60598-1:2021 +A11:2022 §14.4.7 |
| Portable general purpose luminaires | Stability test | ΕΝ 60598-2-4:2018 §4.6.2 |
| Household and similar use electrical appliances |  | ΕΝ 60335-1:2012 +A11:2014 +A13:2017 +A1:2019 +A2:2019 +A14:2019 +A15:2021 §20.1 §20.2 |
| Household and similar use electrical appliances | Mechanical strength of screws and connections | ΕΝ 60335-1:2012 +A11:2014 +A13:2017 +A1:2019 +A2:2019 +A14:2019 +A15:2021 §28.1 |
| Electrical products and equipment, telecommunication equipment, electronics | Degrees of protection provided by enclosures for electrical equipment against external mechanical impacts (IK code) ΙΚ01 up to ΙΚ10 0,14J up to 20J | EN 62262:2002 +A1:2021 EN 60068-2-75:2014 |
| Boxes and enclosures for electrical accessories for household and similar fixed electrical installations |  | EN IEC 60670-1:2021 +A11:2021 §15.3 |
| Empty enclosures for low-voltage switchgear and controlgear assemblies |  | EN 62208:2011 §9.7 |
| Luminaires |  | EN IEC 60598-1:2021 +A11:2022 §4.13 |
| Luminaires – Application of the IK code |  | IEC TR 62696:2011 |
| Luminaires for road and street lighting |  | EN 60598-2-3:2003 +A1:2011 §3.6 |
| Floodlights |  | EN 60598-2-5:2015 § 5.6.8.2.1 |
| Electric vehicle conductive charging system |  | EN IEC 61851-1:2019 §12.11 |
| Household and similar use electrical appliances | Δοκιμή αντοχής στην κρούση | ΕΝ 60335-1:2012 +Α11:2014 +A13:2017 +A1:2019 +A2:2019 +A14:2019 +A15:2021 §21.1 |
| Luminaires |  | EN IEC 60598-1:2021 +A11:2022 §4.13.1 |
| Audio/video, information and communication technology equipment |  | EN IEC 62368-1-2020 +A11:2020 §T.6 |
| Electric cables | Tensile strength test Tensile strength test(con.) | ΕΝ 60811-201:2012 +A1:2017 §4 ΕΝ 60811-203:2012 §4 EN 60811-401:2012 +A1:2017 §4 ΕΝ 60811-501:2012 +A1:2018 §4 |
| Cables for general applications - Flexible cables with thermoplastic PVC insulation |  | EN 50525-2-11:2011 Annex A |
| Cables for general applications - Flexible cables with crosslinked elastomeric insulation |  | EN 50525-2-21:2011 Annex A |
| Cables for general applications - Single core non-sheathed cables with thermoplastic PVC insulation |  | EN 50525-2-31:2011 Annex A |
| Cables for general applications - Flat tinsel cables (cords) with thermoplastic PVC insulation |  | EN 50525-2-71:2011 Annex A |
| Cables for general applications - Cables with crosslinked elastomeric covering for arc welding |  | EN 50525-2-81:2011 Annex A |
| Cables with special fire performance - Single core non-sheathed cables with halogen-free crosslinked insulation, and low emission of smoke |  | EN 50525-3-41:2011 Annex A |
| Insulating, sheathing and covering materials for low voltage energy cables - Cross-linked elastomeric insulating compounds |  | EN 50363-1:2005 Table 2 |
| Insulating, sheathing and covering materials for low voltage energy cables - Cross-linked elastomeric sheathing compounds |  | EN 50363-2-1:2005 +A1:2011 Table 2 |
| Insulating, sheathing and covering materials for low voltage energy cables - Cross-linked elastomeric covering compounds |  | EN 50363-2-2:2005 Table 2 |
| Insulating, sheathing and covering materials for low voltage energy cables - PVC insulating compounds |  | EN 50363-3:2005 +A1:2011 Table 2 |
| Insulating, sheathing and covering materials for low voltage energy cables - PVC sheathing compounds |  | ΕΝ 50363-4-1:2005 Table 2 |
| Insulating, sheathing and covering materials for low voltage energy cables - Halogen-free, cross-linked insulating compounds |  | EN 50363-5:2005 +A1:2011 Table 2 |
| Cable ties for electrical installations |  | EN IEC 62275:2019 §9.5 §9.6 |
| Plastics - Determination of tensile properties |  | EN ISO 527-1:2019 §10.1 |
| Electric cables: | Elongation at break test Elongation at break test (con.) | ΕΝ 60811-201:2012 +A1:2017 §4 ΕΝ 60811-203:2012 §4 EN 60811-401:2012 +A1:2017 §4 ΕΝ 60811-501:2012 +A1:2018 §4 |
| Cables for general applications - Flexible cables with thermoplastic PVC insulation |  | EN 50525-2-11:2011 Annex A |
| Cables for general applications - Flexible cables with crosslinked elastomeric insulation |  | EN 50525-2-21:2011 Annex A |
| Cables for general applications - Single core non-sheathed cables with thermoplastic PVC insulation |  | EN 50525-2-31:2011 Annex A |
| Cables for general applications - Flat tinsel cables (cords) with thermoplastic PVC insulation |  | EN 50525-2-71:2011 Annex A |
| Cables for general applications - Cables with crosslinked elastomeric covering for arc welding |  | EN 50525-2-81:2011 Annex A |
| Cables with special fire performance - Single core non-sheathed cables with halogen-free crosslinked insulation, and low emission of smoke |  | EN 50525-3-41:2011 Table 2 |
| Insulating, sheathing and covering materials for low voltage energy cables - Cross-linked elastomeric insulating compounds |  | EN 50363-1:2005 Table 2 |
| Insulating, sheathing and covering materials for low voltage energy cables - Cross-linked elastomeric sheathing compounds |  | EN 50363-2-1:2005 +A1:2011 Table 2 |
| Insulating, sheathing and covering materials for low voltage energy cables - Cross-linked elastomeric covering compounds |  | EN 50363-2-2:2005 Table 2 |
| Insulating, sheathing and covering materials for low voltage energy cables - PVC insulating compounds |  | EN 50363-3:2005 +A1:2011 Table 2 |
| Insulating, sheathing and covering materials for low voltage energy cables - PVC sheathing compounds |  | ΕΝ 50363-4-1:2005 Table 2 |
| Insulating, sheathing and covering materials for low voltage energy cables - Halogen-free, cross-linked insulating compounds |  | EN 50363-5:2005 +A1:2011 Table 2 |
| Plastics - Determination of tensile properties |  | EN ISO 527-1:2019 §10.2 |
| Electric cables: | Impact test at low temperature Impact test at low temperature (con.) | ΕΝ 60811-506:2012 §4 |
| Cables for general applications - Flexible cables with thermoplastic PVC insulation |  | EN 50525-2-11:2011 Annex A |
| Cables for general applications - Flexible cables with crosslinked elastomeric insulation |  | EN 50525-2-21:2011 Annex A |
| Cables for general applications - Single core non-sheathed cables with thermoplastic PVC insulation |  | EN 50525-2-31:2011 Annex A |
| Cables for general applications - Flat tinsel cables (cords) with thermoplastic PVC insulation |  | EN 50525-2-71:2011 Annex A |
| Cables for general applications - Cables with crosslinked elastomeric covering for arc welding |  | EN 50525-2-81:2011 Annex A |
| Cables with special fire performance - Single core non-sheathed cables with halogen-free crosslinked insulation, and low emission of smoke |  | EN 50525-3-41:2011 Annex A |
| Electric cables: | HOT SET test | EN 60811-507:2012 §4 |
| Cables for general applications - Flexible cables with crosslinked elastomeric insulation |  | EN 50525-2-21:2011 Annex A |
| Cables for general applications - Flexible cables with crosslinked elastomeric insulation |  | EN 50525-3-21:2011 Annex A |
| Plugs and fixed or portable socket-outlets | Impact test at low temperature for electrical products and equipment, telecommunication equipment, electronics | IEC 60884-1:2002 +A1:2006 +A2:2013 §30.4 |
| Conduit systems for cable management |  | EN 61386-1:2008 +A1:2019 §10.3 |
| Rigid conduit systems |  | EN IEC 61386-21:2021 +A11:2021 §10 |
| Pliable conduit systems |  | EN IEC 61386-22:2021 +A11:2021 §10 |
| Flexible conduit systems |  | EN IEC 61386-23:2021 +A11:2021 §10 |
| Cable ties for electrical installations |  | EN IEC 62275:2019 §9.4 |
| Cable trunking systems and cable ducting systems for electrical installations |  | EN 50085-1:2005 +A1:2013 §10.3.1 |
| Electric cables: | Bending test at low temperature Bending test at low temperature(con.) | ΕΝ 60811-504:2012 §4 |
| Cables for general applications - Flexible cables with thermoplastic PVC insulation |  | EN 50525-2-11:2011 Annex A |
| Cables for general applications - Flexible cables with crosslinked elastomeric insulation |  | EN 50525-2-21:2011 Annex A |
| Cables for general applications - Single core non-sheathed cables with thermoplastic PVC insulation |  | EN 50525-2-31:2011 Annex A |
| Cables for general applications - Flat tinsel cables (cords) with thermoplastic PVC insulation |  | EN 50525-2-71:2011 Annex A |
| Cables for general applications - Cables with crosslinked elastomeric covering for arc welding |  | EN 50525-2-81:2011 Annex A |
| Cables with special fire performance - Single core non-sheathed cables with halogen-free crosslinked insulation, and low emission of smoke |  | EN 50525-3-41:2011 Annex A |
| Insulating, sheathing and covering materials for low voltage energy cables - Cross-linked elastomeric insulating compounds |  | EN 50363-1:2005 Table 2 |
| Insulating, sheathing and covering materials for low voltage energy cables - Cross-linked elastomeric sheathing compounds |  | EN 50363-2-1:2005 +A1:2011 Table 2 |
| Insulating, sheathing and covering materials for low voltage energy cables - Cross-linked elastomeric covering compounds |  | EN 50363-2-2:2005 Table 2 |
| Insulating, sheathing and covering materials for low voltage energy cables - PVC insulating compounds |  | EN 50363-3:2005 +A1:2011 Table 2 |
| Insulating, sheathing and covering materials for low voltage energy cables - PVC sheathing compounds |  | ΕΝ 50363-4-1:2005 Table 2 |
| Insulating, sheathing and covering materials for low voltage energy cables - Halogen-free, cross-linked insulating compounds |  | EN 50363-5:2005 +A1:2011 Table 2 |
| Electric cables: | Elongation test at low temperature Elongation test at low temperature(con.) | ΕΝ 60811-505:2012 §4 |
| Cables for general applications - Flexible cables with thermoplastic PVC insulation |  | EN 50525-2-11:2011 Annex A |
| Cables for general applications - Flexible cables with crosslinked elastomeric insulation |  | EN 50525-2-21:2011 Annex A |
| Cables for general applications - Single core non-sheathed cables with thermoplastic PVC insulation |  | EN 50525-2-31:2011 Annex A |
| Cables for general applications - Flat tinsel cables (cords) with thermoplastic PVC insulation |  | EN 50525-2-71:2011 Annex A |
| Cables for general applications - Cables with crosslinked elastomeric covering for arc welding |  | EN 50525-2-81:2011 Annex A |
| Cables with special fire performance - Single core non-sheathed cables with halogen-free crosslinked insulation, and low emission of smoke |  | EN 50525-3-41:2011 Annex A |
| Insulating, sheathing and covering materials for low voltage energy cables - Cross-linked elastomeric insulating compounds |  | EN 50363-1:2005 Table 2 |
| Insulating, sheathing and covering materials for low voltage energy cables - Cross-linked elastomeric sheathing compounds |  | EN 50363-2-1:2005 +A1:2011 Table 2 |
| Insulating, sheathing and covering materials for low voltage energy cables - Cross-linked elastomeric covering compounds |  | EN 50363-2-2:2005 Table 2 |
| Insulating, sheathing and covering materials for low voltage energy cables - PVC insulating compounds |  | EN 50363-3:2005 +A1:2011 Table 2 |
| Insulating, sheathing and covering materials for low voltage energy cables - PVC sheathing compounds |  | ΕΝ 50363-4-1:2005 Table 2 |
| Insulating, sheathing and covering materials for low voltage energy cables - Halogen-free, cross-linked insulating compounds |  | EN 50363-5:2005 +A1:2011 Table 2 |
| Electric cables: | Pressure test at high temperature for insulation and sheaths Pressure test at high temperature for insulation and sheaths (con.) | ΕΝ 60811-508:2012 +A1:2017 §4 |
| Cables for general applications - Flexible cables with thermoplastic PVC insulation |  | EN 50525-2-11:2011 Annex A |
| Cables for general applications - Flexible cables with crosslinked elastomeric insulation |  | EN 50525-2-21:2011 Annex A |
| Cables for general applications - Single core non-sheathed cables with thermoplastic PVC insulation |  | EN 50525-2-31:2011 Annex A |
| Cables for general applications - Flat tinsel cables (cords) with thermoplastic PVC insulation |  | EN 50525-2-71:2011 Annex A |
| Cables for general applications - Cables with crosslinked elastomeric covering for arc welding |  | EN 50525-2-81:2011 Annex A |
| Cables with special fire performance - Single core non-sheathed cables with halogen-free crosslinked insulation, and low emission of smoke |  | EN 50525-3-41:2011 Annex A |
| Insulating, sheathing and covering materials for low voltage energy cables - Cross-linked elastomeric insulating compounds |  | EN 50363-1:2005 Table 2 |
| Insulating, sheathing and covering materials for low voltage energy cables - Cross-linked elastomeric sheathing compounds |  | EN 50363-2-1:2005 +A1:2011 Table 2 |
| Insulating, sheathing and covering materials for low voltage energy cables - PVC insulating compounds |  | EN 50363-3:2005 +A1:2011 Table 2 |
| Insulating, sheathing and covering materials for low voltage energy cables - PVC sheathing compounds |  | ΕΝ 50363-4-1:2005 Table 2 |
| Insulating, sheathing and covering materials for low voltage energy cables - Halogen-free, cross-linked insulating compounds |  | EN 50363-5:2005 +A1:2011 Table 2 |
| Other Tests |
| Plugs and fixed or portable socket-outlets | Resistance to rusting test | ΙEC 60884-1:2002 +Α1:2006 +A2:2013 §29 ΕLΟΤ 1413-1:1999 |
| Luminaires |  | EN IEC 60598-1:2021 +A11:2022 §4.18.1 |
| Plugs and fixed or portable socket-outlets | Marking requirements. Marking durability test. | ΙEC 60884-1:2002 +Α1:2006 +A2:2013 §8.8 ΕLΟΤ 1413-1:1999 §8 |
| Conduit systems for cable management |  | ΕΝ 61386-1:2008 +A1:2019 §7 |
| Household and similar use electrical appliances |  | ΕΝ 60335-1:2012 +A11:2014 +A13:2017 +A1:2019 +A2:2019 +A14:2019 +A15:2021 §7 |
| Luminaires |  | EN IEC 60598-1:2021 +A11:2022 §3 |
| Domestic cooking appliances burning gas |  | EN 30-1-1:2021 §8.1 §8.2 |
| Electric toys |  | EN IEC 62115:2020 +A11:2020 §7 |
| Audio/video, information and communication technology equipment |  | EN IEC 62368-1-2020 +A11:2020 §5.7.6.2 |
| Medical electrical equipment |  | ΕΝ 60601-1:2006 +A1:2013 +A12:2014 +A2:2021 § 7.1.3 |
| Cable ties for electrical installations |  | EN IEC 62275:2019 §7 |
| Electric vehicle conductive charging system |  | EN IEC 61851-1:2019 §16.5 |
| Electric cables: | Compliance with construction requirements Compliance with construction requirements (con.) | ΕΝ 50396:2005 + Α1:2011 §5 ΕΝ 60228:2005 §7 HD 308 S2:2001 §3 |
| Electric cables - Low voltage energy cables of rated voltages up to and including 450/750 V (U0/U) |  | ΕΝ 50525-1:2011 §5 |
| Cables for general applications - Flexible cables with thermoplastic PVC insulation |  | EN 50525-2-11:2011 §4 §5 |
| Cables for general applications - Flexible cables with crosslinked elastomeric insulation |  | EN 50525-2-21:2011 §4 §5 §6 §7 §8 |
| Cables for general applications - Single core non-sheathed cables with thermoplastic PVC insulation |  | EN 50525-2-31:2011 §4 §5 |
| Cables for general applications - Flat tinsel cables (cords) with thermoplastic PVC insulation |  | EN 50525-2-71:2011 §4 |
| Cables for general applications - Cables with crosslinked elastomeric covering for arc welding |  | EN 50525-2-81:2011 §4 |
| Cables with special fire performance - Single core non-sheathed cables with halogen-free crosslinked insulation, and low emission of smoke |  | EN 50525-3-41:2011 §4 |
| Polyvinyl chloride insulated and sheathed power cables for rated voltage 600/1000 V |  | ΕLΟΤ 843:2016 §4 |
| Polyvinyl chloride insulated and sheathed power cables for rated voltage 450/750 V |  | ΕLΟΤ 563.1.1:2003 §2.3 |
| Cables with crosslinked elastomeric insulation for rated voltage 450/750 V |  | ΕLΟΤ 623.1.1:2003 §5 |
| Polyvinyl chloride insulated cables of rated voltages up to and including 450/750 V |  | IEC 60227-1:2007 §3 §4 |
| Rubber insulated cables - Rated voltages up to and including 450/750 V |  | IEC 60245-1:2003 +A1:2007 §3 §4 |
| Sheathed Polyvinyl chloride (PVC) insulated cables of rated voltages up to and including 450/750 V |  | ΕΛΟΤ 563.4:1997 +Α1:2003 Πίνακας 2 |
| Flexible cables with thermoplastic PVC insulation of rated voltages up to and including 450/750 V |  | ΕΛΟΤ 563.5:1987 +Α1:2003 §2 §3 §4 §5 Πίνακες 2, 4, 6 και 8 |

*Test method standard included in the product harmonized standard EN 50575:2014+A1:2016§5

**Stantards relevant to the test method standard

***standard relevant to the classification regarding the reaction to fire

Site of assessment:   Laboratory permanent premises, Α’ Industrial Area, P.O. Box 13, GR 385 00 Volos

Approved signatories: K. Kariniotakis, N. Exarcheas

This Scope of Accreditation replaces the previous one dated September 29th, 2023.

The Accreditation Certificate No. 1182, to ELOT EN ISO/IEC 17025:2017, is valid until June 3rd, 2024, according ESYD decision.

Athens, April  3rd, 2024

Christos Nestoras

CEO of ESYD