Hellenic Accreditation System

Annex G1/Δ4 to the Certificate No. 662-8

SCOPE of ACCREDITATION

of the

Clinical Laboratory

of the

PRIVATE COOPERATIVE DIAGNOSTIC LABORATORIES MEDISYN MEDICAL S.A.-

LARISSA BRANCH

| Materials/Products tested | Types of test/Properties measured | Applied methods/Techniques used |
| --- | --- | --- |
| Immunochemical Tests |
| Blood Serum Blood Serum (continued) | Determination of 30 parameters | Automated immunology analyzers Centaur SIEMENS * Δ.550, Ε.550-1, Ε550-2 |
|  | 1. Cortisol | Chemiluminescence (CLIA) (competitive) Ref. 10994926 |
|  | 2. Estradiol (E2) | Chemiluminescence (CLIA) (competitive) Ref. 10491445 |
|  | 3. Free Prostate Specific Antigen (FPSA) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 06862518 |
|  | 4. Free Triidothyronine (FT3) | Chemiluminescence (CLIA) (competitive) Ref. 03154228 |
|  | 5. Free Thyroxine (FT4) | Chemiluminescence (CLIA) (competitive) Ref. 06490106 |
|  | 6. β-Human Chorionic Gonadotropine (β-HCG) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 00643953 |
|  | 7. Immunoglobulin Ε (IgE) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 03359776 |
|  | 8.Progesterone (PRG) | Chemiluminescence (CLIA) (competitive) Ref. 01586287 |
|  | 9. Testosterone Total (TT) | Chemiluminescence (CLIA) (competitive) Ref. 10696863 |
|  | 10. Total Triidothyronine (TT3) | Chemiluminescence (CLIA) (competitive) Ref. 04779663 |
|  | 11.Total Thyroxine (TT4) | Chemiluminescence (CLIA) (competitive) Ref. 09236439 |
|  | 12. Carcinoembryonic Antigen (CEA) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 09788458 |
|  | 13. Cancer Antigen 19-9 (CA 19-9) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 10491244 |
|  | 14. Cancer Antigen 15-3 (CA 15-3) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 00128609 |
|  | 15. Cancer Antigen 125 (CA 125) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 01678114 |
|  | 16. α-Fetoprotein (AFP) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 03305838 |
|  | 17. Prostate Specific Antigen (PSA) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 02676506 |
|  | 18. Ferritin | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 00495776 |
|  | 19.Vitamin B12 | Chemiluminescence (CLIA) (competitive) Ref. 09544818 |
|  | 20. Folate | Chemiluminescence (CLIA) (competitive) Ref. 06891541 |
|  | 21. Follicle Stimulating Hormone (FSH) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 01360521 |
|  | 22. Luteinizing Hormone (LH) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 02212941 |
|  | 23. Prolactin (PRL) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 09505871 |
|  | 24. Thyroid-stimulating hormone (TSH) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 06491080 |
|  | 25.Anti-thyroglobulin antibodies (anti-TG) | Chemiluminescence (CLIA) (Competitive) Ref. 10492399 |
|  | 26. Anti-thyroid peroxidase antibodies (anti-TPO) | Chemiluminescence (CLIA) (Competitive) Ref. 10630887 |
|  | 27. 25-ΟΗ Vitamin D | Chemiluminescence (CLIA) (competitive) Ref. 10699533 |
| Blood serum or blood plasma (EDTA) | 28. Intact Parathyroid Hormone (iPTH) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 10699155 |
| Biochemical Tests |
| Blood Serum | Determination of 34 parameters | Automated Biochemistry analyzers Siemens ADVIA 1800* Δ.550, Ε.550-1, Ε550-2 |
|  | 1.Total Cholesterol(TC) | Enzymatic - Colorimetric (CHOD-PAP) Ref.10376501 |
|  | 2. Calcium Total (Ca) | Colorimetric assay (OCPC) Ref. 7506552 |
|  | 3. Phosphate (P) | Phosphomolybdate/UV ref 03056927 |
|  | 4. Glucose(GLU) | Enzymatic - Colorimetric (GOD-PAP) Ref. 10492319 |
|  | 5. Creatinine (CREA ) | Enzymatic - Colorimetric (Jaffe) Ref. 3039070 |
|  | 6. Potassium (K) | Ion Selective Electrode (ISE) Ref. 6135445 |
|  | 7. Sodium (Na) | Ion Selective Electrode (ISE) Ref. 3092699 |
|  | 8. Magnesium (Mg) | Colorimetric (Xylidyl blue) Ref. 02271328 |
|  | 9. Albumin (ALB) | Colorimetric (BCP) Ref. 10711840 |
|  | 10. Total Proteins (TP) | Colorimetric (Biuret) Ref.1803350 |
|  | 11.Total globin (SF) | Calculated from: TP, ALB |
|  | 12. Albumin/Globin ratio | Calculated from: ALB, SF |
|  | 13. Amylase (AMY) | Enzymatic - Colorimetric (IFCC**) (G7-PNP) Ref. 3031177 |
|  | 14. HDL Cholesterol (HDL-C) | Enzymatic - Colorimetric (PEG) Ref.6521559 |
|  | 15. Aspartate Aminotransferase (AST/SGOT) | Colorimetric (IFCC**) Ref. 3039631 |
|  | 16. Alanine Aminotransferase (ALT/SGPT) | Colorimetric (IFCC**) Ref. 3036926 |
|  | 17. Direct Bilirubin (DBIL) | Colorimetric (DPD) Ref. 2188390 |
|  | 18. Total Bilirubin (TBIL) | Colorimetric (DPD) Ref. 2188064 |
|  | 19.Urea | Enzymatic - Kinetic -Colorimetric (Urease) Ref. 3040257 |
|  | 20. Uric Acid (UA) | Enzymatic - Colorimetric (Uricase-Peroxidase) Ref. 03051305 |
|  | 21. Alkaline Phosphatase (ALP) | Colorimetric (IFCC**) Ref. 10916067 |
|  | 22. Gamma-Glutamyl transferase (γGT) | Enzymatic - Colorimetric (γ-Glutamyl-3-carboxyl-4nitroanilide) Ref. 2011954 |
|  | 23. Triglycerides (TGs) | Enzymatic - Colorimetric (GPO-PAP) Ref.10335892 |
|  | 24. Lactate Dehydrogenase (LDH) | Enzymatic - Colorimetric (P - L) (DGKC***) Ref. 3030863 |
|  | 25. Iron (Fe) | Colorimetric (Ferrozine) Ref.10377510 |
|  | 26. Cholinesterase (CHE) | Colorimetric (Butyryl Thiocholine/5-thio-2-nitrobenzoate) Ref. 01410545 |
|  | 27. Chloride (Cl) | Ion Selective Electrode (ISE) Ref.07097504 |
|  | 28. Lipoprotein-a [Lp(a)] | Immunoturbidimetry (ITA) Ref. 04862528 |
|  | 29. C-reactive protein (CRP) | Immunoturbidimetry (ITA) Ref. 00829585 |
|  | 30. VLDL Cholesterol (VLDL-C) | Calculated from TRIG (Enzymatic - Colorimetric) |
|  | 31. Atherogenic index ((TC)/ (HDL-C)) | Calculated from: TC, HDL-C |
|  | 32.Non-HDL-C | Calculated from: TC, HDL-C |
|  | 33. Total Lipids | Calculated from TC and TG (Enzymatic - Colorimetric) |
|  | 34. Phospholipids | Calculated from TC (Enzymatic - Colorimetric) |
| Blood Coagulation Tests |
| Blood plasma (citrate) Determination of 5 parameters Automated Coagulation Analyzer Sysmex CS2000* Δ.550, Ε.550-1, Ε550-2 1. Prothrombin time (PT sec) Clot detection Ref. OUHP 29/49 2. Prothrombin time (PT %) Clot detection Ref. ΟUHP 29/49 3. Prothrombin time (International Normalized Ratio, PT INR) Clot detection Ref. ΟUHP 29/49 4. Activated partial prothrombin time (aPTT) Clot based assay REF:OQGS29 5. Fibrinogen activity (FIB) Clot detection REF:B4233-27 |
| Chemical tests |
| Determination of 2 Parameters Atomic Absorption Spectrometer Perkin Elmer PinAAcle 900Z. Blood Serum 1. Determination of Selenium (Se) Ιn-house method with GFAAS and Zeeman background correction, based on existing literature and protocols, Ref. N3050672 Whole blood (EDTA) 2. Determination of Lead (Pb) Ιn-house method with GFAAS and Zeeman background correction, based on Perkin Elmer’s protocols and existing literature, Ref. N3050657 |
| Hematological Tests |
| Whole blood (EDTA) | Determination of 1 parameter | High-performance liquid chromatography (HPLC) analyzers G8, TOSOH Biosciences* Δ.550, Ε.550-1, Ε550-2 |
|  | 1. Glycated Haemoglobin A1C (HbA1C) | Ion-exchange high-performance liquid chromatography (HPLC) Refs: 021849-1 021850-1 021851-1 18431L-1 021848 |

*Reference to the commercial name of a specific analyzer/kit,  refers to a specific analytical method and protocol

**IFCC: International Federation of Clinical Chemistry

***Deutsche Gesellschaft für Klinische Chemie

Site of assessement: Permanent Laboratory premises, 119 Sokratous str., P.C. 41336, Larissa, Greece.

Approved signatories: Ch. Dinas, S. Vytiniotis, E.Palaskas.

This scope of Accreditation replaces the previous one dated 04.03.2022.

The Accreditation Certificate No. 662-8, to ELOT EN ISO 15189:2012, is valid until 21.03.2026.

Athens, August 01, 2022

# Christos Nestoras

CEO of ESYD