Hellenic Accreditation System

Annex G1/B8 to the Certificate No. 988-4 SCOPE of ACCREDITATION of the Blood Bank Unit of the University General Hospital «ΑΤΤΙΚΟΝ»

| Tested materials/products | Types of tests / Properties to be measured | Applied Standards / Techniques to be used |
| --- | --- | --- |
| Immunohematology Techniques |
| Anticoagulated whole blood sample | 1. ABO – RhD Type of Red Cells | Biovue Column Agglutination Technology (microcolumns with glass bead matrix as filter), Analyzers AUTOVUE INNOVA, VISION MAX (ORTHO) Ο.560-5 |
| Anticoagulated whole blood sample | 2. ABO – RhD Type of Red Cells | Direct hemagglutination technique. Analyzer NEO IRIS Δ.560 |
| Anticoagulated whole blood sample | 3. Rh Phenotype (C, c, E, e), Kell | Biovue Column Agglutination Technology (microcolumns with glass bead matrix as filter), Analyzers AUTOVUE INNOVA, VISION MAX (ORTHO) Ο.560-5 |
| Anticoagulated whole blood sample | 4. Rh Phenotype (C, c, E, e), Kell | Direct hemagglutination technique. Analyzer NEO IRIS Δ.560 |
| Serum or plasma | 5. Indirect Antiglobulin test (IAT) | Biovue Column Agglutination Technology (microcolumns with glass bead matrix as filter), Analyzers AUTOVUE INNOVA, VISION MAX (ORTHO) O.560-5 |
| Serum or plasma | 6. Indirect Antiglobulin test (IAT) | Solid phase in microplate (Capture R technique) Analyzer NEO IRIS Δ.560 |
| Serum | 7. Investigation of a positive IAT- Antibody/dies identification | Gel column agglutination with the use of 11 control cells (panel) treated with enzyme and untreated Ο.560-7 |
| Serum | 8. Investigation of a positive IAT- Antibody/dies identification | Biovue Column Agglutination Technology (microcolumns with glass bead matrix as filter), Analyzer VISION MAX (ORTHO) Ο.560-5 |
| Red cells from an anticoagulated blood sample | 9. Direct Antiglobulin Test (DAT) | Biovue Column Agglutination Technology (microcolumns with glass bead matrix as filter), Analyzers AUTOVUE INNOVA, VISION MAX (ORTHO) Ο.560-5 |
| Red cells from an anticoagulated blood sample | 10. Investigation of a positive DAT | Gel Column Agglutination Technology Ο.560-3 |
| Patient serum or plasma samples and donor red cell suspension | 11. Compatibility testing | Biovue Column Agglutination Technology (microcolumns with glass bead matrix as filter), Analyzer AUTOVUE INNOVA (ORTHO) Ο.560-5 |
| Patient serum or plasma samples and donor red cell suspension | 12. Compatibility testing | Gel Column Agglutination Technology, Analyzer ID-GEL-STATION (DIAMED) Ο.560-4 |
| Packed red cells or anticoagulated whole blood sample | 13. Erythrocyte antigen phenotyping | Solid phase in microplate (technique Capture R) for antigens Fya, Fyb, S, s, cellano . Direct hemagglutination technique for antigens jka, jkb, M and N. Analyzer NEO IRIS Δ.560 |
| Serum or plasma | 14. Indirect Antiglobulin test (IAT) | Gel Column Agglutination Technology Analyzer BIORAD IH 500 O.410-18 |
| Patient serum or plasma samples and donor red cell suspension | 15. Compatibility testing | Gel Column Agglutination Technology, Analyzer BIORAD IH 500 Ο.410-18 |

*The trade name of the analyzer refers to a specific analytical method and work protocol.

Site of assessment : Laboratory permanent premises: 1 Rimini str, 12462 Haidari, Attiki, Greece.

Approved signatories: Tsantes Argyrios, Douramani Panagiota, Kyriakou Elias, Kalantzis Dimitrios, Kokori Styliani, Kypraiou Athina, Katsadiotis George, Poulis  Aristarchos,  (Medical Personnel).

Approved signatories: Loukopoulou Ilektra, Karagouni Maria, Antonopoulou Anthi, , Korkidaki Georgia, Gougoutsi Vasiliki Mamoureli Angeliki, Tsalas Stavros, Mandani Christina,Stasinou Ioulia,  Iliana Tsampoula,Melissinou Maria  (Nursing personnel),  Papachristodoulou Maria, Makri Efstathia, Sympikou Ifigenia Ekaterini Kreatsoula,Kouni Konstantina.Petalari Nevila  (Medical Laboratories Technicians),  for all these tests except for cases requiring investigation which is made by the responsible physician.

This Scope of Accreditation replaces the previous one dated 22.06.2023.

The Accreditation Certificate No. 988-4, to ELOT EN ISO 15189:2012, is valid until 23.06.2026.

Athens, 25th  October 2023

Christos Nestoras

CEO of ESYD