Hellenic Accreditation System

Annex F1/1 to the Certificate No. 1296

SCOPE of ACCREDITATION of the Electrical Testing Laboratory of SUNLIGHT GROUP ENERGY STORAGE SYSTEMS

| Materials/ Products to be tested | Types of test / Properties to be measured | Applied methods / Techniques to be used |
| --- | --- | --- |
|  | Electrical tests |  |
| Stationary Lead-Acid Battery Cells Traction Lead-Acid Battery Cells | Capacity (Discharge - Up to 1500 Α) | IEC 60254-1, § 5.2 IEC 60896-11, § 14 BCI-14 IEC 60896-21, § 6.11 |
|  | Charge Retention (during storage) | IEC 60254-1, § 5.3 IEC 60896-11, § 18 IEC 60896-21, § 6.12 |
|  | High-Rate Discharge Performance | IEC 60254-1, § 5.4 |
|  | Endurance Cyclic in discharge-charge cycle in overcharge | IEC 60254-1, § 5.5 IEC 60896-11, § 16 IEC 60896-11, § 17 |
|  | Suitability for floating battery operation | IEC 60896-11, § 15 |
|  | Short – circuit current and internal resistance determination | IEC 60896-11, § 19 |
|  | High current tolerance | IEC 60896-21, § 6.2 |
|  | Short circuit and d.c. internal resistance | IEC 60896-21, § 6.3 |
|  | Protection against ground short propensity | IEC 60896-21, § 6.5 |
|  | Float service with daily discharges | IEC 60896-21, § 6.13 |
|  | Recharge behavior | IEC 60896-21, § 6.14 |
|  | Service life at an operating temperature of 40 0C | IEC 60896-21, § 6.15 |
|  | Abusive over-discharge Up to 1500Α | IEC 60896-21, § 6.17 |
|  | Low temperature sensitivity | IEC 60896-21, § 6.19 |
|  | Life cycle | BCI-15 |
|  | Partial state of charge life test | BCI-22 |
|  | Other tests |  |
| Stationary Lead-Acid Battery Cells | Content and durability of required markings | IEC 60896-21, § 6.6 |
|  | Material identification | IEC 60896-21, § 6.7 |
|  | Valve operation | IEC 60896-21, § 6.8 |
|  | Intercell connector performance | IEC 60896-21, § 6.10 |
|  | Impact of a stress temperature of 55 0C or 60 0C | IEC 60896-21, § 6.16 |
|  | Dimensional stability at elevated internal pressures and temperatures | IEC 60896-21, § 6.20 |
|  | Stability against mechanical abuse of units during installation | IEC 60896-21, § 6.21 |

Site of assessment: Laboratory permanent premises, Neo Olvio, Xanthi, Greece.

Approved signatories: Κ.Kelesidis, K.Mitrou

The Accreditation Certificate No. 1296, to ELOT EN ISO/IEC 17025:2017, is valid until 11.05.2026.

Athens, 12.05.2022

Christos Nestoras

CEO of ESYD