Hellenic Accreditation System

Annex G1/Α13 to the Certificate No. 662-8

SCOPE of ACCREDITATION

of the

Clinical Laboratory

of the

PRIVATE COOPERATIVE DIAGNOSTIC LABORATORIES MEDISYN MEDICAL S.A.-

THESSALONIKH BRANCH

| Materials/Products tested | Types of test/Properties measured | Applied methods/Techniques used |
| --- | --- | --- |
| Immunochemical Tests |
| Blood Serum Blood Serum (continued) | Determination of 28 parameters | Automated immunology analyzers Centaur SIEMENS * Δ.550, Ε.550-1, Ε550-2 |
|  | 1. β-Human Chorionic Gonadotropine (β-HCG) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 00643953 |
|  | 2.Progesterone (PRG) | Chemiluminescence (CLIA) (competitive) Ref. 01586287 |
|  | 3. Estradiol (E2) | Chemiluminescence (CLIA) (competitive) Ref. 10491445 |
|  | 4. Carcinoembryonic Antigen (CEA) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 09788458 |
|  | 5. Cancer Antigen 19-9 (CA 19-9) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 10491244 |
|  | 6. Cancer Antigen 15-3 (CA 15-3) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 00128609 |
|  | 7. Cancer Antigen 125 (CA 125) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 01678114 |
|  | 8. α-Fetoprotein (AFP) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 03305838 |
|  | 9. Prostate Specific Antigen (PSA) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 02676506 |
|  | 10. Free Prostate Specific Antigen (FPSA) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 06862518 |
|  | 11. Ratio: FPSA/ PSA | Calculated from: FPSA and PSA |
|  | 12. Ferritin | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 00495776 |
|  | 13.Vitamin B12 | Chemiluminescence (CLIA) (competitive) Ref. 09544818 |
|  | 14. Folate | Chemiluminescence (CLIA) (competitive) Ref. 06891541 |
|  | 15. Follicle Stimulating Hormone (FSH) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 01360521 |
|  | 16. Luteinizing Hormone (LH) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 02212941 |
|  | 17. Prolactin (PRL) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 09505871 |
|  | 18. Thyroid-stimulating hormone (TSH) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 06491080 |
|  | 19.Total Thyroxine (TT4) | Chemiluminescence (CLIA) (competitive) Ref. 09236439 |
|  | 20. Total Triidothyronine (TT3) | Chemiluminescence (CLIA) (competitive) Ref. 04779663 |
|  | 21. Free Thyroxine (FT4) | Chemiluminescence (CLIA) (competitive) Ref. 06490106 |
|  | 22. Free Triidothyronine (FT3) | Chemiluminescence (CLIA) (competitive) Ref. 03154228 |
|  | 23.Anti-thyroglobulin antibodies (anti-TG) | Chemiluminescence (CLIA) (Competitive) Ref. 10492399 |
|  | 24. Anti-thyroid peroxidase antibodies (anti-TPO) | Chemiluminescence (CLIA) (Competitive) Ref. 10630887 |
|  | 25. 25-ΟΗ Vitamin D | Chemiluminescence (CLIA) (competitive) Ref. 10699533 |
|  | 26. Testosterone Total (TT) | Chemiluminescence (CLIA) (competitive) Ref. 10696863 |
| Blood serum or blood plasma (EDTA) | 27. Intact Parathyroid Hormone (iPTH) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 10699155 |
|  | 28 Homocystein Total | Chemiluminescence (CLIA) (competitive) Ref. 05370300 |
| Blood Serum | Determination of 1 parameter | AP16IF PLUS / Immunofluorescence microscopy |
|  | Antinuclear antibodies (ANA) | Indirect Immunofluorescence (IFA) REF:FA3403 |
| Blood Serum | Detection of 9 antibodies | Automated immunochemical analyzer Abbott ARCHITECTi2000sr * Δ.550, Ε.550-1, Ε550-2 |
|  | 1. Cytomegalovirus IgG antibodies (CMV IgG) | Chemiluminescent microparticle immunoassay (CMIA) (non-competitive) Ref.B6C15G |
|  | 2. Cytomegalovirus IgM antibodies (CMV IgM) | Chemiluminescent microparticle immunoassay (CMIA) (non-competitive) Ref.B6C16G |
|  | 3. Toxoplasma IgG antibodies (TOXO IgG) | Chemiluminescent microparticle immunoassay (CMIA) (non-competitive) Ref.B6C19G |
|  | 4. Toxoplasma IgM antibodies (TOXO IgM) | Chemiluminescent microparticle immunoassay (CMIA) (non-competitive) Ref.B6C20G |
|  | 5. Rubella virus IgG antibodies (Rubella IgG) | Chemiluminescent microparticle immunoassay (CMIA) (non-competitive) Ref.B6C1HG |
|  | 6. Rubella virus IgM antibodies (Rubella IgM) | Chemiluminescent microparticle immunoassay (CMIA) (non-competitive) Ref.B6C18G |
|  | 7. Hepatitis B virus surface antigen (HBsAg) | Chemiluminescent microparticle immunoassay (CMIA) (non-competitive) Ref. 2G22-35 |
|  | 8. Hepatitis C IgG antibodies (Anti-HCV) | Chemiluminescent microparticle immunoassay (CMIA) (non-competitive) Ref. 6C37-38 |
|  | 9. Hepatitis B virus surface antibodies (HBsAb) | Chemiluminescent microparticle immunoassay (CMIA) (non-competitive) Ref. 7C1839 |
| Blood Serum | Determination of 1 parameter | Automated immunochemical analyzer IMMULITE 2000 SIEMENS* Δ.550, Ε.550-1, Ε550-2 |
|  | 1. Calcitonin (CT) | Chemiluminescence (CLIA) (non-competitive) Ref. L2KCL-2 |
| Blood Serum | Determination of 8 specific proteins | Automated biochemistry analyzers Siemens Advia 1800* Δ.550, Ε.550-1, Ε550-2 |
|  | 1. Complement C3 | Immunoturbidimetry (ITA) Ref.3060444 |
|  | 2. Complement C4 | Immunoturbidimetry (ITA) Ref.3060770 |
|  | 3. Antistreptolysine Ο (ASTO) | Immunoturbidimetry (ITA) Ref.3055483 |
|  | 4.Reumatoid Factor (RF) - quantitative | Immunoturbidimetry (ITA) Ref.655137 |
|  | 5.C Reactive Protein (CRP) - quantitative | Immunoturbidimetry (ITA) Ref.829585 |
|  | 6. Immunoglobulin A (IgA) | Immunoturbidimetry (ITA) Ref.2194102 |
|  | 7. Immunoglobulin G (IgG) | Immunoturbidimetry (ITA) Ref.2193432 |
|  | 8. Immunoglobulin M (IgM) | Immunoturbidimetry (ITA) Ref.2193483 |
|  | Determination of 1 specific protein | Automated immunology analyzers Centaur SIEMENS * Δ.550, Ε.550-1, Ε550-2 |
|  | 1. Immunoglobulin Ε (IgE) | Chemiluminescence (CLIA) (non-competitive sandwich) Ref. 03359776 |
| Biochemical Tests |
| Blood Serum Blood Serum (continued) | Determination of 35 parameters | Automated Biochemistry analyzers Siemens ADVIA 1800* Δ.550, Ε.550-1, Ε550-2 |
|  | 1.Total Cholesterol(TC) | Enzymatic - Colorimetric (CHOD-PAP) Ref.10376501 |
|  | 2. HDL Cholesterol (HDL-C) | Enzymatic - Colorimetric (PEG) Ref.6521559 |
|  | 3. Triglycerides (TGs) | Enzymatic - Colorimetric (GPO-PAP) Ref.10335892 |
|  | 4. VLDL Cholesterol (VLDL-C) | Calculated from TRIG (Enzymatic - Colorimetric) |
|  | 5. Atherogenic index ((TC)/ (HDL-C)) | Calculated from: TC, HDL-C |
|  | 6.Non-HDL-C | Calculated from: TC, HDL-C |
|  | 7. Total Lipids | Calculated from CHOL and TRIG (Enzymatic - Colorimetric) |
|  | 8. Phospholipids | Calculated from CHOL (Enzymatic - Colorimetric) |
|  | 9. Iron (Fe) | Colorimetric (Ferrozine) Ref.10377510 |
|  | 10. Albumin (ALB) | Colorimetric (BCP) Ref. 10711840 |
|  | 11. Total Proteins (TP) | Colorimetric (Biuret) Ref.1803350 |
|  | 12.Total globin (SF) | Calculated from: TP, ALB |
|  | 13. Albumin/Globin ratio | Calculated from: ALB, SF |
|  | 14. Calcium Total (Ca) | Colorimetric (OCPC) Ref. 7506552 |
|  | 15. Magnesium (Mg) | Colorimetric (Xylidyl blue) Ref. 02271328 |
|  | 16. Phosphate (P) | Colorimetric (Phosphomolybdate) Ref. 3056927 |
|  | 17. Glucose(GLU) | Enzymatic - Colorimetric (GOD-PAP) Ref. 10492319 |
|  | 18. Creatinine (CREA ) | Enzymatic - Colorimetric (Jaffe) Ref. 3039070 |
|  | 19.Urea | Enzymatic - Kinetic -Colorimetric (Urease) Ref. 3040257 |
|  | 20. Serum osmolality | Calculated from: GLU, Na, UREA |
|  | 21.Nitrogen serum | Calculated from: UREA |
|  | 22. Uric Acid (UA) | Enzymatic - Colorimetric (Uricase-Peroxidase) Ref. 03051305 |
|  | 23. Aspartate Aminotransferase (AST/SGOT) | Colorimetric (IFCC**) Ref. 3039631 |
|  | 24. Alanine Aminotransferase (ALT/SGPT) | Colorimetric (IFCC**) Ref. 03036926 |
|  | 25. Gamma-Glutamyl transferase (γGT) | Enzymatic - Colorimetric (γ-Glutamyl-3-carboxyl-4nitroanilide) Ref. 2011954 |
|  | 26. Lactate Dehydrogenase (LDH) | Enzymatic - Colorimetric (P - L) (DGKC***) Ref. 3030863 |
|  | 27. Alkaline Phosphatase (ALP) | Colorimetric (IFCC**) Ref. 10916067 |
|  | 28. Creatine Kinase (CK/CPK) | Enzymatic - Colorimetric (IFCC**) Ref. 10729780 |
|  | 29. Total Bilirubin (TBIL) | Colorimetric (DPD) Ref. 2188064 |
|  | 30. Amylase (AMY) | Enzymatic - Colorimetric (IFCC**) (G7-PNP) Ref. 3031177 |
|  | 31. LpA | Immunoturbidimetry (ITA) Ref.4862528 |
|  | 32. Potassium (K) | Ion Selective Electrode (ISE) Ref. 6135445 |
|  | 33. Sodium (Na) | Ion Selective Electrode (ISE) Ref. 3092699 |
| Urine | 34. Urine Microalbumin | Polyethylene glycol (PEG) enhanced immunoturbidimetric ref 03051194 |
|  | 35. Urine Total Protein | Colorimetric REF:11319151 |
| Hematological Tests |
| Whole blood (EDTA) | Determination of 10 parameters | Automated haematological analyzers ADVIA 2120i, SIEMENS* Δ.550, Ε.550-1, Ε550-2 |
|  | 1. Haemoglobin (HBG) | Photometric Refs: T01-3623-01 / 8008297 |
|  | 2. Red blood cells (RBC) | Flow cytometry Refs: T01-3623-01 / 8008297 |
|  | 3. Mean corpuscular volume (MCV) | Flow cytometry Refs: T01-3623-01 / 8008297 |
|  | 4. White blood cells (WBC) | Flow cytometry Refs: T01-3623-01 / 8008297 |
|  | 5. Platelets (PLTs) | Flow cytometry Refs: T01-3623-01 / 8008297 |
|  | 6. Haematocrit (HCT) | Calculated: % = RBC x MCV/10 |
|  | 7. Mean corpuscular haemoglobin (MCH) | Calculated: HBG / RBC |
|  | 8. Mean cell haemoglobin concentration (MCHC) | Calculated: (HBG / RBC) x MCV |
|  | 9. Red blood cell distribution width (RDW) | Flow cytometry Refs: T01-3623-01 / 8008297 |
|  | 10. Mean platelet volume (MPV) | Flow cytometry Refs: T01-3623-01 / 8008297 |
|  | Determination of 1 parameter | High performance liquid chromatography (HPLC) analyzers G8, TOSOH Biosciences* Δ.550, Ε.550-1, Ε550-2 |
|  | 1. Glycated Haemoglobin A1C (HbA1C) | Ion-exchange high performance liquid chromatography (HPLC) Refs: 021849-1 021850-1 021851-1 18431L-1 021848 |
| Blood Coagulation Tests |
| Blood plasma (citrate) | Determination of 3 parameters | Automated Coagulation Analyzer Sysmex CS5100 * Δ.550, Ε.550-1, Ε550-2 |
|  | 1. D-Dimer | Immunoturbidimetric assay Ref. OPBP 07 |
|  | 2. Activated partial prothrombin time (APPT) | Clot detection Ref. OQGS29 |
|  | 3. Fibrinogen activity (FIB) | Clot detection Ref. B4233-27 |
| Molecular diagnosis Tests |
| Nasopharyngeal, nasal, pharyngeal and / or oral sample, sputum, bronchoalveolar lavage. | Determination of 1 parameter | Extraction:Thermo Scientific™ KingFisher™ Flex Amplification: QuantStudio 5 * Δ.550, Ε.550-1, Ε550-2 |
|  | 1. Detection of RNA of SARS-CoV-2 virus / Qualitative | TaqPath™ COVID-19 Combo Kit Thermo Fisher Scientific Inc. CE-IVD Method |

*Reference to the commercial name of a specific analyzer/kit,  refers to a specific analytical method and protocol

**IFCC: International Federation of Clinical Chemistry

***DGKC: Deutsche Geselschaft fur Klinische Chemie

Site of assessement : Permanent Laboratory premises, 42, 26th October str., 54627, Thessaloniki, Greece.

Approved signatories: Ch. Dinas, S. Vytiniotis, A. Nalbanti.

This scope of Accreditation replaces the previous one dated 04.03.2022.

The Accreditation Certificate No. 662-8, to ELOT EN ISO 15189:2012, is valid until 21.03.2026.

Athens, August 01, 2022

# Christos Nestoras

CEO of ESYD