Hellenic Accreditation System

Annex G1/Α9 to the Certificate No. 958-5 SCOPE of ACCREDITATION of the Clinical Laboratory of LABNET MEDICAL S.A.

| Tested materials / Products | Types of test / Properties measured | Applied Standards / Techniques used |
| --- | --- | --- |
| Biochemical testing |
| Blood Serum Blood Serum (continued) | Determination of 47 parameters | Automated biochemical analyzer Alinity A cii (AC01164) ABBOTT* (ΕΞΟ-12/04/01-04-2023) |
|  | Albumin (ALB) | Colorimetric (Bromocresol Green) |
|  | Total Protein (TP) | Colorimetric (Biuret) |
|  | Total globulin | Calculated from total protein (TP) and albumin (ALB) |
|  | Albumin / Total globulin ratio | Calculated from total protein (TP) and albumin (ALB) |
|  | Glucose (GLUC) | Enzymatic – colorimetric (HEX-G6PDH) |
|  | Urea (UREA) | Enzymatic – colorimetric (Urease) |
|  | Blood Urea Nitrogen (BUN) | Calculated from urea (UREA) |
|  | Uric acid (UA) | Enzymatic – colorimetric (Uricase) |
|  | Creatinine (CREA) | Enzymatic – colorimetric (Jaffe) |
|  | Cholesterol Total (CHOL) | Enzymatic – colorimetric (CHO-OEP-HBA) |
|  | Triglycerides (TRIG) | Enzymatic – colorimetric (GPO) |
|  | HDL Cholesterol (HDL-Chol) | Enzymatic – colorimetric (ASD) |
|  | LDL Cholesterol (LDL-Chol) | Enzymatic – colorimetric |
|  | VLDL Cholesterol (VLDL-Chol) | Calculated from triglycerides (TRIG) |
|  | Atherogenic index | Calculated from total cholesterol (CHOL) and HDL cholesterol (HDL-Chol) |
|  | Total lipids (LIPIDS) | Calculated from total cholesterol (CHOL) and triglycerides (TRIG) |
|  | Phospholipids (PH-LIP) | Calculated from total cholesterol (CHOL) |
|  | Alanine Aminotransferase (ALT/SGPT) | Enzymatic –Kinetic - Colorimetric (NADH) |
|  | Aspartate Aminotransferase (AST/SGOT) | Enzymatic –Kinetic - Colorimetric (NADH) |
|  | Gamma-Glytamyl Transferase (γ-GT) | Enzymatic |
|  | Alkaline Phosphatase (ALP) | Enzymatic –Kinetic - Colorimetric (Para-nP) |
|  | Bilirubin Total (TBIL) | Enzymatic –Kinetic - Colorimetric (Diazonium) |
|  | Bilirubin direct (DBIL) | Enzymatic –Kinetic - Colorimetric (Diazo) |
|  | Bilirubin indirect (IBIL) | Calculated from bilirubin total (TBIL) and bilirubin direct (DBIL) |
|  | Amylase (AMY) | Enzymatic - Colorimetric (GNPG3) |
|  | Creatine Kinase (CK/CPK) | Enzymatic –Kinetic - Colorimetric (NAC) |
|  | Creatine kinase MB (CKMB) | Immunoinhibition (IFCC) |
|  | Lactate Dehydrogenase (LDH) | Enzymatic - Kinetic (IFCC) |
|  | Iron (Fe) | Colorimetric (Ferene) |
|  | Magnesium (Mg) | Enzymatic |
|  | Phosphorus (Phos) | Colorimetric (Phosphomolybdate) |
|  | Calcium (Ca) | Colorimetric (Arsenazo III) |
|  | Unsaturated Iron Binding Capacity (UIBC) | Colorimetric (Ferene) |
|  | Total Iron Binding Capacity (TIBC) | Calculated from UIBC and iron (Fe) |
|  | Transferrin saturation (TfS) | Calculated from iron (Fe) and TIBC |
|  | Potassium (K) | Ion Selective Electrodes (ISE) |
|  | Sodium (Na) | Ion Selective Electrodes (ISE) |
|  | Chloride (Cl) | Ion Selective Electrodes (ISE) |
|  | Serum Osmolality | Calculated from glucose (GLUC), urea (UREA) and sodium (Na) |
|  | Apolipoprotein A (ApoA) | Immunoturbidimetry (ITA) |
|  | Apolipoprotein B (ApoB) | Immunoturbidimetry (ITA) |
|  | C-reactive protein (CRP) | Turbidimetry (TA) / Immunoturbidimetry (ITA) |
|  | Lipoprotein a (Lpa) | Turbidimetry (TA) / Immunoturbidimetry (ITA) |
| Urine | Total Protein urine (uPRO) | Turbidimetry (TA) |
|  | Microalbumin urine (uALB) | Turbidimetry (TA) / Immunoturbidimetry (ITA) |
|  | Creatinine urine (CREA-U) | Enzymatic – colorimetric (Jaffe) |
|  | Calcium urine (Ca-U) | Colorimetric (Arsenazo III) |
| Blood serum | Determination of 43 parameters | Automated biochemical analyzer Alinity B cii (AC01282) ABBOTT* (ΕΞΟ-12/04/01-04-2023) |
|  | Complement C3 (C3) | Immunoturbidimetry (ITA) |
|  | Complement C4 (C4) | Immunoturbidimetry (ITA) |
|  | Immunoglobulin A (IgA) | Immunoturbidimetry (ITA) |
|  | Immunoglobulin G (IgG) | Immunoturbidimetry (ITA) |
|  | Immunoglobulin M (IgM) | Immunoturbidimetry (ITA) |
|  | C-reactive protein (CRP) | Turbidimetry (TA) / Immunoturbidimetry (ITA) |
|  | Rheumatoid factor (RF) | Immunoturbidimetry (ITA) |
|  | Cholinesterase (Che) | Enzymatic –Kinetic - Colorimetric (DGKC) |
|  | Antistreptolysin-O (ASTO) | Latex agglutination/ Turbidimetry (TA) |
|  | Valproic acid (VPA) | Particle-enhanced turbidimetric inhibition immunoassay (PETINIA) |
|  | Digoxin (Digoxin) | Particle-enhanced turbidimetric inhibition immunoassay (PETINIA |
|  | Immunoglobulin E (IgE) | Immunoturbidimetry (ITA) |
|  | b2-Microglobulin (B2-M) | Turbidimetry (TA) / Immunoturbidimetry (ITA) |
|  | Albumin (ALB) | Colorimetric (Bromocresol Green) |
|  | Total Protein (TP) | Colorimetric (Biuret) |
|  | Total globulin | Calculated from total protein (TP) and albumin (ALB) |
|  | Albumin / Total globulin ratio | Calculated from total protein (TP) and albumin (ALB) |
|  | Glucose (GLUC) | Enzymatic – colorimetric (HEX-G6PDH) |
|  | Urea (UREA) | Enzymatic – colorimetric (Urease) |
|  | Blood Urea Nitrogen (BUN) | Calculated from urea (UREA) |
|  | Uric acid (UA) | Enzymatic – colorimetric (Uricase) |
|  | Creatinine (CREA) | Enzymatic – colorimetric (Jaffe) |
|  | Cholesterol Total (CHOL) | Enzymatic – colorimetric (CHO-OEP-HBA) |
| Blood Serum (continued) | Triglycerides (TRIG) | Enzymatic – colorimetric (GPO) |
|  | HDL Cholesterol (HDL-Chol) | Enzymatic – colorimetric (ASD) |
|  | LDL Cholesterol (LDL-Chol) | Enzymatic – colorimetric |
|  | VLDL Cholesterol (VLDL-Chol) | Calculated from triglycerides (TRIG) |
|  | Atherogenic index | Calculated from total cholesterol (CHOL) and HDL cholesterol (HDL-Chol) |
|  | Total lipids (LIPIDS) | Calculated from total cholesterol (CHOL) and triglycerides (TRIG) |
|  | Phospholipids (PH-LIP) | Calculated from total cholesterol (CHOL) |
|  | Alanine Aminotransferase (ALT/SGPT) | Enzymatic –Kinetic - Colorimetric (NADH) |
|  | Aspartate Aminotransferase (AST/SGOT) | Enzymatic –Kinetic - Colorimetric (NADH) |
|  | Gamma-Glytamyl Transferase (γ-GT) | Enzymatic |
|  | Amylase (AMY) | Enzymatic - Colorimetric (GNPG3) |
|  | Creatine Kinase (CK/CPK) | Enzymatic –Kinetic - Colorimetric (NAC) |
|  | Lactate Dehydrogenase (LDH) | Enzymatic - Kinetic (IFCC) |
|  | Iron (Fe) | Colorimetric (Ferene) |
|  | Magnesium (Mg) | Enzymatic |
|  | Calcium (Ca) | Colorimetric (Arsenazo III) |
|  | Potassium (K) | Ion Selective Electrodes (ISE) |
|  | Sodium (Na) | Ion Selective Electrodes (ISE) |
|  | Chloride (Cl) | Ion Selective Electrodes (ISE) |
|  | Serum Osmolality | Calculated from glucose (GLUC), urea (UREA) and sodium (Na) |
| Immunochemical Testing |
| Blood Serum Blood serum (continued) | Determination of 17 parameters | Automated immunoassay analyzer Alinity A cii (AI01287) ABBOTT* (ΕΞΟ-12/04/01-04-2023) |
|  | Ferritin (FERR) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Thyroid-Stimulating Hormone (TSH) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Anti-Thyroglobulin antibodies (anti-TG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Anti-Thyroid Peroxidase antibodies (anti-TPO) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Free Triiodothyronine (FT3) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Free Thyroxine (FT4) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Total Triiodothyronine (TT3) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Total Thyroxine (TT4) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Thyroglobulin (TG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Insulin (Insulin) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | C-peptide (C-peptide) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Troponin I high sensitivity (TnI hs) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Sex Hormone-Binding Globulin (SHBG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Testosterone (TESTO) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Free Androgen Index (FAI) | Calculated from Testosterone (TESTO) and Sex Hormone-Binding Globulin (SHBG) |
| Blood Plasma (EDTA) or Blood Serum | intact Parathyroid Hormone (iPTH) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Homocysteine (HCY) | Chemiluminescent Microparticle Immunoassay (CMIA) |
| Blood Serum | Determination of 5 parameters | Automated immunoassay analyzer Alinity A cii (AI20997) ABBOTT* (ΕΞΟ-12/04/01-04-2023) |
|  | 25-OH Vitamin D | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | β-Human Chorionic Gonadotropin (β-hCG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Hepatitis B surface antigen (HBsAg) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Folate acid (FOLATE) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Prostate-Specific Antigen (PSA) | Chemiluminescent Microparticle Immunoassay (CMIA) |
| Blood Serum | Determination of 19 parameters | Automated immunoassay analyzer Alinity B cii (AI01639) ABBOTT* (ΕΞΟ-12/04/01-04-2023) |
|  | 25-OH Vitamin D (25-OH VitD) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | β-Human Chorionic Gonadotropin (β-hCG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Vitamin B12 (B12) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Hepatitis B core antigen antibodies (anti-HBc) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Hepatitis B surface antibodies (anti-HBs) | Chemiluminescent Microparticle Immunoassay (CMIA) |
| Blood serum (continued) | Human immunodeficiency virus type 1/2 antigen/antibodies (HIV 1/2 Ag/Ab) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Hepatitis C antibodies (anti-HCV) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Toxoplasma IgG antibodies (Toxo IgG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Toxoplasma IgM antibodies (Toxo IgM) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Rubella IgG antibodies (Rubella IgG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Rubella IgΜ antibodies (Rubella IgΜ) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Cytomegalovirus IgG antibodies (CMV IgG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Cytomegalovirus IgM antibodies (CMV IgM) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Hepatitis B core antigen IgM antibodies (anti-HBc IgM) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Hepatitis A IgG antibodies (anti-HAV IgG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Hepatitis A IgM antibodies (anti-HAV IgM) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Epstein barr viral capsid IgG antibodies (EBV VCA IgG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Epstein barr viral capsid IgM antibodies (EBV VCA IgM) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | SARS CoV-2 IgG antibodies (SARS-CoV-2 IgG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
| Blood serum | Determination of 15 parameters | Automated immunoassay analyzer Alinity B cii (AI02166) ABBOTT* (ΕΞΟ-12/04/01-04-2023) |
|  | Prostate-Specific Antigen (PSA) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Free Prostate-Specific Antigen (free-PSA) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Free-PSA / PSA ratio | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Alpha Fetoprotein (AFP) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Carcinoembryonic antigen (CEA) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Cancer antigen 125 (CA125) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Cancer antigen 15.3 (CA15.3) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Vitamin B12 (B12) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Folate acid (FOLATE) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Ferritin (FERR) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Thyroid-Stimulating Hormone (TSH) | Chemiluminescent Microparticle Immunoassay (CMIA) |
| Blood serum (continued) | Anti-Thyroglobulin antibodies (anti-TG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Anti-Thyroid Peroxidase antibodies (anti-TPO) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Free Thyroxine (FT4) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | Neuron Specific Enolase (NSE) | Chemiluminescent Microparticle Immunoassay (CMIA) |
| Blood serum | Determination of 12 parameters | Automated immunoassay analyzer Cobas e601 ROCHE* (ΕΞΟ-12/04/01-04-2023) |
|  | Cancer antigen 19.9 (CA19.9) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | Estradiol (E2) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | Follicle Stimulating Hormone (FSH) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | Luteinizing Hormone (LH) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | Prolactin (PRL) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | Progesterone (PRG) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | Dehydroepiandrosterone Sulfate (DHEA-S) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | Cortisol (CORT) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | Adrenocorticotropic hormone (ACTH) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | Calcitonin (CT) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | Hepatitis A total antibodies (anti-HAV) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | Growth Hormone (HGH) | Elecrochemiluminescence Immunoassay (ECLIA) |
| Immunological Testing |
| Blood serum | Determination of 2 parameters | Automated immunofluorescence system Zenit PRO MENARINI* (ΕΞΟ-12/04/01-04-2023) |
|  | Antinuclear antibodies (ANA) | Immunofluorescence IFA with cellular substrate HEP-2 |
|  | Anti-double stranded DNA antibodies (anti-dsDNA) | Indirect Immunofluorescence |
| Blood serum | Determination of 4 parameters | Automated chemiluminescence analyzer Liaison DIASORIN* (ΕΞΟ-12/04/01-04-2023) |
|  | Cardiolipin antibodies IgG (αCL IgG) | Chemiluminescence (CLIA) |
|  | Cardiolipin antibodies IgM (αCL IgM) | Chemiluminescence (CLIA) |
|  | Aldosterone (ALDO) | Chemiluminescence (CLIA) |
|  | Renin (Renin) | Chemiluminescence (CLIA) |
| Blood serum | Determination of 113 allergens (Specific Immunoglobulin IgE - RAST) | Automated immunoassay analyzer Immulite 2000 SIEMENS* (ΕΞΟ-12/04/01-04-2023) |
|  | C1 Penicillin G | Chemiluminescence (CLIA) |
|  | C2 Penicillin V | Chemiluminescence (CLIA) |
|  | C203 Ampicillin | Chemiluminescence (CLIA) |
|  | C204 Amoxicillin | Chemiluminescence (CLIA) |
|  | D1 Mite – Dermatophages pteronyssinus | Chemiluminescence (CLIA) |
|  | D2 Mite - Dermatophages farinae | Chemiluminescence (CLIA) |
|  | D3 Mite - Dermatophages microceras | Chemiluminescence (CLIA) |
|  | D70 Mite – Acarus siro | Chemiluminescence (CLIA) |
|  | D71 Mite – Lepidoglyphus destructor | Chemiluminescence (CLIA) |
|  | E1 Cat epithelium/dander | Chemiluminescence (CLIA) |
|  | E2 Dog epithelium | Chemiluminescence (CLIA) |
|  | E3 Horse dander | Chemiluminescence (CLIA) |
|  | E5 Dog dander | Chemiluminescence (CLIA) |
|  | F1 Egg white | Chemiluminescence (CLIA) |
|  | F2 Milk | Chemiluminescence (CLIA) |
|  | F3 Codfish | Chemiluminescence (CLIA) |
|  | F4 Wheat | Chemiluminescence (CLIA) |
|  | F5 Rye | Chemiluminescence (CLIA) |
|  | F6 Barley | Chemiluminescence (CLIA) |
| Blood serum (continued) | F7 Oat | Chemiluminescence (CLIA) |
|  | F8 Corn | Chemiluminescence (CLIA) |
|  | F9 Rice | Chemiluminescence (CLIA) |
|  | F10 Sesame seed | Chemiluminescence (CLIA) |
|  | F12 Green pea | Chemiluminescence (CLIA) |
|  | F13 Peanut | Chemiluminescence (CLIA) |
|  | F14 Soybean | Chemiluminescence (CLIA) |
|  | F15 White bean | Chemiluminescence (CLIA) |
|  | F17 Hazelnut | Chemiluminescence (CLIA) |
|  | F20 Almond | Chemiluminescence (CLIA) |
|  | F23 Crab | Chemiluminescence (CLIA) |
|  | F24 Shrimp | Chemiluminescence (CLIA) |
|  | F25 Tomato | Chemiluminescence (CLIA) |
|  | F26 Pork | Chemiluminescence (CLIA) |
|  | F27 Beef | Chemiluminescence (CLIA) |
|  | F31 Carrot | Chemiluminescence (CLIA) |
|  | F33 Orange | Chemiluminescence (CLIA) |
|  | F37 Blue mussel | Chemiluminescence (CLIA) |
|  | F40 Tuna | Chemiluminescence (CLIA) |
|  | F44 Strawberry | Chemiluminescence (CLIA) |
|  | F45 Baker’s yeast | Chemiluminescence (CLIA) |
| Blood serum (continued) | F49 Apple | Chemiluminescence (CLIA) |
|  | F59 Octopus | Chemiluminescence (CLIA) |
|  | F75 Egg yolk | Chemiluminescence (CLIA) |
|  | F76 alpha-Lactalbumin | Chemiluminescence (CLIA) |
|  | F77 beta-Lactoglobulin | Chemiluminescence (CLIA) |
|  | F78 Casein | Chemiluminescence (CLIA) |
|  | F79 Gluten | Chemiluminescence (CLIA) |
|  | F83 Chicken meat | Chemiluminescence (CLIA) |
|  | F84 Kiwi fruit | Chemiluminescence (CLIA) |
|  | F92 Banana | Chemiluminescence (CLIA) |
|  | F93 Cacao | Chemiluminescence (CLIA) |
|  | F95 Pear | Chemiluminescence (CLIA) |
|  | F202 Cashew | Chemiluminescence (CLIA) |
|  | F203 Pistachio | Chemiluminescence (CLIA) |
|  | F204 Trout | Chemiluminescence (CLIA) |
|  | F232 Ovalbumin | Chemiluminescence (CLIA) |
|  | F233 Ovomucoid | Chemiluminescence (CLIA) |
|  | F235 Lentil | Chemiluminescence (CLIA) |
|  | F245 Egg | Chemiluminescence (CLIA) |
|  | F247 Honey | Chemiluminescence (CLIA) |
|  | F256 Walnut | Chemiluminescence (CLIA) |
| Blood serum (continued) | F258 Squid | Chemiluminescence (CLIA) |
|  | F337 Sole | Chemiluminescence (CLIA) |
|  | F409 Goat’s milk | Chemiluminescence (CLIA) |
|  | G1 Sweet vernal grass | Chemiluminescence (CLIA) |
|  | G2 Bermuda grass | Chemiluminescence (CLIA) |
|  | G3 Orchard grass | Chemiluminescence (CLIA) |
|  | G4 Meadow fescue | Chemiluminescence (CLIA) |
|  | G5 Perennial rye grass | Chemiluminescence (CLIA) |
|  | G6 Timothy grass | Chemiluminescence (CLIA) |
|  | G7 Common reed grass | Chemiluminescence (CLIA) |
|  | G8 June Grass (Kentucky Blue) | Chemiluminescence (CLIA) |
|  | G9 Red top | Chemiluminescence (CLIA) |
|  | G10 Johnson grass | Chemiluminescence (CLIA) |
|  | G11 Brome grass | Chemiluminescence (CLIA) |
|  | G12 Cultivated rye grass | Chemiluminescence (CLIA) |
|  | G15 Cultivated wheat grass | Chemiluminescence (CLIA) |
|  | H1 House dust - Greer | Chemiluminescence (CLIA) |
|  | H6 House dust - Japan | Chemiluminescence (CLIA) |
|  | I1 Honey Bee venom | Chemiluminescence (CLIA) |
|  | I2 White-faced Hornet | Chemiluminescence (CLIA) |
|  | I3 Yellow Jacket venom | Chemiluminescence (CLIA) |
| Blood serum (continued) | I4 Paper wasp venom | Chemiluminescence (CLIA) |
|  | I5 Yellow Hornet | Chemiluminescence (CLIA) |
|  | I6 Cockroach | Chemiluminescence (CLIA) |
|  | I71 Mosquito | Chemiluminescence (CLIA) |
|  | I75 European Hornet | Chemiluminescence (CLIA) |
|  | K82 Latex | Chemiluminescence (CLIA) |
|  | M1 Penicillium notatum | Chemiluminescence (CLIA) |
|  | M2 Cladosporium herbarum | Chemiluminescence (CLIA) |
|  | M3 Aspergillus fumigatus | Chemiluminescence (CLIA) |
|  | M4 Mucor racemosus | Chemiluminescence (CLIA) |
|  | M5 Candida albicans | Chemiluminescence (CLIA) |
|  | M6 Alternaria tenuis | Chemiluminescence (CLIA) |
|  | T3 Birch | Chemiluminescence (CLIA) |
|  | T4 Hazelnut | Chemiluminescence (CLIA) |
|  | Τ9 Olive | Chemiluminescence (CLIA) |
|  | T11 Sycamore | Chemiluminescence (CLIA) |
|  | Τ12 Willow | Chemiluminescence (CLIA) |
|  | T14 Cottonwood | Chemiluminescence (CLIA) |
|  | T16 White Pine | Chemiluminescence (CLIA) |
|  | Τ19 Acacia | Chemiluminescence (CLIA) |
|  | T23 Italian Cypress | Chemiluminescence (CLIA) |
| Blood serum (continued) | T73 Australian Pine | Chemiluminescence (CLIA) |
|  | W1 Common Ragweed | Chemiluminescence (CLIA) |
|  | W2 Western Ragweed | Chemiluminescence (CLIA) |
|  | W6 Mugwort | Chemiluminescence (CLIA) |
|  | W9 English Plantain | Chemiluminescence (CLIA) |
|  | W10 Lamb’s Quarters | Chemiluminescence (CLIA) |
|  | W19 Parietaria officinalis | Chemiluminescence (CLIA) |
|  | W20 Nettle | Chemiluminescence (CLIA) |
|  | W21 Parietaria judaica | Chemiluminescence (CLIA) |
|  | W23 Yellow Dockweed | Chemiluminescence (CLIA) |
| Blood serum | Determination of 4 allergen mixes (Specific Immunoglobulin IgE - RAST) | Automated immunoassay analyzer Immulite 2000 SIEMENS* (ΕΞΟ-12/04/01-04-2023) |
|  | FP1 mix (FX1) Nuts (allergens F13,F17,F18,F20,F36) | Chemiluminescence (CLIA) |
|  | FP2 mix (FX2) Fish/Shell (allergens F3,F24,F37,F40,F41) | Chemiluminescence (CLIA) |
|  | GP1 mix (GX1) Grass (allergens G3,G4,G5,G6,G8) | Chemiluminescence (CLIA) |
|  | MP1 mix (MX1) Mold (allergens M1,M2,M3,M5,M6) | Chemiluminescence (CLIA) |
| Blood serum | Determination of 16 parameters | Automated immunoassay analyzer Zenit Ra MENARINI* (ΕΞΟ-12/04/01-04-2023) |
|  | Deamidated gliadin peptides antibodies IgG (anti-DGP IgG) | Chemiluminescence (CLIA) |
|  | Deamidated gliadin peptides antibodies IgA (anti-DGP IgA) | Chemiluminescence (CLIA) |
|  | Myeloperoxidase antibodies IgG (anti-MPO) | Chemiluminescence (CLIA) |
|  | Proteinase 3 antibodies IgG (anti-PR3) | Chemiluminescence (CLIA) |
|  | IgG antibodies against SS-A/Ro (anti-SS-A/Ro) | Chemiluminescence (CLIA) |
|  | IgG antibodies against SS-B/La (anti-SS-B/La) | Chemiluminescence (CLIA) |
|  | IgG antibodies against Sm antigen (anti-Sm) | Chemiluminescence (CLIA) |
|  | IgG antibodies against U1-snRNP antigens (anti-RNP) | Chemiluminescence (CLIA) |
|  | IgG antibodies against Jo-1 antigen (anti-Jo1) | Chemiluminescence (CLIA) |
|  | IgG antibodies against Scl-70 antigen (DNA topoisomerase Ι) (anti-scl70) | Chemiluminescence (CLIA) |
|  | Tissue transglutaminase antibodies IgG (t-TG IgG) | Chemiluminescence (CLIA) |
|  | Tissue transglutaminase antibodies IgA (t-TG IgA) | Chemiluminescence (CLIA) |
|  | β2-Glycoprotein I antibodies IgG (β2-GPI IgG) | Chemiluminescence (CLIA) |
|  | β2-Glycoprotein I antibodies IgM (β2-GPI IgM) | Chemiluminescence (CLIA) |
|  | Antimitochondrial antibodies IgG (AMA-M2) | Chemiluminescence (CLIA) |
|  | Extractable nuclear antigen antibodies (anti-ENA) | Chemiluminescence (CLIA) |
| Hematological Testing |
| Whole Blood (EDTA) | Determination of 1 parameter | Automated electrophoresis system Capillarys2 B SEBIA* (ΕΞΟ-12/04/01-04-2023) |
|  | Glycated Haemoglobin A1c (HbA1c) | Capillary electrophoresis |
| Whole Blood (EDTA) | Determination of 1 parameter | Automated High Performance Liquid Chromatography HBNEXT MENARINI* (ΕΞΟ-12/04/01-04-2023) |
|  | Glycated Haemoglobin A1c (HbA1c) | High Performance Liquid Chromatography |
| Whole Blood (EDTA) | Determination of 10 parameters | Automated hematological analyzer Alinity HQ ABBOTT* (ΕΞΟ-12/04/01-04-2023) |
|  | Hemoglobin (HGB) | Spectrophotometric |
|  | Hematocrit (HCT) | Calculated from RBC and MCV |
|  | Red Blood Cells (RBC) | Electrical impedance |
|  | Mean Corpuscular Volume (MCV) | Calculated from red blood cell size distribution data |
|  | Mean Corpuscular Hemoglobin (MCH) | Calculated from HGB and RBC |
|  | Mean Cell Hemoglobin Concentration (MCHC) | Calculated from HGB and HCT |
|  | Red blood cell Distribution Width (RDW) | Calculated from RBC histogram |
|  | White Blood Cells (WBC) | Optical count (WOC) / Impedance count (WIC) |
|  | Platelets (PLT) | Electrical impedance |
|  | Mean Platelet Volume (MPV) | Calculated from PLT histogram |
| Blood Coagulation Testing |
| Blood Plasma (citrate) | Determination of 7 parameters | Automated coagulation analyzer STAR Max3 STAGO* (ΕΞΟ-12/04/01-04-2023) |
|  | Prothrombine time (PT sec) | Clot detection |
|  | Prothrombine time (PT %) | Clot detection |
|  | Prothrombine time (International Normalized Ratio, PT INR) | Calculated from Prothrombin time (PT patient and PT normal) |
|  | Activated partial prothrombine time (aPTT) | Clot detection |
|  | Fibrinogen (FIB) | Clot detection |
|  | Antithrombin III (ATIII) | Colorimetric |
|  | D-Dimer (D-Dimer) | Latex / Turbidimetry (TA) |
| Molecular Testing |
| Upper and lower respiratory system specimens (nasopharyngeal swabs, oropharyngeal swans, nasal swabs, nasal washing, sputum, bronchial secretions) | Qualitative detection of RNA of corona virus SARS-CoV-2, genes N and ORF1ab | Manufacturer’s kit Maccura Biotechnology Co., Ltd., SARS-CoV-2 Fluorescent PCR (CE-IVD), real-time RT-PCR with the use of Applied Biosystems™ QuantStudio™ 5 Dx Real-Time PCR System* (ΕΞΟ-12/04/01-04-2023) |
| Whole Blood EDTA | Detection of c.*97G>A (G20210A) mutation in prothrombin (Factor ΙΙ; F2) gene | Manufacturer’s kit ViennaLab Diagnostics GmbH, PTH 20210G>A RealFast Assay (CE-IVD), real-time PCR (TaqMan assay) with the use of Applied Biosystems™ QuantStudio™ 5 Dx Real-Time PCR System* (ΕΞΟ-12/04/01-04-2023) |
| Whole Blood EDTA | Detection of 1691G>A (R506Q) mutation in Factor V (F5) gene | Manufacturer’s kit ViennaLab Diagnostics GmbH, FV Leiden RealFast Assay (CE-IVD), real-time PCR (TaqMan assay) with the use of Applied Biosystems™ QuantStudio™ 5 Dx Real-Time PCR System* (ΕΞΟ-12/04/01-04-2023) |
| Whole Blood EDTA | Detection of c.677C>T mutation in MTHFR (Methylenetetrahydrofolate reductase) gene | Manufacturer’s kit ViennaLab Diagnostics GmbH, MTHFR 677C>T RealFast Assay (CE-IVD), real-time PCR (TaqMan assay) with the use of Applied Biosystems™ QuantStudio™ 5 Dx Real-Time PCR System* (ΕΞΟ-12/04/01-04-2023) |
| Whole Blood EDTA | Detection of c.1298A>C mutation in MTHFR (Methylenetetrahydrofolate reductase) gene | Manufacturer’s kit ViennaLab Diagnostics GmbH, MTHFR 1298A>C RealFast Assay (CE-IVD), real-time PCR (TaqMan assay) with the use of Applied Biosystems™ QuantStudio™ 5 Dx Real-Time PCR System* (ΕΞΟ-12/04/01-04-2023) |
| Whole Blood EDTA | Detection of HLA-Β27 allele of Human Leukocyte Antigen B (HLA-B) gene | Manufacturer’s kit ViennaLab Diagnostics GmbH, HLA-B27 RealFast Assay (CE-IVD), real-time PCR (TaqMan assay) with the use of Applied Biosystems™ QuantStudio™ 5 Dx Real-Time PCR System* (ΕΞΟ-12/04/01-04-2023) |
| Whole Blood EDTA | Detection of ΔF508del (F508del) mutation in the cystic fibrosis transmembrane conductance regulator (CFTR) gene | Manufacturer’s kit ViennaLab Diagnostics GmbH, CF F508del RealFast Assay (CE-IVD), real-time PCR (TaqMan assay) with the use of Applied Biosystems™ QuantStudio™ 5 Dx Real-Time PCR System* (ΕΞΟ-12/04/01-04-2023) |
| Cervical smear | Detection of 14 high risk genotypes (16,18,31,33,35,39,45,51,52,56,58,59,66,68) Human Papillomavirus (HPV) and specifically identifies HPV16 and HPV18 | Manufacturer’s kit 3D Med Diagnostics, Human Papillomavirus (HPV) DNA Diagnostic Kit (CE-IVD), real-time PCR with the use of Applied Biosystems™ QuantStudio™ 5 Dx Real-Time PCR System* (ΕΞΟ-12/04/01-04-2023) |

*Reference to the commercial name of a specific analyzer/kit, refers to a specific analytical method and protocol

Site of assessment: Laboratory Permanent premises: Central Laboratory, Agiou Dimitriou 161, Triandria, 54638 Thessaloniki, Greece. Approved signatories: D. Chatzidimitriou.

This scope of Accreditation replaces the previous one dated 28.02.2023.

The Accreditation Certificate No. 958-5, to ELOT EN ISO 15189:2012, is valid until 02.12.2027.

Athens, 18th May 2023

Christos Nestoras

CEO of ESYD