Hellenic Accreditation System

Annex G1/Α10 to the Certificate No. 958-6 SCOPE of ACCREDITATION of the Clinical Laboratory of LABNET MEDICAL S.A.

| Tested materials / Products | Types of test / Properties measured | Applied Standards / Techniques used |
| --- | --- | --- |
| Biochemical testing |  |  |
| Blood Serum Blood Serum (continued) | Determination of 47 parameters | Automated biochemical analyzer Alinity A cii (AC01164) ABBOTT* (ΕΞΟ-12/05/01-11-2024) |
|  | - Albumin (ALB) | Colorimetric (Bromocresol Green) |
|  | - Total Protein (TP) | Colorimetric (Biuret) |
|  | - Total globulin | Calculated from total protein (TP) and albumin (ALB) |
|  | - Albumin / Total globulin ratio | Calculated from total protein (TP) and albumin (ALB) |
|  | - Glucose (GLUC) | Enzymatic – colorimetric (HEX-G6PDH) |
|  | - Urea (UREA) | Enzymatic – colorimetric (Urease) |
|  | - Blood Urea Nitrogen (BUN) | Calculated from urea (UREA) |
|  | - Uric acid (UA) | Enzymatic – colorimetric (Uricase) |
|  | - Creatinine (CREA) | Enzymatic – colorimetric (Jaffe) |
|  | - Cholesterol Total (CHOL) | Enzymatic – colorimetric (CHO-OEP-HBA) |
|  | - Triglycerides (TRIG) | Enzymatic – colorimetric (GPO) |
|  | - HDL Cholesterol (HDL-Chol) | Enzymatic – colorimetric (ASD) |
|  | - LDL Cholesterol (LDL-Chol) | Enzymatic – colorimetric |
|  | - VLDL Cholesterol (VLDL-Chol) | Calculated from triglycerides (TRIG) |
|  | - Atherogenic index | Calculated from total cholesterol (CHOL) and HDL cholesterol (HDL-Chol) |
|  | - Total lipids (LIPIDS) | Calculated from total cholesterol (CHOL) and triglycerides (TRIG) |
|  | - Phospholipids (PH-LIP) | Calculated from total cholesterol (CHOL) |
|  | - Alanine Aminotransferase (ALT/SGPT) | Enzymatic –Kinetic - Colorimetric (NADH) |
|  | - Aspartate Aminotransferase (AST/SGOT) | Enzymatic –Kinetic - Colorimetric (NADH) |
|  | - Gamma-Glytamyl Transferase (γ-GT) | Enzymatic |
|  | - Alkaline Phosphatase (ALP) | Enzymatic –Kinetic - Colorimetric (Para-nP) |
|  | - Bilirubin Total (TBIL) | Enzymatic –Kinetic - Colorimetric (Diazonium) |
|  | - Bilirubin direct (DBIL) | Enzymatic –Kinetic - Colorimetric (Diazo) |
|  | - Bilirubin indirect (IBIL) | Calculated from bilirubin total (TBIL) and bilirubin direct (DBIL) |
|  | - Amylase (AMY) | Enzymatic - Colorimetric (GNPG3) |
|  | - Creatine Kinase (CK/CPK) | Enzymatic –Kinetic - Colorimetric (NAC) |
|  | - Creatine Kinase MB (CKMB) | Immunoinhibition (IFCC) |
|  | - Lactate Dehydrogenase (LDH) | Enzymatic - Kinetic (IFCC) |
|  | - Iron (Fe) | Colorimetric (Ferene) |
|  | - Magnesium (Mg) | Enzymatic |
|  | - Phosphorus (Phos) | Colorimetric (Phosphomolybdate) |
|  | - Calcium (Ca) | Colorimetric (Arsenazo III) |
|  | - Unsaturated Iron Binding Capacity (UIBC) | Colorimetric (Ferene) |
|  | - Total Iron Binding Capacity (TIBC) | Calculated from UIBC and iron (Fe) |
|  | - Transferrin saturation (TfS) | Calculated from iron (Fe) and TIBC |
|  | - Potassium (K) | Ion Selective Electrodes (ISE) |
|  | - Sodium (Na) | Ion Selective Electrodes (ISE) |
|  | - Chloride (Cl) | Ion Selective Electrodes (ISE) |
|  | - Serum Osmolality | Calculated from glucose (GLUC), urea (UREA) and sodium (Na) |
|  | - Apolipoprotein A (ApoA) | Immunoturbidimetry (ITA) |
|  | - Apolipoprotein B (ApoB) | Immunoturbidimetry (ITA) |
|  | - C-reactive protein (CRP) | Turbidimetry (TA) / Immunoturbidimetry (ITA) |
|  | - Lipoprotein a (Lpa) | Turbidimetry (TA) / Immunoturbidimetry (ITA) |
| Urine | - Total Protein urine (uPRO) | Turbidimetry (TA) |
|  | - Microalbumin urine (uALB) | Turbidimetry (TA) / Immunoturbidimetry (ITA) |
|  | - Creatinine urine (CREA-U) | Enzymatic – colorimetric (Jaffe) |
|  | - Calcium urine (Ca-U) | Colorimetric (Arsenazo III) |
| Blood serum | Determination of 43 parameters | Automated biochemical analyzer Alinity B cii (AC01282) ABBOTT* (ΕΞΟ-12/05/01-11-2024) |
|  | - Complement C3 (C3) | Immunoturbidimetry (ITA) |
|  | - Complement C4 (C4) | Immunoturbidimetry (ITA) |
|  | - Immunoglobulin A (IgA) | Immunoturbidimetry (ITA) |
|  | - Immunoglobulin G (IgG) | Immunoturbidimetry (ITA) |
|  | - Immunoglobulin M (IgM) | Immunoturbidimetry (ITA) |
|  | - C-reactive protein (CRP) | Turbidimetry (TA) / Immunoturbidimetry (ITA) |
|  | - Rheumatoid factor (RF) | Immunoturbidimetry (ITA) |
|  | - Cholinesterase (Che) | Enzymatic –Kinetic - Colorimetric (DGKC) |
|  | - Antistreptolysin-O (ASTO) | Latex agglutination/ Turbidimetry (TA) |
|  | - Valproic acid (VPA) | Particle-enhanced turbidimetric inhibition immunoassay (PETINIA) |
|  | - Digoxin (Digoxin) | Particle-enhanced turbidimetric inhibition immunoassay (PETINIA |
|  | - Immunoglobulin E (IgE) | Immunoturbidimetry (ITA) |
|  | - b2-Microglobulin (B2-M) | Turbidimetry (TA) / Immunoturbidimetry (ITA) |
|  | - Albumin (ALB) | Colorimetric (Bromocresol Green) |
|  | - Total Protein (TP) | Colorimetric (Biuret) |
|  | - Total globulin | Calculated from total protein (TP) and albumin (ALB) |
|  | - Albumin / Total globulin ratio | Calculated from total protein (TP) and albumin (ALB) |
|  | - Glucose (GLUC) | Enzymatic – colorimetric (HEX-G6PDH) |
|  | - Urea (UREA) | Enzymatic – colorimetric (Urease) |
|  | - Blood Urea Nitrogen (BUN) | Calculated from urea (UREA) |
|  | - Uric acid (UA) | Enzymatic – colorimetric (Uricase) |
|  | - Creatinine (CREA) | Enzymatic – colorimetric (Jaffe) |
|  | - Cholesterol Total (CHOL) | Enzymatic – colorimetric (CHO-OEP-HBA) |
| Blood Serum (continued) | - Triglycerides (TRIG) | Enzymatic – colorimetric (GPO) |
|  | - HDL Cholesterol (HDL-Chol) | Enzymatic – colorimetric (ASD) |
|  | - LDL Cholesterol (LDL-Chol) | Enzymatic – colorimetric |
|  | - VLDL Cholesterol (VLDL-Chol) | Calculated from triglycerides (TRIG) |
|  | - Atherogenic index | Calculated from total cholesterol (CHOL) and HDL cholesterol (HDL-Chol) |
|  | - Total lipids (LIPIDS) | Calculated from total cholesterol (CHOL) and triglycerides (TRIG) |
|  | - Phospholipids (PH-LIP) | Calculated from total cholesterol (CHOL) |
|  | - Alanine Aminotransferase (ALT/SGPT) | Enzymatic –Kinetic - Colorimetric (NADH) |
|  | - Aspartate Aminotransferase (AST/SGOT) | Enzymatic –Kinetic - Colorimetric (NADH) |
|  | - Gamma-Glytamyl Transferase (γ-GT) | Enzymatic |
|  | - Amylase (AMY) | Enzymatic - Colorimetric (GNPG3) |
|  | - Creatine Kinase (CK/CPK) | Enzymatic –Kinetic - Colorimetric (NAC) |
|  | - Lactate Dehydrogenase (LDH) | Enzymatic - Kinetic (IFCC) |
|  | - Iron (Fe) | Colorimetric (Ferene) |
|  | - Magnesium (Mg) | Enzymatic |
|  | - Calcium (Ca) | Colorimetric (Arsenazo III) |
|  | - Potassium (K) | Ion Selective Electrodes (ISE) |
|  | - Sodium (Na) | Ion Selective Electrodes (ISE) |
|  | - Chloride (Cl) | Ion Selective Electrodes (ISE) |
|  | - Serum Osmolality | Calculated from glucose (GLUC), urea (UREA) and sodium (Na) |
| Immunochemical Testing |  |  |
| Blood Serum Blood serum (continued) | Determination of 17 parameters | Automated immunoassay analyzer Alinity A cii (AI01287) ABBOTT* (ΕΞΟ-12/05/01-11-2024) |
|  | - Ferritin (FERR) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Thyroid-Stimulating Hormone (TSH) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Anti-Thyroglobulin antibodies (anti-TG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Anti-Thyroid Peroxidase antibodies (anti-TPO) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Free Triiodothyronine (FT3) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Free Thyroxine (FT4) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Total Triiodothyronine (TT3) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Total Thyroxine (TT4) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Thyroglobulin (TG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Insulin (Insulin) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - C-peptide (C-peptide) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Troponin I high sensitivity (TnI hs) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Sex Hormone-Binding Globulin (SHBG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Testosterone (TESTO) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Free Androgen Index (FAI) | Calculated from Testosterone (TESTO) and Sex Hormone-Binding Globulin (SHBG) |
| Blood Plasma (EDTA) or Blood Serum | - intact Parathyroid Hormone (iPTH) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Homocysteine (HCY) | Chemiluminescent Microparticle Immunoassay (CMIA) |
| Blood Serum | Determination of 5 parameters | Automated immunoassay analyzer Alinity A cii (AI20997) ABBOTT* (ΕΞΟ-12/05/01-11-2024) |
|  | - 25-OH Vitamin D | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - β-Human Chorionic Gonadotropin (β-hCG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Hepatitis B surface antigen (HBsAg) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Folate acid (FOLATE) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Prostate-Specific Antigen (PSA) | Chemiluminescent Microparticle Immunoassay (CMIA) |
| Blood Serum | Determination of 18 parameters | Automated immunoassay analyzer Alinity B cii (AI01639) ABBOTT* (ΕΞΟ-12/05/01-11-2024) |
|  | - 25-OH Vitamin D (25-OH VitD) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - β-Human Chorionic Gonadotropin (β-hCG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Vitamin B12 (B12) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Hepatitis B core antigen antibodies (anti-HBc) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Hepatitis B surface antibodies (anti-HBs) | Chemiluminescent Microparticle Immunoassay (CMIA) |
| Blood serum (continued) | - Human immunodeficiency virus type 1/2 antigen/antibodies (HIV 1/2 Ag/Ab) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Hepatitis C antibodies (anti-HCV) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Toxoplasma IgG antibodies (Toxo IgG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Toxoplasma IgM antibodies (Toxo IgM) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Rubella IgG antibodies (Rubella IgG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Rubella IgΜ antibodies (Rubella IgΜ) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Cytomegalovirus IgG antibodies (CMV IgG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Cytomegalovirus IgM antibodies (CMV IgM) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Hepatitis B core antigen IgM antibodies (anti-HBc IgM) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Hepatitis A IgG antibodies (anti-HAV IgG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Hepatitis A IgM antibodies (anti-HAV IgM) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Epstein barr viral capsid IgG antibodies (EBV VCA IgG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Epstein barr viral capsid IgM antibodies (EBV VCA IgM) | Chemiluminescent Microparticle Immunoassay (CMIA) |
| Blood serum | Determination of 15 parameters | Automated immunoassay analyzer Alinity B cii (AI02166) ABBOTT* (ΕΞΟ-12/05/01-11-2024) |
|  | - Prostate-Specific Antigen (PSA) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Free Prostate-Specific Antigen (free-PSA) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Free-PSA / PSA ratio | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Alpha Fetoprotein (AFP) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Carcinoembryonic antigen (CEA) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Cancer antigen 125 (CA125) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Cancer antigen 15.3 (CA15.3) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Vitamin B12 (B12) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Folate acid (FOLATE) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Ferritin (FERR) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Thyroid-Stimulating Hormone (TSH) | Chemiluminescent Microparticle Immunoassay (CMIA) |
| Blood serum (continued) | - Anti-Thyroglobulin antibodies (anti-TG) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Anti-Thyroid Peroxidase antibodies (anti-TPO) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Free Thyroxine (FT4) | Chemiluminescent Microparticle Immunoassay (CMIA) |
|  | - Neuron Specific Enolase (NSE) | Chemiluminescent Microparticle Immunoassay (CMIA) |
| Blood serum | Determination of 12 parameters | Automated immunoassay analyzer Cobas e601 ROCHE* (ΕΞΟ-12/05/01-11-2024) |
|  | - Cancer antigen 19.9 (CA19.9) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | - Estradiol (E2) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | - Follicle Stimulating Hormone (FSH) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | - Luteinizing Hormone (LH) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | - Prolactin (PRL) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | - Progesterone (PRG) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | - Dehydroepiandrosterone Sulfate (DHEA-S) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | - Cortisol (CORT) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | - Adrenocorticotropic hormone (ACTH) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | - Calcitonin (CT) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | - Hepatitis A total antibodies (anti-HAV) | Elecrochemiluminescence Immunoassay (ECLIA) |
|  | - Growth Hormone (HGH) | Elecrochemiluminescence Immunoassay (ECLIA) |
| Immunological Testing |  |  |
| Blood serum | Determination of 2 parameters | Automated immunofluorescence system Zenit PRO MENARINI* (ΕΞΟ-12/05/01-11-2024) |
|  | - Antinuclear antibodies (ANA) | Immunofluorescence IFA with cellular substrate HEP-2 |
|  | - Anti-double stranded DNA antibodies (anti-dsDNA) | Indirect Immunofluorescence |
| Blood serum | Determination of 4 parameters | Automated chemiluminescence analyzer Liaison DIASORIN* (ΕΞΟ-12/05/01-11-2024) |
|  | - Cardiolipin antibodies IgG (αCL IgG) | Chemiluminescence (CLIA) |
|  | - Cardiolipin antibodies IgM (αCL IgM) | Chemiluminescence (CLIA) |
|  | - Aldosterone (ALDO) | Chemiluminescence (CLIA) |
|  | - Renin (Renin) | Chemiluminescence (CLIA) |
| Blood serum | Determination of 113 allergens (Specific Immunoglobulin IgE - RAST) | Automated immunoassay analyzer Immulite 2000 SIEMENS* (ΕΞΟ-12/04/01-04-2023) |
|  | - C1 Penicillin G | Chemiluminescence (CLIA) |
|  | - C2 Penicillin V | Chemiluminescence (CLIA) |
|  | - C203 Ampicillin | Chemiluminescence (CLIA) |
|  | - C204 Amoxicillin | Chemiluminescence (CLIA) |
|  | - D1 Mite – Dermatophages pteronyssinus | Chemiluminescence (CLIA) |
|  | - D2 Mite - Dermatophages farinae | Chemiluminescence (CLIA) |
|  | - D3 Mite - Dermatophages microceras | Chemiluminescence (CLIA) |
|  | - D70 Mite – Acarus siro | Chemiluminescence (CLIA) |
|  | - D71 Mite – Lepidoglyphus destructor | Chemiluminescence (CLIA) |
|  | - E1 Cat epithelium/dander | Chemiluminescence (CLIA) |
|  | - E2 Dog epithelium | Chemiluminescence (CLIA) |
|  | - E3 Horse dander | Chemiluminescence (CLIA) |
|  | - E5 Dog dander | Chemiluminescence (CLIA) |
|  | - F1 Egg white | Chemiluminescence (CLIA) |
|  | - F2 Milk | Chemiluminescence (CLIA) |
|  | - F3 Codfish | Chemiluminescence (CLIA) |
|  | - F4 Wheat | Chemiluminescence (CLIA) |
|  | - F5 Rye | Chemiluminescence (CLIA) |
|  | - F6 Barley | Chemiluminescence (CLIA) |
| Blood serum (continued) | - F7 Oat | Chemiluminescence (CLIA) |
|  | - F8 Corn | Chemiluminescence (CLIA) |
|  | - F9 Rice | Chemiluminescence (CLIA) |
|  | - F10 Sesame seed | Chemiluminescence (CLIA) |
|  | - F12 Green pea | Chemiluminescence (CLIA) |
|  | - F13 Peanut | Chemiluminescence (CLIA) |
|  | - F14 Soybean | Chemiluminescence (CLIA) |
|  | - F15 White bean | Chemiluminescence (CLIA) |
|  | - F17 Hazelnut | Chemiluminescence (CLIA) |
|  | - F20 Almond | Chemiluminescence (CLIA) |
|  | - F23 Crab | Chemiluminescence (CLIA) |
|  | - F24 Shrimp | Chemiluminescence (CLIA) |
|  | - F25 Tomato | Chemiluminescence (CLIA) |
|  | - F26 Pork | Chemiluminescence (CLIA) |
|  | - F27 Beef | Chemiluminescence (CLIA) |
|  | - F31 Carrot | Chemiluminescence (CLIA) |
|  | - F33 Orange | Chemiluminescence (CLIA) |
|  | - F37 Blue mussel | Chemiluminescence (CLIA) |
|  | - F40 Tuna | Chemiluminescence (CLIA) |
|  | - F44 Strawberry | Chemiluminescence (CLIA) |
|  | - F45 Baker’s yeast | Chemiluminescence (CLIA) |
| Blood serum (continued) | - F49 Apple | Chemiluminescence (CLIA) |
|  | - F59 Octopus | Chemiluminescence (CLIA) |
|  | - F75 Egg yolk | Chemiluminescence (CLIA) |
|  | - F76 alpha-Lactalbumin | Chemiluminescence (CLIA) |
|  | - F77 beta-Lactoglobulin | Chemiluminescence (CLIA) |
|  | - F78 Casein | Chemiluminescence (CLIA) |
|  | - F79 Gluten | Chemiluminescence (CLIA) |
|  | - F83 Chicken meat | Chemiluminescence (CLIA) |
|  | - F84 Kiwi fruit | Chemiluminescence (CLIA) |
|  | - F92 Banana | Chemiluminescence (CLIA) |
|  | - F93 Cacao | Chemiluminescence (CLIA) |
|  | - F95 Pear | Chemiluminescence (CLIA) |
|  | - F202 Cashew | Chemiluminescence (CLIA) |
|  | - F203 Pistachio | Chemiluminescence (CLIA) |
|  | - F204 Trout | Chemiluminescence (CLIA) |
|  | - F232 Ovalbumin | Chemiluminescence (CLIA) |
|  | - F233 Ovomucoid | Chemiluminescence (CLIA) |
|  | - F235 Lentil | Chemiluminescence (CLIA) |
|  | - F245 Egg | Chemiluminescence (CLIA) |
|  | - F247 Honey | Chemiluminescence (CLIA) |
|  | - F256 Walnut | Chemiluminescence (CLIA) |
| Blood serum (continued) | - F258 Squid | Chemiluminescence (CLIA) |
|  | - F337 Sole | Chemiluminescence (CLIA) |
|  | - F409 Goat’s milk | Chemiluminescence (CLIA) |
|  | - G1 Sweet vernal grass | Chemiluminescence (CLIA) |
|  | - G2 Bermuda grass | Chemiluminescence (CLIA) |
|  | - G3 Orchard grass | Chemiluminescence (CLIA) |
|  | - G4 Meadow fescue | Chemiluminescence (CLIA) |
|  | - G5 Perennial rye grass | Chemiluminescence (CLIA) |
|  | - G6 Timothy grass | Chemiluminescence (CLIA) |
|  | - G7 Common reed grass | Chemiluminescence (CLIA) |
|  | - G8 June Grass (Kentucky Blue) | Chemiluminescence (CLIA) |
|  | - G9 Red top | Chemiluminescence (CLIA) |
|  | - G10 Johnson grass | Chemiluminescence (CLIA) |
|  | - G11 Brome grass | Chemiluminescence (CLIA) |
|  | - G12 Cultivated rye grass | Chemiluminescence (CLIA) |
|  | - G15 Cultivated wheat grass | Chemiluminescence (CLIA) |
|  | - H1 House dust - Greer | Chemiluminescence (CLIA) |
|  | - H6 House dust - Japan | Chemiluminescence (CLIA) |
|  | - I1 Honey Bee venom | Chemiluminescence (CLIA) |
|  | - I2 White-faced Hornet | Chemiluminescence (CLIA) |
|  | - I3 Yellow Jacket venom | Chemiluminescence (CLIA) |
| Blood serum (continued) | - I4 Paper wasp venom | Chemiluminescence (CLIA) |
|  | - I5 Yellow Hornet | Chemiluminescence (CLIA) |
|  | - I6 Cockroach | Chemiluminescence (CLIA) |
|  | - I71 Mosquito | Chemiluminescence (CLIA) |
|  | - I75 European Hornet | Chemiluminescence (CLIA) |
|  | - K82 Latex | Chemiluminescence (CLIA) |
|  | - M1 Penicillium notatum | Chemiluminescence (CLIA) |
|  | - M2 Cladosporium herbarum | Chemiluminescence (CLIA) |
|  | - M3 Aspergillus fumigatus | Chemiluminescence (CLIA) |
|  | - M4 Mucor racemosus | Chemiluminescence (CLIA) |
|  | - M5 Candida albicans | Chemiluminescence (CLIA) |
|  | - M6 Alternaria tenuis | Chemiluminescence (CLIA) |
|  | - T3 Birch | Chemiluminescence (CLIA) |
|  | - T4 Hazelnut | Chemiluminescence (CLIA) |
|  | - Τ9 Olive | Chemiluminescence (CLIA) |
|  | - T11 Sycamore | Chemiluminescence (CLIA) |
|  | - Τ12 Willow | Chemiluminescence (CLIA) |
|  | - T14 Cottonwood | Chemiluminescence (CLIA) |
|  | - T16 White Pine | Chemiluminescence (CLIA) |
|  | - Τ19 Acacia | Chemiluminescence (CLIA) |
|  | - T23 Italian Cypress | Chemiluminescence (CLIA) |
| Blood serum (continued) | - T73 Australian Pine | Chemiluminescence (CLIA) |
|  | - W1 Common Ragweed | Chemiluminescence (CLIA) |
|  | - W2 Western Ragweed | Chemiluminescence (CLIA) |
|  | - W6 Mugwort | Chemiluminescence (CLIA) |
|  | - W9 English Plantain | Chemiluminescence (CLIA) |
|  | - W10 Lamb’s Quarters | Chemiluminescence (CLIA) |
|  | - W19 Parietaria officinalis | Chemiluminescence (CLIA) |
|  | - W20 Nettle | Chemiluminescence (CLIA) |
|  | - W21 Parietaria judaica | Chemiluminescence (CLIA) |
|  | - W23 Yellow Dockweed | Chemiluminescence (CLIA) |
| Blood serum | Determination of 4 allergen mixes (Specific Immunoglobulin IgE - RAST) | Automated immunoassay analyzer Immulite 2000 SIEMENS* (ΕΞΟ-12/05/01-11-2024) |
|  | - FP1 mix (FX1) Nuts (allergens F13,F17,F18,F20,F36) | Chemiluminescence (CLIA) |
|  | - FP2 mix (FX2) Fish/Shell (allergens F3,F24,F37,F40,F41) | Chemiluminescence (CLIA) |
|  | - GP1 mix (GX1) Grass (allergens G3,G4,G5,G6,G8) | Chemiluminescence (CLIA) |
|  | - MP1 mix (MX1) Mold (allergens M1,M2,M3,M5,M6) | Chemiluminescence (CLIA) |
| Blood serum | Determination of 16 parameters | Automated immunoassay analyzer Zenit Ra MENARINI* (ΕΞΟ-12/05/01-11-2024) |
|  | - Deamidated gliadin peptides antibodies IgG (anti-DGP IgG) | Chemiluminescence (CLIA) |
|  | - Deamidated gliadin peptides antibodies IgA (anti-DGP IgA) | Chemiluminescence (CLIA) |
|  | - Myeloperoxidase antibodies IgG (anti-MPO) | Chemiluminescence (CLIA) |
|  | - Proteinase 3 antibodies IgG (anti-PR3) | Chemiluminescence (CLIA) |
|  | - IgG antibodies against SS-A/Ro (anti-SS-A/Ro) | Chemiluminescence (CLIA) |
|  | - IgG antibodies against SS-B/La (anti-SS-B/La) | Chemiluminescence (CLIA) |
|  | - IgG antibodies against Sm antigen (anti-Sm) | Chemiluminescence (CLIA) |
|  | - IgG antibodies against U1-snRNP antigens (anti-RNP) | Chemiluminescence (CLIA) |
|  | - IgG antibodies against Jo-1 antigen (anti-Jo1) | Chemiluminescence (CLIA) |
|  | - IgG antibodies against Scl-70 antigen (DNA topoisomerase Ι) (anti-scl70) | Chemiluminescence (CLIA) |
|  | - Tissue transglutaminase antibodies IgG (t-TG IgG) | Chemiluminescence (CLIA) |
|  | - Tissue transglutaminase antibodies IgA (t-TG IgA) | Chemiluminescence (CLIA) |
|  | - β2-Glycoprotein I antibodies IgG (β2-GPI IgG) | Chemiluminescence (CLIA) |
|  | - β2-Glycoprotein I antibodies IgM (β2-GPI IgM) | Chemiluminescence (CLIA) |
|  | - Antimitochondrial antibodies IgG (AMA-M2) | Chemiluminescence (CLIA) |
|  | - Extractable nuclear antigen antibodies (anti-ENA) | Chemiluminescence (CLIA) |
| Hematological Testing |  |  |
| Whole Blood (EDTA) | Determination of 1 parameter | Automated electrophoresis system Capillarys2 B SEBIA* (ΕΞΟ-12/05/01-11-2024) |
|  | - Glycated Haemoglobin A1c (HbA1c) | Capillary electrophoresis |
| Whole Blood (EDTA) | Determination of 1 parameter | Automated High Performance Liquid Chromatography HBNEXT MENARINI* (ΕΞΟ-12/05/01-11-2024) |
|  | - Glycated Haemoglobin A1c (HbA1c) | High Performance Liquid Chromatography |
| Whole Blood (EDTA) | Determination of 10 parameters | Automated hematological analyzer Alinity HQ ABBOTT* (ΕΞΟ-12/05/01-11-2024) |
|  | - Hemoglobin (HGB) | Spectrophotometric |
|  | - Hematocrit (HCT) | Calculated from RBC and MCV |
|  | - Red Blood Cells (RBC) | Electrical impedance |
|  | - Mean Corpuscular Volume (MCV) | Calculated from red blood cell size distribution data |
|  | - Mean Corpuscular Hemoglobin (MCH) | Calculated from HGB and RBC |
|  | - Mean Cell Hemoglobin Concentration (MCHC) | Calculated from HGB and HCT |
|  | - Red blood cell Distribution Width (RDW) | Calculated from RBC histogram |
|  | - White Blood Cells (WBC) | Optical count (WOC) / Impedance count (WIC) |
|  | - Platelets (PLT) | Electrical impedance |
|  | - Mean Platelet Volume (MPV) | Calculated from PLT histogram |
| Blood Coagulation Testing |  |  |
| Blood Plasma (citrate) | Determination of 7 parameters | Automated coagulation analyzer STAR Max3 STAGO* (ΕΞΟ-12/05/01-11-2024) |
|  | - Prothrombine time (PT sec) | Clot detection |
|  | - Prothrombine time (PT %) | Clot detection |
|  | - Prothrombine time (International Normalized Ratio, PT INR) | Calculated from Prothrombin time (PT patient and PT normal) |
|  | - Activated partial prothrombine time (aPTT) | Clot detection |
|  | - Fibrinogen (FIB) | Clot detection |
|  | - Antithrombin III (ATIII) | Colorimetric |
|  | - D-Dimer (D-Dimer) | Latex / Turbidimetry (TA) |
| Molecular Testing |  |  |
| Upper and lower respiratory system specimens (nasopharyngeal swabs, oropharyngeal swans, nasal swabs, nasal washing, sputum, bronchial secretions) | Qualitative detection of RNA of corona virus SARS-CoV-2, genes N and ORF1ab | Manufacturer’s kit Maccura Biotechnology Co., Ltd., SARS-CoV-2 Fluorescent PCR (CE-IVD), real-time RT-PCR with the use of Applied Biosystems™ QuantStudio™ 5 Dx Real-Time PCR System* (ΕΞΟ-12/05/01-11-2024) |
| Whole Blood EDTA | Detection of c.*97G>A (G20210A) mutation in prothrombin (Factor ΙΙ; F2) gene | Manufacturer’s kit ViennaLab Diagnostics GmbH, PTH 20210G>A RealFast Assay (CE-IVD), real-time PCR (TaqMan assay) with the use of Applied Biosystems™ QuantStudio™ 5 Dx Real-Time PCR System* (ΕΞΟ-12/05/01-11-2024) |
| Whole Blood EDTA | Detection of 1691G>A (R506Q) mutation in Factor V (F5) gene | Manufacturer’s kit ViennaLab Diagnostics GmbH, FV Leiden RealFast Assay (CE-IVD), real-time PCR (TaqMan assay) with the use of Applied Biosystems™ QuantStudio™ 5 Dx Real-Time PCR System* (ΕΞΟ-12/05/01-11-2024) |
| Whole Blood EDTA | Detection of c.677C>T mutation in MTHFR (Methylenetetrahydrofolate reductase) gene | Manufacturer’s kit ViennaLab Diagnostics GmbH, MTHFR 677C>T RealFast Assay (CE-IVD), real-time PCR (TaqMan assay) with the use of Applied Biosystems™ QuantStudio™ 5 Dx Real-Time PCR System* (ΕΞΟ-12/05/01-11-2024) |
| Whole Blood EDTA | Detection of c.1298A>C mutation in MTHFR (Methylenetetrahydrofolate reductase) gene | Manufacturer’s kit ViennaLab Diagnostics GmbH, MTHFR 1298A>C RealFast Assay (CE-IVD), real-time PCR (TaqMan assay) with the use of Applied Biosystems™ QuantStudio™ 5 Dx Real-Time PCR System* (ΕΞΟ-12/05/01-11-2024) |
| Whole Blood EDTA | Detection of HLA-Β27 allele of Human Leukocyte Antigen B (HLA-B) gene | Manufacturer’s kit ViennaLab Diagnostics GmbH, HLA-B27 RealFast Assay (CE-IVD), real-time PCR (TaqMan assay) with the use of Applied Biosystems™ QuantStudio™ 5 Dx Real-Time PCR System* (ΕΞΟ-12/05/01-11-2024) |
| Whole Blood EDTA | Detection of ΔF508del (F508del) mutation in the cystic fibrosis transmembrane conductance regulator (CFTR) gene | Manufacturer’s kit ViennaLab Diagnostics GmbH, CF F508del RealFast Assay (CE-IVD), real-time PCR (TaqMan assay) with the use of Applied Biosystems™ QuantStudio™ 5 Dx Real-Time PCR System* (ΕΞΟ-12/05/01-11-2024) |
| Cervical smear | Detection of 14 high risk genotypes (16,18,31,33,35,39,45,51,52,56,58,59,66,68) Human Papillomavirus (HPV) and specifically identifies HPV16 and HPV18 | Manufacturer’s kit 3D Med Diagnostics, Human Papillomavirus (HPV) DNA Diagnostic Kit (CE-IVD), real-time PCR with the use of Applied Biosystems™ QuantStudio™ 5 Dx Real-Time PCR System* (ΕΞΟ-12/05/01-11-2024) |

*Reference to the commercial name of a specific analyzer/kit, refers to a specific analytical method and protocol

Site of assessment: Laboratory Permanent premises: Central Laboratory, Agiou Dimitriou 161, Triandria, 54638 Thessaloniki, Greece. Approved signatories: D. Chatzidimitriou.

This scope of Accreditation replaces the previous one dated 18.05.2023.

The Accreditation Certificate No. 958-6, to ELOT EN ISO 15189:2022, is valid until 02.12.2027.

Athens, 7th March 2025

Konstantinou Evangelos Apostolos

CEO of ESYD