Hellenic Accreditation System

Annex F1/17 to the Certificate No.659-6 SCOPE of ACCREDITATION of the Laboratory οf the CHEM-MAR, Theodoros Vassilopoulos

| Materials / Tested products | Type of test/ Measured properties | Applied standards/ Techniques used |
| --- | --- | --- |
| 1. Potable water | 1. Determination of pH | APHA* 4500-Η, Β Electrometric method |
|  | 2. Determination of conductivity | APHA* 2510 Β Electrometric method |
|  | 3. Determination of Cadmium | APHA* 3113 Β Atomic absorption with graphite furnace |
|  | 4. Determination of Lead | APHA* 3113 Β Atomic absorption with graphite furnace |
|  | 5. Determination of Mercury | In house method IH-11.Hg Atomic Absorption -hydrides |
|  | 6. Determination of Aluminum | APHA* 3500-Al, Β Colorimetric method |
|  | 7. Determination of Chromium | APHA* 3113 Β Atomic absorption with graphite furnace |
|  | 8. Determination of Chromium (VI) | APHA* 3500- Cr. B Colorimetric method |
| 2. Potable water & waste water | 1. Determination of Ammonia | MERCK Spectroquant 1.14752 Colorimetric method |
|  | 2. Determination of Nitrate | MERCK Spectroquant 1.09713 Colorimetric method |
|  | 3. Determination of Iron | MERCK Spectroquant 1.14761 Colorimetric method |
|  | 4. Determination of Nitrites | MERCK Spectroquant 1.14776 Colorimetric method |
| 3. Waters | 1. Determination of Chlorides | APHA* 4500- Cl- . Titrimetric method |
|  | 2. Determination of Total Hardness | ΕLΟΤ 170 Titrimetric method |
|  | 3. Determination of Phosphorus | APHA* 4500- P. C Colorimetric method |
|  | 4. Determination of disolved bromates | In house method ΙΗ-16.BrO3 based on ISO 15061:2001 |
| 4. Waters and waste waters | 1. Determination of total suspended solids | ISO 11923 Gravimetric method |
| 5. Waste waters | 2. Determination of COD | MERCK Spectroquant 1.14681, 1.14682, 1.14539 Colorimetric method |
| 6. Fishes | 1. Determination of Lead, Cadmium | A.O.A.C. 999.11 Atomic absorption with graphite furnace |
|  | 2. Determination of Mercury | In house method ΙΗ-12.Hg Based on A.O.A.C. 974.14 Atomic Absorption -hydrides |
|  | 3. Determination of total volatile basic nitrogen (ABVT) | Regulation EC 2074/2005 Titrimetric metod (Annex II, Section II) |
| 7. Meat and fish products | 1. Determination of fat | ISO 1443:1973 (acid hydrolysis /Weibull-stoldt method ) |
| 8. Meat products | 1. Loss of drying (moisture) | AOAC 950.46 Gravimetric method |
|  | 2. Determination of ash | AOAC 920.153 Gravimetric method |
| 9. Air | Sampling and determination of Lead | MDHS 6 Atomic absorption with graphite furnace |
|  | Sampling and determination of Benzene,Tolouene, Xylene (o-, m-, p-) | In house Method ΙΗ –13.GC Based on MDHS 96 (Gas Chromatography) |
| 10. Petroleum products and Lubricating oils | 1. Determination of water | ASTM D6304 Karl-Fisher/Coulometric method |
| Stack emissions to atmosphere | Isokinetic sampling and determination of particulate matter (dust) | ELΟΤ ΕΝ 13284-1 : 2017 ISO 9096 : 2017 |
|  | Isokinetic sampling and determination of trace elements (As, Cd, Cr, Co, Cu, Mn, Ni, Pb, Sb, Tl and V) | ELΟΤ ΕΝ 14385 : 2004 |
| 1. Air | 1 Sampling and measurement of airborne particles (inhalable and respirable dust) | MDHS 14 Gravimetric method |
|  | 2. Sampling and determination of Asbestos | HSG 248 : 2005 (by Phase Contrast Microscopy) |
| Microbiological examination |
| Potable water | Detection and enumeration of culturable micro-organisms at 220C and 360C | ISO 6222 : 1999 |
|  | Detection and enumeration of Escherichia coli and coliform bacteria | ISO 9308-2 : 2014 |
|  | Detection and enumeration of intestinal enterococci | ISO 7899-2 : 2000 |
| Waters | Enumeration of Legionella spp. | ISO 11731:2017 Matrix A, Procedure 5 and 7, Medium A (BCYE) and Medium C (GVPC). Matrix B, Procedure 8 and 9 and 10, Medium C (GVPC). |
| Waste waters and surface waters | Detection and enumeration of thermotolerant coliforms (faecal coliforms) | APHA*9222.D |

*  American Public Health Association, American Water Works Association, Water Environment Federation, “Standard Methods for the Examination of Water and Wastewater”,  23rd Edition 2017

Site of assessment: Laboratory permanent premises, 4, Souliou Str., GR 17342, Agios Dimitrios, Athens, Greece. Approved Signatories: Theodoros Vassilopoulos.

This scope of Accreditation replaces the previous one dated 22.07.2022.

The Accreditation Certificate No.659-6, to ELOT EN ISO/IEC 17025:2017, is valid until 24.02.2026.

Athens, 30.08.2022

Christos Nestoras

CEO of ESYD

# Text boxes

Chemical tests

Physical Tests