Hellenic Accreditation System

Annex F1/8 to the Certificate No. 395-6 SCOPE of ACCREDITATION of the Laboratory of Wind Measurements of ISTOS RENEWABLES Ltd.

| Materials / Products to be tested | Types of test / Properties to be measured | Applied methods / Techniques to be used |
| --- | --- | --- |
| Wind Measurements |  |  |
| Wind potential intended for the estimation of wind turbine generator performance | Wind speed (m/s) | IEC 61400-12-1: 2022 §7.2 (except 7.2.1) |
|  | Wind direction (Deg.) | IEC 61400-12-1: 2022 § 7.3 |

Site of assessment: Permanent laboratory premises, 8 Evangeliou Str., Markopoulo, Attiki, Greece

and installation field of meteorological mast.

Approved signatories: S. Kostis, P. Theodoropoulos.

This Scope of Accreditation replaces the previous one dated December 17th, 2020.

The Accreditation Certificate No. 395-6, to ELOT EN ISO/IEC 17025: 2017, is valid until 1.11.2028.

Athens, December 18th, 2023

Christos Nestoras

CEO of ESYD