Hellenic Accreditation System

Annex F1/2 to the Certificate No. 1316-2

SCOPE of ACCREDITATION of the Testing Laboratory of “GEO STAND COMPANY OF GEOTECHNICAL WORKS – SOIL INVESTIGATIONS AND ASSOCIATES S.A.”

| Materials / Products to be tested | Type of test / Properties to be measured | Applied methods / Techniques to be used |
| --- | --- | --- |
| Physical testing |
| Soil samples | 1. Geotechnical investigation and testing - Laboratory testing of soil - Part 1: Determination of water content | ΕΛΟΤ ΕΝ ISO 17892-1:2014 +A1:2022 |
|  | 2. Geotechnical investigation and testing - Laboratory testing of soil - Part 2: Determination of bulk density | ΕΛΟΤ ΕΝ ISO 17892-2:2014 |
|  | 3. Geotechnical investigation and testing - Laboratory testing of soil - Part 3: Determination of particle density – Pycnometer method | ΕΛΟΤ ΕΝ ISO 17892-3:2015 |
|  | 4. Geotechnical investigation and testing - Laboratory testing of soil - Part 4: Determination of particle size distribution | ΕΛΟΤ ΕΝ ISO 17892-4:2016 |
|  | 5. Geotechnical investigation and testing - Laboratory testing of soil - Part 12: Determination of liquid and plastic limits | ΕΛΟΤ ΕΝ ISO 17892-12:2018 +A1:2021+A2:2022 |
| Aggregates | 1. Tests for general properties of aggregates - Part 2: Methods for reducing laboratory samples | ΕΛΟΤ ΕΝ 932-2:1999 |
|  | 2. Tests for geometrical properties of aggregates - Part 1: Determination of particle size distribution - Sieving method | ΕΛΟΤ EN 933-1:2012 |
|  | 3. Tests for mechanical and physical properties of aggregates - Part 6: Determination of particle density and water absorption | ΕΛΟΤ ΕΝ 1097-6:2022 |
|  | 4. Tests for geometrical properties of aggregates - Part 8: Assessment of fines - Sand equivalent test | ΕΛΟΤ EN 933-8:2012+A1:2015 |
|  | 5. Tests for geometrical properties of aggregates - Part 9: Assessment of fines - Methylene blue test | EΛOT EN 933-9:2022 |
| Fresh concrete | 1. Testing fresh concrete - Part 1: Sampling and common apparatus | ΕΛΟΤ ΕΝ 12350-1:2019 |
|  | 2. Testing fresh concrete - Part 2: Slump test | ΕΛΟΤ ΕΝ 12350-2:2019 |
| Hardened concrete | 1. Testing hardened concrete - Part 2: Making and curing specimens for strength tests | ΕΛΟΤ ΕΝ 12390-2:2019 |
| Bituminous mixtures | 1 Bituminous mixtures - Test methods - Part 1: Soluble binder content | ΕΛΟΤ ΕΝ 12697-1:2020 |
|  | 2. Bituminous mixtures - Test methods - Part 5: Determination of the maximum density | ΕΛΟΤ ΕΝ 12697-5:2019 |
| Mechanical Testing |
| Soil samples | 1. Geotechnical investigation and testing - Laboratory testing of soil - Part 5: Incremental loading oedometer test | ΕΛΟΤ ΕΝ ISO 17892-5:2017 |
|  | 2. Geotechnical investigation and testing - Laboratory testing of soil - Part 7: Unconfined compression test | ΕΛΟΤ ΕΝ ISO 17892-7:2018 |
|  | 3. Geotechnical investigation and testing - Laboratory testing of soil - Part 9: Consolidated triaxial compression tests on water saturated soils | ΕΛΟΤ ΕΝ ISO 17892-9:2018 |
|  | 4. Geotechnical investigation and testing - Laboratory testing of soil - Part 10: Direct shear tests | ΕΛΟΤ ΕΝ ISO 17892-10:2018 |
|  | 5. Standard Test Methods for Laboratory Compaction Characteristics of Soil Using Modified Effort (56,000 ft-lbf/ft3 (2,700 kN-m/m3)) | ASTM D1557-12(2021) |
|  | 6. Standard Test Method for California Bearing Ratio (CBR) of Laboratory-Compacted Soils | ASTM D1883-21 |
| In place soil tests | 1. Plate load test | Ε 106 – 86, §4 |
|  | 2. In place determination of density by the sand cone method | Ε 106 – 86, §2 |
|  | 3. Standard Test Methods for In-Place Density and Water Content of Soil and Soil-Aggregate by Nuclear Methods (Shallow Depth) | ASTM D6938-17ae1 |
| Rock specimens | 1. Standard Practices for Preparing Rock Core as Cylindrical Test Specimens and Verifying Conformance to Dimensional and Shape Tolerances | ASTM D4543-19 |
|  | 2. Standard Test Methods for Compressive Strength and Elastic Moduli of Intact Rock Core Specimens under Varying States of Stress and Temperatures | ASTM D7012-14e1 (method C) |
|  | 3. Standard Test Method for Determination of the Point Load Strength Index of Rock and Application to Rock Strength Classifications | ASTM D5731-16 |
| Aggregates | 1. Tests for mechanical and physical properties of aggregates - Part 2: Methods for the determination of resistance to fragmentation – Los Angeles test | ΕΛΟΤ EN 1097-2:2020 |
|  | 2. Tests for mechanical and physical properties of aggregates - Part 1: Determination of the resistance to wear (micro-Deval) | ΕΛΟΤ ΕΝ 1097-1:2011 |
|  | 3. Tests for thermal and weathering properties of aggregates - Part 2: Magnesium sulfate test | ΕΛΟΤ ΕΝ 1367-2:2010 |
| Hardened concrete | 1. Testing hardened concrete - Part 3: Compressive strength of test specimens | ΕΛΟΤ ΕΝ 12390-3:2019 |
|  | 2. Standard Test Method for Obtaining and Testing Drilled Cores | ASTM C42/C42M-20 |
|  | 3. Standard Test Method for Rebound Number of Hardened Concrete | astm C805/805M-18 |
| Bituminous mixtures | 1. Bituminous mixtures - Test methods - Part 34: Marshall test | ΕΛΟΤ ΕΝ 12697-34:2020 |
|  | 2. Bituminous mixtures - Test methods - Part 30: Specimen preparation by impact compactor | ΕΛΟΤ ΕΝ 12697-30:2019 |

Site of assessment: Permanent laboratory premises, Kalimnou 16, 11251, Athens

Approved signatory: G. Vatsellas

This Scope of Accreditation replaces the previous one dated 19.10.2022.

The Accreditation Certificate No. 1316-2, according to ELOT EN ISO/IEC 17025:2017, is valid until 18.10.2027.

Athens, 29.12.2023

Christos Nestoras

CEO of ESYD