Hellenic Accreditation System

Annex F1/12 to the Certificate No. 771-4 SCOPE of ACCREDITATION of the Testing Laboratory ‘‘ENVIROSOL” Τsafaridou Kl. – Karyofyllidis Eus. & SIA E.E.

| Materials / Tested products | Type of test/ Measured properties | Applied standards/ Techniques used |
| --- | --- | --- |
| Chemical Tests |
| 1. Drinking water, surface water, groundwater, swimming pool water and wastewater | 1. Determination of pH | APHA* 4500-Η+ B |
|  | 2. Determination of conductivity | ΑPHA* 2510 B |
|  | 3. Determination of ammonia | Hach LCK 303 & LCK 304 |
|  | 4. Determination of nitrates | Hach LCK 339 |
| 2. Drinking water, surface water, groundwater and swimming pool water | 1. Determination of chloride | ΑPHA* 4500-Cl- B |
|  | 2. Determination of calcium | ΑPHA* 3500-Ca B |
|  | 3. Determination of magnesium | ΑPHA* 3500-Mg B |
|  | 4. Determination of total hardness | ΑPHA* 2340 C |
|  | 5. Determination of residual chlorine | APHA 4500-CΙ G |
| 3. Surface water, groundwater and wastewater | 1. Determination of chemical oxygen demand (COD) | Hach LCK 314 & 514 |
|  | 2. Determination of total suspended solids (TSS) | APHA* 2540 D |
|  | 3. Determination of total dissolved solids | APHA 2540 C |
|  | 4. Determination of dissolved oxygen | APHA 4500 O |
|  | 5. Determination of BOD | APHA 5210 D |
| 4. Drinking water, surface water, groundwater and wastewater | 1. Determination of alkalinity | APHA* 2520 B |
|  | 2. Determination of sulfates | Hach 8051 based on APHA* 4500-SO4 E |
|  | 3. Determination of nitrite | Hach LCK 341 |
|  | 4. Determination of total Nitrogen | Hach LCK 238 |
|  | 5. Determination of total Phosphates | Hach LCK 348 |
| 5. Drinking water, surface water, groundwater | Determination of potassium | ΑPHA* 3500-K B Flame photometry |
|  | Determination of sodium | ΑPHA* 3500-Na B Flame photometry |
| 6. Drinking water, surface water, groundwater, and wastewater | 1. Determination of Copper | ΑPHA* 3111B Flame Atomic Absorption Spectrometry |
|  | 2. Determination of Zinc |  |
|  | 3. Determination of Iron |  |
|  | 4. Determination of Manganese |  |
| 7. Drinking water, surface water, groundwater, and wastewater | 1. Determination of Cadmium | ΑPHA* 3111B Graphite Furnace Atomic Absorption Spectrometry |
|  | 2. Determination of Nickel |  |
|  | 3. Determination of Lead |  |
|  | 4. Determination of Chromium |  |
|  | 5. Determination of silver |  |
| 8. Drinking water, surface water, groundwater | 1. Determination of Iron | ΑPHA* 3111B Graphite Furnace Atomic Absorption Spectrometry |
|  | 2. Determination of Manganese |  |
|  | 3. Determination of Copper |  |
| 9. Drinking water, surface water, groundwater and wastewater | 1. Determination of arsenic | APHA* 3114Β Atomic Absorption Spectrometry – Hydride Generation |
| Microbiological Tests |
| 1. Drinking water, surface and swimming pool water | 1. Enumeration of culturable microorganisms at 36oC and 22o C | ISO 6222:1999 |
|  | 2. Enumeration of Escherichia coli and coliform bacteria | ISO 9308-1:2014 |
|  | 3. Detection and enumeration of intestinal enterococci | ISO 7899-2:2000 |
| Sampling |
| Drinking water, groundwater and waste water | 1. Sampling for the determination of chemical parameters | ISO 5667-1:2020 ISO 5667-3:2018 ISO 5667-5:2006 ISO 5667-10:2020 ISO 5667-11:2009 ISO 5667-14:2016 |
|  | 2. Sampling for microbiological parameters | ISO 19458:2006 |

* American Public Health Association, American Water Works Association, Water Environment Federation, “Standard Methods for the Examination of Water and Wastewater”, 23rd Edition, 2017.

Site of assessment: Permanent laboratory premises – 284 Eikostis Ogdois Oktovriou, 67133, Xanthi, Greece

Approved Signatory: Kleoniki Tsafaridou

This Scope of Accreditation replaces the previous one, dated 06.03.2023.

The Accreditation Certificate No. 771-4, according to ELOT EN ISO/IEC 17025:2017, is valid until 20.04.2024.

Athens, 20th of September 2023

Christos Nestoras

CEO of ESYD